## ATTACHMENT J-9

ESPC Post-Installation Report Outline

[NOTE:  All content called for in this outline is required (if applicable), except items noted as optional.]

Contract # / Task Order # / Modification #:   (include as appropriate)

Post-Acceptance Performance Period Dates Covered: ___________ to_____________

J-9.1   Executive Summary

J-9.1.1   Project Background - Provide an overview of project background, including:

A.	Contract # / Task Order # / Modification # (as appropriate)

B.	Dates of relevant contract and task order modifications

C.	Post-acceptance performance period dates covered

D.	Project acceptance date (actual or expected)

J-9.1.2   Brief Project and ECM Descriptions

A.	Provide an overview what was done and how savings are generated.

B.	Note any changes in project scope between the awarded Task Order (including any relevant contract / task order modifications) and as-built conditions.

J-9.1.3   Proposed and Expected Energy and Cost Savings for Year 1 of the Post-Acceptance Performance Period

A.	Include completed Table 1 – Proposed Annual Savings Overview, and Table 2 – Expected Savings Overview for 1st Performance Year, from Section J-9.1.3.C and D.

B.	Compare expected savings for first performance year to first year guaranteed cost savings.  State whether guarantee is expected to be fulfilled for first year.  If not provide a detailed explanation.

Note:  Expected savings are a prediction for the first year based on post-installation M&V activities.  Verified savings for the first year of the post-acceptance performance period will be documented in the annual report.  The proposed savings for each ECM are included in TO Schedule 4 of the Task Order.

C.	Table 1 - Proposed Annual Savings Overview

[Include all applicable fuels/commodities for project, such as: electric energy, electric demand, natural gas, fuel oil, coal, water, etc., using Year 1 utility rates.]

| ECM | Total energy savings (MMBtu/yr) | Electric energy savings (kWh/yr) | Electric demand savings (kW/yr)* | Natural gas savings (MMBtu/yr)** | Water savings (gallons/yr) | Other energy savings (MMBtu/yr)** | Total energy and water cost savings, Year 1 ($/yr) | Other energy-related O&M cost savings, Year 1 ($/yr) | Total cost savings, Year 1 ($/yr) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total savings |  |  |  |  |  |  |  |  |  |
| First year guaranteed savings: $*** |  |  |  |  |  |  |  |  |  |
| Notes: MMBtu=106 Btu. *Annual electric demand savings (kW/yr) is the sum of the monthly demand savings. **If energy is reported in units other than MMBtu, provide a conversion factor to MMBtu for link to cost schedules (e.g., 0.003413 MMBtu/kWh). ***Guaranteed cost savings for the project are defined in TO Schedule 1 in the Task Order. The proposed savings for each ECM are included in TO Schedule #4 in in the Task Order. |  |  |  |  |  |  |  |  |  |

D.	Table 2 - Expected Savings Overview for First Performance Year

[Include all applicable fuels/commodities for project, such as: electric energy, electric demand, natural gas, fuel oil, coal, water, etc., using Year 1 utility rates.]

| ECM | Total energy savings (MMBtu/yr) | Electric energy savings (kWh/yr) | Electric demand savings (kW/yr)* | Natural gas savings (MMBtu/yr)** | Water savings (gallons/yr) | Other energy savings (MMBtu/yr)** | Total energy and water cost savings, Year 1 ($/yr) | Other energy-related O&M cost savings, Year 1 ($/yr) | Total cost savings, Year 1 ($/yr) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total savings |  |  |  |  |  |  |  |  |  |
| Notes: MMBtu=106 Btu. *Annual electric demand savings (kW/yr) is the sum of the monthly demand savings. **If energy is reported in units other than MMBtu, provide a conversion factor to MMBtu for link to cost schedules (e.g., 0.003413 MMBtu/kWh). |  |  |  |  |  |  |  |  |  |

J-9.1.4   Energy, Water, and O&M Rate Data

A.	Detail energy and water rates used to calculate cost savings for this period.

B.	Provide post-acceptance performance period rate adjustment factors for energy, water, and O&M cost savings, if used.

C.	Report actual energy and water rates at site for same period (optional).

J-9.1.5   Savings Adjustments

A.	Provide a summary of any energy and/or cost savings adjustments required between awarded TO (including any relevant contract / task order modifications) and as-built conditions.

B.	Describe the impact in changes between the proposal (including any relevant contract / task order modifications) and as-built conditions based on post-installation M&V results.

J-9.1.6   Implementation / Construction Period Savings

A.	Provide a summary of implementation / construction period savings, if applicable.

B.	Provide an overview of how implementation / construction period savings are calculated.

J-9.1.7   Status of Rebates, Incentives or Credits - Include if applicable.

A.	Provide a summary of the source of any third-party rebates or incentives provided on this project.

B.	Provide status of any third-party rebates or incentives.

J-9.2	ECM-Specific M&V Activities and Expected First Year Savings

Develop section for each ECM.

J-9.2.1   Overview of ECM, M&V Plan, and Savings Calculation for ECM

A.	Summarize the scope of work, location, and how cost savings are generated.  Describe source of all savings including energy, water, O&M, and other (if applicable).

B.	State the M&V guideline and option used.

C.	Provide an overview of M&V activities for ECM.  Explain the intent of M&V plan, including what is being verified.

D.	Provide an overview of Savings Calculation Methods for ECM.  Provide a general description of analysis methods used for savings calculations.

J-9.2.2   Installation Verification

A.	Detail any changes between awarded TO (including any relevant contract / task order modifications) and as-built conditions.

B.	Provide details of energy and cost savings impact from changes between awarded TO (including any relevant contract / task order modifications) and as-built conditions based on post-installation M&V results.  Include completed Table 3 - Impact to Energy and Cost Savings from Changes Between Proposal and As-Built Conditions for Each ECM, from Section J-9.2.2.C.

C.	Table 3 - Impact to Energy and Cost Savings from Changes Between Awarded TO and As-Built Conditions for Each ECM

|  | Total energy savings (MMBtu/yr) | Electric energy savings (kWh/yr) | Electric energy cost savings, Year 1 ($/yr) | Electric demand savings* (kW/yr) | Electric demand cost savings, Year 1 ($/yr) | Natural gas savings (MMBtu/yr)** | Natural gas cost savings, Year 1 ($/yr) | Water savings (gallons/yr) | Water cost savings, Year 1 ($/yr) | Other energy savings (MMBtu/yr)** | Other energy cost savings, Year 1 ($/yr) | Other energy-related O&M cost savings, Year 1 ($/yr) | Total cost savings, Year 1 ($/yr) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Proposed |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Expected |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Variance |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Notes: MMBtu = 106 Btu. *Annual electric demand savings (kW/yr) is the sum of the monthly demand savings. **If energy is reported in units other than MMBtu, provide a conversion factor to MMBtu for link to cost schedules (e.g., 0.003413 MMBtu/kWh). Expected savings are a prediction for the first year based on post-installation M&V activities. Verified savings for the first year of the post-acceptance performance period will be documented in the annual M&V report. The proposed savings for each ECM are included in TO Schedule 4 of the Task Order. |  |  |  |  |  |  |  |  |  |  |  |  |  |

D.	Describe implementation / construction period savings (if applicable).  Include date ECM was in effect, and reference acceptance documentation.

E.	Detail savings calculations for implementation / construction period savings.

J-9.2.3   Post-Installation M&V Activities Conducted - Detail measurements, monitoring, and inspections conducted in accordance with M&V plan (include all that apply for each one):

A.	Measurement equipment used.

B.	Equipment calibration documentation.

C.	Dates/times of data collection or inspections, names of personnel, and documentation of Government witnessing.

D.	Details to confirm adherence to sampling plan.

E.	Include all post-installation measured values.  Include periods of monitoring and durations and frequency of measurements.  (Use appendix and electronic format as necessary).  Include description of data format (headings, units, etc.).

F.	Describe how performance criteria have been met.

G.	Detail any performance deficiencies that need to be addressed by the contractor (ESCO) or the Government (ordering agency).

H.	Note impact of performance deficiencies or enhancements on generation of savings.

J-9.2.4   Expected Savings Calculations and Methodology

A.	Provide detailed description of analysis methodology used.  Describe any data manipulation or analysis that was conducted prior to applying savings calculations.

B.	Detail all assumptions and sources of data, including all stipulated values used in calculations.

C.	Include equations and technical details of all calculations made.  (Use appendix and electronic format as necessary.)  Include description of data format (headings, units, etc.).

D.	Include details of any baseline changes or savings adjustments made.

E.	Detail energy and water rates used to calculate cost savings.

1.	Provide post-acceptance performance period energy and water rate adjustment factors, if used.

2.	Report actual energy and water rates at site for same period (optional).

F.	Detail expected savings for this ECM for the first year.  Include completed Table 5 - Expected Year 1 Savings for ECM, from Section J-9.2.6.D.

J-9.2.5   Details of O&M Savings (if applicable)

A.	Describe source of savings, if applicable.

B.	Describe verification activities.

C.	Provide post-acceptance performance period O&M cost savings adjustment factors, if applicable.

J-9.2.6   Details of other savings (if applicable)

A.	Describe source of savings, if applicable.

B.	Describe verification activities.

C.	Provide post-acceptance performance period adjustment factors, if applicable.

Note:  Expected savings are a prediction for the first year based on post-installation M&V activities.  Verified savings for the first year of post-acceptance performance period will be documented in the annual M&V report.  The proposed savings for each ECM are included in TO Schedule 4 of the Task Order.

D.	Table 5 - Expected Year 1 Savings for ECM

[Include all applicable fuels/commodities for project, such as: electric energy, electric demand, natural gas, fuel oil, coal, water, etc.]

|  | Total energy use (MMBtu/yr)** | Electric energy use (kWh/yr) | Electric energy cost ($/yr) | Electric demand (kW/yr)* | Electric demand cost ($/yr) | Natural gas use (MMBtu/yr)** | Natural gas cost ($/yr) | Water use (gallons/yr) | Water cost ($/yr) | Other energy use (MMBtu/yr)** | Other energy cost ($/yr) | Other energy-related O&M costs ($/yr) | Total costs ($/yr) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Baseline use |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Post-installation use |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Savings |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Notes: MMBtu = 106 Btu. *Annual electric demand savings (kW/yr) is the sum of the monthly demand savings. **If energy is reported in units other than MMBtu, provide a conversion factor to MMBtu for link to cost schedules (e.g., 0.003413 MMBtu/kWh). |  |  |  |  |  |  |  |  |  |  |  |  |  |

[END OF ATTACHMENT J-9]