## 2010 M&V Data_Project
DOE IDIQ ESPC
2010 Estimated and Reported Cost and Energy Savings by Project
| Project # |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55 | 56 | 57 | 58 | 59 | 60 | 61 | 62 | 63 | 64 | 65 | 66 | 67 | 68 | 69 | 70 | 71 | 72 | 73 | 74 | 75 | 76 | 77 | 78 | 79 | 80 | 81 | 82 | 83 | 84 | 85 | 86 | 87 | 88 | 89 | 90 | 91 | 92 | 93 | 94 | 95 | 96 | 97 | 98 | 99 | 100 | 101 | 102 | 103 | 104 | 105 | 106 | 107 | 108 | 109 | 110 | 111 | 112 | 113 | 114 | 115 | 116 | 117 | 118 | 119 | 120 | 121 | 122 | 123 | 124 | 125 | TOTALS
ESTIMATED
| elec energy | kWh | 10556.7913 | 3077.7649 | 7741.0833 | 46068.3395 | 16445.7385 | 28313.1217 | 9758.2414 | 2664.0612 | 4106.9619 | 9540.7821 | 4886.5541 | 8857.9534 | 1034.9854 | 5416.6426 | 13796.8238 | 3718.6444 | 8258.675 | 655.5417 | 89098.9418 | 11602.6744 | 37934.983 | 40563.6483 | 6442.2525 | 1714.6014 | 12542.6078 | 36749.5833 | 10733.5881 | 3825.3791 | 3633.1556 | 7429.1795 | 5695.611 | 80618.7802 | 40207.6383 | 7657.3488 | 10464.5413 | 7294.7448 | 22790.4133 | 726.406 | 10009.6976 | 2848.8421 | 18244.9262 | 1574.6626 | 24385.4174 | 21393.2881 |  | 10184.1702 | 14776.5232 | 18140.4738 | 5951.2071 | 13464.343 | 4088.2928 | 1477.6242 | 4453.9377 | 4045.5125 | 13961.153 | 8365.0889 | 1544.403 |  | 8488.8614 | 1918.9319 | 21259.6009 | 6954.7588 | 6112.4475 | 14892.803 | 27981.774 | 2491.4695 | 10360.711 | 3481.5262 | 3197.8206 | 5076.9672 | 9035.3782 | 106456.5076 | 1309.2405 | 4762.0667 | 15093.86 | 43410.5443 | 4759.9268 | 29481.0094 | 2061.5442 | 3231.8926 | -127.8271 | 29489.9412 | 5599.3883 | 126735.5638 | 5573.4153 | 10452.1009 | 12936.4577 | 6690.2582 | 5184.8385 | 11729.3718 | 7547.1464 |  | 6485.7444 | 11376.3038 | 14653.6336 | 15905.8053 | 8216.6234 | 56702.5854 | 10360.711 | 4663.3014 | 15773.2341 | 35580.525 | 4976.1267 | 29489.9397 | 33995.0363 | 24880.3195 | 30699.8497 | 26144.9896 | 30955.1559 | 5666.3206 | 4373.7288 | 9401.4703 | 15457.5555 | 14199.1585 | 31591.5198 | 19073.8611 | -7080.2275 | 27061.6463 | 26071.0162 | 43348.3116 |  | 5866.4624 | 4660.059 | 7670.2943 | 3895.588 | 6577.8111 | Mbtu
| gas | MMBtu | -5928 | 36559.802 | 15257.2 | 53316 | 5717 | 7196.8745 | 0 | 0 | 0 | 11494.6 | 1362.3 | 13235.5 | 0 | 0 | 8906.8 | 0 | 8188 | 19039 | 8290.7306 | 1642 | 44941.3 | 109176 | 16351 | 318 | -194.8 | 17070 | -265 | 1150 | 5895.6 | 6234 | 0 | 70647 | 73542.0195 | 3468 |  |  | 74994 | 5755.7763 |  | 7117.26 | 92754.5 | 32762.5 | 4698 |  | 12805.9 | 24017.2 | 22795.05 | 23.7 | -217.724 | 2256 |  | 121 | 21126 | 19456.012 | 5704 | 2772 | 3435.3 |  | 3402 | 8828.7 | 31119.7 | 13068.3 | 16684.8 | -10853.7 | -1662 | 0 | 19211 | 22325 | 9335.1 | -13146.9 | 39648 | 29219 | 1844.7 | -380 |  | -1820 | 16470 |  | 6491.85 | 12198 | -4521 |  |  | -202600 | 1631.76 | 11435 |  | -391518 | 589460 | 112686 |  |  | 23262 | 13803 | 15576 | 38373 | 5393 |  | 19211 | 3319 |  | 46450 | 11018 | -4479.8465 | 111197 | 6986.0547 | 26781 | 8427 | -50635.8975 |  | 151 |  | 53310 |  | 27279 | 38588 |  | 36335 | 4403 |  | 40729 | 4375 | -39032 | 6429 |  | 1630792.0217 | Mbtu
| oil | Mbtu | 31: 1102; 32: 0; 41: 3384.448; 44: 44272.943; 69: 3242.1; 70: 20929.5; 81: 286; 83: 27946.65; 84: -9898.2; 85: 0; 88: -43113; 91: 45987; 96: -3; 105: 48532; 106: 0; 108: 18493; 109: 502.1614 | 161663.6025 | Mbtu
| steam | Mbtu | 36: 33166; 37: 17218; 39: 16838.33; 44: 21183; 75: 7588; 81: 56834; 91: 35239; 92: 18628; 98: 946; 100: 10664.004; 109: 107907.9895; 112: 1180; 117: 43594; 118: 17866; 120: 15081; 125: 1502 | 405435.3235 | Mbtu
| coal |  | 37: -55797; 88: 606768 | 550971 | Mbtu
| chilled water |  | 100: 11850.576 | 11850.576 | Mbtu
| other |  | 36: 2721; 49: 0; 54: 8879.6806; 55: 0; 56: 0; 57: 0; 80: 1280; 82: 65748; 93: 11865; 104: 65747.8922; 123: 84235 | 240476.5728 | Mbtu
| total | MMBtu | 4629 | 39637.5669 | 22998.2833 | 99384.3395 | 22162.7385 | 24373.1217 | 9758.2414 | 2664.0612 | 4106.9619 | 21035.3821 | 6248.8541 | 22094 | 1034.9854 | 5416.6426 | 22703.6238 | 3718.6444 | 16446.675 | 19694.5417 | -120469.0582 | 13244.6744 | 82876.283 | 150285 | 22791.6292 | 2039 | 12344.6473 | 53819.5833 | 10468.5881 | 4975.3791 | 9528.7556 | 13663.1795 | 6797.611 | 151120 | 25993.5069 | 11125.3488 | 10464.5413 | 43181.7448 | 59204 | 6482.1823 | 26845.5054 | 9965.3843 | 114379.2769 | 34337 | 29090.4623 | 86849.2311 | 12805.9 | 34201.3702 | 37567.8498 | 18164.1738 | 5737.7076 | 15720.343 | 4088.2928 | 1598.6242 | 25579.9377 | 32381.2051 | 19665.153 | 11137.0889 | 4979.703 |  | 11890.8614 | 10747.6319 | 52379.3009 | 20023.0588 | 22797.2475 | 4035.3503 | 26319.774 | 2491.4695 | 29571.711 | 25806.5262 | 15775.0206 | 12859.5672 | 48683.3782 | 135675.5076 | 3153.9405 | 4382.0667 | 22681.859 | 41590.5443 | 21229.9268 | 29481.0094 | 8553.3942 | 16709.8926 | 52471.52 | 95237.9412 | 33546.0383 | -85499 | -1792.5847 | 21886 | 12933.198 | 178827 | 594644.8385 | 124415 | 88773 | 18628 | 41339 | 25180 | 30235 | 52169.7974 | 13609 | 57648.5854 | 29571.711 | 30496.8814 | 15773.2341 | 82030.525 | 15994.1267 | 73695.4634 | 193724.0363 | -22242.6805 | 57480.8497 | 53064.9896 | 88729.4094 | 5666.3206 | 4524.7288 | 9403 | 68763 | 14199.1585 | 58871 | 57662 | 36514 | 81262.6463 | 30474.0162 | 58429.3116 | 40729 | 10241.4624 | 49863.059 | 14099.2943 | 5397.588 | 3007766.9075 | Mbtu
Estimated Cost Savings | Electric | $
| Demand | $
| Gas | $
| Water | $
| Chilled Water | $
| Other | $
| Steam | $
| Oil | $
| Energy | $ | [125 empty] | 0
| O&M | $ | [125 empty] | 0
| Total | $ | 277090 | 497632 | 264922 | 815531 | 742672 | 1476509 | 483957 | 97186 | 112224 | 325772 | 251571 | 478631 | 29256 | 187620 | 267061 | 58576 | 689866 | 456017 | 1829250 | 558906 | 793374 | 1354792 | 315695 | 340416 | 255946 | 1003485 | 202284 | 438960 | 83311 | 224931 | 116306 | 2080049 | 764868 | 145119 | 179659 | 344236 | 1226670 | 83678 | 259962 | 96209 | 795298 | 505397 | 496802 | 626280 | 320542 | 314929 | 309059 | 394664 |  | 302170 | 180855 | 60676 | 198166 | 282896 | 209738 | 269178 | 38365 | 100595 | 217789 | 79821 | 833636 | 925457 | 435660 | 211203 | 784053 | 73615 | 1335462 | 1220304 | 137471 | 138192 | 819358 | 3079526 | 57315 | 164745 | 365719 |  | 639402 | 671771 | 266717 | 379147 | 1068689 | 1123088 | 633456 | 4225097 | 169597 | 447533 | 265210 | 2130648 | 4225155 | 1395485 | 2001050 | 195827 | 534571 | 260501 | 474778 | 790710 | 1077392 | 1089972 | 1335462 | 527520 | 335320 | 1207954 | 229389 | 989999 | 2136557 | 671626 | 1435335 | 885888 | 3030701 | 246059 | 187047 | 146275 | 627657 | 337597 | 1212999 | 916631 | 706571 | 3853500 | 506310 | 704356 | 402011 | 124818 | 640947 | 262185 | 653793 | 84875438
REPORTED
| elec energy | kWh | 10556.7913 | 5130.3704 | 7561.2489 | 45885.8805 | 16373.1678 | 28352.4907 | 10186.2111 | 2754.7586 | 4106.9619 | 9147.0004 | 5316.5734 | 9669.4283 | 985.8894 | 5573.9375 | 13418.3494 | 3791.7816 | 8182.1555 | 774.3824 | 89098.9418 | 11133.3732 | 37934.983 | 41856.2095 | 7933.4229 | 1714.6014 | 11479.4241 | 35614.6789 | 10848.1557 | 4478.7229 | 2580.2724 | 7429.1795 | 6156.9223 | 80618.7802 | 39833.2425 | 8013.7411 | 10464.5413 | 7734.5611 | 24858.7015 | 1086.177 | 8892.4316 | 2761.0863 | 17126.0449 | 1365.101 | 24185.03 | 22642.4905 | 5244.4533 | 9804.3988 | 14490.0417 | 19340.9249 | 5118.9983 | 13613.9826 | 4425.661 | 1892.9078 | 3835.4577 | 4227.7974 | 13984.416 | 8365.0889 | 1544.403 | 5799.4242 | 9888.9047 | 1918.9319 | 21140.1357 | 6627.3429 | 6112.4475 | 14892.803 | 27981.774 | 2491.4695 | 10360.711 | 3481.5262 | 2804.8853 | 5075.9501 | 9035.3782 | 107386.1712 | 1309.2405 | 4762.0667 | 15725.3 | 63007 | 4936.8772 | 29481.0094 | 2122.2068 | 2845.715 | 1196.0415 | 26184.6384 | 5872.7559 | 126735.5638 | 4769.1965 | 10636.6862 | 13198.9004 | 6082.3039 | 5184.8385 | 11831.0519 | 7910.8459 |  | 6529.3625 | 11376.3038 | 14989.8482 | 14637.3502 | 6880.0073 | 55764.2118 | 10360.711 | 4746.2202 | 18781.2578 | 35580.525 | 4074.2414 | 29489.9397 | 33505.7794 | 21975.3138 | 31094.9147 | 27148.5105 | 40474.1561 | 5714.7716 | 4402.4662 | 10106.5517 | 16016.3592 | 14199.1585 | 31526.1882 | 20783.5966 | -7080.2275 | 24669.0138 | 26071.0162 | 43348.3116 |  | 5993.4055 | 4660.059 | 7706.5165 | 3054.8466 | 6719.7448 | Mbtu
| gas | MMBtu | -5928 | 36895.7 | 15231.2 | 54669 | 5717 | 7196.8745 | 0 | 0 | 0 | 18879.6 | 5522.5 | 13753.6 | 0 | 0 | 8225.8 | 0 | 9663.9 | 20099.7 | 8290.7306 | 1642 | 44941.3 | 151296 | 13405.6 | 318 | -1057.9 | 16266 | -321 | 1150 | 3264.9 | 6234 | 0 | 70647 | 68184.2328 | 3474.1 |  |  | 74994 | 5755.8 |  | 6978.6 | 91030 | 33363.7 | 4697.9 |  | 12805.9 | 23597.3 | 25451.6 | 23.7 | -296.9815 | 1982 | 60.2 | -23.558 | 19053 | 19391 | 5704 | 2772 | 3435.3 | 2818.6 | 17881 | 8828.7 | 30578.7 | 22138.7 | 16684.8 | -10853.7 | -1662 | 0 | 19211 | 22325 | 9075.1 | -13146.9 | 39648 | 29219 | 1844.7 | -380 |  | -1820 | 16542 |  | 6817.65 | 12198 | -3442 |  |  | -202600 | 1567.657 | 11452 |  | -370103 | 589460 | 112686 |  |  | 21760 | 15386 | 15676 | 26292 | 5791 |  | 19211 | 3342 |  | 46450 | 9455 | -4479.8465 | 108537 | -7798.3511 | 26136 | 6064 | -48036 |  | 165 |  | 22685 |  | 23504 | 38290 |  | 24839 | 4403 |  | 10296.2 | 4352 | -5295 | 6096 |  | 1648527.3079 | Mbtu
| oil | Mbtu | 31: 1267; 32: 0; 41: 3472; 44: 44442.398; 69: 3151.95; 70: 20929.5; 81: 314; 83: 29217.75; 84: -9898.2; 85: 0; 88: -40764; 91: 44827; 96: -2.5964; 105: 45486; 106: 0; 108: 19911; 109: 535 | 162888.8016 | Mbtu
| steam | Mbtu | 36: 33866; 37: 19682; 39: 11936; 44: 19191; 51: 6267; 75: 7588; 81: 70372; 91: 35654; 92: 18628; 98: 946; 100: 10845.414; 109: 109037; 112: 1180; 117: 43594; 118: 17866; 120: 15081; 125: 1424 | 423157.414 | Mbtu
| coal |  | 37: -55797; 88: 606768 | 550971 | Mbtu
| chilled water |  | 100: 11012.592 | 11012.592 | Mbtu
| other |  | 36: 3709; 49: 855; 54: 8879.6806; 55: 0; 56: 0; 57: 0; 80: 1280; 82: 71972; 93: 11658; 104: 65747.8922; 123: 84235 | 248336.5728 | Mbtu
| total | MMBtu | 4629 | 42026 | 22792.4489 | 100555 | 22090.1678 | 24412.4907 | 10186.2111 | 2754.7586 | 4106.9619 | 28026.6004 | 10839.0734 | 23423 | 985.8894 | 5573.9375 | 21644.1494 | 3791.7816 | 17846.0555 | 20874.0824 | -120469.0582 | 12775.3732 | 82876.283 | 193765 | 21337 | 2039 | 10421 | 51880.6789 | 10527.1557 | 5628.7229 | 5845.1724 | 13663.1795 | 7423.9223 | 151120 | 20373.2054 | 11487.8411 | 10464.5413 | 45309.5611 | 63738 | 6841.977 | 25730 | 9740 | 111633 | 34727 | 28890 | 86275.8885 | 18050.3533 | 33401.6988 | 39941.6417 | 19364.6249 | 5677.0168 | 15595.9826 | 10752.861 | 1869.3498 | 22888.4577 | 32498 | 19688.416 | 11137.0889 | 4979.703 | 8618.0242 | 27769.9047 | 10747.6319 | 51718.8357 | 28766.0429 | 22797.2475 | 4035.3503 | 26319.774 | 2491.4695 | 29571.711 | 25806.5262 | 15031.9353 | 12858.5501 | 48683.3782 | 136605.1712 | 3153.9405 | 4382.0667 | 23313.3 | 61187 | 21478.8772 | 29481.0094 | 8939.8568 | 16323.715 | 68439.99 | 289265 | 35090.5059 | -85499 | -721.8035 | 22088 | 13199 | 201984 | 594644.8385 | 124517 | 88394 | 18628 | 39948 | 26762 | 30669 | 38815 | 12671 | 56710.2118 | 29571.711 | 29946.2262 | 18781.2578 | 82030.525 | 13529.2414 | 73695.4634 | 187528.7794 | -33284.6862 | 57230.9147 | 53123.5105 | 102010.1561 | 5714.7716 | 4567.4662 | 10108 | 38701 | 14199.1585 | 55030 | 59074 | 36514 | 67374 | 30474.0162 | 58429.3116 | 10296.2 | 10345.4055 | 83600.059 | 13802.5165 | 4478.8466 | 3051613.4332 | Mbtu
Reported Cost Savings | Electric | $
| Demand | $
| Gas | $
| Water | $
| Chilled Water | $
| Other | $
| Steam | $
| Oil | $
| Energy | $ | [125 empty] | 0
| O&M | $ | [125 empty] | 0
| Total | $ | 277090 | 520045 | 284073 | 816335 | 739779 | 1477901 | 499911 | 98911 | 102492 | 396655 | 258250 | 520140 | 28370 | 193508 | 251733 | 61540 | 684339 | 432914 | 1829250 | 552778 | 840335 | 1685039 | 318956 | 352343 | 260857 | 970690 | 204371 | 461468 | 81341 | 227513 | 125528 | 2080049 | 769717 | 151206 | 179659 | 360002 | 1272409 | 90613 | 245815 | 94863 | 775780 | 499558 | 494886 | 638828 | 313716 | 300894 | 345444 | 425968 | 144472 | 313274 | 187444 | 57224 | 222139 | 313557 | 209674 | 269178 | 46841 | 92488 | 309906 | 79821 | 869421 | 948411 | 435660 | 211203 | 784053 | 73615 | 1335462 | 1220304 | 126205 | 139161 | 819358 | 3096854 | 74022 | 164745 | 380575 | 821905 | 648277 | 671771 | 269858 | 371340 | 1144005 | 1144424 | 707501 | 4404214 | 143748 | 454139 | 270590 | 2217546 | 4225155 | 1397082 | 2011378 | 195827 | 504295 | 269167 | 483384 | 762227 | 1052695 | 906595 | 1335462 | 522590 | 397731 | 1207954 | 213104 | 1137646 | 2437737 | 594274 | 1433518 | 892717 | 3102680 | 247152 | 188471 | 156408 | 417316 | 404328 | 1080780 | 932415 | 706571 | 3623422 | 506310 | 704356 | 101627 | 126261 | 968227 | 259309 | 979515 | 87273933
| Guaranteed Cost Savings |  | 274319 | 497631 | 272551 | 693200 | 729369 | 1449535 | 475818 | 94756 | 102351 | 223772 | 251571 | 464251 | 29267 | 180115 | 251038 | 58577 | 662270 | 424007 | 1777905 | 523846 | 806476 | 1334428 | 298561 | 43599 | 228460 | 953311 | 168914 | 438961 | 76295 | 222268 | 116306 | 2080049 | 714387 | 126112 | 179659 | 315113 | 1157716 | 80665 | 230009 | 94286 | 755534 | 461543 | 476930 | 572947 | 287159 | 290769 | 290827 | 370983 | 112628 | 281955 | 168340 | 60307 | 188259 | 286077 | 208790 | 267850 | 37360 | 90835 | 294716 | 79821 | 783618 | 783618 | 406203 | 211203 | 689966 | 73615 | 1310493 | 1220304 | 125879 | 128922 | 819359 | 2711848 | 72371 | 152834 | 345474 | 803373 | 567777 | 671771 | 266717 | 334215 | 1068689 | 1123088 | 633456 | 4303564 | 173311 | 438583 | 265210 | 2125791 | 4225155 | 1393209 | 1982955 | 195827 | 464517 | 252919 | 455787 | 751174 | 1032562 | 1090373 | 1310493 | 406187 | 302323 | 1207954 | 210580 | 1090337 | 2136557 | 654836 | 1425780 | 837965 | 3030701 | 227506 | 187047 | 138960 | 595795 | 331380 | 977490 | 916631 | 686417 | 3808152 | 506310 | 704356 | 402011 | 118577 | 495878 | 249076 | 553608 | 82653991
| Surplus/Shortfall to Guarantee |  | 2771 | 22414 | 11522 | 123135 | 10410 | 28366 | 24093 | 4155 | 141 | 172883 | 6679 | 55889 | -897 | 13393 | 695 | 2963 | 22069 | 8907 | 51345 | 28932 | 33859 | 350611 | 20395 | 308744 | 32397 | 17379 | 35457 | 22507 | 5046 | 5245 | 9222 | 0 | 55330 | 25094 | 0 | 44889 | 114693 | 9948 | 15806 | 577 | 20246 | 38015 | 17956 | 65881 | 26557 | 10125 | 54617 | 54985 | 31844 | 31319 | 19104 | -3083 | 33880 | 27480 | 884 | 1328 | 9481 | 1653 | 15190 | 0 | 85803 | 164793 | 29457 | 0 | 94087 | 0 | 24969 | 0 | 326 | 10239 | -1 | 385006 | 1651 | 11911 | 35101 | 18532 | 80500 | 0 | 3141 | 37125 | 75316 | 21336 | 74045 | 100650 | -29563 | 15556 | 5380 | 91755 | 0 | 3873 | 28423 | 0 | 39778 | 16248 | 27597 | 11053 | 20133 | -183778 | 24969 | 116403 | 95408 | 0 | 2524 | 47309 | 301180 | -60562 | 7738 | 54752 | 71979 | 19646 | 1424 | 17448 | -178479 | 72948 | 103290 | 15784 | 20154 | -184730 | 0 | 0 | -300384 | 7684 | 472349 | 10233 | 425907
Reported Cost Savings: M&V Method
| A |  | 277090 | 520045 | 284073 | 240357 | 739779 | 1477901 | 499911 | 98911 | 102492 | 396655 | 258250 | 520140 | 28370 | 10453 | 186094 | 38564 | 126338 | 383989 | 931910 | 360161 | 840335 | 882928 |  | 43599 | 260857 | 683099 | 170460 | 346209 | 65228 | 227513 | 65466 | 2080051 | 106413 | 151206 | 179659 | 223952 | 331755 | 90613 | 111199 | 94863 | 775780 | 499558 | 494886 | 379138 |  | 269913 | 345444 | 425968 | 144472 | 313274 | 187444 | 57224 | 222139 | 90637 | 209674 | 269178 | 17560 | 81462 | 285857 | 45862 | 869421 | 156475 | 435660 | 211203 | 53143 | 73615 | 1335462 | 274028 | 126205 | 139161 | 819358 | 3096854 | 74022 | 150578 | 380575 | 821905 | 20897 | 671771 |  | 139791 | 357600 | 1144424 | 707501 | 3658357 | 43123 | 454139 | 270590 | 2217546 | 4225155 | 1397082 | 2011378 | 195827 | 449667 | 153722 | 458709 | 680789 | 996769 | 327828 | 1335462 | 3964 | 36006 | 1207954 | 145774 | 1137646 | 2437737 | 229369 | 513683 | 506904 | 3102680 | 247152 | 188471 | 25270 | 90132 | 162174 | 741835 | 661196 | 706571 | 3623422 | 506310 | 704356 |  | 126261 |  |  | 6935 | 67599952
| B |  | 4: 523244; 15: 65638; 16: 22976; 17: 431662; 18: 48925; 19: 897340; 20: 192617; 22: 802111; 26: 287591; 27: 33911; 29: 16113; 31: 60062; 33: 663304; 36: 136050; 37: 905939; 39: 134616; 44: 259690; 46: 30981; 54: 222920; 58: 11026; 59: 24049; 60: 33959; 62: 342540; 65: 730910; 80: 96690; 81: 58855; 84: 745857; 85: 87066; 93: 47253; 95: 24675; 96: 81438; 97: 55926; 98: 578767; 101: 360949; 103: 67330; 106: 364905; 107: 919835; 112: 131138; 114: 242154; 116: 271219; 121: 101627; 123: 933111 | 12046969
| C |  | 4: 52734; 17: 126339; 23: 318956; 28: 115259; 37: 34715; 74: 14167; 85: 13559; 93: 7375; 94: 115445; 101: 776 | 799325
| D |  | 14: 183055; 45: 313716; 57: 29281; 62: 449396; 77: 627380; 80: 134859; 81: 727548; 100: 518626; 108: 385813; 113: 327184; 115: 338945; 123: 968227; 124: 259309; 125: 979515 | 6242854
86689100
| Shortfall responsibility |  | 13: ESCO; 52: ESCO; 85: ESCO; 98: AGENCY; 106: ESCO; 113: ESCO; 118: AGENCY; 121: ESCO
| ECM Category tied to shortfall |  | 13: 5; 52: 13; 85: 10; 98: 16; 106: 10; 113: 4; 118: 4; 121: 1
| M&V Option tied to shortfall |  | 13: A; 52: A; 85: B; 98: A; 106: B; 113: D; 118: A; 121: B
| Shortfall due to technology performance issue? |  | 13: NO; 52: YES; 85: YES; 98: NO; 106: YES; 113: NO; 118: NO; 121: YES

## Surplus-Shortfall Summary
Summary of Surplus and Shortfalls to Guaranteed Savings
| Qty | Total $ Excess/(Shortfall) to Guarantee | Average $ Excess/(Shortfall) to Guarantee
Projects with reported savings exceeding guarantee | 104 | 5561419 | 53475.1827
Projects with reported savings equal to guarantee | 12 | N/A | N/A
Projects with reported savings less than guarantee (shortfalls) | 9 | -941477 | -104608.5556
Shortfall Responsibility | Qty | Total $ Shortfall to Guarantee | Average $ Shortfall to Guarantee
ESCO | 6 | -572968 | -95494.6667
Agency | 2 | -368508 | -184254

## ECM Tech Categories
ECM Technology Category | ECM Description
1 | Boiler Plant Improvements
2 | Chiller Plant Improvements
3 | Building Automation System (BAS) / Energy Management Control Systems (EMCS)
4 | Heating, Ventilating, and Air Conditioning
5 | Lighting Improvements
6 | Building Envelope Modifications
7 | Chilled Water, Hot Water, and Steam Distribution Systems
8 | Electric Motors and Drives
9 | Refrigeration
10 | Distributed Generation
11 | Renewable Energy Systems
12 | Energy/Utility Distribution Systems
13 | Water and Sewer Conservation Systems
14 | Electric Peak Shaving / Load Shifting
15 | Energy Cost Reductions Through Rate Adjustments
16 | Energy Related Process Improvements
17 | Commissioning
18 | Advanced Metering Systems
19 | Appliance/Plug Load Reduction
99 | Ground Source Heat Pump

## M&V Options
﻿M&V Option | Performance1 and Usage2 Factors | Savings Calculation
Option A – Estimated and Short-Term Measured Factors | Based on a combination of measured and estimated factors. Measurements are spot or short-term taken at the component or system level. Estimated (non-measured) factors are supported by historical or manufacturer’s data. | Engineering calculations, component or system models.
﻿Option B – Periodically or Continuously Measured and Estimated Factors | Based on periodic or continuous measurements taken at the component or system level when variations in factors are expected. Spot or short-term measurements may suffice when variations in factors are not expected. | Engineering calculations, component or system models.
Option C – Utility Billing Data Analysis | Based on long-term whole-building utility meter, facility level, or sub-meter data. | Based on regression analysis of utility billing meter data to account for factors that drive energy use.
Option D – Calibrated Computer Simulation | Computer simulation inputs may be based on a combination of the following: reasonable assumptions based on historical data gathered at facilities, performance specifications of equipment or system being installed, engineering estimates, spot-, short-term, or long-term measurements of system components, and long-term whole-building utility meter data. | Based on computer simulation model calibrated with whole-building or end-use metered data or both.