## Figure Key
2013 Distributed Wind Market Report
Figure | Caption
1 | 2013 Distributed Wind Market Applications (a) by Project and (b) by Capacity
2 | U.S. Distributed Wind Capacity
3 | Wind Turbine Deployments (units), 2003-2013
4 | Wind Turbine Deployments (units), 2013
5 | U.S. Small Wind Domestic, Imports, and Export Sales, 2003-2013
6 | U.S. Small Wind Turbine Sales by Turbine Size, 2007-2013
7 | Distributed Wind Capacity by Type and Average Turbine Size
8 | 2013 U.S. Distributed Wind Capacity Additions
9 | 2003-2013 Cumulative U.S. Distributed Wind Capacity
10 | Top States for Distributed Wind Capacity, 2003-2013
11 | Top States for Small Wind Capacity, 2003-2013
12 | Small Wind Turbine Sales
13 | Manufacturer Country of Origin Market Shares for 2013 U.S. Distributed Wind Deployments by Capacity
14 | Manufacturer Country of Origin Market Shares for 2013 U.S. Small Wind Turbine Sales by Capacity
15 | 2013 U.S. Distributed Wind Incentive Awards
16 | 2013 Small Wind Turbine Installed Costs
17 | Levelized Costs of Energy and Capacity Factors for Selected Distributed Wind Projects

## Figure 1
Figure 1: 2013 Distributed Wind Market Applications (a) by Project and (b) by Application
All data contained in the figure are shown.

## Figure 2
Figure 2: U.S. Distributed Wind Capacity
| Turbine Size |  | All Distributed Wind Cumulative
| < 100 kW | > 100 kW
Year | (MW) | (MW) | (MW)
2003 | 3.2 | 29 | 32
2004 | 4.9 | 26 | 64
2005 | 3.3 | 22 | 89
2006 | 8.6 | 57 | 155
2007 | 9.7 | 41 | 206
2008 | 17.4 | 86 | 309
2009 | 20.4 | 101 | 430
2010 | 25.6 | 74 | 530
2011 | 19 | 89 | 638
2012 | 18.4 | 156 | 812
2013 | 5.6 | 24.8 | 843
Note: Rounding of figures accounts for a few apparent variances in totals presented.

## Figure 3
Figure 3: Wind Turbine Deployments (units), 2003 - 2013
All data contained in the figure are shown.

## Figure 4
Figure 4: Wind Turbine Deployments (units), 2013
All data contained in the figure are shown.

## Figure 5
Figure 5: U.S. Small Wind Domestic, Imports, and Export Sales, 2003 - 2013
Years | U.S. Manufacturer Exports | Imports from Non-U.S. Suppliers | U.S. Manufacturer Domestic Sales | U.S. Domestic Refurbished Installations | Cumulative U.S. and Exported Small Wind Capacity
| (MW) | (MW) | (MW) | (MW) | (MW)
2003-2006 | 7 | 4 | 16 | None reported | 27
2003-2007 | 11 | 5 | 25 | None reported | 41
2003-2008 | 16 | 9 | 38 | None reported | 63
2003-2009 | 26 | 13 | 55 | None reported | 93
2003-2010 | 34 | 17 | 76 | None reported | 127
2003-2011 | 51 | 21 | 91 | None reported | 164
2003-2012 | 59 | 24 | 97 | 10 | 190
2003-2013 | 73 | 25 | 101 | 11 | 209
Note: Rounding of figures accounts for a few apparent variances in totals presented.

## Figure 6
Figure 6: U.S. Small Wind Turbine Sales by Turbine Size, 2007-2013
Year | Capacity Installed for Turbines Rated 0.1-0.9 kW | Capacity Installed for Turbines Rated 1-10 kW | Capacity Installed for Turbines Rated 11-100 kW | Total Small Wind Capacity Installed
| (MW) | (MW) | (MW) | (MW)
2007 | 3.1 | 4.3 | 2.4 | 9.8
2008 | 2.8 | 7.6 | 7.0 | 17.4
2009 | 2.9 | 8.0 | 9.5 | 20.4
2010 | 1.5 | 8.3 | 15.9 | 25.6
2011 | 1.7 | 5.7 | 11.6 | 19.0
2012 Newly Manufactured | 0.6 | 3.7 | 4.5 | 8.9
2012 Refurbished | None Reported | None Reported | 9.5 | 9.5
2013 Newly Manufactured | 0.6 | 1.6 | 2.8 | 5.0
2013 Refurbished | None Reported | None Reported | 0.6 | 0.6
Total | 13.2 | 39.2 | 63.8 | 116
Note: Rounding of figures accounts for a few apparent variances in totals presented.

## Figure 7
Figure 7: Distributed Wind Capacity by Type and Average Turbine Size
Year | Average Wind Turbine Size (all distributed applications)
(kW)
2007 | 6
2008 | 10
2009 | 12
2010 | 12
2011 | 15
2012 | 47
2013 | 11
All other data contained in the figure are shown.

## Figure 8
Figure 8: 2013 U.S. Distributed Wind Capacity Additions
State | Capacity Addition Bin
Alabama | No installations reported
Alaska | 2.6-5.0 MW
Arizona | 2 kW-100 kW
Arkansas | No installations reported
California | 2 kW-100 kW
Colorado | 5.0-8.1 MW
Connecticut | No installations reported
Delaware | No installations reported
Florida | 101 kW-500 kW
Georgia | No installations reported
Hawaii | 101 kW-500 kW
Idaho | 2 kW-100 kW
Illinois | 101 kW-500 kW
Indiana | 501 kW-1.0 MW
Iowa | 501 kW-1.0 MW
Kansas | 2.6-5.0 MW
Kentucky | No installations reported
Louisiana | 2 kW-100 kW
Maine | 2 kW-100 kW
Maryland | 2 kW-100 kW
Massachusetts | 2.6-5.0 MW
Michigan | 2 kW-100 kW
Minnesota | 501 kW-1.0 MW
Mississippi | No installations reported
Missouri | 2 kW-100 kW
Montana | 2 kW-100 kW
Nebraska | 2 kW-100 kW
Nevada | 1.1-2.5 MW
New Hampshire | 2 kW-100 kW
New Jersey | 2 kW-100 kW
New Mexico | No installations reported
New York | 101 kW-500 kW
North Carolina | 2 kW-100 kW
North Dakota | 1.1-2.5 MW
Ohio | 2.6-5.0 MW
Oklahoma | 101 kW-500 kW
Oregon | 2 kW-100 kW
Pennsylvania | 2 kW-100 kW
PR-VI | 501 kW-1.0 MW
Rhode Island | No installations reported
South Carolina | No installations reported
South Dakota | 2 kW-100 kW
Tennessee | 2 kW-100 kW
Texas | 101 kW-500 kW
Utah | No installations reported
Vermont | 101 kW-500 kW
Virginia | No installations reported
Washington | 2 kW-100 kW
West Virginia | No installations reported
Wisconsin | 2 kW-100 kW
Wyoming | No installations reported

## Figure 9
Figure 9: 2003-2013 Cumulative U.S. Distributed Wind Capacity
State | Capacity Addition Bin
Alabama | 30-100 kW
Alaska | 10.1-100 MW
Arizona | 1.1-5.0 MW
Arkansas | 101 kW-1.0 MW
California | 10.1-100 MW
Colorado | 10.1-100 MW
Connecticut | 101 kW-1.0 MW
Delaware | 1.1-5.0 MW
Florida | 101 kW-1.0 MW
Georgia | 101 kW-1.0 MW
Hawaii | 101 kW-1.0 MW
Idaho | 1.1-5.0 MW
Illinois | 10.1-100 MW
Indiana | 5.1-10 MW
Iowa | 101-181 MW
Kansas | 5.1-10 MW
Kentucky | 101 kW-1.0 MW
Louisiana | 101 kW-1.0 MW
Maine | 5.1-10 MW
Maryland | 1.1-5.0 MW
Massachusetts | 10.1-100 MW
Michigan | 1.1-5.0 MW
Minnesota | 101-181 MW
Mississippi | 30-100 kW
Missouri | 5.1-10 MW
Montana | 1.1-5.0 MW
Nebraska | 5.1-10 MW
Nevada | 10.1-100 MW
New Hampshire | 1.1-5.0 MW
New Jersey | 10.1-100 MW
New Mexico | 1.1-5.0 MW
New York | 5.1-10 MW
North Carolina | 101 kW-1.0 MW
North Dakota | 5.1-10 MW
Ohio | 10.1-100 MW
Oklahoma | 1.1-5.0 MW
Oregon | 1.1-5.0 MW
Pennsylvania | 5.1-10 MW
PR-VI | 1.1-5.0 MW
Rhode Island | 5.1-10 MW
South Carolina | 30-100 kW
South Dakota | 1.1-5.0 MW
Tennessee | 101 kW-1.0 MW
Texas | 101-181 MW
Utah | 101 kW-1.0 MW
Vermont | 10.1-100 MW
Virginia | 101 kW-1.0 MW
Washington | 10.1-100 MW
West Virginia | 101 kW-1.0 MW
Wisconsin | 10.1-100 MW
Wyoming | 5.1-10 MW

## Figure 10
Figure 10: Top States for Distributed Wind Capacity, 2003-2013
State | 2003-2010 Cumulative Distributed Wind Capacity | 2011 Cumulative Distributed Wind Capacity | 2012 Distributed Wind Capacity | 2013 Distributed Wind Capacity | 2003-2013 Cumulative Capacity
| (MW) | (MW) | (MW) | (MW) | (MW)
Texas | 159 | 9.9 | 11.9 | 0.2 | 181
Minnesota | 98.2 | 23.7 | 1.8 | 0.6 | 124
Iowa | 69.9 | 12.6 | 36.9 | 0.8 | 120
California | 37.9 | 5.1 | 22.8 | 0 | 65.8
Massachusetts | 21.5 | 12.8 | 27.1 | 3.4 | 64.9
Ohio | 14.7 | 6.2 | 11.3 | 3.6 | 35.8
Colorado | 15.4 | 5.1 | 0.1 | 8.1 | 28.7
Wisconsin | 6.5 | 1.4 | 18.4 | 0.1 | 26.3
Illinois | 14.2 | 2.7 | 4.6 | 0.1 | 21.6
Washington | 8 | 0.4 | 4.4 | 0 | 12.7
Alaska | 5.9 | 2.5 | 1.3 | 2.8 | 12.6
Vermont | 1.3 | 0.2 | 10.2 | 0.2 | 12
Nevada | 0.6 | 3 | 7 | 1.2 | 11.8
New Jersey | 9 | 0.3 | 1.5 | 0.1 | 10.9
New York | 3.1 | 4 | 2.1 | 0.4 | 9.6
Rhode Island | 2.5 | 0.2 | 6.6 | None Reported | 9.3
Note: Rounding of figures accounts for a few apparent variances in totals presented.

## Figure 11
Figure 11: Top States for Small Wind Capacity, 2003 - 2013
State | 2003-2010 | 2011 | 2012 | 2013 | Cumulative 2003-2013
| (MW) | (MW) | (MW) | (MW) | (MW)
Iowa | 9.9 | 1.8 | 2.2 | 0.9 | 14.8
Nevada | 0.6 | 3 | 7 | 1.2 | 11.8
California | 8.9 | 0.6 | 0.4 | 0 | 9.9
Alaska | 4.8 | 2.5 | 1.3 | 0.1 | 8.8
Ohio | 5.1 | 3 | 0.4 | 0.1 | 8.7
Minnesota | 5.3 | 0.9 | 1.8 | 0.6 | 8.6
Wisconsin | 6.5 | 1.4 | 0.5 | 0.1 | 8.4
Texas | 7.3 | 0.7 | 0 | 0.2 | 8.3
New York | 3.1 | 0.7 | 1.3 | 0.4 | 5.4
Massachusetts | 3.5 | 0.1 | 0.4 | 0 | 4.1
Kansas | 2.5 | 0.6 | 0.8 | 0.2 | 4
Michigan | 3.4 | 0.1 | 0.2 | 0 | 3.7
Pennsylvania | 2.3 | 0.2 | 0.1 | 0.1 | 2.7
Montana | 2.6 | 0.1 | 0 | 0 | 2.7
Maine | 2.4 | 0 | 0.1 | 0 | 2.6
Wyoming | 1.9 | 0.6 | 0.1 | 0 | 2.5
Illinois | 1.6 | 0.5 | 0.2 | 0.2 | 2.4
Arizona | 2.2 | 0.1 | 0 | 0 | 2.3
Note: Rounding of figures accounts for a few apparent variances in totals presented.

## Figure 12
Figure 12: Small Wind Turbine Sales
Year | U.S. Manufacturer Domestic Sales | U.S. Manufacturer Exports | Imports from Non-U.S. Suppliers
| (MW) | (MW) | (MW)
2006 | 7.1 | 3.4 | 1.5
2007 | 8.7 | 4.3 | 1.1
2008 | 13 | 5 | 4.4
2009 | 16.8 | 9.8 | 3.6
2010 | 19.2 | 7.8 | 4.4
2011 | 15.2 | 17.7 | 3.8
2012 | 6.3 | 8 | 2.6
2013 | 4.3 | 13.6 | 0.7
Note: Rounding of figures accounts for a few apparent variances in totals presented.

## Figure 13
Figure 13: Manufacturer Country of Origin Marke Shares for 2013 U.S. Distributed Wind Deployments by Capacity
All data contained in the figure are shown.

## Figure 14
Figure 14: Manufacturer Country of Origin Market Shares for 2013 U.S. Small Wind Turbine Sales by Capacity
All data contained in the figure are shown.

## Figure 15
Figure 15: 2013 U.S. Distributed Wind Incentive Awards
| Section 1603 |  | State/Local |  | USDA Grants
State | Award Value | Number of Awards | Award Value | Number of Awards | Award Value | Number of Awards | Total Award Value | Total Number of Awards
Iowa | 1729375 | 6 | 1354737 | 4 | 435347 | 11 | 3519459 | 21
Nevada | 1915854 | 3 | 1139000 | 5 |  |  | 3054854 | 8
New York | 928093 | 6 | 1084720 | 13 | 80000 | 4 | 2092813 | 23
Rhode Island | 1251946 | 1 |  |  |  |  | 1251946 | 1
Massachusetts |  |  | 1246063 | 1 |  |  | 1246063 | 1
Oklahoma | 16129 | 1 | 650000 | 2 | 369721 | 2 | 1035850 | 5
Minnesota | 360934 | 5 |  |  | 69988 | 2 | 430922 | 7
Pennsylvania | 386088 | 1 |  |  |  |  | 386088 | 1
Vermont |  |  | 328772 | 6 |  |  | 328772 | 6
Illinois |  |  | 295460 | 6 |  |  | 295460 | 6
Florida | 233673 | 1 |  |  |  |  | 233673 | 1
Kansas | 163306 | 1 |  |  | 41370 | 1 | 204676 | 2
New Jersey |  |  | 177998 | 2 |  |  | 177998 | 2
Oregon | 27198 | 1 | 146949 | 3 |  |  | 174147 | 4
Hawaii | 166932 | 2 |  |  |  |  | 166932 | 2
Idaho | 137878 | 2 |  |  |  |  | 137878 | 2
Missouri | 118763 | 2 |  |  |  |  | 118763 | 2
Texas | 99550 | 1 |  |  |  |  | 99550 | 1
South Dakota |  |  |  |  | 77558 | 2 | 77558 | 2
Wisconsin |  |  | 75000 | 1 |  |  | 75000 | 1
Montana |  |  | 49935 | 1 |  |  | 49935 | 1
Colorado |  |  |  |  | 49375 | 1 | 49375 | 1
North Dakota |  |  |  |  | 48750 | 1 | 48750 | 1
California | 20156 | 1 | 10686 | 1 |  |  | 30842 | 2
Ohio | 29557 | 1 |  |  |  |  | 29557 | 1
US Virgin Islands |  |  |  |  | 28875 | 1 | 28875 | 1
Michigan | 27158 | 1 |  |  |  |  | 27158 | 1
Maryland |  |  | 16325 | 1 |  |  | 16325 | 1
Nebraska |  |  | 2228 | 1 | 13000 | 1 | 15228 | 2
Tennessee |  |  | 34 | 1 |  |  | 34 | 1
Grand Total | 7612590 | 36 | 6577906 | 48 | 1213984 | 26 | 15404480 | 110

## Figure 16
Figure 16: 2013 Small Wind Turbine Installed Costs
Manufacturer Reported Installed Costs |  | Reported Project-Specific Installed Costs
Turbine Nominal Capacity (kW) | Cost per kW | Turbine Nominal Power (kW) | Project Cost per kW
(kW) | ($/kW) | (kW) | ($/kW)
1 | 13500 | 1 | 8500
2.4 | 8333 | 2.4 | 8071
3.5 | 8571 | 3.5 | 14267
4 | 7500 | 4 | 24191
5 | 6000 | 5 | 7684
5 | 9000 | 5 | 8931
6 | 9167 | 5 | 11319
7.5 | 9333 | 6 | 11500
10 | 4000 | 7.5 | 9430
10 | 4900 | 10 | 5452
10 | 5000 | 10 | 5457
10 | 6500 | 10 | 5525
10 | 9000 | 10 | 6100
20 | 4500 | 10 | 7500
20 | 7500 | 10 | 7750
30 | 6667 | 10 | 8200
50 | 6000 | 10 | 8290
50 | 6500 | 10 | 8290
100 | 5670 | 10 | 8368
100 | 6250 | 10 | 8500
|  | 10 | 8750
|  | 10 | 8800
|  | 10 | 9263
|  | 10 | 9315
|  | 10 | 9529
|  | 10 | 9605
|  | 10 | 10000
|  | 10 | 10619
|  | 10 | 14404
|  | 10 | 16913
|  | 20 | 2478
|  | 20 | 2600
|  | 20 | 3144
|  | 20 | 3913
|  | 20 | 4547
|  | 20 | 4950
|  | 20 | 5512
|  | 20 | 5749
|  | 20 | 7000
|  | 20 | 7250
|  | 20 | 7352
|  | 20 | 7500
|  | 20 | 10891
|  | 30 | 5516
|  | 30 | 5538
|  | 30 | 6500
|  | 30 | 7000
|  | 50 | 3730
|  | 50 | 3790
|  | 50 | 3790
|  | 50 | 3950
|  | 50 | 6016
|  | 50 | 6309
|  | 50 | 6400
|  | 50 | 6500
|  | 50 | 6661
|  | 50 | 6800
|  | 50 | 6800
|  | 50 | 6800
|  | 50 | 6986
|  | 50 | 7351
|  | 50 | 8000
|  | 100 | 5408
|  | 100 | 5411
|  | 100 | 5500
|  | 100 | 5615
|  | 100 | 5656
|  | 100 | 6000
|  | 100 | 6278
|  | 100 | 7000

## Figure 17
Figure 17: Levelized Costs of Energy and Capacity Factors for Selected Distributed Wind Projects
LCOE | Capacity Factor
(2013 $/kWh)
0.3 | 13.4%
0.77 | 5.5%
0.07 | 27%
0.12 | 20.9%
0.47 | 19.7%
0.15 | 11.3%
0.13 | 19.3%
2.26 | 1.4%
0.21 | 8.8%
0.13 | 19.9%
0.12 | 33.7%
0.19 | 14.3%
0.46 | 9.3%
0.25 | 16%
0.14 | 3.5%
0.1 | 15.9%
0.15 | 20.6%
0.09 | 14.4%
0.46 | 5.5%
0.37 | 10.3%
0.54 | 6.4%
0.73 | 7.1%
0.15 | 21.9%
0.16 | 17.4%
0.19 | 12.9%
0.38 | 5.9%
0.2 | 19.5%
0.9 | 2.6%
0.23 | 10%
0.22 | 16%
0.12 | 18.1%
0.08 | 23.5%
0.22 | 2.2%
0.07 | 33.4%
0.23 | 13.6%
0.23 | 20.7%
0.23 | 10.9%
0.31 | 9.1%
0.14 | 11.2%
0.31 | 3.7%
0.31 | 4%
0.41 | 3%
0.42 | 8.9%
0.44 | 2.3%
0.47 | 9.1%
0.18 | 22.9%
0.5 | 5.6%
0.51 | 4.3%
0.72 | 3.8%
0.12 | 19%
0.84 | 9.6%
0.85 | 1.7%
0.88 | 5.1%
0.38 | 3.1%
0.96 | 2.2%
1.05 | 3.3%
1.12 | 1.8%
1.32 | 1.8%
0.09 | 3.1%