## Slide 2
MULTI-DISCIPLINARY TEAM
BIO-ENGINEERING
NURSING
SOFTWARE ENGINEERING
INTERACTION DESIGN

## Slide 3
TEAM MEMBERS
DWAYNE WESTENSKOW, Ph.D.
JIM AGUTTER, M.Arch
LARA BREWER, Ph.D.
ALEXA DOIG, Ph.D., B.Eng., R.N.
NOAH SYROID, M.S.
DIANE TYLER, R.N.
KEN JOHNSON, M.D.
BOAZ MARKEWITZ, M.D.
Device Development, Clinical Monitoring, Evaluation
Interface Design, Clinical Monitoring, Evaluation
Clinical Decision Support, Clinical Monitoring, Modeling
Nursing Technology, Interruptions, Clinical Monitoring, Evaluation
Simulations, Clinical Monitoring, Software Eng., Evaluation, Modeling
Simulations, Clinical Nursing, Training
Simulations, Clinical Monitoring, OR Technology, Military Medicine
ICU, Errors, Clinical Decision Making, Clinical Monitoring

## Slide 4
INTERFACE DESIGN

## Slide 5
DESIGN GOALS
IMPROVE TRIAGE CAPABILITIES
REDUCE OVERLOAD
DECREASE RESPONSE TIME
INCREASE SITUATIONAL AWARENESS
DECREASE ERRORS

## Slide 6
METHODS
Research
Understand constraints
Environment
User needs
Data
Ideation
Develop multiple ideas
Evaluate with users
Refinement
Refine interfaces
Implement
Evaluate

## Slide 7
RESEARCH PHASE
USAGE REQUIRMENTS & DESIGN
AREAS FOR UNDERSTANDING
Environment
Nurse Roles
Nurse Tasks
Equipment
Data
Types of Alarms

## Slide 8
RESEARCH PHASE
ENVIRONMENT
Specialty Surgical Transplant Unit
Acute Internal Medicine Unit

## Slide 9
RESEARCH PHASE
EQUIPMENT
Patient Vital Sign Monitor
Patient Telemetry
Infusion Pumps

## Slide 10
RESEARCH PHASE
DATA
HR
Blood Pressure
SpO2
RR
Alarms
Thresholds on Vital Signs Monitors
Infusion Pump Alarms

## Slide 11
RESEARCH PHASE
ALARM TYPES
Patient Related
HR
  Blood pressure
  SpO2
  RR
Equipment Related
Battery low
Lead disconnected
Workflow Related
Infusion near complete
Notes: These categorization is helpful for us to think about the issues. We are not addressing all issues identified nor testing but it helpful framework for future investigations. It also helps us frame how we might present information to the user.

## Slide 12
IDEATION PHASE
METHODS
Semi Structured Interviews
Short Survey
Interviews to Elaborate
Systematic Review of Alarms
Develop Multiple Iterations
Refine Iterations Based on Feedback & Scenarios
Finalize Design Concepts

## Slide 13
IDEATION PHASE
Notes: These categorization is helpful for us to think about the issues. We are not addressing all issues identified nor testing but it helpful framework for future investigations. It also helps us frame how we might present information to the user.

## Slide 23
SIMULATION EVALUATION

## Slide 24
SETTING
SIMULATION LEARNING CENTER
COLLEGE OF NURSING

## Slide 25
PATIENTS
PATIENT 1 – s/p bowel resection surgery
Infection precautions, IV fluids
Developing sepsis
PATIENT 2 – heart failure exacerbation
O2 saturations keep dipping below threshold
PATIENT 3 – s/p prostatectomy
Patient controlled analgesia, IV fluids
PATIENT 4 – deep vein thrombosis
IV heparin infusion, IV fluids
PATIENT 5 – pneumonia
IV antibiotics
Difficulty maintaining O2 saturations

## Slide 26
NURSING TASKS
Change of shift report

## Slide 27
NURSING TASKS
Task List

## Slide 28
CONFEDERATES
Interruptions
Environmental changes