## 732-A
|  |  | RADIATION SURVEY REPORT |  |  |  |  | FACILITY: | RMHF
[8 empty] | LOCATION: | B4022 vault 7 block D
[8 empty] | Alpha Removable | Beta Removable | Beta-Gamma Total
LOCATION | DATE | DATE | PURPOSE: |  | Pre-fixative application survey |  | UNITS | dpm/100 cm2 | dpm/100 cm2 | dpm/100 cm2
NUMBER | SAMPLED | MONITORED | LOCATON/OBJECT DESCRIPTION |  |  |  | LIMITS | < 20 | < 100 | < 1,000 ( < 5,000 )
1 | 2012-02-07 | 2012-02-07 |  |  | west side vault 7 block D |  |  | < 20 | < 100 | 55000
2 | 2012-02-07 | 2012-02-07 | [5 empty] | < 20 | < 100 | 10000
3 | 2012-02-07 | 2012-02-07 | [5 empty] | < 20 | < 100 | 10000
4 | 2012-02-07 | 2012-02-07 | [5 empty] | < 20 | < 100 | 5000
5 | 2012-02-07 | 2012-02-07 | [5 empty] | < 20 | < 100 | 100000
6 | 2012-02-07 | 2012-02-07 | [5 empty] | < 20 | < 100 | 195000
7 | 2012-02-07 | 2012-02-07 | [5 empty] | < 20 | < 100 | 150000
8 | 2012-02-07 | 2012-02-07 | [5 empty] | < 20 | < 100 | 10000
9 | 2012-02-07 | 2012-02-07 | [5 empty] | < 20 | 115.67 | 245000
10 | 2012-02-07 | 2012-02-07 | [5 empty] | < 20 | < 100 | 1245000
11 | 2012-02-07 | 2012-02-07 | [5 empty] | < 20 | < 100 | 15000
12 | 2012-02-07 | 2012-02-07 | [5 empty] | < 20 | < 100 | 10000
13 | 2012-02-07 | 2012-02-07 | [5 empty] | < 20 | < 100 | 10000
14 | 2012-02-07 | 2012-02-07 | [5 empty] | < 20 | < 100 | 5000
15 | 2012-02-07 | 2012-02-07 | [5 empty] | 35.91 | 692.65 | 1245000
16 | 2012-02-07 | 2012-02-07 | [5 empty] | < 20 | < 100 | 495000
17 | 2012-02-07 | 2012-02-07 | [5 empty] | < 20 | < 100 | 15000
18 | 2012-02-07 | 2012-02-07 | [5 empty] | < 20 | 118.4 | 10000
19 | 2012-02-07 | 2012-02-07 | [5 empty] | < 20 | 255.13 | 9995000
20 | 2012-02-07 | 2012-02-07 | [5 empty] | < 20 | 328.96 | 20000
COMMENTS: |  | MDA = minimum detectable activity |  |  |  | INSTRUMENT |  | Tennelec1 |  | Ludlum 3 & 44-92
1Tennelec (MDA = 14 dpm/100 cm2 a and 27 dpm/100 cm2 b) | [5 empty] | IDENTIFICATION |  | NR007137 |  | EX054114
2Ludlum 3 with 44-9 GM pancake beta-gamma probe | [5 empty] | CALIBRATION DUE |  | Daily |  | 2012-08-23
(net cpm/efficiency)(ACF) = dpm/ 100 cm2 bγ | [5 empty] | BACKGROUND (cpm) |  | 0.1 | 3.7 | 100
ACF= 5 for the 44-9 probe (Area Correction Factor) | [5 empty] | INSTR. EFFICIENCY |  | 30.36% | 36.57% | 10%
SAMPLED BY: E. Sorrels |  |  |  | DATE: | 2012-02-07 | COUNT TIME |  | 1 min. |  | frisk
REVIEWED BY: Phil Rutherford |  |  |  | DATE: | 2014-12-04 |  |  | Page | 1 | of | 4
FORM 732-A REV 2012-01-31
|  |  | RADIATION SURVEY REPORT |  |  |  |  | FACILITY: | RMHF
[8 empty] | LOCATION: | B4022 vault 7 block D
[8 empty] | Alpha Removable | Beta Removable | Beta-Gamma Total
LOCATION | DATE | DATE | PURPOSE: |  | Pre-fixative application survey |  | UNITS | dpm/100 cm2 | dpm/100 cm2 | dpm/100 cm2
NUMBER | SAMPLED | MONITORED | LOCATON/OBJECT DESCRIPTION |  |  |  | LIMITS | < 20 | < 100 | < 1,000 ( < 5,000 )
21 | 2012-02-07 | 2012-02-07 |  |  | west side vault 7 block D |  |  | < 20 | < 100 | 15000
22 | 2012-02-07 | 2012-02-07 | [5 empty] | < 20 | < 100 | 70000
23 | 2012-02-07 | 2012-02-07 | [5 empty] | < 20 | 153.95 | 15000
24 | 2012-02-07 | 2012-02-07 | [5 empty] | 197.32 | 1783.71 | 2495000
25 | 2012-02-07 | 2012-02-07 | [5 empty] | < 20 | 389.12 | 70000
26 | 2012-02-07 | 2012-02-07 | [5 empty] | < 20 | < 100 | 15000
27 | 2012-02-07 | 2012-02-07 | [5 empty] | < 20 | < 100 | 10000
28 | 2012-02-07 | 2012-02-07 | [5 empty] | < 20 | < 100 | 10000
29 | 2012-02-07 | 2012-02-07 | [5 empty] | < 20 | < 100 | 5000
30 | 2012-02-07 | 2012-02-07 | [5 empty] | < 20 | 244.19 | 1145000
31 | 2012-02-07 | 2012-02-07 | [5 empty] | < 20 | < 100 | 15000
32 | 2012-02-07 | 2012-02-07 | [5 empty] | < 20 | < 100 | 20000
33 | 2012-02-07 | 2012-02-07 | [5 empty] | < 20 | 944.22 | 15000
34 | 2012-02-07 | 2012-02-07 | [5 empty] | < 20 | 539.51 | 1745000
35 | 2012-02-07 | 2012-02-07 | [5 empty] | 45.79 | 1715.35 | 15000
36 | 2012-02-07 | 2012-02-07 | [5 empty] | 22.73 | 569.59 | 2095000
37 | 2012-02-07 | 2012-02-07 | [5 empty] | < 20 | 121.14 | 245000
38 | 2012-02-07 | 2012-02-07 | [5 empty] | < 20 | 162.16 | 895000
39 | 2012-02-07 | 2012-02-07 | [5 empty] | < 20 | 238.72 | 15000
40 | 2012-02-07 | 2012-02-07 | [5 empty] | < 20 | 104.73 | 25000
COMMENTS: |  | MDA = minimum detectable activity |  |  |  | INSTRUMENT |  | Tennelec1 |  | Ludlum 3 & 44-92
1Tennelec (MDA = 14 dpm/100 cm2 a and 27 dpm/100 cm2 b) | [5 empty] | IDENTIFICATION |  | NR007137 |  | EX054114
2Ludlum 3 with 44-9 GM pancake beta-gamma probe | [5 empty] | CALIBRATION DUE |  | Daily |  | 2012-08-23
(net cpm/efficiency)(ACF) = dpm/ 100 cm2 bγ | [5 empty] | BACKGROUND (cpm) |  | 0.1 | 3.7 | 100
ACF= 5 for the 44-9 probe (Area Correction Factor) | [5 empty] | INSTR. EFFICIENCY |  | 30.36% | 36.57% | 10%
SAMPLED BY: E. Sorrels |  |  |  | DATE: | 2012-02-07 | COUNT TIME |  | 1 min. |  | frisk
REVIEWED BY: Phil Rutherford |  |  |  | DATE: | 2014-12-04 |  |  | Page | 2 | of | 4
FORM 732-A REV 2012-01-31

## Photos
11
21
22
25
24
23
26
27
28
31
32
34
33
35
36
37
38
40
29
39
30
1
3
5
2
12
13
14
4
7
6
8
9
10
15
16
17
18
20
19