## YT Bi-Weekly Emissions
Attachment 1 Dominion Energy - Yorktown Power Station
Bi-Weekly Mass Emissions
| 2018-04-23 | [7 empty] | through |  | 2018-05-06 23:00
(If opened as an Excel spreadsheet on a local computer (i.e., not on the QAEA server and not from the QAEA Portal), the "Date & Hour" will be incorrect during Daylight Savings Time)
| 1 | 3 | 4 | 2 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
|  | Unit 1 Load | Unit 2 Load | Common Stack
Substituted Data | Date & Hour | (Gross MW) | (Gross MW) | Operation (x.xx Hour) | Heat Input (mmBtu) | Stack_HI_MODC | NOx (Lbs) | Stack_NOx_Lbs_MODC | SO2 (Lbs) | Stack_SO2_Lbs_MODC | CO2 (Tons) | Stack_CO2_Tons_MODC | Coal (Tons) | PM10 (Lbs) | Lead (Lbs) | Mercury (Lbs) | HCl (Lbs) | HF (Lbs) |  | PM10 Lbs/mmBtu |  | Lead Lbs/mmBtu | Mercury Lb/Ton | HCl Lb/Ton | HF Lb/Ton | Data End Date | Report Start Date
FALSE | 2018-04-23 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180423 | 0.087 | 0.1143 | 2.83e-06 | 8.3e-05 | 1.2 | 0.15 | 2018-05-07 | 2018-04-23
FALSE | 2018-04-23 01:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180423
FALSE | 2018-04-23 02:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180423
FALSE | 2018-04-23 03:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180423
FALSE | 2018-04-23 04:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180423
FALSE | 2018-04-23 05:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180423
FALSE | 2018-04-23 06:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180423
FALSE | 2018-04-23 07:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180423
FALSE | 2018-04-23 08:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180423
FALSE | 2018-04-23 09:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180423
FALSE | 2018-04-23 10:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180423
FALSE | 2018-04-23 11:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180423
FALSE | 2018-04-23 12:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180423
FALSE | 2018-04-23 13:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180423
FALSE | 2018-04-23 14:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180423
FALSE | 2018-04-23 15:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180423
FALSE | 2018-04-23 16:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180423
FALSE | 2018-04-23 17:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180423
FALSE | 2018-04-23 18:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180423
FALSE | 2018-04-23 19:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180423
FALSE | 2018-04-23 20:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180423
FALSE | 2018-04-23 21:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180423
FALSE | 2018-04-23 22:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180423
FALSE | 2018-04-23 23:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180423
FALSE | 2018-04-24 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180424
FALSE | 2018-04-24 01:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180424
FALSE | 2018-04-24 02:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180424
FALSE | 2018-04-24 03:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180424
FALSE | 2018-04-24 04:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180424
FALSE | 2018-04-24 05:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180424
FALSE | 2018-04-24 06:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180424
FALSE | 2018-04-24 07:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180424
FALSE | 2018-04-24 08:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180424
FALSE | 2018-04-24 09:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180424
FALSE | 2018-04-24 10:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180424
FALSE | 2018-04-24 11:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180424
FALSE | 2018-04-24 12:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180424
FALSE | 2018-04-24 13:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180424
FALSE | 2018-04-24 14:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180424
FALSE | 2018-04-24 15:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180424
FALSE | 2018-04-24 16:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180424
FALSE | 2018-04-24 17:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180424
FALSE | 2018-04-24 18:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180424
FALSE | 2018-04-24 19:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180424
FALSE | 2018-04-24 20:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180424
FALSE | 2018-04-24 21:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180424
FALSE | 2018-04-24 22:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180424
FALSE | 2018-04-24 23:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180424
FALSE | 2018-04-25 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180425
FALSE | 2018-04-25 01:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180425
FALSE | 2018-04-25 02:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180425
FALSE | 2018-04-25 03:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180425
FALSE | 2018-04-25 04:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180425
FALSE | 2018-04-25 05:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180425
FALSE | 2018-04-25 06:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180425
FALSE | 2018-04-25 07:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180425
FALSE | 2018-04-25 08:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180425
FALSE | 2018-04-25 09:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180425
FALSE | 2018-04-25 10:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180425
FALSE | 2018-04-25 11:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180425
FALSE | 2018-04-25 12:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180425
FALSE | 2018-04-25 13:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180425
FALSE | 2018-04-25 14:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180425
FALSE | 2018-04-25 15:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180425
FALSE | 2018-04-25 16:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180425
FALSE | 2018-04-25 17:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180425
FALSE | 2018-04-25 18:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180425
FALSE | 2018-04-25 19:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180425
FALSE | 2018-04-25 20:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180425
FALSE | 2018-04-25 21:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180425
FALSE | 2018-04-25 22:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180425
FALSE | 2018-04-25 23:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180425
FALSE | 2018-04-26 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180426
FALSE | 2018-04-26 01:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180426
FALSE | 2018-04-26 02:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180426
FALSE | 2018-04-26 03:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180426
FALSE | 2018-04-26 04:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180426
FALSE | 2018-04-26 05:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180426
FALSE | 2018-04-26 06:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180426
FALSE | 2018-04-26 07:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180426
FALSE | 2018-04-26 08:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180426
FALSE | 2018-04-26 09:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180426
FALSE | 2018-04-26 10:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180426
FALSE | 2018-04-26 11:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180426
FALSE | 2018-04-26 12:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180426
FALSE | 2018-04-26 13:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180426
FALSE | 2018-04-26 14:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180426
FALSE | 2018-04-26 15:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180426
FALSE | 2018-04-26 16:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180426
FALSE | 2018-04-26 17:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180426
FALSE | 2018-04-26 18:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180426
FALSE | 2018-04-26 19:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180426
FALSE | 2018-04-26 20:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180426
FALSE | 2018-04-26 21:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180426
FALSE | 2018-04-26 22:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180426
FALSE | 2018-04-26 23:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180426
FALSE | 2018-04-27 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180427
FALSE | 2018-04-27 01:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180427
FALSE | 2018-04-27 02:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180427
FALSE | 2018-04-27 03:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180427
FALSE | 2018-04-27 04:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180427
FALSE | 2018-04-27 05:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180427
FALSE | 2018-04-27 06:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180427
FALSE | 2018-04-27 07:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180427
FALSE | 2018-04-27 08:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180427
FALSE | 2018-04-27 09:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180427
FALSE | 2018-04-27 10:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180427
FALSE | 2018-04-27 11:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180427
FALSE | 2018-04-27 12:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180427
FALSE | 2018-04-27 13:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180427
FALSE | 2018-04-27 14:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180427
FALSE | 2018-04-27 15:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180427
FALSE | 2018-04-27 16:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180427
FALSE | 2018-04-27 17:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180427
FALSE | 2018-04-27 18:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180427
FALSE | 2018-04-27 19:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180427
FALSE | 2018-04-27 20:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180427
FALSE | 2018-04-27 21:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180427
FALSE | 2018-04-27 22:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180427
FALSE | 2018-04-27 23:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180427
FALSE | 2018-04-28 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180428
FALSE | 2018-04-28 01:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180428
FALSE | 2018-04-28 02:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180428
FALSE | 2018-04-28 03:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180428
FALSE | 2018-04-28 04:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180428
FALSE | 2018-04-28 05:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180428
FALSE | 2018-04-28 06:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180428
FALSE | 2018-04-28 07:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180428
FALSE | 2018-04-28 08:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180428
FALSE | 2018-04-28 09:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180428
FALSE | 2018-04-28 10:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180428
FALSE | 2018-04-28 11:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180428
FALSE | 2018-04-28 12:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180428
FALSE | 2018-04-28 13:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180428
FALSE | 2018-04-28 14:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180428
FALSE | 2018-04-28 15:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180428
FALSE | 2018-04-28 16:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180428
FALSE | 2018-04-28 17:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180428
FALSE | 2018-04-28 18:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180428
FALSE | 2018-04-28 19:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180428
FALSE | 2018-04-28 20:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180428
FALSE | 2018-04-28 21:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180428
FALSE | 2018-04-28 22:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180428
FALSE | 2018-04-28 23:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180428
FALSE | 2018-04-29 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180429
FALSE | 2018-04-29 01:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180429
FALSE | 2018-04-29 02:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180429
FALSE | 2018-04-29 03:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180429
FALSE | 2018-04-29 04:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180429
FALSE | 2018-04-29 05:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180429
FALSE | 2018-04-29 06:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180429
FALSE | 2018-04-29 07:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180429
FALSE | 2018-04-29 08:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180429
FALSE | 2018-04-29 09:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180429
FALSE | 2018-04-29 10:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180429
FALSE | 2018-04-29 11:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180429
FALSE | 2018-04-29 12:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180429
FALSE | 2018-04-29 13:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180429
FALSE | 2018-04-29 14:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180429
FALSE | 2018-04-29 15:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180429
FALSE | 2018-04-29 16:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180429
FALSE | 2018-04-29 17:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180429
FALSE | 2018-04-29 18:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180429
FALSE | 2018-04-29 19:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180429
FALSE | 2018-04-29 20:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180429
FALSE | 2018-04-29 21:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180429
FALSE | 2018-04-29 22:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180429
FALSE | 2018-04-29 23:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180429
FALSE | 2018-04-30 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180430
FALSE | 2018-04-30 01:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180430
FALSE | 2018-04-30 02:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180430
FALSE | 2018-04-30 03:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180430
FALSE | 2018-04-30 04:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180430
FALSE | 2018-04-30 05:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180430
FALSE | 2018-04-30 06:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180430
FALSE | 2018-04-30 07:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180430
FALSE | 2018-04-30 08:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180430
FALSE | 2018-04-30 09:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180430
FALSE | 2018-04-30 10:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180430
FALSE | 2018-04-30 11:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180430
FALSE | 2018-04-30 12:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180430
FALSE | 2018-04-30 13:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180430
FALSE | 2018-04-30 14:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180430
FALSE | 2018-04-30 15:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180430
FALSE | 2018-04-30 16:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180430
FALSE | 2018-04-30 17:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180430
FALSE | 2018-04-30 18:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180430
FALSE | 2018-04-30 19:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180430
FALSE | 2018-04-30 20:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180430
FALSE | 2018-04-30 21:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180430
FALSE | 2018-04-30 22:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180430
FALSE | 2018-04-30 23:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180430
FALSE | 2018-05-01 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180501
FALSE | 2018-05-01 01:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180501
FALSE | 2018-05-01 02:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180501
FALSE | 2018-05-01 03:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180501
FALSE | 2018-05-01 04:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180501
FALSE | 2018-05-01 05:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180501
FALSE | 2018-05-01 06:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180501
FALSE | 2018-05-01 07:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180501
FALSE | 2018-05-01 08:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180501
FALSE | 2018-05-01 09:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180501
FALSE | 2018-05-01 10:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180501
FALSE | 2018-05-01 11:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180501
FALSE | 2018-05-01 12:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180501
FALSE | 2018-05-01 13:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180501
FALSE | 2018-05-01 14:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180501
FALSE | 2018-05-01 15:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180501
FALSE | 2018-05-01 16:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180501
FALSE | 2018-05-01 17:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180501
FALSE | 2018-05-01 18:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180501
TRUE | 2018-05-01 19:00 | 0 | 0 | 0.42 | 0.42 | 26 | 0 | 1 | 0 | 1 | 0 | 1 | 0.016733 | 0.048006 | 1.1886e-06 | 1.3888e-06 | 0.02008 | 0.00251 | 20180501
FALSE | 2018-05-01 20:00 | 0 | 0 | 1 | 46.9 | 1 | 0.8 | 1 | 0.9 | 1 | 4.8 | 1 | 1.8685 | 5.3607 | 0.00013273 | 0.00015509 | 2.2422 | 0.28028 | 20180501
FALSE | 2018-05-01 21:00 | 0 | 0 | 1 | 58.5 | 1 | 1.3 | 1 | 3.5 | 1 | 6 | 1 | 2.3307 | 6.6865 | 0.00016556 | 0.00019345 | 2.7968 | 0.3496 | 20180501
FALSE | 2018-05-01 22:00 | 0 | 0 | 1 | 107.3 | 1 | 4.3 | 1 | 6.9 | 1 | 11 | 1 | 4.2749 | 12.2644 | 0.00030366 | 0.00035482 | 5.1299 | 0.64124 | 20180501
FALSE | 2018-05-01 23:00 | 0 | 0 | 1 | 148.8 | 1 | 7.9 | 1 | 8.3 | 1 | 15.3 | 1 | 5.9283 | 17.0078 | 0.0004211 | 0.00049205 | 7.1139 | 0.88924 | 20180501
FALSE | 2018-05-02 | 0 | 0 | 1 | 224.5 | 1 | 9.2 | 1 | 4.8 | 1 | 23 | 1 | 8.9442 | 25.6604 | 0.00063534 | 0.00074237 | 10.7331 | 1.3416 | 20180502
FALSE | 2018-05-02 01:00 | 0 | 0 | 1 | 173.1 | 1 | 7.6 | 1 | 4.3 | 1 | 17.8 | 1 | 6.8964 | 19.7853 | 0.00048987 | 0.0005724 | 8.2757 | 1.0345 | 20180502
TRUE | 2018-05-02 02:00 | 0 | 0 | 1 | 186.6 | 99 | 13.2 | 99 | 6.2 | 99 | 19.1 | 99 | 7.4343 | 21.3284 | 0.00052808 | 0.00061704 | 8.9211 | 1.1151 | 20180502
TRUE | 2018-05-02 03:00 | 0 | 0 | 1 | 191.2 | 99 | 13.6 | 99 | 6.3 | 99 | 19.6 | 99 | 7.6175 | 21.8542 | 0.0005411 | 0.00063225 | 9.141 | 1.1426 | 20180502
FALSE | 2018-05-02 04:00 | 0 | 0 | 1 | 182.1 | 1 | 7.5 | 1 | 7.7 | 1 | 18.7 | 1 | 7.255 | 20.814 | 0.00051534 | 0.00060216 | 8.706 | 1.0882 | 20180502
TRUE | 2018-05-02 05:00 | 0 | 0 | 1 | 107 | 99 | 7.6 | 99 | 8 | 1 | 11 | 99 | 4.2629 | 12.2301 | 0.00030281 | 0.00035382 | 5.1155 | 0.63944 | 20180502
TRUE | 2018-05-02 06:00 | 0 | 0 | 1 | 107.2 | 99 | 7.6 | 99 | 1.9 | 1 | 11 | 99 | 4.2709 | 12.253 | 0.00030338 | 0.00035449 | 5.1251 | 0.64064 | 20180502
TRUE | 2018-05-02 07:00 | 0 | 0 | 1 | 108.4 | 99 | 7.7 | 99 | 1 | 1 | 11.1 | 99 | 4.3187 | 12.3901 | 0.00030677 | 0.00035845 | 5.1825 | 0.64781 | 20180502
FALSE | 2018-05-02 08:00 | 0 | 0 | 1 | 32.1 | 1 | 0.4 | 1 | 1.6 | 1 | 3.3 | 1 | 1.2789 | 3.669 | 9.0843e-05 | 0.00010615 | 1.5347 | 0.19183 | 20180502
FALSE | 2018-05-02 09:00 | 0 | 0 | 1 | 63.6 | 1 | 1.1 | 1 | 3.2 | 1 | 6.5 | 1 | 2.5339 | 7.2695 | 0.00017999 | 0.00021031 | 3.0406 | 0.38008 | 20180502
FALSE | 2018-05-02 10:00 | 0 | 0 | 1 | 63.4 | 1 | 1.1 | 1 | 3.5 | 1 | 6.5 | 1 | 2.5259 | 7.2466 | 0.00017942 | 0.00020965 | 3.0311 | 0.37888 | 20180502
FALSE | 2018-05-02 11:00 | 0 | 0 | 1 | 84.8 | 1 | 2.4 | 1 | 5.4 | 1 | 8.7 | 1 | 3.3785 | 9.6926 | 0.00023998 | 0.00028041 | 4.0542 | 0.50677 | 20180502
FALSE | 2018-05-02 12:00 | 0 | 0 | 1 | 105.8 | 1 | 3.5 | 1 | 6 | 1 | 10.9 | 1 | 4.2151 | 12.0929 | 0.00029941 | 0.00034986 | 5.0582 | 0.63227 | 20180502
FALSE | 2018-05-02 13:00 | 0 | 0 | 1 | 123.6 | 1 | 4.7 | 1 | 7.1 | 1 | 12.7 | 1 | 4.9243 | 14.1275 | 0.00034979 | 0.00040872 | 5.9092 | 0.73865 | 20180502
FALSE | 2018-05-02 14:00 | 0 | 0 | 1 | 115.1 | 1 | 3.7 | 1 | 6.9 | 1 | 11.8 | 1 | 4.5857 | 13.1559 | 0.00032573 | 0.00038061 | 5.5028 | 0.68785 | 20180502
FALSE | 2018-05-02 15:00 | 0 | 0 | 1 | 131.5 | 1 | 2.5 | 1 | 6.5 | 1 | 13.5 | 1 | 5.239 | 15.0305 | 0.00037214 | 0.00043484 | 6.2869 | 0.78586 | 20180502
FALSE | 2018-05-02 16:00 | 0 | 0 | 1 | 106.9 | 1 | 2.1 | 1 | 5.9 | 1 | 11 | 1 | 4.259 | 12.2187 | 0.00030253 | 0.00035349 | 5.1108 | 0.63884 | 20180502
FALSE | 2018-05-02 17:00 | 0 | 0 | 1 | 124.8 | 1 | 2.6 | 1 | 6.4 | 1 | 12.8 | 1 | 4.9721 | 14.2646 | 0.00035318 | 0.00041269 | 5.9665 | 0.74582 | 20180502
FALSE | 2018-05-02 18:00 | 0 | 12 | 1 | 249.6 | 1 | 37.9 | 1 | 191.2 | 1 | 25.6 | 1 | 9.9442 | 28.5293 | 0.00070637 | 0.00082537 | 11.9331 | 1.4916 | 20180502
FALSE | 2018-05-02 19:00 | 0 | 58 | 1 | 621.6 | 1 | 123.7 | 1 | 799.7 | 1 | 63.8 | 1 | 24.7649 | 71.0489 | 0.0017591 | 0.0020555 | 29.7179 | 3.7147 | 20180502
FALSE | 2018-05-02 20:00 | 0 | 92 | 1 | 878 | 1 | 220.4 | 1 | 1272.7 | 1 | 90.1 | 1 | 34.9801 | 100.3554 | 0.0024847 | 0.0029033 | 41.9761 | 5.247 | 20180502
FALSE | 2018-05-02 21:00 | 0 | 99 | 1 | 916 | 1 | 238.2 | 1 | 1417.9 | 1 | 94 | 1 | 36.494 | 104.6988 | 0.0025923 | 0.003029 | 43.7928 | 5.4741 | 20180502
FALSE | 2018-05-02 22:00 | 0 | 126 | 1 | 1151.7 | 1 | 482.6 | 1 | 1975.4 | 1 | 118.2 | 1 | 45.8845 | 131.6393 | 0.0032593 | 0.0038084 | 55.0614 | 6.8827 | 20180502
FALSE | 2018-05-02 23:00 | 0 | 144 | 1 | 1276.2 | 1 | 562.8 | 1 | 2189.3 | 1 | 130.9 | 1 | 50.8446 | 145.8697 | 0.0036116 | 0.0042201 | 61.0135 | 7.6267 | 20180502
FALSE | 2018-05-03 | 0 | 145 | 1 | 1269.3 | 1 | 548.3 | 1 | 2212.4 | 1 | 130.2 | 1 | 50.5697 | 145.081 | 0.0035921 | 0.0041973 | 60.6837 | 7.5855 | 20180503
FALSE | 2018-05-03 01:00 | 0 | 145 | 1 | 1292.7 | 1 | 521 | 1 | 2408 | 1 | 132.6 | 1 | 51.502 | 147.7556 | 0.0036583 | 0.0042747 | 61.8024 | 7.7253 | 20180503
FALSE | 2018-05-03 02:00 | 0 | 145 | 1 | 1231.3 | 1 | 517.1 | 1 | 2258.8 | 1 | 126.3 | 1 | 49.0558 | 140.7376 | 0.0034846 | 0.0040716 | 58.8669 | 7.3584 | 20180503
FALSE | 2018-05-03 03:00 | 0 | 145 | 1 | 1267.7 | 1 | 556.5 | 1 | 2209.8 | 1 | 130.1 | 1 | 50.506 | 144.8981 | 0.0035876 | 0.004192 | 60.6072 | 7.5759 | 20180503
FALSE | 2018-05-03 04:00 | 0 | 145 | 1 | 1207.6 | 1 | 537.4 | 1 | 2229 | 1 | 123.9 | 1 | 48.1116 | 138.0287 | 0.0034175 | 0.0039933 | 57.7339 | 7.2167 | 20180503
FALSE | 2018-05-03 05:00 | 0 | 145 | 1 | 1278.3 | 1 | 571.4 | 1 | 2188.4 | 1 | 131.2 | 1 | 50.9283 | 146.1097 | 0.0036176 | 0.004227 | 61.1139 | 7.6392 | 20180503
FALSE | 2018-05-03 06:00 | 0 | 146 | 1 | 1284.1 | 1 | 575.3 | 1 | 2184.1 | 1 | 131.8 | 1 | 51.1594 | 146.7726 | 0.003634 | 0.0042462 | 61.3912 | 7.6739 | 20180503
FALSE | 2018-05-03 07:00 | 0 | 146 | 1 | 1279.8 | 1 | 578.5 | 1 | 2164.7 | 1 | 131.3 | 1 | 50.988 | 146.2811 | 0.0036218 | 0.004232 | 61.1857 | 7.6482 | 20180503
FALSE | 2018-05-03 08:00 | 0 | 146 | 1 | 1268.7 | 1 | 572.2 | 1 | 2130.3 | 1 | 130.2 | 1 | 50.5458 | 145.0124 | 0.0035904 | 0.0041953 | 60.655 | 7.5819 | 20180503
TRUE | 2018-05-03 09:00 | 0 | 145 | 1 | 1263.4 | 99 | 639.3 | 99 | 2088.1 | 99 | 129.6 | 99 | 50.3347 | 144.4066 | 0.0035754 | 0.0041778 | 60.4016 | 7.5502 | 20180503
FALSE | 2018-05-03 10:00 | 0 | 145 | 1 | 1265.1 | 1 | 574.4 | 1 | 2098.7 | 1 | 129.8 | 1 | 50.4024 | 144.6009 | 0.0035802 | 0.0041834 | 60.4829 | 7.5604 | 20180503
FALSE | 2018-05-03 11:00 | 0 | 145 | 1 | 1317.6 | 1 | 596.9 | 1 | 2140.7 | 1 | 135.2 | 1 | 52.494 | 150.6017 | 0.0037288 | 0.004357 | 62.9928 | 7.8741 | 20180503
FALSE | 2018-05-03 12:00 | 0 | 145 | 1 | 1343.4 | 1 | 604.5 | 1 | 2142.2 | 1 | 137.8 | 1 | 53.5219 | 153.5506 | 0.0038018 | 0.0044423 | 64.2263 | 8.0283 | 20180503
FALSE | 2018-05-03 13:00 | 0 | 145 | 1 | 1363.2 | 1 | 628.4 | 1 | 2201.8 | 1 | 139.9 | 1 | 54.3108 | 155.8138 | 0.0038579 | 0.0045078 | 65.1729 | 8.1466 | 20180503
TRUE | 2018-05-03 14:00 | 0 | 145 | 1 | 1436.8 | 99 | 725.6 | 99 | 2246.3 | 99 | 147.4 | 99 | 57.243 | 164.2262 | 0.0040661 | 0.0047512 | 68.6916 | 8.5865 | 20180503
FALSE | 2018-05-03 15:00 | 11 | 145 | 1 | 1477.5 | 1 | 784.6 | 1 | 2279.7 | 1 | 151.6 | 1 | 58.8645 | 168.8783 | 0.0041813 | 0.0048858 | 70.6375 | 8.8297 | 20180503
FALSE | 2018-05-03 16:00 | 53 | 145 | 1 | 1830.4 | 1 | 836.5 | 1 | 2988.3 | 1 | 187.8 | 1 | 72.9243 | 209.2147 | 0.00518 | 0.0060527 | 87.5092 | 10.9386 | 20180503
FALSE | 2018-05-03 17:00 | 80 | 145 | 1 | 2136 | 1 | 862.9 | 1 | 3581.4 | 1 | 219.2 | 1 | 85.0996 | 244.1448 | 0.0060449 | 0.0070633 | 102.1195 | 12.7649 | 20180503
FALSE | 2018-05-03 18:00 | 95 | 145 | 1 | 2244 | 1 | 1000.8 | 1 | 3823.5 | 1 | 230.2 | 1 | 89.4024 | 256.4892 | 0.0063505 | 0.0074204 | 107.2829 | 13.4104 | 20180503
FALSE | 2018-05-03 19:00 | 100 | 145 | 1 | 2292.1 | 1 | 1061.2 | 1 | 3923 | 1 | 235.2 | 1 | 91.3187 | 261.987 | 0.0064866 | 0.0075795 | 109.5825 | 13.6978 | 20180503
FALSE | 2018-05-03 20:00 | 100 | 145 | 1 | 2297.3 | 1 | 1084.3 | 1 | 3931.8 | 1 | 235.7 | 1 | 91.5259 | 262.5814 | 0.0065014 | 0.0075966 | 109.8311 | 13.7289 | 20180503
FALSE | 2018-05-03 21:00 | 100 | 145 | 1 | 2277.4 | 1 | 1079.5 | 1 | 3928.7 | 1 | 233.7 | 1 | 90.7331 | 260.3068 | 0.006445 | 0.0075308 | 108.8797 | 13.61 | 20180503
FALSE | 2018-05-03 22:00 | 100 | 145 | 1 | 2303.2 | 1 | 1057.2 | 1 | 3971 | 1 | 236.3 | 1 | 91.761 | 263.2558 | 0.0065181 | 0.0076162 | 110.1131 | 13.7641 | 20180503
FALSE | 2018-05-03 23:00 | 100 | 145 | 1 | 2305.3 | 1 | 1051.2 | 1 | 3994.4 | 1 | 236.5 | 1 | 91.8446 | 263.4958 | 0.006524 | 0.0076231 | 110.2135 | 13.7767 | 20180503
FALSE | 2018-05-04 | 100 | 145 | 1 | 2343.8 | 1 | 1111 | 1 | 4180.4 | 1 | 240.5 | 1 | 93.3785 | 267.8963 | 0.006633 | 0.0077504 | 112.0542 | 14.0068 | 20180504
FALSE | 2018-05-04 01:00 | 109 | 146 | 1 | 2447.1 | 1 | 1103.6 | 1 | 4440.9 | 1 | 251.1 | 1 | 97.494 | 279.7035 | 0.0069253 | 0.008092 | 116.9928 | 14.6241 | 20180504
FALSE | 2018-05-04 02:00 | 115 | 136 | 1 | 2401.1 | 1 | 1092.5 | 1 | 4354.2 | 1 | 246.3 | 1 | 95.6614 | 274.4457 | 0.0067951 | 0.0079399 | 114.7936 | 14.3492 | 20180504
FALSE | 2018-05-04 03:00 | 116 | 46 | 1 | 1691.5 | 1 | 850.8 | 1 | 2838.3 | 1 | 173.5 | 1 | 67.3904 | 193.3384 | 0.0047869 | 0.0055934 | 80.8685 | 10.1086 | 20180504
FALSE | 2018-05-04 04:00 | 116 | 28 | 1 | 1521.2 | 1 | 774.3 | 1 | 2479.2 | 1 | 156.1 | 1 | 60.6056 | 173.8732 | 0.004305 | 0.0050303 | 72.7267 | 9.0908 | 20180504
FALSE | 2018-05-04 05:00 | 119 | 39 | 1 | 1645.7 | 1 | 796.5 | 1 | 2578 | 1 | 168.9 | 1 | 65.5657 | 188.1035 | 0.0046573 | 0.005442 | 78.6789 | 9.8349 | 20180504
FALSE | 2018-05-04 06:00 | 119 | 123 | 1 | 2304.4 | 1 | 990.9 | 1 | 3757.5 | 1 | 236.4 | 1 | 91.8088 | 263.3929 | 0.0065215 | 0.0076201 | 110.1705 | 13.7713 | 20180504
FALSE | 2018-05-04 07:00 | 120 | 145 | 1 | 2474.6 | 1 | 1138.3 | 1 | 4003.9 | 1 | 253.9 | 1 | 98.5896 | 282.8468 | 0.0070031 | 0.0081829 | 118.3076 | 14.7884 | 20180504
FALSE | 2018-05-04 08:00 | 120 | 146 | 1 | 2472.3 | 1 | 1181.8 | 1 | 4179.3 | 1 | 253.7 | 1 | 98.498 | 282.5839 | 0.0069966 | 0.0081753 | 118.1976 | 14.7747 | 20180504
FALSE | 2018-05-04 09:00 | 121 | 147 | 1 | 2516.9 | 1 | 1122.5 | 1 | 4375.7 | 1 | 258.2 | 1 | 100.2749 | 287.6817 | 0.0071228 | 0.0083228 | 120.3299 | 15.0412 | 20180504
FALSE | 2018-05-04 10:00 | 121 | 147 | 1 | 2517.2 | 1 | 1132.7 | 1 | 4383.5 | 1 | 258.3 | 1 | 100.2869 | 287.716 | 0.0071237 | 0.0083238 | 120.3442 | 15.043 | 20180504
FALSE | 2018-05-04 11:00 | 121 | 146 | 1 | 2519.6 | 1 | 1151.5 | 1 | 4437.3 | 1 | 258.5 | 1 | 100.3825 | 287.9903 | 0.0071305 | 0.0083317 | 120.459 | 15.0574 | 20180504
FALSE | 2018-05-04 12:00 | 121 | 146 | 1 | 2509.7 | 1 | 1149.4 | 1 | 4452.7 | 1 | 257.5 | 1 | 99.988 | 286.8587 | 0.0071025 | 0.008299 | 119.9857 | 14.9982 | 20180504
FALSE | 2018-05-04 13:00 | 121 | 146 | 1 | 2508.4 | 1 | 1148.8 | 1 | 4476.1 | 1 | 257.4 | 1 | 99.9363 | 286.7101 | 0.0070988 | 0.0082947 | 119.9235 | 14.9904 | 20180504
FALSE | 2018-05-04 14:00 | 121 | 146 | 1 | 2504.1 | 1 | 1146.9 | 1 | 4459.2 | 1 | 256.9 | 1 | 99.7649 | 286.2186 | 0.0070866 | 0.0082805 | 119.7179 | 14.9647 | 20180504
FALSE | 2018-05-04 15:00 | 121 | 146 | 1 | 2503.7 | 1 | 1151.7 | 1 | 4471.4 | 1 | 256.9 | 1 | 99.749 | 286.1729 | 0.0070855 | 0.0082792 | 119.6988 | 14.9624 | 20180504
FALSE | 2018-05-04 16:00 | 121 | 146 | 1 | 2499.8 | 1 | 1144.9 | 1 | 4484.4 | 1 | 256.5 | 1 | 99.5936 | 285.7271 | 0.0070744 | 0.0082663 | 119.5124 | 14.939 | 20180504
FALSE | 2018-05-04 17:00 | 121 | 146 | 1 | 2505.4 | 1 | 1160 | 1 | 4497.2 | 1 | 257.1 | 1 | 99.8167 | 286.3672 | 0.0070903 | 0.0082848 | 119.7801 | 14.9725 | 20180504
FALSE | 2018-05-04 18:00 | 121 | 146 | 1 | 2507.6 | 1 | 1148.5 | 1 | 4470 | 1 | 257.3 | 1 | 99.9044 | 286.6187 | 0.0070965 | 0.0082921 | 119.8853 | 14.9857 | 20180504
FALSE | 2018-05-04 19:00 | 121 | 146 | 1 | 2510.4 | 1 | 1147.3 | 1 | 4462.2 | 1 | 257.6 | 1 | 100.0159 | 286.9387 | 0.0071044 | 0.0083013 | 120.0191 | 15.0024 | 20180504
FALSE | 2018-05-04 20:00 | 121 | 146 | 1 | 2517.4 | 1 | 1158 | 1 | 4450.8 | 1 | 258.3 | 1 | 100.2948 | 287.7388 | 0.0071242 | 0.0083245 | 120.3538 | 15.0442 | 20180504
FALSE | 2018-05-04 21:00 | 121 | 146 | 1 | 2520.2 | 1 | 1161.8 | 1 | 4425.5 | 1 | 258.6 | 1 | 100.4064 | 288.0589 | 0.0071322 | 0.0083337 | 120.4876 | 15.061 | 20180504
FALSE | 2018-05-04 22:00 | 121 | 145 | 1 | 2520.3 | 1 | 1159.3 | 1 | 4397.2 | 1 | 258.6 | 1 | 100.4104 | 288.0703 | 0.0071324 | 0.0083341 | 120.4924 | 15.0616 | 20180504
FALSE | 2018-05-04 23:00 | 80 | 81 | 1 | 1554.1 | 1 | 676 | 1 | 2464.1 | 1 | 159.5 | 1 | 61.9163 | 177.6336 | 0.0043981 | 0.0051391 | 74.2996 | 9.2875 | 20180504
FALSE | 2018-05-05 | 4 | 0 | 0.22 | 96.844 | 1 | 21.208 | 1 | 109.12 | 1 | 9.944 | 1 | 3.8583 | 11.0693 | 0.00027407 | 0.00032024 | 4.63 | 0.57875 | 20180505
FALSE | 2018-05-05 01:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180505
FALSE | 2018-05-05 02:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180505
FALSE | 2018-05-05 03:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180505
FALSE | 2018-05-05 04:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180505
FALSE | 2018-05-05 05:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180505
FALSE | 2018-05-05 06:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180505
FALSE | 2018-05-05 07:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180505
FALSE | 2018-05-05 08:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180505
FALSE | 2018-05-05 09:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180505
FALSE | 2018-05-05 10:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180505
FALSE | 2018-05-05 11:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180505
FALSE | 2018-05-05 12:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180505
FALSE | 2018-05-05 13:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180505
FALSE | 2018-05-05 14:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180505
FALSE | 2018-05-05 15:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180505
FALSE | 2018-05-05 16:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180505
FALSE | 2018-05-05 17:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180505
FALSE | 2018-05-05 18:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180505
FALSE | 2018-05-05 19:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180505
FALSE | 2018-05-05 20:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180505
FALSE | 2018-05-05 21:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180505
FALSE | 2018-05-05 22:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180505
FALSE | 2018-05-05 23:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180505
FALSE | 2018-05-06 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180506
FALSE | 2018-05-06 01:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180506
FALSE | 2018-05-06 02:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180506
FALSE | 2018-05-06 03:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180506
FALSE | 2018-05-06 04:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180506
FALSE | 2018-05-06 05:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180506
FALSE | 2018-05-06 06:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180506
FALSE | 2018-05-06 07:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180506
FALSE | 2018-05-06 08:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180506
FALSE | 2018-05-06 09:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180506
FALSE | 2018-05-06 10:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180506
FALSE | 2018-05-06 11:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180506
FALSE | 2018-05-06 12:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180506
FALSE | 2018-05-06 13:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180506
FALSE | 2018-05-06 14:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180506
FALSE | 2018-05-06 15:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180506
FALSE | 2018-05-06 16:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180506
FALSE | 2018-05-06 17:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180506
FALSE | 2018-05-06 18:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180506
FALSE | 2018-05-06 19:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180506
FALSE | 2018-05-06 20:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180506
FALSE | 2018-05-06 21:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180506
FALSE | 2018-05-06 22:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180506
FALSE | 2018-05-06 23:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 20180506
|  |  | Bi-Weekly Total Tons |  | 102332.264 | 1047 | 22.5816 | 1022 | 85.4559 | 728 | 10499.744 |  | 4076.9826 | 5.8483 | 0.0001448 | 0.00016919 | 2.4462 | 0.30577
mmBtu
Note:
All data are collected and processed in accordance with Part 75.
Data with orange fill are substituted in accordance with Part 75.
Monthly sums may not agree with data published by EPA due to the handling of quarterly and annual totals.