## Slide 1: NOTES
This presentation is an outline of some of the most important aspects of DOE O 440.1B
For completeness, copies of the Order should accompany this presentation
Technical clarifications of requirements should be addressed to the DOE Regulatory Response Line at: http://www.energy.gov/ehss/safety-and-health-regulatory-and-policy-response-line or AU’s Office of Worker Safety and Health Policy (301-903-6061)

## Slide 2: DOE O 440.1
Office of the Associate Undersecretary for
Environment, Health, Safety and Security
Office of Health and Safety
U.S. Department of Energy
Worker Protection Program for DOE (Including the National Nuclear Security Administration) Federal Employees
Notes: 2

## Slide 3: DOE O 440.1
Departments requirement for:
  Establishment of a federal employee occupational safety and health program
    Executive Order 12196
    29 CFR 1960
  Overseeing contractor S&H programs required by 10 CFR 851, Worker Safety and Health Program

## Slide 4
Background
Occupational Safety and Health Act (1970)
  Authorizes self regulation of the Agency including safety and health
Executive Order 12196, Occupational Safety and Health Programs for Federal Employees
29 CFR 1960, Basic Program Elements for Federal Employees Occupational Safety and Health Programs and Related Matters

## Slide 5: Evolution of DOE’s Worker Safety and Health Directives
Archived (cancelled):
  DOE O 5483.1, Worker Safety and Health Program
    Federal Employees and Contractors
  DOE O 5480.4, Environmental Protection, Safety, and Health Protection Standards
    Federal Employees and Contractors
  DOE O 440.1,Worker Protection Management for DOE Federal and Contractor Employees
  DOE O 440.1A
10 CFR 851 (Based on DOE O 440.1)
    - Current; Applies to DOE Contractors Only
DOE O 440.1B
    - Current; Applies to Federal Employees

## Slide 6: Background
    DOE Order 440.1B: Establishes Federal Responsibilities for 10 CFR 851 and DOE approval of Worker Safety and Health Program
  Ensure Contractors comply with 10 CFR 851
  Hold Line Accountable for Providing Technical Direction consistent with 10 CFR 851
  Provide Contractors with Technical Direction for Goals, Objectives and Performance Measures
  Hold Line Accountable for Providing Technical Direction consistent with 10 CFR 851

## Slide 7
Worker Safety and Health
Program
The Federal Worker Safety and Health Program must:
  Provides a place of Employment free from recognized hazards.
      “General Duty”
  Integrate the Requirements of 29 CFR 1960 and Attachment of the Order.

## Slide 8: Responsibilities Management & Employees
Establish written policy, goals and objectives for worker safety and health program
Use qualified worker safety and health staff
  Direct and manage the program
Encourage the involvement of workers in the development of worker safety and health program
  Goals, objectives, and performance measures
  Identification and control of hazards
Provide workers access to information relevant to safety and health program

## Slide 9: Responsibilities Management & Employees
Inform workers of their rights
  Post Worker Protection Poster
  http://www.energy.gov/ehss/downloads/job-safety-and-health-poster
Have the right without reprisal to:
  Participate in activities on official time
  Have access to:
    Publications;
    Worker safety and health program;
    Safety and health poster
    Limited information on recordkeeping log

## Slide 10: Responsibilities Management & Employees
  Be notified when overexposed
  Observe monitoring and have results of their own monitoring
  Results of inspections and accident investigations
  Express worker safety and health concerns
  Decline to perform an assigned task
    Imminent risk of death or serious physical harm
  Stop work
    Exposure to imminent dangerous conditions or serious hazard

## Slide 11: Hazard Identification and Assessment
Identify existing and potential hazards
  Assess exposure to chemical, physical, biological, or safety hazards through monitoring
  Document assessments and use accredited laboratories
  Perform activity-level analysis

## Slide 12: Hazard Prevention and Abatement
Implement hazard prevention and abatement process
  Prioritize and implement abatement actions according to risks
  Protect workers from dangerous S&H conditions
  Use the “Hierarchy of Controls”
Address hazards when selecting or purchasing equipment, products, and services.
Develop and implement Occupant Emergency Plans and Procedures (conduct training and drills)

## Slide 13: Worker S&H Standards
Comply with:
  29 CFR 1910, 1915, 1917, 1918, 1926, and 1928
    Occ. S&H Stds, Shipyards, Marine, Longshoring, Construction, and Agriculture
  29 CFR 1904, Recording and Reporting
  10 CFR 850, Chronic Beryllium Disease Prevention Program
  ACGIH, TLV’s ( if more protective)
  ANSI Laser and Welding and Cutting
  NFPA 70 and 70E

## Slide 14: Worker S&H Standards
42 CFR 73, 9 CFR 121, and 7 CFR 331
  Select Agent Regulations (BioSafety)
Additional S&H requirements necessary to protect workers
Related Worker S&H policies
  P and O 456.1, Unbound Engineered Nanoparticles
  10 CFR 835, Occupational Radiation Protection
  DOE G 440.1-1B, Worker Safety and Health Program Guide
  DOE O 341.1, Federal Employee Health Services

## Slide 15: DOE O 440.1 Attachment 1
Functional Area Requirements
Construction Safety
Fire Protection
Explosive Safety
Pressure Safety
Firearms Safety
Industrial Hygiene
Biological Safety
Motor Vehicle Safety
Electrical Safety
Training
Recordkeeping

## Slide 16: Training and Information
General Training requirement.
  Ensure exposed workers are provided with training
    New Workers – before or at initial assignment
    Periodic – as often as necessary
    When S&H information or work conditions change
  Workers who have S&H program responsibilities
Specific training requirements found in OSHA standards, e.g.,
    29 CFR 1910.120 – HAZWOPER
    29 CFR 1910.134 – Respiratory Protection
    29 CFR 1910.1200 – Hazard Communication

## Slide 17: Federal Responsibilities
Ensure requirements of 10 CFR 851 (Contractor WS&H Program) are implemented
Review worker protection budgets
Provide contractors with technical direction for the development of S&H goals and objectives
Conduct worker protection inspections of federal workplaces annually
Incorporate performance elements for S&H into management performance elements

## Slide 18: Worker Safety and Health Assistance
http://www.energy.gov/ehss/worker-safety-and-health
Notes: Web site includes:
  Worker Safety and Health Program Overview pamphlet
  Single Page 10 CFR 851 Advisory
  Job Safety and Health Posters in English and Spanish
  Access to the Response Line

## Slide 19: DOE O 440.1
Questions?