Annual M&V Report Review Checklist

ESPC Process Doc. P5-01

Rev. 11-14-18

Responsibility:   PF

ANNUAL M&V REPORT: REVIEW CHECKLIST

| Project Name |  |
| --- | --- |
| FEMP ID# |  |
| Agency |  |
| Project Facilitator |  |
| Date of Review |  |
| M&V Report Title |  |
| M&V Report Date |  |

Overall

☐ Annual report has been reviewed in accordance with “Reviewing Post-Installation and Annual Reports for Federal ESPC Projects” guidance (see IDIQ, Sec. C.4.2.C and Attachment J-17)

☐ Annual report includes an annual M&V schedule report generated from eProject Builder (see IDIQ, Part J.15.3.e and Attachment J-15)

☐ Annual M&V report follows the required outline and contents (IDIQ Sec. C.4.2.D and Attachment J-10)

☐ Inspections and measurements conducted by the Contractor are witnessed by the ordering 	agency in accordance with guidelines (see "Guide to Government Witnessing and Review of 	Measurement and Verification Activities”)

☐ Documentation of government witnessing is included in the annual M&V report (per IDIQ Attachment J-10, Section J-10.2.2.C)

☐ Annual M&V report contains a “running log” that documents, on a continuous, annual basis, the changes or impacts that have affected the ability of the project to generate energy savings (IDIQ, Sec. C.4.2.E)

☐ Annual M&V report contains a copy of each year’s previous comments and responses in its Appendix (IDIQ, Sec. C.4.2.F)

☐ Annual M&V report contains records that document the ECM affected, dates of 	incidents, repairs, and/or replacements implemented, and descriptions of activities 	performed.  This applies to operations and maintenance (including inspections), repair, and 	replacement activities (regardless of who performs the work) (IDIQ, Sec. C.6.D and E)

☐ Impact of all deficiencies or enhancements on the generation of savings have been described, including but not limited to (reference IDIQ Sec. J-10.1.3 (including completed Table 3), J-10.1.5 (including completed Table 4), J10.2.2 Part H, J10.2.6 and ”Reviewing Post-Installation and Annual Reports for Federal ESPC Projects”, Annual Report Checklists, Parts 1.5, 2.2, and 2.5):

- O&M (including preventative maintenance)

- Performance

- Repair and replacement

☐ Issues/deficiencies that need follow up have been relayed to the agency/site and the ESCO (reference “Reviewing Post-Installation and Annual Reports for Federal ESPC Projects”, Annual Report Checklists, Parts 1.5, 2.2, and 2.5)

☐ Reported M&V results (including measurements, monitoring, and inspections) are consistent with the M&V Plan in the awarded proposal (reference “Reviewing Post-Installation and Annual Reports for Federal ESPC Projects”, Annual Report Checklists, Parts 2.1 and 2.2)

☐ Any energy and/or cost savings adjustments are summarized (including any needed baseline adjustments) (reference “Reviewing Post-Installation and Annual Reports for Federal ESPC Projects”, Annual Report Checklists, Parts 1.4 and 2.3)

☐ Rates in the final proposal (or Task Order contract) were used to calculate savings and adjustment factors for rates were applied correctly (reference “Reviewing Post-Installation and Annual Reports for Federal ESPC Projects”, Annual Report Checklists, Parts 1.6 and 2.3)

☐ Savings guarantee was met (or detailed explanation provided if not fulfilled) (reference “Reviewing Post-Installation and Annual Reports for Federal ESPC Projects”, Annual Report Checklists, Part 1.2)

☐ Project Facilitator supports the approval/acceptance of the annual report based on their review

Summary of Key Issues/Findings (List main areas of concern and clarifications identified in review)