## YT Bi-Weekly Emissions
Dominion Energy - Yorktown Power Station
Bi-Weekly Mass Emissions
| 2018-05-22 | [7 empty] | through |  | 2018-06-04 23:00
(If opened as an Excel spreadsheet on a local computer (i.e., not on the QAEA server and not from the QAEA Portal), the "Date & Hour" will be incorrect during Daylight Savings Time)
| 1 | 3 | 4 | 2 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
|  | Unit 1 Load | Unit 2 Load | Common Stack
Substituted Data | Date & Hour | (Gross MW) | (Gross MW) | Operation (x.xx Hour) | Heat Input (mmBtu) | Stack_HI_MODC | NOx (Lbs) | Stack_NOx_Lbs_MODC | SO2 (Lbs) | Stack_SO2_Lbs_MODC | CO2 (Tons) | Stack_CO2_Tons_MODC | Coal (Tons) | PM10 (Lbs) | Lead (Lbs) | Mercury (Lbs) | HCl (Lbs) | HF (Lbs) |  | PM10 Lbs/mmBtu |  | Lead Lbs/mmBtu | Mercury Lb/Ton | HCl Lb/Ton | HF Lb/Ton | Data End Date | Report Start Date
FALSE | 2018-05-22 | 124 | 0 | 1 | 1123.4 | 1 | 383.1 | 1 | 1977.5 | 1 | 115.3 | 1 | 44.757 | 128.4046 | 0.0031792 | 0.0037148 | 53.7084 | 6.7135 | 20180522 | 0.087 | 0.1143 | 2.83e-06 | 8.3e-05 | 1.2 | 0.15 | 2018-06-05 | 2018-05-22
FALSE | 2018-05-22 01:00 | 124 | 0 | 1 | 1123 | 1 | 384.1 | 1 | 1978.9 | 1 | 115.2 | 1 | 44.741 | 128.3589 | 0.0031781 | 0.0037135 | 53.6892 | 6.7112 | 20180522
FALSE | 2018-05-22 02:00 | 124 | 0 | 1 | 1123.9 | 1 | 381 | 1 | 1995.9 | 1 | 115.3 | 1 | 44.7769 | 128.4618 | 0.0031806 | 0.0037165 | 53.7323 | 6.7165 | 20180522
FALSE | 2018-05-22 03:00 | 124 | 0 | 1 | 1121.6 | 1 | 380.2 | 1 | 2005.5 | 1 | 115.1 | 1 | 44.6853 | 128.1989 | 0.0031741 | 0.0037089 | 53.6223 | 6.7028 | 20180522
FALSE | 2018-05-22 04:00 | 124 | 0 | 1 | 1121.1 | 1 | 376.7 | 1 | 2008.5 | 1 | 115 | 1 | 44.6653 | 128.1417 | 0.0031727 | 0.0037072 | 53.5984 | 6.6998 | 20180522
FALSE | 2018-05-22 05:00 | 123 | 0 | 1 | 1141.7 | 1 | 384.8 | 1 | 2015.8 | 1 | 117.1 | 1 | 45.4861 | 130.4963 | 0.003231 | 0.0037753 | 54.5833 | 6.8229 | 20180522
FALSE | 2018-05-22 06:00 | 123 | 0 | 1 | 1115.3 | 1 | 374.7 | 1 | 2027.5 | 1 | 114.4 | 1 | 44.4343 | 127.4788 | 0.0031563 | 0.003688 | 53.3211 | 6.6651 | 20180522
FALSE | 2018-05-22 07:00 | 123 | 0 | 1 | 1114.3 | 1 | 375.5 | 1 | 2036.4 | 1 | 114.3 | 1 | 44.3944 | 127.3645 | 0.0031535 | 0.0036847 | 53.2733 | 6.6592 | 20180522
FALSE | 2018-05-22 08:00 | 123 | 0 | 1 | 1143.8 | 1 | 388.9 | 1 | 2068 | 1 | 117.4 | 1 | 45.5697 | 130.7363 | 0.003237 | 0.0037823 | 54.6837 | 6.8355 | 20180522
FALSE | 2018-05-22 09:00 | 124 | 0 | 1 | 1177.5 | 1 | 406.2 | 1 | 2107.3 | 1 | 120.8 | 1 | 46.9124 | 134.5882 | 0.0033323 | 0.0038937 | 56.2948 | 7.0369 | 20180522
FALSE | 2018-05-22 10:00 | 124 | 0 | 1 | 1207.6 | 1 | 425.1 | 1 | 2144 | 1 | 123.9 | 1 | 48.1116 | 138.0287 | 0.0034175 | 0.0039933 | 57.7339 | 7.2167 | 20180522
FALSE | 2018-05-22 11:00 | 124 | 0 | 1 | 1227.6 | 1 | 438.3 | 1 | 2182.9 | 1 | 126 | 1 | 48.9084 | 140.3147 | 0.0034741 | 0.0040594 | 58.69 | 7.3363 | 20180522
FALSE | 2018-05-22 12:00 | 124 | 0 | 1 | 1226.2 | 1 | 441.4 | 1 | 2217.7 | 1 | 125.8 | 1 | 48.8526 | 140.1547 | 0.0034701 | 0.0040548 | 58.6231 | 7.3279 | 20180522
FALSE | 2018-05-22 13:00 | 123 | 0 | 1 | 1251 | 1 | 455.4 | 1 | 2269 | 1 | 128.4 | 1 | 49.8406 | 142.9893 | 0.0035403 | 0.0041368 | 59.8088 | 7.4761 | 20180522
FALSE | 2018-05-22 14:00 | 123 | 0 | 1 | 1243.7 | 1 | 451.5 | 1 | 2275 | 1 | 127.6 | 1 | 49.5498 | 142.1549 | 0.0035197 | 0.0041126 | 59.4598 | 7.4325 | 20180522
FALSE | 2018-05-22 15:00 | 123 | 0 | 1 | 1270 | 1 | 458.5 | 1 | 2301.4 | 1 | 130.3 | 1 | 50.5976 | 145.161 | 0.0035941 | 0.0041996 | 60.7171 | 7.5896 | 20180522
FALSE | 2018-05-22 16:00 | 124 | 0 | 1 | 1241.3 | 1 | 440.7 | 1 | 2284.4 | 1 | 127.4 | 1 | 49.4542 | 141.8806 | 0.0035129 | 0.0041047 | 59.345 | 7.4181 | 20180522
FALSE | 2018-05-22 17:00 | 124 | 0 | 1 | 1293.8 | 1 | 476.1 | 1 | 2380.9 | 1 | 132.7 | 1 | 51.5458 | 147.8813 | 0.0036615 | 0.0042783 | 61.855 | 7.7319 | 20180522
FALSE | 2018-05-22 18:00 | 124 | 35 | 1 | 1608.3 | 1 | 619.2 | 1 | 2966.5 | 1 | 165 | 1 | 64.0757 | 183.8287 | 0.0045515 | 0.0053183 | 76.8908 | 9.6114 | 20180522
FALSE | 2018-05-22 19:00 | 123 | 80 | 1 | 1943.1 | 1 | 699.5 | 1 | 3630.3 | 1 | 199.4 | 1 | 77.4143 | 222.0963 | 0.005499 | 0.0064254 | 92.8972 | 11.6122 | 20180522
FALSE | 2018-05-22 20:00 | 123 | 108 | 1 | 2191.2 | 1 | 905 | 1 | 4237.1 | 1 | 224.8 | 1 | 87.2988 | 250.4542 | 0.0062011 | 0.0072458 | 104.7586 | 13.0948 | 20180522
FALSE | 2018-05-22 21:00 | 124 | 137 | 1 | 2389 | 1 | 1058.3 | 1 | 4639.1 | 1 | 245.1 | 1 | 95.1793 | 273.0627 | 0.0067609 | 0.0078999 | 114.2151 | 14.2769 | 20180522
FALSE | 2018-05-22 22:00 | 124 | 124 | 1 | 2257.8 | 1 | 819.6 | 1 | 4438.3 | 1 | 231.7 | 1 | 89.9522 | 258.0665 | 0.0063896 | 0.007466 | 107.9426 | 13.4928 | 20180522
FALSE | 2018-05-22 23:00 | 123 | 122 | 1 | 2232.1 | 1 | 825.9 | 1 | 4401 | 1 | 229 | 1 | 88.9283 | 255.129 | 0.0063168 | 0.007381 | 106.7139 | 13.3392 | 20180522
FALSE | 2018-05-23 | 124 | 122 | 1 | 2238.5 | 1 | 826 | 1 | 4418.7 | 1 | 229.7 | 1 | 89.1833 | 255.8605 | 0.006335 | 0.0074022 | 107.0199 | 13.3775 | 20180523
FALSE | 2018-05-23 01:00 | 124 | 123 | 1 | 2243.5 | 1 | 857 | 1 | 4466.8 | 1 | 230.2 | 1 | 89.3825 | 256.4321 | 0.0063491 | 0.0074187 | 107.259 | 13.4074 | 20180523
FALSE | 2018-05-23 02:00 | 124 | 138 | 1 | 2376.3 | 1 | 1050.3 | 1 | 4667.3 | 1 | 243.8 | 1 | 94.6733 | 271.6111 | 0.0067249 | 0.0078579 | 113.608 | 14.201 | 20180523
FALSE | 2018-05-23 03:00 | 124 | 146 | 1 | 2418 | 1 | 1061.5 | 1 | 4772.1 | 1 | 248.1 | 1 | 96.3347 | 276.3774 | 0.0068429 | 0.0079958 | 115.6016 | 14.4502 | 20180523
FALSE | 2018-05-23 04:00 | 124 | 143 | 1 | 2393.9 | 1 | 1010.2 | 1 | 4719.1 | 1 | 245.6 | 1 | 95.3745 | 273.6228 | 0.0067747 | 0.0079161 | 114.4494 | 14.3062 | 20180523
FALSE | 2018-05-23 05:00 | 124 | 141 | 1 | 2381.6 | 1 | 1000.3 | 1 | 4689.7 | 1 | 244.4 | 1 | 94.8845 | 272.2169 | 0.0067399 | 0.0078754 | 113.8614 | 14.2327 | 20180523
FALSE | 2018-05-23 06:00 | 124 | 141 | 1 | 2376.5 | 1 | 991 | 1 | 4728.6 | 1 | 243.8 | 1 | 94.6813 | 271.6339 | 0.0067255 | 0.0078585 | 113.6175 | 14.2022 | 20180523
FALSE | 2018-05-23 07:00 | 124 | 142 | 1 | 2394.8 | 1 | 1010.6 | 1 | 4757.2 | 1 | 245.7 | 1 | 95.4104 | 273.7256 | 0.0067773 | 0.0079191 | 114.4924 | 14.3116 | 20180523
FALSE | 2018-05-23 08:00 | 128 | 143 | 1 | 2420.1 | 1 | 1014 | 1 | 4878 | 1 | 248.3 | 1 | 96.4183 | 276.6174 | 0.0068489 | 0.0080027 | 115.702 | 14.4627 | 20180523
FALSE | 2018-05-23 09:00 | 132 | 144 | 1 | 2480.9 | 1 | 1014.7 | 1 | 5006.5 | 1 | 254.5 | 1 | 98.8406 | 283.5669 | 0.0070209 | 0.0082038 | 118.6088 | 14.8261 | 20180523
FALSE | 2018-05-23 10:00 | 130 | 140 | 1 | 2399.4 | 1 | 998.2 | 1 | 4881.3 | 1 | 246.2 | 1 | 95.5936 | 274.2514 | 0.0067903 | 0.0079343 | 114.7124 | 14.339 | 20180523
FALSE | 2018-05-23 11:00 | 123 | 125 | 1 | 2240.7 | 1 | 936.6 | 1 | 4556.9 | 1 | 229.9 | 1 | 89.2709 | 256.112 | 0.0063412 | 0.0074095 | 107.1251 | 13.3906 | 20180523
FALSE | 2018-05-23 12:00 | 123 | 123 | 1 | 2238.7 | 1 | 951.4 | 1 | 4519.3 | 1 | 229.7 | 1 | 89.1912 | 255.8834 | 0.0063355 | 0.0074029 | 107.0295 | 13.3787 | 20180523
FALSE | 2018-05-23 13:00 | 123 | 123 | 1 | 2244.2 | 1 | 967.3 | 1 | 4534.7 | 1 | 230.3 | 1 | 89.4104 | 256.5121 | 0.0063511 | 0.0074211 | 107.2924 | 13.4116 | 20180523
FALSE | 2018-05-23 14:00 | 123 | 123 | 1 | 2243.1 | 1 | 980.2 | 1 | 4525.8 | 1 | 230.1 | 1 | 89.3665 | 256.3863 | 0.006348 | 0.0074174 | 107.2398 | 13.405 | 20180523
FALSE | 2018-05-23 15:00 | 124 | 123 | 1 | 2256 | 1 | 990.4 | 1 | 4564.5 | 1 | 231.5 | 1 | 89.8805 | 257.8608 | 0.0063845 | 0.0074601 | 107.8566 | 13.4821 | 20180523
FALSE | 2018-05-23 16:00 | 124 | 123 | 1 | 2252.9 | 1 | 989 | 1 | 4567.5 | 1 | 231.2 | 1 | 89.757 | 257.5065 | 0.0063757 | 0.0074498 | 107.7084 | 13.4635 | 20180523
FALSE | 2018-05-23 17:00 | 123 | 123 | 1 | 2250.4 | 1 | 978.9 | 1 | 4549.7 | 1 | 230.9 | 1 | 89.6574 | 257.2207 | 0.0063686 | 0.0074416 | 107.5888 | 13.4486 | 20180523
FALSE | 2018-05-23 18:00 | 123 | 123 | 1 | 2231.7 | 1 | 986.4 | 1 | 4546.2 | 1 | 229 | 1 | 88.9124 | 255.0833 | 0.0063157 | 0.0073797 | 106.6948 | 13.3369 | 20180523
FALSE | 2018-05-23 19:00 | 123 | 136 | 1 | 2408.8 | 1 | 1081.6 | 1 | 4907.7 | 1 | 247.1 | 1 | 95.9681 | 275.3258 | 0.0068169 | 0.0079654 | 115.1618 | 14.3952 | 20180523
FALSE | 2018-05-23 20:00 | 123 | 145 | 1 | 2484.8 | 1 | 1095.8 | 1 | 5048.7 | 1 | 254.9 | 1 | 98.996 | 284.0126 | 0.007032 | 0.0082167 | 118.7952 | 14.8494 | 20180523
FALSE | 2018-05-23 21:00 | 122 | 144 | 1 | 2472.8 | 1 | 1043.5 | 1 | 5011.8 | 1 | 253.7 | 1 | 98.5179 | 282.641 | 0.006998 | 0.008177 | 118.2215 | 14.7777 | 20180523
FALSE | 2018-05-23 22:00 | 122 | 144 | 1 | 2467.4 | 1 | 1031.4 | 1 | 4999.9 | 1 | 253.2 | 1 | 98.3028 | 282.0238 | 0.0069827 | 0.0081591 | 117.9633 | 14.7454 | 20180523
FALSE | 2018-05-23 23:00 | 106 | 144 | 1 | 2316 | 1 | 1000.5 | 1 | 4731.6 | 1 | 237.6 | 1 | 92.2709 | 264.7188 | 0.0065543 | 0.0076585 | 110.7251 | 13.8406 | 20180523
FALSE | 2018-05-24 | 99 | 144 | 1 | 2257.6 | 1 | 950.4 | 1 | 4637.8 | 1 | 231.6 | 1 | 89.9442 | 258.0437 | 0.006389 | 0.0074654 | 107.9331 | 13.4916 | 20180524
FALSE | 2018-05-24 01:00 | 107 | 139 | 1 | 2300.8 | 1 | 941 | 1 | 4762.2 | 1 | 236.1 | 1 | 91.6653 | 262.9814 | 0.0065113 | 0.0076082 | 109.9984 | 13.7498 | 20180524
FALSE | 2018-05-24 02:00 | 125 | 99 | 1 | 2114.4 | 1 | 936.7 | 1 | 4435.6 | 1 | 216.9 | 1 | 84.239 | 241.6759 | 0.0059838 | 0.0069918 | 101.0869 | 12.6359 | 20180524
FALSE | 2018-05-24 03:00 | 124 | 103 | 1 | 2135.8 | 1 | 961.1 | 1 | 4506.2 | 1 | 219.1 | 1 | 85.0916 | 244.1219 | 0.0060443 | 0.0070626 | 102.11 | 12.7637 | 20180524
FALSE | 2018-05-24 04:00 | 125 | 144 | 1 | 2482.6 | 1 | 1176.8 | 1 | 5202.9 | 1 | 254.7 | 1 | 98.9084 | 283.7612 | 0.0070258 | 0.0082094 | 118.69 | 14.8363 | 20180524
FALSE | 2018-05-24 05:00 | 125 | 145 | 1 | 2484.1 | 1 | 1147.7 | 1 | 5135.4 | 1 | 254.9 | 1 | 98.9681 | 283.9326 | 0.00703 | 0.0082144 | 118.7618 | 14.8452 | 20180524
FALSE | 2018-05-24 06:00 | 124 | 145 | 1 | 2453.2 | 1 | 1116.2 | 1 | 5126.4 | 1 | 251.7 | 1 | 97.7371 | 280.4008 | 0.0069426 | 0.0081122 | 117.2845 | 14.6606 | 20180524
TRUE | 2018-05-24 07:00 | 124 | 146 | 1 | 2442.8 | 99 | 1138.3 | 99 | 5021.9 | 99 | 250.6 | 99 | 97.3227 | 279.212 | 0.0069131 | 0.0080778 | 116.7873 | 14.5984 | 20180524
FALSE | 2018-05-24 08:00 | 124 | 146 | 1 | 2407.2 | 1 | 1054.4 | 1 | 4927.5 | 1 | 247 | 1 | 95.9044 | 275.143 | 0.0068124 | 0.0079601 | 115.0853 | 14.3857 | 20180524
FALSE | 2018-05-24 09:00 | 124 | 146 | 1 | 2396.5 | 1 | 1049.7 | 1 | 4907.3 | 1 | 245.9 | 1 | 95.4781 | 273.9199 | 0.0067821 | 0.0079247 | 114.5737 | 14.3217 | 20180524
FALSE | 2018-05-24 10:00 | 124 | 145 | 1 | 2390.8 | 1 | 1047.2 | 1 | 4897.5 | 1 | 245.3 | 1 | 95.251 | 273.2684 | 0.006766 | 0.0079058 | 114.3012 | 14.2876 | 20180524
FALSE | 2018-05-24 11:00 | 123 | 145 | 1 | 2383.8 | 1 | 1065.6 | 1 | 4886.8 | 1 | 244.6 | 1 | 94.9721 | 272.4683 | 0.0067462 | 0.0078827 | 113.9665 | 14.2458 | 20180524
FALSE | 2018-05-24 12:00 | 123 | 145 | 1 | 2380.1 | 1 | 1054.4 | 1 | 4891 | 1 | 244.2 | 1 | 94.8247 | 272.0454 | 0.0067357 | 0.0078705 | 113.7896 | 14.2237 | 20180524
FALSE | 2018-05-24 13:00 | 125 | 145 | 1 | 2403.6 | 1 | 1064.8 | 1 | 4934.7 | 1 | 246.6 | 1 | 95.761 | 274.7315 | 0.0068022 | 0.0079482 | 114.9131 | 14.3641 | 20180524
FALSE | 2018-05-24 14:00 | 127 | 145 | 1 | 2417 | 1 | 1058.6 | 1 | 4934.8 | 1 | 248 | 1 | 96.2948 | 276.2631 | 0.0068401 | 0.0079925 | 115.5538 | 14.4442 | 20180524
FALSE | 2018-05-24 15:00 | 126 | 145 | 1 | 2414.2 | 1 | 1064.7 | 1 | 4884.3 | 1 | 247.7 | 1 | 96.1833 | 275.9431 | 0.0068322 | 0.0079832 | 115.4199 | 14.4275 | 20180524
FALSE | 2018-05-24 16:00 | 126 | 146 | 1 | 2409.3 | 1 | 1067.3 | 1 | 4854.3 | 1 | 247.2 | 1 | 95.988 | 275.383 | 0.0068183 | 0.007967 | 115.1857 | 14.3982 | 20180524
FALSE | 2018-05-24 17:00 | 126 | 146 | 1 | 2412.5 | 1 | 1071.2 | 1 | 4834.3 | 1 | 247.5 | 1 | 96.1155 | 275.7487 | 0.0068274 | 0.0079776 | 115.3386 | 14.4173 | 20180524
FALSE | 2018-05-24 18:00 | 126 | 146 | 1 | 2416.9 | 1 | 1065.9 | 1 | 4812.9 | 1 | 248 | 1 | 96.2908 | 276.2517 | 0.0068398 | 0.0079921 | 115.549 | 14.4436 | 20180524
FALSE | 2018-05-24 19:00 | 127 | 146 | 1 | 2426.4 | 1 | 1072.5 | 1 | 4816.3 | 1 | 249 | 1 | 96.6693 | 277.3375 | 0.0068667 | 0.0080236 | 116.0032 | 14.5004 | 20180524
FALSE | 2018-05-24 20:00 | 127 | 146 | 1 | 2447.2 | 1 | 1093.9 | 1 | 4789 | 1 | 251.1 | 1 | 97.498 | 279.715 | 0.0069256 | 0.0080923 | 116.9976 | 14.6247 | 20180524
FALSE | 2018-05-24 21:00 | 128 | 145 | 1 | 2446.7 | 1 | 1083.9 | 1 | 4806.6 | 1 | 251 | 1 | 97.4781 | 279.6578 | 0.0069242 | 0.0080907 | 116.9737 | 14.6217 | 20180524
FALSE | 2018-05-24 22:00 | 128 | 145 | 1 | 2439.5 | 1 | 1080.7 | 1 | 4786 | 1 | 250.3 | 1 | 97.1912 | 278.8349 | 0.0069038 | 0.0080669 | 116.6295 | 14.5787 | 20180524
FALSE | 2018-05-24 23:00 | 104 | 145 | 1 | 2243.5 | 1 | 993.9 | 1 | 4354.7 | 1 | 230.2 | 1 | 89.3825 | 256.4321 | 0.0063491 | 0.0074187 | 107.259 | 13.4074 | 20180524
FALSE | 2018-05-25 | 96 | 145 | 1 | 2183.9 | 1 | 936.9 | 1 | 4238.2 | 1 | 224.1 | 1 | 87.008 | 249.6198 | 0.0061804 | 0.0072217 | 104.4096 | 13.0512 | 20180525
FALSE | 2018-05-25 01:00 | 125 | 113 | 1 | 2163.1 | 1 | 925.8 | 1 | 4236.5 | 1 | 221.9 | 1 | 86.1793 | 247.2423 | 0.0061216 | 0.0071529 | 103.4151 | 12.9269 | 20180525
FALSE | 2018-05-25 02:00 | 127 | 97 | 1 | 2081.6 | 1 | 938.8 | 1 | 4060.3 | 1 | 213.6 | 1 | 82.9323 | 237.9269 | 0.0058909 | 0.0068834 | 99.5187 | 12.4398 | 20180525
FALSE | 2018-05-25 03:00 | 128 | 121 | 1 | 2255.1 | 1 | 1059.9 | 1 | 4397.6 | 1 | 231.4 | 1 | 89.8446 | 257.7579 | 0.0063819 | 0.0074571 | 107.8135 | 13.4767 | 20180525
FALSE | 2018-05-25 04:00 | 127 | 144 | 1 | 2399.1 | 1 | 1163.6 | 1 | 4653 | 1 | 246.1 | 1 | 95.5817 | 274.2171 | 0.0067895 | 0.0079333 | 114.698 | 14.3373 | 20180525
FALSE | 2018-05-25 05:00 | 126 | 145 | 1 | 2430.1 | 1 | 1088.7 | 1 | 4645.3 | 1 | 249.3 | 1 | 96.8167 | 277.7604 | 0.0068772 | 0.0080358 | 116.1801 | 14.5225 | 20180525
FALSE | 2018-05-25 06:00 | 124 | 145 | 1 | 2409.2 | 1 | 1105.8 | 1 | 4610.9 | 1 | 247.2 | 1 | 95.9841 | 275.3716 | 0.006818 | 0.0079667 | 115.1809 | 14.3976 | 20180525
FALSE | 2018-05-25 07:00 | 128 | 145 | 1 | 2445.2 | 1 | 1093 | 1 | 4686 | 1 | 250.9 | 1 | 97.4183 | 279.4864 | 0.0069199 | 0.0080857 | 116.902 | 14.6127 | 20180525
FALSE | 2018-05-25 08:00 | 132 | 145 | 1 | 2447.6 | 1 | 1089.2 | 1 | 4754.7 | 1 | 251.1 | 1 | 97.5139 | 279.7607 | 0.0069267 | 0.0080937 | 117.0167 | 14.6271 | 20180525
FALSE | 2018-05-25 09:00 | 124 | 144 | 1 | 2391.5 | 1 | 1064.2 | 1 | 4655.4 | 1 | 245.4 | 1 | 95.2789 | 273.3485 | 0.0067679 | 0.0079081 | 114.3347 | 14.2918 | 20180525
FALSE | 2018-05-25 10:00 | 124 | 144 | 1 | 2413.8 | 1 | 1052.4 | 1 | 4667.5 | 1 | 247.7 | 1 | 96.1673 | 275.8973 | 0.0068311 | 0.0079819 | 115.4008 | 14.4251 | 20180525
FALSE | 2018-05-25 11:00 | 124 | 144 | 1 | 2416.6 | 1 | 1044 | 1 | 4689.1 | 1 | 247.9 | 1 | 96.2789 | 276.2174 | 0.006839 | 0.0079911 | 115.5347 | 14.4418 | 20180525
FALSE | 2018-05-25 12:00 | 125 | 144 | 1 | 2416.8 | 1 | 1053.7 | 1 | 4684 | 1 | 248 | 1 | 96.2869 | 276.2402 | 0.0068395 | 0.0079918 | 115.5442 | 14.443 | 20180525
FALSE | 2018-05-25 13:00 | 125 | 144 | 1 | 2409.9 | 1 | 1048.3 | 1 | 4681.5 | 1 | 247.3 | 1 | 96.012 | 275.4516 | 0.00682 | 0.007969 | 115.2143 | 14.4018 | 20180525
FALSE | 2018-05-25 14:00 | 125 | 144 | 1 | 2418.4 | 1 | 1059.3 | 1 | 4693.5 | 1 | 248.1 | 1 | 96.3506 | 276.4231 | 0.0068441 | 0.0079971 | 115.6207 | 14.4526 | 20180525
FALSE | 2018-05-25 15:00 | 125 | 144 | 1 | 2422.1 | 1 | 1065.7 | 1 | 4679.2 | 1 | 248.5 | 1 | 96.498 | 276.846 | 0.0068545 | 0.0080093 | 115.7976 | 14.4747 | 20180525
FALSE | 2018-05-25 16:00 | 125 | 144 | 1 | 2417.5 | 1 | 1058.9 | 1 | 4678.4 | 1 | 248 | 1 | 96.3147 | 276.3202 | 0.0068415 | 0.0079941 | 115.5777 | 14.4472 | 20180525
FALSE | 2018-05-25 17:00 | 125 | 144 | 1 | 2423.7 | 1 | 1064 | 1 | 4684 | 1 | 248.7 | 1 | 96.5618 | 277.0289 | 0.0068591 | 0.0080146 | 115.8741 | 14.4843 | 20180525
FALSE | 2018-05-25 18:00 | 125 | 144 | 1 | 2400.1 | 1 | 1070.4 | 1 | 4648 | 1 | 246.2 | 1 | 95.6215 | 274.3314 | 0.0067923 | 0.0079366 | 114.7458 | 14.3432 | 20180525
FALSE | 2018-05-25 19:00 | 125 | 144 | 1 | 2411.1 | 1 | 1075.4 | 1 | 4676.6 | 1 | 247.4 | 1 | 96.0598 | 275.5887 | 0.0068234 | 0.007973 | 115.2717 | 14.409 | 20180525
FALSE | 2018-05-25 20:00 | 125 | 144 | 1 | 2410.3 | 1 | 1077.4 | 1 | 4687.5 | 1 | 247.3 | 1 | 96.0279 | 275.4973 | 0.0068211 | 0.0079703 | 115.2335 | 14.4042 | 20180525
FALSE | 2018-05-25 21:00 | 125 | 144 | 1 | 2411.8 | 1 | 1056.4 | 1 | 4672.4 | 1 | 247.4 | 1 | 96.0876 | 275.6687 | 0.0068254 | 0.0079753 | 115.3052 | 14.4131 | 20180525
FALSE | 2018-05-25 22:00 | 125 | 144 | 1 | 2417.7 | 1 | 1044.4 | 1 | 4664.9 | 1 | 248.1 | 1 | 96.3227 | 276.3431 | 0.0068421 | 0.0079948 | 115.5873 | 14.4484 | 20180525
FALSE | 2018-05-25 23:00 | 123 | 144 | 1 | 2406.5 | 1 | 1049.2 | 1 | 4605.6 | 1 | 246.9 | 1 | 95.8765 | 275.063 | 0.0068104 | 0.0079577 | 115.0518 | 14.3815 | 20180525
FALSE | 2018-05-26 | 95 | 144 | 1 | 2186.2 | 1 | 955.4 | 1 | 4159.7 | 1 | 224.3 | 1 | 87.0996 | 249.8827 | 0.0061869 | 0.0072293 | 104.5195 | 13.0649 | 20180526
FALSE | 2018-05-26 01:00 | 95 | 144 | 1 | 2178 | 1 | 936.5 | 1 | 4171.7 | 1 | 223.5 | 1 | 86.7729 | 248.9454 | 0.0061637 | 0.0072022 | 104.1275 | 13.0159 | 20180526
FALSE | 2018-05-26 02:00 | 98 | 120 | 1 | 1979.3 | 1 | 849.1 | 1 | 3801.4 | 1 | 203.1 | 1 | 78.8566 | 226.234 | 0.0056014 | 0.0065451 | 94.6279 | 11.8285 | 20180526
FALSE | 2018-05-26 03:00 | 99 | 98 | 1 | 1843.2 | 1 | 757.6 | 1 | 3471.9 | 1 | 189.1 | 1 | 73.4343 | 210.6778 | 0.0052163 | 0.006095 | 88.1211 | 11.0151 | 20180526
FALSE | 2018-05-26 04:00 | 98 | 121 | 1 | 2020.4 | 1 | 852.6 | 1 | 3799.3 | 1 | 207.3 | 1 | 80.494 | 230.9317 | 0.0057177 | 0.006681 | 96.5928 | 12.0741 | 20180526
FALSE | 2018-05-26 05:00 | 99 | 144 | 1 | 2203 | 1 | 984.7 | 1 | 4143.6 | 1 | 226 | 1 | 87.7689 | 251.8029 | 0.0062345 | 0.0072848 | 105.3227 | 13.1653 | 20180526
FALSE | 2018-05-26 06:00 | 99 | 144 | 1 | 2213.8 | 1 | 965.2 | 1 | 4132.6 | 1 | 227.1 | 1 | 88.1992 | 253.0373 | 0.0062651 | 0.0073205 | 105.839 | 13.2299 | 20180526
FALSE | 2018-05-26 07:00 | 108 | 144 | 1 | 2282.7 | 1 | 988.4 | 1 | 4262.4 | 1 | 234.2 | 1 | 90.9442 | 260.9126 | 0.00646 | 0.0075484 | 109.1331 | 13.6416 | 20180526
FALSE | 2018-05-26 08:00 | 132 | 144 | 1 | 2466.2 | 1 | 1090.1 | 1 | 4606.6 | 1 | 253 | 1 | 98.255 | 281.8867 | 0.0069793 | 0.0081552 | 117.906 | 14.7382 | 20180526
FALSE | 2018-05-26 09:00 | 135 | 144 | 1 | 2480.2 | 1 | 1098.7 | 1 | 4636.4 | 1 | 254.5 | 1 | 98.8127 | 283.4869 | 0.007019 | 0.0082015 | 118.5753 | 14.8219 | 20180526
FALSE | 2018-05-26 10:00 | 136 | 144 | 1 | 2478.4 | 1 | 1100.4 | 1 | 4579.4 | 1 | 254.3 | 1 | 98.741 | 283.2811 | 0.0070139 | 0.0081955 | 118.4892 | 14.8112 | 20180526
FALSE | 2018-05-26 11:00 | 135 | 144 | 1 | 2472.4 | 1 | 1100.2 | 1 | 4527.6 | 1 | 253.7 | 1 | 98.502 | 282.5953 | 0.0069969 | 0.0081757 | 118.2024 | 14.7753 | 20180526
FALSE | 2018-05-26 12:00 | 135 | 144 | 1 | 2468 | 1 | 1093.3 | 1 | 4503 | 1 | 253.2 | 1 | 98.3267 | 282.0924 | 0.0069844 | 0.0081611 | 117.992 | 14.749 | 20180526
FALSE | 2018-05-26 13:00 | 134 | 144 | 1 | 2484.8 | 1 | 1083.4 | 1 | 4451.9 | 1 | 254.9 | 1 | 98.996 | 284.0126 | 0.007032 | 0.0082167 | 118.7952 | 14.8494 | 20180526
FALSE | 2018-05-26 14:00 | 135 | 144 | 1 | 2492.2 | 1 | 1094.1 | 1 | 4432.1 | 1 | 255.7 | 1 | 99.2908 | 284.8585 | 0.0070529 | 0.0082411 | 119.149 | 14.8936 | 20180526
FALSE | 2018-05-26 15:00 | 135 | 144 | 1 | 2496.3 | 1 | 1100.9 | 1 | 4347.4 | 1 | 256.1 | 1 | 99.4542 | 285.3271 | 0.0070645 | 0.0082547 | 119.345 | 14.9181 | 20180526
FALSE | 2018-05-26 16:00 | 136 | 144 | 1 | 2502.3 | 1 | 1111 | 1 | 4288.5 | 1 | 256.7 | 1 | 99.6932 | 286.0129 | 0.0070815 | 0.0082745 | 119.6319 | 14.954 | 20180526
FALSE | 2018-05-26 17:00 | 136 | 144 | 1 | 2504.7 | 1 | 1114.6 | 1 | 4263.2 | 1 | 257 | 1 | 99.7888 | 286.2872 | 0.0070883 | 0.0082825 | 119.7466 | 14.9683 | 20180526
FALSE | 2018-05-26 18:00 | 136 | 144 | 1 | 2474.9 | 1 | 1098.9 | 1 | 4253.1 | 1 | 253.9 | 1 | 98.6016 | 282.8811 | 0.007004 | 0.0081839 | 118.3219 | 14.7902 | 20180526
FALSE | 2018-05-26 19:00 | 136 | 144 | 1 | 2479.2 | 1 | 1098.3 | 1 | 4242 | 1 | 254.4 | 1 | 98.7729 | 283.3726 | 0.0070161 | 0.0081982 | 118.5275 | 14.8159 | 20180526
FALSE | 2018-05-26 20:00 | 135 | 144 | 1 | 2478.3 | 1 | 1102.8 | 1 | 4258.9 | 1 | 254.3 | 1 | 98.7371 | 283.2697 | 0.0070136 | 0.0081952 | 118.4845 | 14.8106 | 20180526
FALSE | 2018-05-26 21:00 | 136 | 144 | 1 | 2482.8 | 1 | 1092.4 | 1 | 4271.3 | 1 | 254.7 | 1 | 98.9163 | 283.784 | 0.0070263 | 0.0082101 | 118.6996 | 14.8375 | 20180526
FALSE | 2018-05-26 22:00 | 134 | 144 | 1 | 2472.9 | 1 | 1088.1 | 1 | 4226.6 | 1 | 253.7 | 1 | 98.5219 | 282.6525 | 0.0069983 | 0.0081773 | 118.2263 | 14.7783 | 20180526
FALSE | 2018-05-26 23:00 | 97 | 144 | 1 | 2184.1 | 1 | 978.5 | 1 | 3631.7 | 1 | 224.1 | 1 | 87.0159 | 249.6426 | 0.006181 | 0.0072223 | 104.4191 | 13.0524 | 20180526
FALSE | 2018-05-27 | 96 | 141 | 1 | 2128.9 | 1 | 923.9 | 1 | 3549.1 | 1 | 218.4 | 1 | 84.8167 | 243.3333 | 0.0060248 | 0.0070398 | 101.7801 | 12.7225 | 20180527
FALSE | 2018-05-27 01:00 | 98 | 100 | 1 | 1839.2 | 1 | 757.8 | 1 | 3008.6 | 1 | 188.7 | 1 | 73.2749 | 210.2206 | 0.0052049 | 0.0060818 | 87.9299 | 10.9912 | 20180527
FALSE | 2018-05-27 02:00 | 116 | 101 | 1 | 1995 | 1 | 847.9 | 1 | 3327.9 | 1 | 204.7 | 1 | 79.4821 | 228.0285 | 0.0056459 | 0.006597 | 95.3785 | 11.9223 | 20180527
FALSE | 2018-05-27 03:00 | 135 | 136 | 1 | 2439.7 | 1 | 1156.4 | 1 | 4112.7 | 1 | 250.3 | 1 | 97.1992 | 278.8577 | 0.0069044 | 0.0080675 | 116.639 | 14.5799 | 20180527
FALSE | 2018-05-27 04:00 | 136 | 144 | 1 | 2502.8 | 1 | 1193.8 | 1 | 4211.9 | 1 | 256.8 | 1 | 99.7131 | 286.07 | 0.0070829 | 0.0082762 | 119.6558 | 14.957 | 20180527
FALSE | 2018-05-27 05:00 | 135 | 144 | 1 | 2494.1 | 1 | 1137.3 | 1 | 4192.2 | 1 | 255.9 | 1 | 99.3665 | 285.0756 | 0.0070583 | 0.0082474 | 119.2398 | 14.905 | 20180527
FALSE | 2018-05-27 06:00 | 135 | 144 | 1 | 2476.8 | 1 | 1117 | 1 | 4154.7 | 1 | 254.1 | 1 | 98.6773 | 283.0982 | 0.0070093 | 0.0081902 | 118.4127 | 14.8016 | 20180527
FALSE | 2018-05-27 07:00 | 136 | 144 | 1 | 2471.3 | 1 | 1109.6 | 1 | 4140.9 | 1 | 253.6 | 1 | 98.4582 | 282.4696 | 0.0069938 | 0.008172 | 118.1498 | 14.7687 | 20180527
FALSE | 2018-05-27 08:00 | 137 | 144 | 1 | 2505.4 | 1 | 1104.9 | 1 | 4136.1 | 1 | 257.1 | 1 | 99.8167 | 286.3672 | 0.0070903 | 0.0082848 | 119.7801 | 14.9725 | 20180527
FALSE | 2018-05-27 09:00 | 136 | 144 | 1 | 2498.9 | 1 | 1102 | 1 | 4104.8 | 1 | 256.4 | 1 | 99.5578 | 285.6243 | 0.0070719 | 0.0082633 | 119.4693 | 14.9337 | 20180527
FALSE | 2018-05-27 10:00 | 136 | 144 | 1 | 2491.3 | 1 | 1091.2 | 1 | 4115.6 | 1 | 255.6 | 1 | 99.255 | 284.7556 | 0.0070504 | 0.0082382 | 119.106 | 14.8882 | 20180527
FALSE | 2018-05-27 11:00 | 136 | 144 | 1 | 2490 | 1 | 1095.6 | 1 | 4122.8 | 1 | 255.5 | 1 | 99.2032 | 284.607 | 0.0070467 | 0.0082339 | 119.0438 | 14.8805 | 20180527
FALSE | 2018-05-27 12:00 | 136 | 144 | 1 | 2489.4 | 1 | 1097.8 | 1 | 4118 | 1 | 255.4 | 1 | 99.1793 | 284.5384 | 0.007045 | 0.0082319 | 119.0151 | 14.8769 | 20180527
FALSE | 2018-05-27 13:00 | 136 | 144 | 1 | 2489.4 | 1 | 1102.8 | 1 | 4116.1 | 1 | 255.4 | 1 | 99.1793 | 284.5384 | 0.007045 | 0.0082319 | 119.0151 | 14.8769 | 20180527
FALSE | 2018-05-27 14:00 | 133 | 144 | 1 | 2463.7 | 1 | 1089 | 1 | 4055.3 | 1 | 252.8 | 1 | 98.1554 | 281.6009 | 0.0069723 | 0.0081469 | 117.7865 | 14.7233 | 20180527
FALSE | 2018-05-27 15:00 | 131 | 144 | 1 | 2454.7 | 1 | 1082.5 | 1 | 4042.3 | 1 | 251.9 | 1 | 97.7968 | 280.5722 | 0.0069468 | 0.0081171 | 117.3562 | 14.6695 | 20180527
FALSE | 2018-05-27 16:00 | 131 | 144 | 1 | 2455.1 | 1 | 1075.3 | 1 | 4063.1 | 1 | 251.9 | 1 | 97.8127 | 280.6179 | 0.0069479 | 0.0081185 | 117.3753 | 14.6719 | 20180527
FALSE | 2018-05-27 17:00 | 131 | 144 | 1 | 2457.4 | 1 | 1076.3 | 1 | 4055.9 | 1 | 252.1 | 1 | 97.9044 | 280.8808 | 0.0069544 | 0.0081261 | 117.4853 | 14.6857 | 20180527
FALSE | 2018-05-27 18:00 | 131 | 144 | 1 | 2459.6 | 1 | 1072.4 | 1 | 4011.8 | 1 | 252.4 | 1 | 97.992 | 281.1323 | 0.0069607 | 0.0081333 | 117.5904 | 14.6988 | 20180527
FALSE | 2018-05-27 19:00 | 131 | 145 | 1 | 2462.8 | 1 | 1071.3 | 1 | 4017.9 | 1 | 252.7 | 1 | 98.1195 | 281.498 | 0.0069697 | 0.0081439 | 117.7434 | 14.7179 | 20180527
FALSE | 2018-05-27 20:00 | 132 | 145 | 1 | 2461.2 | 1 | 1065.7 | 1 | 4008 | 1 | 252.5 | 1 | 98.0558 | 281.3152 | 0.0069652 | 0.0081386 | 117.6669 | 14.7084 | 20180527
FALSE | 2018-05-27 21:00 | 132 | 145 | 1 | 2461.7 | 1 | 1065.9 | 1 | 3991.3 | 1 | 252.6 | 1 | 98.0757 | 281.3723 | 0.0069666 | 0.0081403 | 117.6908 | 14.7114 | 20180527
FALSE | 2018-05-27 22:00 | 133 | 145 | 1 | 2460.4 | 1 | 1065.4 | 1 | 3987.4 | 1 | 252.4 | 1 | 98.0239 | 281.2237 | 0.0069629 | 0.008136 | 117.6287 | 14.7036 | 20180527
FALSE | 2018-05-27 23:00 | 102 | 145 | 1 | 2228.4 | 1 | 1000.6 | 1 | 3569.1 | 1 | 228.6 | 1 | 88.7809 | 254.7061 | 0.0063064 | 0.0073688 | 106.5371 | 13.3171 | 20180527
FALSE | 2018-05-28 | 93 | 144 | 1 | 2171.2 | 1 | 931.4 | 1 | 3442.5 | 1 | 222.8 | 1 | 86.502 | 248.1682 | 0.0061445 | 0.0071797 | 103.8024 | 12.9753 | 20180528
FALSE | 2018-05-28 01:00 | 123 | 145 | 1 | 2407.4 | 1 | 1008.7 | 1 | 3873.6 | 1 | 247 | 1 | 95.9124 | 275.1658 | 0.0068129 | 0.0079607 | 115.0948 | 14.3869 | 20180528
FALSE | 2018-05-28 02:00 | 132 | 145 | 1 | 2447.4 | 1 | 1067.1 | 1 | 3924.9 | 1 | 251.1 | 1 | 97.506 | 279.7378 | 0.0069261 | 0.008093 | 117.0072 | 14.6259 | 20180528
FALSE | 2018-05-28 03:00 | 130 | 144 | 1 | 2451.9 | 1 | 1069 | 1 | 3888.5 | 1 | 251.6 | 1 | 97.6853 | 280.2522 | 0.0069389 | 0.0081079 | 117.2223 | 14.6528 | 20180528
FALSE | 2018-05-28 04:00 | 128 | 138 | 1 | 2383.9 | 1 | 1082.3 | 1 | 3776.2 | 1 | 244.6 | 1 | 94.9761 | 272.4798 | 0.0067464 | 0.007883 | 113.9713 | 14.2464 | 20180528
FALSE | 2018-05-28 05:00 | 126 | 139 | 1 | 2386.5 | 1 | 1062 | 1 | 3696.1 | 1 | 244.9 | 1 | 95.0797 | 272.7769 | 0.0067538 | 0.0078916 | 114.0956 | 14.262 | 20180528
FALSE | 2018-05-28 06:00 | 131 | 141 | 1 | 2438.6 | 1 | 1053.5 | 1 | 3797.4 | 1 | 250.2 | 1 | 97.1554 | 278.732 | 0.0069012 | 0.0080639 | 116.5865 | 14.5733 | 20180528
FALSE | 2018-05-28 07:00 | 131 | 143 | 1 | 2435.4 | 1 | 1049.7 | 1 | 3796.9 | 1 | 249.9 | 1 | 97.0279 | 278.3662 | 0.0068922 | 0.0080533 | 116.4335 | 14.5542 | 20180528
FALSE | 2018-05-28 08:00 | 131 | 144 | 1 | 2461.8 | 1 | 1034 | 1 | 3783.6 | 1 | 252.6 | 1 | 98.0797 | 281.3837 | 0.0069669 | 0.0081406 | 117.6956 | 14.712 | 20180528
FALSE | 2018-05-28 09:00 | 131 | 144 | 1 | 2461.2 | 1 | 1031.2 | 1 | 3769.9 | 1 | 252.5 | 1 | 98.0558 | 281.3152 | 0.0069652 | 0.0081386 | 117.6669 | 14.7084 | 20180528
FALSE | 2018-05-28 10:00 | 131 | 144 | 1 | 2433.2 | 1 | 1034.1 | 1 | 3739.2 | 1 | 249.6 | 1 | 96.9402 | 278.1148 | 0.006886 | 0.008046 | 116.3283 | 14.541 | 20180528
FALSE | 2018-05-28 11:00 | 131 | 144 | 1 | 2464.1 | 1 | 1034.9 | 1 | 3740.3 | 1 | 252.8 | 1 | 98.1713 | 281.6466 | 0.0069734 | 0.0081482 | 117.8056 | 14.7257 | 20180528
FALSE | 2018-05-28 12:00 | 131 | 144 | 1 | 2463.3 | 1 | 1022.3 | 1 | 3721.6 | 1 | 252.7 | 1 | 98.1394 | 281.5552 | 0.0069711 | 0.0081456 | 117.7673 | 14.7209 | 20180528
FALSE | 2018-05-28 13:00 | 131 | 144 | 1 | 2466 | 1 | 1035.7 | 1 | 3687 | 1 | 253 | 1 | 98.247 | 281.8638 | 0.0069788 | 0.0081545 | 117.8964 | 14.7371 | 20180528
FALSE | 2018-05-28 14:00 | 131 | 144 | 1 | 2469.3 | 1 | 1042 | 1 | 3667 | 1 | 253.3 | 1 | 98.3785 | 282.241 | 0.0069881 | 0.0081654 | 118.0542 | 14.7568 | 20180528
FALSE | 2018-05-28 15:00 | 131 | 144 | 1 | 2482.8 | 1 | 1042.8 | 1 | 3652.7 | 1 | 254.7 | 1 | 98.9163 | 283.784 | 0.0070263 | 0.0082101 | 118.6996 | 14.8375 | 20180528
FALSE | 2018-05-28 16:00 | 131 | 144 | 1 | 2476.3 | 1 | 1045 | 1 | 3620.9 | 1 | 254.1 | 1 | 98.6574 | 283.0411 | 0.0070079 | 0.0081886 | 118.3888 | 14.7986 | 20180528
FALSE | 2018-05-28 17:00 | 131 | 145 | 1 | 2470.5 | 1 | 1040.1 | 1 | 3607.9 | 1 | 253.5 | 1 | 98.4263 | 282.3782 | 0.0069915 | 0.0081694 | 118.1116 | 14.7639 | 20180528
FALSE | 2018-05-28 18:00 | 131 | 144 | 1 | 2445.1 | 1 | 1051.4 | 1 | 3578.1 | 1 | 250.9 | 1 | 97.4143 | 279.4749 | 0.0069196 | 0.0080854 | 116.8972 | 14.6122 | 20180528
FALSE | 2018-05-28 19:00 | 131 | 145 | 1 | 2437.9 | 1 | 1043.4 | 1 | 3559.2 | 1 | 250.1 | 1 | 97.1275 | 278.652 | 0.0068993 | 0.0080616 | 116.553 | 14.5691 | 20180528
FALSE | 2018-05-28 20:00 | 131 | 145 | 1 | 2444.6 | 1 | 1051.2 | 1 | 3552.4 | 1 | 250.8 | 1 | 97.3944 | 279.4178 | 0.0069182 | 0.0080837 | 116.8733 | 14.6092 | 20180528
FALSE | 2018-05-28 21:00 | 131 | 144 | 1 | 2442.7 | 1 | 1047.9 | 1 | 3535.7 | 1 | 250.6 | 1 | 97.3187 | 279.2006 | 0.0069128 | 0.0080775 | 116.7825 | 14.5978 | 20180528
FALSE | 2018-05-28 22:00 | 131 | 144 | 1 | 2438.7 | 1 | 1036.4 | 1 | 3526.3 | 1 | 250.2 | 1 | 97.1594 | 278.7434 | 0.0069015 | 0.0080642 | 116.5912 | 14.5739 | 20180528
FALSE | 2018-05-28 23:00 | 131 | 144 | 1 | 2444.3 | 1 | 1046.2 | 1 | 3516.7 | 1 | 250.8 | 1 | 97.3825 | 279.3835 | 0.0069174 | 0.0080827 | 116.859 | 14.6074 | 20180528
FALSE | 2018-05-29 | 131 | 144 | 1 | 2444.6 | 1 | 1048.7 | 1 | 3518.1 | 1 | 250.8 | 1 | 97.3944 | 279.4178 | 0.0069182 | 0.0080837 | 116.8733 | 14.6092 | 20180529
FALSE | 2018-05-29 01:00 | 131 | 144 | 1 | 2448.8 | 1 | 1050.5 | 1 | 3512.2 | 1 | 251.2 | 1 | 97.5618 | 279.8978 | 0.0069301 | 0.0080976 | 117.0741 | 14.6343 | 20180529
FALSE | 2018-05-29 02:00 | 131 | 144 | 1 | 2446.1 | 1 | 1051.8 | 1 | 3517.6 | 1 | 251 | 1 | 97.4542 | 279.5892 | 0.0069225 | 0.0080887 | 116.945 | 14.6181 | 20180529
FALSE | 2018-05-29 03:00 | 131 | 144 | 1 | 2446.9 | 1 | 1057.1 | 1 | 3511.3 | 1 | 251.1 | 1 | 97.4861 | 279.6807 | 0.0069247 | 0.0080913 | 116.9833 | 14.6229 | 20180529
FALSE | 2018-05-29 04:00 | 131 | 144 | 1 | 2448.2 | 1 | 1050.3 | 1 | 3503.9 | 1 | 251.2 | 1 | 97.5378 | 279.8293 | 0.0069284 | 0.0080956 | 117.0454 | 14.6307 | 20180529
FALSE | 2018-05-29 05:00 | 131 | 144 | 1 | 2452.9 | 1 | 1052.3 | 1 | 3496.7 | 1 | 251.7 | 1 | 97.7251 | 280.3665 | 0.0069417 | 0.0081112 | 117.2701 | 14.6588 | 20180529
FALSE | 2018-05-29 06:00 | 131 | 144 | 1 | 2455.1 | 1 | 1058.1 | 1 | 3506.3 | 1 | 251.9 | 1 | 97.8127 | 280.6179 | 0.0069479 | 0.0081185 | 117.3753 | 14.6719 | 20180529
FALSE | 2018-05-29 07:00 | 130 | 144 | 1 | 2449.6 | 1 | 1058.2 | 1 | 3506.8 | 1 | 251.3 | 1 | 97.5936 | 279.9893 | 0.0069324 | 0.0081003 | 117.1124 | 14.639 | 20180529
FALSE | 2018-05-29 08:00 | 131 | 144 | 1 | 2455.3 | 1 | 1068.1 | 1 | 3515.9 | 1 | 251.9 | 1 | 97.8207 | 280.6408 | 0.0069485 | 0.0081191 | 117.3849 | 14.6731 | 20180529
FALSE | 2018-05-29 09:00 | 131 | 144 | 1 | 2454.2 | 1 | 1070 | 1 | 3502.2 | 1 | 251.8 | 1 | 97.7769 | 280.5151 | 0.0069454 | 0.0081155 | 117.3323 | 14.6665 | 20180529
FALSE | 2018-05-29 10:00 | 131 | 144 | 1 | 2447.3 | 1 | 1064.6 | 1 | 3535.9 | 1 | 251.1 | 1 | 97.502 | 279.7264 | 0.0069259 | 0.0080927 | 117.0024 | 14.6253 | 20180529
FALSE | 2018-05-29 11:00 | 131 | 144 | 1 | 2476.4 | 1 | 1067.3 | 1 | 3569.4 | 1 | 254.1 | 1 | 98.6614 | 283.0525 | 0.0070082 | 0.0081889 | 118.3936 | 14.7992 | 20180529
FALSE | 2018-05-29 12:00 | 131 | 144 | 1 | 2453.5 | 1 | 1067.3 | 1 | 3569 | 1 | 251.7 | 1 | 97.749 | 280.435 | 0.0069434 | 0.0081132 | 117.2988 | 14.6624 | 20180529
FALSE | 2018-05-29 13:00 | 131 | 144 | 1 | 2455.2 | 1 | 1072.9 | 1 | 3562.2 | 1 | 251.9 | 1 | 97.8167 | 280.6294 | 0.0069482 | 0.0081188 | 117.3801 | 14.6725 | 20180529
FALSE | 2018-05-29 14:00 | 131 | 144 | 1 | 2455.1 | 1 | 1080.2 | 1 | 3561.1 | 1 | 251.9 | 1 | 97.8127 | 280.6179 | 0.0069479 | 0.0081185 | 117.3753 | 14.6719 | 20180529
FALSE | 2018-05-29 15:00 | 131 | 144 | 1 | 2446.7 | 1 | 1066.8 | 1 | 3558.2 | 1 | 251 | 1 | 97.4781 | 279.6578 | 0.0069242 | 0.0080907 | 116.9737 | 14.6217 | 20180529
FALSE | 2018-05-29 16:00 | 130 | 144 | 1 | 2473.9 | 1 | 1071.2 | 1 | 3566.6 | 1 | 253.8 | 1 | 98.5618 | 282.7668 | 0.0070011 | 0.0081806 | 118.2741 | 14.7843 | 20180529
FALSE | 2018-05-29 17:00 | 130 | 144 | 1 | 2467.5 | 1 | 1051.2 | 1 | 3574 | 1 | 253.2 | 1 | 98.3068 | 282.0353 | 0.006983 | 0.0081595 | 117.9681 | 14.746 | 20180529
FALSE | 2018-05-29 18:00 | 131 | 144 | 1 | 2472.7 | 1 | 1050.9 | 1 | 3580.6 | 1 | 253.7 | 1 | 98.5139 | 282.6296 | 0.0069977 | 0.0081767 | 118.2167 | 14.7771 | 20180529
FALSE | 2018-05-29 19:00 | 131 | 144 | 1 | 2448 | 1 | 1062.4 | 1 | 3591.6 | 1 | 251.2 | 1 | 97.5299 | 279.8064 | 0.0069278 | 0.008095 | 117.0359 | 14.6295 | 20180529
FALSE | 2018-05-29 20:00 | 131 | 144 | 1 | 2476.5 | 1 | 1057.5 | 1 | 3598.1 | 1 | 254.1 | 1 | 98.6653 | 283.0639 | 0.0070085 | 0.0081892 | 118.3984 | 14.7998 | 20180529
FALSE | 2018-05-29 21:00 | 131 | 144 | 1 | 2477.8 | 1 | 1050.6 | 1 | 3593.6 | 1 | 254.2 | 1 | 98.7171 | 283.2125 | 0.0070122 | 0.0081935 | 118.4606 | 14.8076 | 20180529
FALSE | 2018-05-29 22:00 | 131 | 145 | 1 | 2442.9 | 1 | 1052.9 | 1 | 3582.2 | 1 | 250.6 | 1 | 97.3267 | 279.2235 | 0.0069134 | 0.0080781 | 116.792 | 14.599 | 20180529
FALSE | 2018-05-29 23:00 | 96 | 144 | 1 | 2200.1 | 1 | 1056 | 1 | 3132.4 | 1 | 225.7 | 1 | 87.6534 | 251.4714 | 0.0062263 | 0.0072752 | 105.1841 | 13.148 | 20180529
FALSE | 2018-05-30 | 101 | 144 | 1 | 2236.6 | 1 | 1042.3 | 1 | 3219.2 | 1 | 229.5 | 1 | 89.1076 | 255.6434 | 0.0063296 | 0.0073959 | 106.9291 | 13.3661 | 20180530
FALSE | 2018-05-30 01:00 | 132 | 100 | 1 | 2119.4 | 1 | 955.8 | 1 | 3127.3 | 1 | 217.5 | 1 | 84.4382 | 242.2474 | 0.0059979 | 0.0070084 | 101.3259 | 12.6657 | 20180530
FALSE | 2018-05-30 02:00 | 131 | 93 | 1 | 2070.5 | 1 | 989.7 | 1 | 3045.4 | 1 | 212.4 | 1 | 82.49 | 236.6582 | 0.0058595 | 0.0068467 | 98.988 | 12.3735 | 20180530
FALSE | 2018-05-30 03:00 | 131 | 137 | 1 | 2399.3 | 1 | 1070.1 | 1 | 3543.2 | 1 | 246.2 | 1 | 95.5896 | 274.24 | 0.00679 | 0.0079339 | 114.7076 | 14.3384 | 20180530
FALSE | 2018-05-30 04:00 | 131 | 145 | 1 | 2447.2 | 1 | 1054.7 | 1 | 3601.5 | 1 | 251.1 | 1 | 97.498 | 279.715 | 0.0069256 | 0.0080923 | 116.9976 | 14.6247 | 20180530
FALSE | 2018-05-30 05:00 | 133 | 145 | 1 | 2490.2 | 1 | 1065.8 | 1 | 3606 | 1 | 255.5 | 1 | 99.2112 | 284.6299 | 0.0070473 | 0.0082345 | 119.0534 | 14.8817 | 20180530
FALSE | 2018-05-30 06:00 | 133 | 145 | 1 | 2458 | 1 | 1059.4 | 1 | 3621.1 | 1 | 252.2 | 1 | 97.9283 | 280.9494 | 0.0069561 | 0.008128 | 117.5139 | 14.6892 | 20180530
FALSE | 2018-05-30 07:00 | 132 | 145 | 1 | 2484.6 | 1 | 1056 | 1 | 3614.5 | 1 | 254.9 | 1 | 98.988 | 283.9898 | 0.0070314 | 0.008216 | 118.7857 | 14.8482 | 20180530
FALSE | 2018-05-30 08:00 | 132 | 145 | 1 | 2490.7 | 1 | 1061 | 1 | 3609.4 | 1 | 255.5 | 1 | 99.2311 | 284.687 | 0.0070487 | 0.0082362 | 119.0773 | 14.8847 | 20180530
FALSE | 2018-05-30 09:00 | 132 | 145 | 1 | 2456.8 | 1 | 1063.8 | 1 | 3597.9 | 1 | 252.1 | 1 | 97.8805 | 280.8122 | 0.0069527 | 0.0081241 | 117.4566 | 14.6821 | 20180530
FALSE | 2018-05-30 10:00 | 133 | 145 | 1 | 2460.7 | 1 | 1060.6 | 1 | 3587.8 | 1 | 252.5 | 1 | 98.0359 | 281.258 | 0.0069638 | 0.008137 | 117.643 | 14.7054 | 20180530
FALSE | 2018-05-30 11:00 | 133 | 145 | 1 | 2492.4 | 1 | 1056.8 | 1 | 3573.8 | 1 | 255.7 | 1 | 99.2988 | 284.8813 | 0.0070535 | 0.0082418 | 119.1586 | 14.8948 | 20180530
FALSE | 2018-05-30 12:00 | 133 | 145 | 1 | 2463.2 | 1 | 1061.6 | 1 | 3572.9 | 1 | 252.7 | 1 | 98.1355 | 281.5438 | 0.0069709 | 0.0081452 | 117.7625 | 14.7203 | 20180530
FALSE | 2018-05-30 13:00 | 133 | 145 | 1 | 2465.1 | 1 | 1060 | 1 | 3570.1 | 1 | 252.9 | 1 | 98.2112 | 281.7609 | 0.0069762 | 0.0081515 | 117.8534 | 14.7317 | 20180530
FALSE | 2018-05-30 14:00 | 133 | 145 | 1 | 2465 | 1 | 1064.9 | 1 | 3568.9 | 1 | 252.9 | 1 | 98.2072 | 281.7495 | 0.0069759 | 0.0081512 | 117.8486 | 14.7311 | 20180530
FALSE | 2018-05-30 15:00 | 133 | 145 | 1 | 2463.7 | 1 | 1061.9 | 1 | 3571.7 | 1 | 252.8 | 1 | 98.1554 | 281.6009 | 0.0069723 | 0.0081469 | 117.7865 | 14.7233 | 20180530
FALSE | 2018-05-30 16:00 | 133 | 145 | 1 | 2466.3 | 1 | 1060.5 | 1 | 3570.9 | 1 | 253 | 1 | 98.259 | 281.8981 | 0.0069796 | 0.0081555 | 117.9108 | 14.7388 | 20180530
FALSE | 2018-05-30 17:00 | 133 | 144 | 1 | 2467.7 | 1 | 1061.1 | 1 | 3568.3 | 1 | 253.2 | 1 | 98.3147 | 282.0581 | 0.0069836 | 0.0081601 | 117.9777 | 14.7472 | 20180530
FALSE | 2018-05-30 18:00 | 133 | 145 | 1 | 2468 | 1 | 1061.2 | 1 | 3561.2 | 1 | 253.2 | 1 | 98.3267 | 282.0924 | 0.0069844 | 0.0081611 | 117.992 | 14.749 | 20180530
FALSE | 2018-05-30 19:00 | 133 | 145 | 1 | 2473.2 | 1 | 1065.9 | 1 | 3571.5 | 1 | 253.8 | 1 | 98.5339 | 282.6868 | 0.0069992 | 0.0081783 | 118.2406 | 14.7801 | 20180530
FALSE | 2018-05-30 20:00 | 134 | 145 | 1 | 2496.8 | 1 | 1063.6 | 1 | 3574.5 | 1 | 256.2 | 1 | 99.4741 | 285.3842 | 0.0070659 | 0.0082564 | 119.3689 | 14.9211 | 20180530
FALSE | 2018-05-30 21:00 | 133 | 145 | 1 | 2468 | 1 | 1071.1 | 1 | 3562.2 | 1 | 253.2 | 1 | 98.3267 | 282.0924 | 0.0069844 | 0.0081611 | 117.992 | 14.749 | 20180530
FALSE | 2018-05-30 22:00 | 133 | 145 | 1 | 2467.6 | 1 | 1066 | 1 | 3553.1 | 1 | 253.2 | 1 | 98.3108 | 282.0467 | 0.0069833 | 0.0081598 | 117.9729 | 14.7466 | 20180530
FALSE | 2018-05-30 23:00 | 133 | 145 | 1 | 2467.7 | 1 | 1063.6 | 1 | 3542.9 | 1 | 253.2 | 1 | 98.3147 | 282.0581 | 0.0069836 | 0.0081601 | 117.9777 | 14.7472 | 20180530
FALSE | 2018-05-31 | 133 | 145 | 1 | 2463 | 1 | 1064 | 1 | 3530.7 | 1 | 252.7 | 1 | 98.1275 | 281.5209 | 0.0069703 | 0.0081446 | 117.753 | 14.7191 | 20180531
FALSE | 2018-05-31 01:00 | 133 | 145 | 1 | 2492.4 | 1 | 1061.8 | 1 | 3519.7 | 1 | 255.7 | 1 | 99.2988 | 284.8813 | 0.0070535 | 0.0082418 | 119.1586 | 14.8948 | 20180531
FALSE | 2018-05-31 02:00 | 133 | 145 | 1 | 2491.9 | 1 | 1061.5 | 1 | 3505.1 | 1 | 255.7 | 1 | 99.2789 | 284.8242 | 0.0070521 | 0.0082401 | 119.1347 | 14.8918 | 20180531
FALSE | 2018-05-31 03:00 | 133 | 145 | 1 | 2464.1 | 1 | 1064.5 | 1 | 3480.1 | 1 | 252.8 | 1 | 98.1713 | 281.6466 | 0.0069734 | 0.0081482 | 117.8056 | 14.7257 | 20180531
FALSE | 2018-05-31 04:00 | 133 | 145 | 1 | 2464.2 | 1 | 1062.1 | 1 | 3470.9 | 1 | 252.8 | 1 | 98.1753 | 281.6581 | 0.0069737 | 0.0081485 | 117.8104 | 14.7263 | 20180531
FALSE | 2018-05-31 05:00 | 133 | 145 | 1 | 2469.2 | 1 | 1069.2 | 1 | 3439.7 | 1 | 253.3 | 1 | 98.3745 | 282.2296 | 0.0069878 | 0.0081651 | 118.0494 | 14.7562 | 20180531
FALSE | 2018-05-31 06:00 | 133 | 145 | 1 | 2490.8 | 1 | 1061.1 | 1 | 3442.2 | 1 | 255.6 | 1 | 99.2351 | 284.6984 | 0.007049 | 0.0082365 | 119.0821 | 14.8853 | 20180531
FALSE | 2018-05-31 07:00 | 133 | 145 | 1 | 2491.2 | 1 | 1066.2 | 1 | 3452 | 1 | 255.6 | 1 | 99.251 | 284.7442 | 0.0070501 | 0.0082378 | 119.1012 | 14.8876 | 20180531
FALSE | 2018-05-31 08:00 | 133 | 145 | 1 | 2488.6 | 1 | 1062.6 | 1 | 3440.9 | 1 | 255.3 | 1 | 99.1474 | 284.447 | 0.0070427 | 0.0082292 | 118.9769 | 14.8721 | 20180531
FALSE | 2018-05-31 09:00 | 133 | 145 | 1 | 2487.8 | 1 | 1062.3 | 1 | 3434.3 | 1 | 255.3 | 1 | 99.1155 | 284.3555 | 0.0070405 | 0.0082266 | 118.9386 | 14.8673 | 20180531
FALSE | 2018-05-31 10:00 | 133 | 145 | 1 | 2478.9 | 1 | 1061 | 1 | 3426.6 | 1 | 254.3 | 1 | 98.761 | 283.3383 | 0.0070153 | 0.0081972 | 118.5131 | 14.8141 | 20180531
FALSE | 2018-05-31 11:00 | 133 | 145 | 1 | 2479.6 | 1 | 1066.2 | 1 | 3417.4 | 1 | 254.4 | 1 | 98.7888 | 283.4183 | 0.0070173 | 0.0081995 | 118.5466 | 14.8183 | 20180531
FALSE | 2018-05-31 12:00 | 133 | 145 | 1 | 2480.6 | 1 | 1071.6 | 1 | 3407.7 | 1 | 254.5 | 1 | 98.8287 | 283.5326 | 0.0070201 | 0.0082028 | 118.5944 | 14.8243 | 20180531
FALSE | 2018-05-31 13:00 | 133 | 145 | 1 | 2471.3 | 1 | 1067.6 | 1 | 3405.1 | 1 | 253.6 | 1 | 98.4582 | 282.4696 | 0.0069938 | 0.008172 | 118.1498 | 14.7687 | 20180531
FALSE | 2018-05-31 14:00 | 133 | 144 | 1 | 2465.8 | 1 | 1065.2 | 1 | 3406.7 | 1 | 253 | 1 | 98.239 | 281.8409 | 0.0069782 | 0.0081538 | 117.8869 | 14.7359 | 20180531
FALSE | 2018-05-31 15:00 | 133 | 146 | 1 | 2503.3 | 1 | 1071.4 | 1 | 3421.4 | 1 | 256.8 | 1 | 99.7331 | 286.1272 | 0.0070843 | 0.0082778 | 119.6797 | 14.96 | 20180531
FALSE | 2018-05-31 16:00 | 134 | 145 | 1 | 2508.2 | 1 | 1083.5 | 1 | 3433.5 | 1 | 257.3 | 1 | 99.9283 | 286.6873 | 0.0070982 | 0.008294 | 119.9139 | 14.9892 | 20180531
FALSE | 2018-05-31 17:00 | 134 | 145 | 1 | 2482.7 | 1 | 1094.9 | 1 | 3426.3 | 1 | 254.7 | 1 | 98.9124 | 283.7726 | 0.007026 | 0.0082097 | 118.6948 | 14.8369 | 20180531
FALSE | 2018-05-31 18:00 | 133 | 145 | 1 | 2488.7 | 1 | 1085.1 | 1 | 3430.8 | 1 | 255.3 | 1 | 99.1514 | 284.4584 | 0.007043 | 0.0082296 | 118.9817 | 14.8727 | 20180531
FALSE | 2018-05-31 19:00 | 134 | 145 | 1 | 2495.6 | 1 | 1093.1 | 1 | 3426.4 | 1 | 256 | 1 | 99.4263 | 285.2471 | 0.0070625 | 0.0082524 | 119.3116 | 14.9139 | 20180531
FALSE | 2018-05-31 20:00 | 134 | 145 | 1 | 2497.8 | 1 | 1091.5 | 1 | 3432.3 | 1 | 256.3 | 1 | 99.5139 | 285.4985 | 0.0070688 | 0.0082597 | 119.4167 | 14.9271 | 20180531
FALSE | 2018-05-31 21:00 | 133 | 145 | 1 | 2496.4 | 1 | 1145.8 | 1 | 3412.7 | 1 | 256.1 | 1 | 99.4582 | 285.3385 | 0.0070648 | 0.008255 | 119.3498 | 14.9187 | 20180531
FALSE | 2018-05-31 22:00 | 133 | 145 | 1 | 2485.2 | 1 | 1143.2 | 1 | 3407.6 | 1 | 255 | 1 | 99.012 | 284.0584 | 0.0070331 | 0.008218 | 118.8143 | 14.8518 | 20180531
FALSE | 2018-05-31 23:00 | 107 | 145 | 1 | 2267.4 | 1 | 1124.6 | 1 | 3058.3 | 1 | 232.6 | 1 | 90.3347 | 259.1638 | 0.0064167 | 0.0074978 | 108.4016 | 13.5502 | 20180531
FALSE | 2018-06-01 | 94 | 145 | 1 | 2189.4 | 1 | 1075 | 1 | 2924.6 | 1 | 224.6 | 1 | 87.2271 | 250.2484 | 0.006196 | 0.0072398 | 104.6725 | 13.0841 | 20180601
FALSE | 2018-06-01 01:00 | 98 | 106 | 1 | 1871.1 | 1 | 943 | 1 | 2541.2 | 1 | 192 | 1 | 74.5458 | 213.8667 | 0.0052952 | 0.0061873 | 89.455 | 11.1819 | 20180601
FALSE | 2018-06-01 02:00 | 98 | 105 | 1 | 1899.7 | 1 | 985.9 | 1 | 2576.3 | 1 | 194.9 | 1 | 75.6853 | 217.1357 | 0.0053762 | 0.0062819 | 90.8223 | 11.3528 | 20180601
FALSE | 2018-06-01 03:00 | 99 | 144 | 1 | 2225.2 | 1 | 1088.1 | 1 | 2997.1 | 1 | 228.3 | 1 | 88.6534 | 254.3404 | 0.0062973 | 0.0073582 | 106.3841 | 13.298 | 20180601
FALSE | 2018-06-01 04:00 | 126 | 145 | 1 | 2446.6 | 1 | 1132.8 | 1 | 3347.3 | 1 | 251 | 1 | 97.4741 | 279.6464 | 0.0069239 | 0.0080904 | 116.9689 | 14.6211 | 20180601
FALSE | 2018-06-01 05:00 | 132 | 145 | 1 | 2476.3 | 1 | 1161.4 | 1 | 3381.4 | 1 | 254.1 | 1 | 98.6574 | 283.0411 | 0.0070079 | 0.0081886 | 118.3888 | 14.7986 | 20180601
FALSE | 2018-06-01 06:00 | 130 | 145 | 1 | 2456.2 | 1 | 1154.4 | 1 | 3356.7 | 1 | 252 | 1 | 97.8566 | 280.7437 | 0.006951 | 0.0081221 | 117.4279 | 14.6785 | 20180601
FALSE | 2018-06-01 07:00 | 131 | 144 | 1 | 2453.6 | 1 | 1148.3 | 1 | 3370.5 | 1 | 251.7 | 1 | 97.753 | 280.4465 | 0.0069437 | 0.0081135 | 117.3036 | 14.6629 | 20180601
FALSE | 2018-06-01 08:00 | 131 | 144 | 1 | 2448.3 | 1 | 1131.1 | 1 | 3360.6 | 1 | 251.2 | 1 | 97.5418 | 279.8407 | 0.0069287 | 0.008096 | 117.0502 | 14.6313 | 20180601
FALSE | 2018-06-01 09:00 | 131 | 144 | 1 | 2443.3 | 1 | 1128.8 | 1 | 3378.4 | 1 | 250.7 | 1 | 97.3426 | 279.2692 | 0.0069145 | 0.0080794 | 116.8112 | 14.6014 | 20180601
FALSE | 2018-06-01 10:00 | 130 | 143 | 1 | 2440.2 | 1 | 1129.8 | 1 | 3389.6 | 1 | 250.4 | 1 | 97.2191 | 278.9149 | 0.0069058 | 0.0080692 | 116.6629 | 14.5829 | 20180601
FALSE | 2018-06-01 11:00 | 130 | 144 | 1 | 2443.3 | 1 | 1138.6 | 1 | 3419.5 | 1 | 250.7 | 1 | 97.3426 | 279.2692 | 0.0069145 | 0.0080794 | 116.8112 | 14.6014 | 20180601
FALSE | 2018-06-01 12:00 | 130 | 144 | 1 | 2436 | 1 | 1130.3 | 1 | 3435.6 | 1 | 249.9 | 1 | 97.0518 | 278.4348 | 0.0068939 | 0.0080553 | 116.4622 | 14.5578 | 20180601
FALSE | 2018-06-01 13:00 | 130 | 144 | 1 | 2432.4 | 1 | 1133.5 | 1 | 3455.9 | 1 | 249.6 | 1 | 96.9084 | 278.0233 | 0.0068837 | 0.0080434 | 116.29 | 14.5363 | 20180601
FALSE | 2018-06-01 14:00 | 130 | 144 | 1 | 2456.6 | 1 | 1130 | 1 | 3461.7 | 1 | 252 | 1 | 97.8725 | 280.7894 | 0.0069522 | 0.0081234 | 117.447 | 14.6809 | 20180601
FALSE | 2018-06-01 15:00 | 129 | 144 | 1 | 2453.1 | 1 | 1126 | 1 | 3480.3 | 1 | 251.7 | 1 | 97.7331 | 280.3893 | 0.0069423 | 0.0081118 | 117.2797 | 14.66 | 20180601
FALSE | 2018-06-01 16:00 | 130 | 144 | 1 | 2436.2 | 1 | 1120.7 | 1 | 3512.3 | 1 | 250 | 1 | 97.0598 | 278.4577 | 0.0068944 | 0.008056 | 116.4717 | 14.559 | 20180601
FALSE | 2018-06-01 17:00 | 131 | 144 | 1 | 2452 | 1 | 1137.7 | 1 | 3547.9 | 1 | 251.6 | 1 | 97.6892 | 280.2636 | 0.0069392 | 0.0081082 | 117.2271 | 14.6534 | 20180601
FALSE | 2018-06-01 18:00 | 129 | 144 | 1 | 2419.7 | 1 | 1115.5 | 1 | 3375.2 | 1 | 248.3 | 1 | 96.4024 | 276.5717 | 0.0068478 | 0.0080014 | 115.6829 | 14.4604 | 20180601
FALSE | 2018-06-01 19:00 | 128 | 144 | 1 | 2394.6 | 1 | 1106.3 | 1 | 3301.4 | 1 | 245.7 | 1 | 95.4024 | 273.7028 | 0.0067767 | 0.0079184 | 114.4829 | 14.3104 | 20180601
FALSE | 2018-06-01 20:00 | 127 | 145 | 1 | 2333.5 | 1 | 1073.4 | 1 | 3105.6 | 1 | 239.4 | 1 | 92.9681 | 266.719 | 0.0066038 | 0.0077164 | 111.5618 | 13.9452 | 20180601
FALSE | 2018-06-01 21:00 | 126 | 145 | 1 | 2313.3 | 1 | 1038.7 | 1 | 2939.5 | 1 | 237.3 | 1 | 92.1633 | 264.4102 | 0.0065466 | 0.0076496 | 110.596 | 13.8245 | 20180601
FALSE | 2018-06-01 22:00 | 128 | 144 | 1 | 2308.4 | 1 | 1061.9 | 1 | 2934.6 | 1 | 236.8 | 1 | 91.9681 | 263.8501 | 0.0065328 | 0.0076334 | 110.3618 | 13.7952 | 20180601
FALSE | 2018-06-01 23:00 | 128 | 145 | 1 | 2312.3 | 1 | 1072.9 | 1 | 2932.2 | 1 | 237.2 | 1 | 92.1235 | 264.2959 | 0.0065438 | 0.0076463 | 110.5482 | 13.8185 | 20180601
FALSE | 2018-06-02 | 128 | 145 | 1 | 2301.1 | 1 | 1067.7 | 1 | 2940.9 | 1 | 236.1 | 1 | 91.6773 | 263.0157 | 0.0065121 | 0.0076092 | 110.0127 | 13.7516 | 20180602
FALSE | 2018-06-02 01:00 | 128 | 145 | 1 | 2290.2 | 1 | 1048.9 | 1 | 2953.5 | 1 | 235 | 1 | 91.243 | 261.7699 | 0.0064813 | 0.0075732 | 109.4916 | 13.6865 | 20180602
FALSE | 2018-06-02 02:00 | 128 | 144 | 1 | 2313.6 | 1 | 1038.8 | 1 | 2971.7 | 1 | 237.4 | 1 | 92.1753 | 264.4445 | 0.0065475 | 0.0076505 | 110.6104 | 13.8263 | 20180602
FALSE | 2018-06-02 03:00 | 128 | 144 | 1 | 2316.1 | 1 | 1030.7 | 1 | 2992.2 | 1 | 237.6 | 1 | 92.2749 | 264.7302 | 0.0065546 | 0.0076588 | 110.7299 | 13.8412 | 20180602
FALSE | 2018-06-02 04:00 | 129 | 144 | 1 | 2315.8 | 1 | 1023.6 | 1 | 3016.4 | 1 | 237.6 | 1 | 92.2629 | 264.6959 | 0.0065537 | 0.0076578 | 110.7155 | 13.8394 | 20180602
FALSE | 2018-06-02 05:00 | 128 | 144 | 1 | 2320.2 | 1 | 1032.5 | 1 | 3012.1 | 1 | 238.1 | 1 | 92.4382 | 265.1989 | 0.0065662 | 0.0076724 | 110.9259 | 13.8657 | 20180602
FALSE | 2018-06-02 06:00 | 128 | 144 | 1 | 2290.2 | 1 | 1039.8 | 1 | 3058.4 | 1 | 235 | 1 | 91.243 | 261.7699 | 0.0064813 | 0.0075732 | 109.4916 | 13.6865 | 20180602
FALSE | 2018-06-02 07:00 | 128 | 144 | 1 | 2287.8 | 1 | 1036.4 | 1 | 3067.9 | 1 | 234.7 | 1 | 91.1474 | 261.4955 | 0.0064745 | 0.0075652 | 109.3769 | 13.6721 | 20180602
FALSE | 2018-06-02 08:00 | 128 | 144 | 1 | 2310.1 | 1 | 1032.6 | 1 | 3094.3 | 1 | 237 | 1 | 92.0359 | 264.0444 | 0.0065376 | 0.007639 | 110.443 | 13.8054 | 20180602
FALSE | 2018-06-02 09:00 | 128 | 144 | 1 | 2308.1 | 1 | 1024.8 | 1 | 3118.9 | 1 | 236.8 | 1 | 91.9562 | 263.8158 | 0.0065319 | 0.0076324 | 110.3474 | 13.7934 | 20180602
FALSE | 2018-06-02 10:00 | 128 | 144 | 1 | 2305.3 | 1 | 1025.9 | 1 | 3134.1 | 1 | 236.5 | 1 | 91.8446 | 263.4958 | 0.006524 | 0.0076231 | 110.2135 | 13.7767 | 20180602
FALSE | 2018-06-02 11:00 | 128 | 144 | 1 | 2306.6 | 1 | 1026.4 | 1 | 3163.1 | 1 | 236.7 | 1 | 91.8964 | 263.6444 | 0.0065277 | 0.0076274 | 110.2757 | 13.7845 | 20180602
FALSE | 2018-06-02 12:00 | 128 | 144 | 1 | 2314.8 | 1 | 1027.8 | 1 | 3193.5 | 1 | 237.5 | 1 | 92.2231 | 264.5816 | 0.0065509 | 0.0076545 | 110.6677 | 13.8335 | 20180602
FALSE | 2018-06-02 13:00 | 130 | 155 | 1 | 2437.5 | 1 | 1070.1 | 1 | 3402.3 | 1 | 250.1 | 1 | 97.1116 | 278.6062 | 0.0068981 | 0.0080603 | 116.5339 | 14.5667 | 20180602
FALSE | 2018-06-02 14:00 | 130 | 149 | 1 | 2351 | 1 | 1090.9 | 1 | 3317.6 | 1 | 241.2 | 1 | 93.6653 | 268.7193 | 0.0066533 | 0.0077742 | 112.3984 | 14.0498 | 20180602
FALSE | 2018-06-02 15:00 | 130 | 145 | 1 | 2323 | 1 | 1057 | 1 | 3288.2 | 1 | 238.3 | 1 | 92.5498 | 265.5189 | 0.0065741 | 0.0076816 | 111.0598 | 13.8825 | 20180602
FALSE | 2018-06-02 16:00 | 130 | 144 | 1 | 2334.2 | 1 | 1048.1 | 1 | 3284.6 | 1 | 239.5 | 1 | 92.996 | 266.7991 | 0.0066058 | 0.0077187 | 111.5952 | 13.9494 | 20180602
FALSE | 2018-06-02 17:00 | 108 | 138 | 1 | 2087 | 1 | 970.5 | 1 | 2936.2 | 1 | 214.1 | 1 | 83.1474 | 238.5441 | 0.0059062 | 0.0069012 | 99.7769 | 12.4721 | 20180602
FALSE | 2018-06-02 18:00 | 6 | 127 | 1 | 1120.5 | 1 | 582.7 | 1 | 1534.2 | 1 | 115 | 1 | 44.6414 | 128.0731 | 0.003171 | 0.0037052 | 53.5697 | 6.6962 | 20180602
FALSE | 2018-06-02 19:00 | 0 | 105 | 1 | 926 | 1 | 463 | 1 | 1261 | 1 | 95 | 1 | 36.8924 | 105.8418 | 0.0026206 | 0.0030621 | 44.2709 | 5.5339 | 20180602
FALSE | 2018-06-02 20:00 | 0 | 99 | 1 | 883.9 | 1 | 459.6 | 1 | 1220.7 | 1 | 90.7 | 1 | 35.2151 | 101.0298 | 0.0025014 | 0.0029229 | 42.2582 | 5.2823 | 20180602
FALSE | 2018-06-02 21:00 | 0 | 98 | 1 | 888.5 | 1 | 478.9 | 1 | 1232.2 | 1 | 91.2 | 1 | 35.3984 | 101.5555 | 0.0025145 | 0.0029381 | 42.4781 | 5.3098 | 20180602
FALSE | 2018-06-02 22:00 | 0 | 98 | 1 | 889.4 | 1 | 487.4 | 1 | 1224.7 | 1 | 91.2 | 1 | 35.4343 | 101.6584 | 0.002517 | 0.002941 | 42.5211 | 5.3151 | 20180602
FALSE | 2018-06-02 23:00 | 0 | 98 | 1 | 888.9 | 1 | 488.9 | 1 | 1221.8 | 1 | 91.2 | 1 | 35.4143 | 101.6013 | 0.0025156 | 0.0029394 | 42.4972 | 5.3122 | 20180602
FALSE | 2018-06-03 | 0 | 97 | 1 | 889.1 | 1 | 485.4 | 1 | 1222 | 1 | 91.2 | 1 | 35.4223 | 101.6241 | 0.0025162 | 0.0029401 | 42.5068 | 5.3133 | 20180603
FALSE | 2018-06-03 01:00 | 0 | 98 | 1 | 885.8 | 1 | 484.5 | 1 | 1228.7 | 1 | 90.9 | 1 | 35.2908 | 101.2469 | 0.0025068 | 0.0029291 | 42.349 | 5.2936 | 20180603
FALSE | 2018-06-03 02:00 | 0 | 99 | 1 | 888.7 | 1 | 485.2 | 1 | 1229.1 | 1 | 91.2 | 1 | 35.4064 | 101.5784 | 0.002515 | 0.0029387 | 42.4876 | 5.311 | 20180603
FALSE | 2018-06-03 03:00 | 0 | 99 | 1 | 915.1 | 1 | 556.4 | 1 | 1278 | 1 | 93.9 | 1 | 36.4582 | 104.5959 | 0.0025897 | 0.003026 | 43.7498 | 5.4687 | 20180603
FALSE | 2018-06-03 04:00 | 0 | 98 | 1 | 945.3 | 1 | 587 | 1 | 1348 | 1 | 97 | 1 | 37.6614 | 108.0478 | 0.0026752 | 0.0031259 | 45.1936 | 5.6492 | 20180603
FALSE | 2018-06-03 05:00 | 0 | 99 | 1 | 958.2 | 1 | 576.8 | 1 | 1339.1 | 1 | 98.3 | 1 | 38.1753 | 109.5223 | 0.0027117 | 0.0031685 | 45.8104 | 5.7263 | 20180603
FALSE | 2018-06-03 06:00 | 0 | 98 | 1 | 953.4 | 1 | 552 | 1 | 1346.7 | 1 | 97.8 | 1 | 37.9841 | 108.9736 | 0.0026981 | 0.0031527 | 45.5809 | 5.6976 | 20180603
FALSE | 2018-06-03 07:00 | 0 | 98 | 1 | 958.3 | 1 | 507.9 | 1 | 1356.5 | 1 | 98.3 | 1 | 38.1793 | 109.5337 | 0.002712 | 0.0031689 | 45.8151 | 5.7269 | 20180603
FALSE | 2018-06-03 08:00 | 0 | 98 | 1 | 958.3 | 1 | 506 | 1 | 1363.6 | 1 | 98.3 | 1 | 38.1793 | 109.5337 | 0.002712 | 0.0031689 | 45.8151 | 5.7269 | 20180603
FALSE | 2018-06-03 09:00 | 0 | 98 | 1 | 948.6 | 1 | 501.8 | 1 | 1351.5 | 1 | 97.3 | 1 | 37.7928 | 108.425 | 0.0026845 | 0.0031368 | 45.3514 | 5.6689 | 20180603
FALSE | 2018-06-03 10:00 | 0 | 98 | 1 | 944.8 | 1 | 511.1 | 1 | 1353.9 | 1 | 96.9 | 1 | 37.6414 | 107.9906 | 0.0026738 | 0.0031242 | 45.1697 | 5.6462 | 20180603
FALSE | 2018-06-03 11:00 | 0 | 98 | 1 | 949.4 | 1 | 529.8 | 1 | 1358.7 | 1 | 97.4 | 1 | 37.8247 | 108.5164 | 0.0026868 | 0.0031395 | 45.3896 | 5.6737 | 20180603
FALSE | 2018-06-03 12:00 | 0 | 99 | 1 | 960.8 | 1 | 580.3 | 1 | 1366.8 | 1 | 98.6 | 1 | 38.2789 | 109.8194 | 0.0027191 | 0.0031771 | 45.9347 | 5.7418 | 20180603
FALSE | 2018-06-03 13:00 | 0 | 98 | 1 | 945.6 | 1 | 442.5 | 1 | 1326.7 | 1 | 97 | 1 | 37.6733 | 108.0821 | 0.002676 | 0.0031269 | 45.208 | 5.651 | 20180603
FALSE | 2018-06-03 14:00 | 0 | 98 | 1 | 953.1 | 1 | 426 | 1 | 1386.8 | 1 | 97.8 | 1 | 37.9721 | 108.9393 | 0.0026973 | 0.0031517 | 45.5665 | 5.6958 | 20180603
FALSE | 2018-06-03 15:00 | 0 | 98 | 1 | 954.7 | 1 | 424.8 | 1 | 1393.7 | 1 | 98 | 1 | 38.0359 | 109.1222 | 0.0027018 | 0.003157 | 45.643 | 5.7054 | 20180603
FALSE | 2018-06-03 16:00 | 0 | 98 | 1 | 950.5 | 1 | 419.2 | 1 | 1401.9 | 1 | 97.5 | 1 | 37.8685 | 108.6422 | 0.0026899 | 0.0031431 | 45.4422 | 5.6803 | 20180603
FALSE | 2018-06-03 17:00 | 0 | 98 | 1 | 951 | 1 | 415.6 | 1 | 1410 | 1 | 97.6 | 1 | 37.8884 | 108.6993 | 0.0026913 | 0.0031447 | 45.4661 | 5.6833 | 20180603
FALSE | 2018-06-03 18:00 | 0 | 98 | 1 | 952.6 | 1 | 416.3 | 1 | 1412.4 | 1 | 97.7 | 1 | 37.9522 | 108.8822 | 0.0026959 | 0.00315 | 45.5426 | 5.6928 | 20180603
FALSE | 2018-06-03 19:00 | 0 | 98 | 1 | 962.8 | 1 | 426.5 | 1 | 1418 | 1 | 98.8 | 1 | 38.3586 | 110.048 | 0.0027247 | 0.0031838 | 46.0303 | 5.7538 | 20180603
FALSE | 2018-06-03 20:00 | 0 | 98 | 1 | 966.9 | 1 | 427.4 | 1 | 1426.2 | 1 | 99.2 | 1 | 38.5219 | 110.5167 | 0.0027363 | 0.0031973 | 46.2263 | 5.7783 | 20180603
FALSE | 2018-06-03 21:00 | 0 | 98 | 1 | 973.1 | 1 | 427.2 | 1 | 1431.9 | 1 | 99.8 | 1 | 38.7689 | 111.2253 | 0.0027539 | 0.0032178 | 46.5227 | 5.8153 | 20180603
FALSE | 2018-06-03 22:00 | 0 | 98 | 1 | 959.9 | 1 | 428.1 | 1 | 1439.1 | 1 | 98.5 | 1 | 38.243 | 109.7166 | 0.0027165 | 0.0031742 | 45.8916 | 5.7365 | 20180603
FALSE | 2018-06-03 23:00 | 0 | 96 | 1 | 970.6 | 1 | 417.4 | 1 | 1447.2 | 1 | 99.6 | 1 | 38.6693 | 110.9396 | 0.0027468 | 0.0032096 | 46.4032 | 5.8004 | 20180603
FALSE | 2018-06-04 | 0 | 97 | 1 | 957.5 | 1 | 417.5 | 1 | 1442.5 | 1 | 98.2 | 1 | 38.1474 | 109.4423 | 0.0027097 | 0.0031662 | 45.7769 | 5.7221 | 20180604
FALSE | 2018-06-04 01:00 | 0 | 98 | 1 | 929.3 | 1 | 408.9 | 1 | 1407.8 | 1 | 95.3 | 1 | 37.0239 | 106.219 | 0.0026299 | 0.003073 | 44.4287 | 5.5536 | 20180604
FALSE | 2018-06-04 02:00 | 0 | 98 | 1 | 934.2 | 1 | 414.8 | 1 | 1413.2 | 1 | 95.8 | 1 | 37.2191 | 106.7791 | 0.0026438 | 0.0030892 | 44.6629 | 5.5829 | 20180604
FALSE | 2018-06-04 03:00 | 0 | 98 | 1 | 940 | 1 | 417.4 | 1 | 1416 | 1 | 96.4 | 1 | 37.4502 | 107.442 | 0.0026602 | 0.0031084 | 44.9402 | 5.6175 | 20180604
FALSE | 2018-06-04 04:00 | 0 | 98 | 1 | 935.5 | 1 | 416.3 | 1 | 1405.2 | 1 | 96 | 1 | 37.2709 | 106.9276 | 0.0026475 | 0.0030935 | 44.7251 | 5.5906 | 20180604
FALSE | 2018-06-04 05:00 | 0 | 98 | 1 | 937.9 | 1 | 414.6 | 1 | 1407.4 | 1 | 96.2 | 1 | 37.3665 | 107.202 | 0.0026543 | 0.0031014 | 44.8398 | 5.605 | 20180604
FALSE | 2018-06-04 06:00 | 0 | 98 | 1 | 926.3 | 1 | 414.1 | 1 | 1410.4 | 1 | 95 | 1 | 36.9044 | 105.8761 | 0.0026214 | 0.0030631 | 44.2853 | 5.5357 | 20180604
FALSE | 2018-06-04 07:00 | 0 | 98 | 1 | 928.9 | 1 | 415.2 | 1 | 1410.1 | 1 | 95.3 | 1 | 37.008 | 106.1733 | 0.0026288 | 0.0030717 | 44.4096 | 5.5512 | 20180604
FALSE | 2018-06-04 08:00 | 0 | 98 | 1 | 930.2 | 1 | 411.1 | 1 | 1407.2 | 1 | 95.4 | 1 | 37.0598 | 106.3219 | 0.0026325 | 0.003076 | 44.4717 | 5.559 | 20180604
FALSE | 2018-06-04 09:00 | 0 | 98 | 1 | 927.4 | 1 | 414.5 | 1 | 1407.2 | 1 | 95.2 | 1 | 36.9482 | 106.0018 | 0.0026245 | 0.0030667 | 44.3378 | 5.5422 | 20180604
FALSE | 2018-06-04 10:00 | 0 | 98 | 1 | 928.8 | 1 | 416.1 | 1 | 1410.5 | 1 | 95.3 | 1 | 37.004 | 106.1618 | 0.0026285 | 0.0030713 | 44.4048 | 5.5506 | 20180604
FALSE | 2018-06-04 11:00 | 0 | 98 | 1 | 923.6 | 1 | 416.5 | 1 | 1402.9 | 1 | 94.8 | 1 | 36.7968 | 105.5675 | 0.0026138 | 0.0030541 | 44.1562 | 5.5195 | 20180604
FALSE | 2018-06-04 12:00 | 0 | 98 | 1 | 917.3 | 1 | 419.2 | 1 | 1399 | 1 | 94.1 | 1 | 36.5458 | 104.8474 | 0.002596 | 0.0030333 | 43.855 | 5.4819 | 20180604
FALSE | 2018-06-04 13:00 | 0 | 108 | 1 | 1005.5 | 1 | 459.5 | 1 | 1550.8 | 1 | 103.2 | 1 | 40.0598 | 114.9287 | 0.0028456 | 0.003325 | 48.0717 | 6.009 | 20180604
FALSE | 2018-06-04 14:00 | 0 | 144 | 1 | 1257 | 1 | 629.8 | 1 | 1984.4 | 1 | 129 | 1 | 50.0797 | 143.6751 | 0.0035573 | 0.0041566 | 60.0956 | 7.512 | 20180604
FALSE | 2018-06-04 15:00 | 0 | 144 | 1 | 1254.8 | 1 | 629.9 | 1 | 1988.4 | 1 | 128.7 | 1 | 49.992 | 143.4236 | 0.0035511 | 0.0041493 | 59.9904 | 7.4988 | 20180604
FALSE | 2018-06-04 16:00 | 0 | 144 | 1 | 1261.8 | 1 | 609.4 | 1 | 2007.1 | 1 | 129.5 | 1 | 50.2709 | 144.2237 | 0.0035709 | 0.0041725 | 60.3251 | 7.5406 | 20180604
FALSE | 2018-06-04 17:00 | 0 | 145 | 1 | 1262.3 | 1 | 599.6 | 1 | 2018 | 1 | 129.5 | 1 | 50.2908 | 144.2809 | 0.0035723 | 0.0041741 | 60.349 | 7.5436 | 20180604
FALSE | 2018-06-04 18:00 | 0 | 145 | 1 | 1261.2 | 1 | 592.8 | 1 | 2010.6 | 1 | 129.4 | 1 | 50.247 | 144.1552 | 0.0035692 | 0.0041705 | 60.2964 | 7.5371 | 20180604
FALSE | 2018-06-04 19:00 | 0 | 145 | 1 | 1275.8 | 1 | 588.1 | 1 | 2015 | 1 | 130.9 | 1 | 50.8287 | 145.8239 | 0.0036105 | 0.0042188 | 60.9944 | 7.6243 | 20180604
FALSE | 2018-06-04 20:00 | 0 | 145 | 1 | 1280.4 | 1 | 589 | 1 | 2012.1 | 1 | 131.4 | 1 | 51.012 | 146.3497 | 0.0036235 | 0.004234 | 61.2143 | 7.6518 | 20180604
FALSE | 2018-06-04 21:00 | 0 | 145 | 1 | 1282 | 1 | 592.3 | 1 | 2015.9 | 1 | 131.5 | 1 | 51.0757 | 146.5326 | 0.0036281 | 0.0042393 | 61.2908 | 7.6614 | 20180604
FALSE | 2018-06-04 22:00 | 0 | 145 | 1 | 1272.6 | 1 | 609.6 | 1 | 2002.9 | 1 | 130.6 | 1 | 50.7012 | 145.4582 | 0.0036015 | 0.0042082 | 60.8414 | 7.6052 | 20180604
FALSE | 2018-06-04 23:00 | 0 | 117 | 1 | 1058.9 | 1 | 521 | 1 | 1621.9 | 1 | 108.6 | 1 | 42.1873 | 121.0323 | 0.0029967 | 0.0035015 | 50.6247 | 6.3281 | 20180604
|  |  | Bi-Weekly Total Tons |  | 704929.7 | 434 | 155.0813 | 434 | 576.0319 | 434 | 72325.7 |  | 28084.85 | 40.2867 | 0.00099748 | 0.0011655 | 16.8509 | 2.1064
mmBtu
Note:
All data are collected and processed in accordance with Part 75.
Data with orange fill are substituted in accordance with Part 75.
Monthly sums may not agree with data published by EPA due to the handling of quarterly and annual totals.