## YT Bi-Weekly Emissions
Dominion Energy - Yorktown Power Station
Bi-Weekly Mass Emissions
| 2019-02-26 | [7 empty] | through |  | 2019-03-11 23:00
(If opened as an Excel spreadsheet on a local computer (i.e., not on the QAEA server and not from the QAEA Portal), the "Date & Hour" will be incorrect during Daylight Savings Time)
| 1 | 3 | 4 | 2 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
|  | Unit 1 Load | Unit 2 Load | Common Stack
Substituted Data | Date & Hour | (Gross MW) | (Gross MW) | Operation (x.xx Hour) | Heat Input (mmBtu) | Stack_HI_MODC | NOx (Lbs) | Stack_NOx_Lbs_MODC | SO2 (Lbs) | Stack_SO2_Lbs_MODC | CO2 (Tons) | Stack_CO2_Tons_MODC | CO (Lbs) | Coal (Tons) | PM10 (Lbs) | Lead (Lbs) | Mercury (Lbs) | HCl (Lbs) | HF (Lbs) |  | CO Lbs/Ton | PM10 Lbs/mmBtu |  | Lead Lbs/mmBtu | Mercury Lb/Ton | HCl Lb/Ton | HF Lb/Ton | Data End Date | Report Start Date
[22 empty] | 20150602 | 20170720
FALSE | 2019-02-26 | 0 | 0 | 1 | 253.3 | 1 | 14.2 | 1 | 0 | 1 | 26 | 1 | 5.0458 | 10.0916 | 28.9522 | 0.00071684 | 0.00083761 | 12.11 | 1.5137 | 20190226 | 0.5 | 0.087 | 0.1143 | 2.83e-06 | 8.3e-05 | 1.2 | 0.15 | 2019-03-12 | 2019-02-26
FALSE | 2019-02-26 01:00 | 0 | 0 | 1 | 231.8 | 1 | 12.1 | 1 | 0 | 1 | 23.8 | 1 | 4.6175 | 9.2351 | 26.4947 | 0.00065599 | 0.00076651 | 11.0821 | 1.3853 | 20190226
FALSE | 2019-02-26 02:00 | 0 | 3 | 1 | 297.2 | 1 | 26.7 | 1 | 55.8 | 1 | 30.5 | 1 | 5.9203 | 11.8406 | 33.97 | 0.00084108 | 0.00098277 | 14.2088 | 1.7761 | 20190226
FALSE | 2019-02-26 03:00 | 0 | 18 | 1 | 446.6 | 1 | 92.9 | 1 | 342.5 | 1 | 45.8 | 1 | 8.8964 | 17.7928 | 51.0464 | 0.0012639 | 0.0014768 | 21.3514 | 2.6689 | 20190226
FALSE | 2019-02-26 04:00 | 0 | 66 | 1 | 781.8 | 1 | 149.3 | 1 | 1020.5 | 1 | 80.2 | 1 | 15.5737 | 31.1474 | 89.3597 | 0.0022125 | 0.0025852 | 37.3769 | 4.6721 | 20190226
FALSE | 2019-02-26 05:00 | 0 | 99 | 1 | 1071.7 | 1 | 431.9 | 1 | 1517 | 1 | 110 | 1 | 21.3486 | 42.6972 | 122.4953 | 0.0030329 | 0.0035439 | 51.2367 | 6.4046 | 20190226
FALSE | 2019-02-26 06:00 | 0 | 117 | 1 | 1118.6 | 1 | 463.1 | 1 | 1682.1 | 1 | 114.8 | 1 | 22.2829 | 44.5657 | 127.856 | 0.0031656 | 0.003699 | 53.4789 | 6.6849 | 20190226
FALSE | 2019-02-26 07:00 | 13 | 118 | 1 | 1270.3 | 1 | 677.1 | 1 | 1901.7 | 1 | 130.3 | 1 | 25.3048 | 50.6096 | 145.1953 | 0.0035949 | 0.0042006 | 60.7315 | 7.5914 | 20190226
FALSE | 2019-02-26 08:00 | 42 | 119 | 1 | 1583.7 | 1 | 719 | 1 | 2407.9 | 1 | 162.5 | 1 | 31.5478 | 63.0956 | 181.0169 | 0.0044819 | 0.0052369 | 75.7147 | 9.4643 | 20190226
FALSE | 2019-02-26 09:00 | 71 | 121 | 1 | 1817.7 | 1 | 741.6 | 1 | 2914.8 | 1 | 186.5 | 1 | 36.2092 | 72.4183 | 207.7631 | 0.0051441 | 0.0060107 | 86.902 | 10.8627 | 20190226
FALSE | 2019-02-26 10:00 | 95 | 126 | 1 | 2044.4 | 1 | 879.1 | 1 | 3379.6 | 1 | 209.8 | 1 | 40.7251 | 81.4502 | 233.6749 | 0.0057857 | 0.0067604 | 97.7402 | 12.2175 | 20190226
FALSE | 2019-02-26 11:00 | 100 | 127 | 1 | 2296.6 | 1 | 1056.4 | 1 | 3839.1 | 1 | 235.6 | 1 | 45.749 | 91.498 | 262.5014 | 0.0064994 | 0.0075943 | 109.7976 | 13.7247 | 20190226
FALSE | 2019-02-26 12:00 | 80 | 128 | 1 | 2312.2 | 1 | 1047.4 | 1 | 3905.9 | 1 | 237.2 | 1 | 46.0598 | 92.1195 | 264.2845 | 0.0065435 | 0.0076459 | 110.5434 | 13.8179 | 20190226
FALSE | 2019-02-26 13:00 | 81 | 128 | 1 | 2365 | 1 | 1083.2 | 1 | 3952.6 | 1 | 242.7 | 1 | 47.1116 | 94.2231 | 270.3195 | 0.0066929 | 0.0078205 | 113.0677 | 14.1335 | 20190226
FALSE | 2019-02-26 14:00 | 82 | 128 | 1 | 2352.8 | 1 | 1103.5 | 1 | 3960 | 1 | 241.4 | 1 | 46.8685 | 93.7371 | 268.925 | 0.0066584 | 0.0077802 | 112.4845 | 14.0606 | 20190226
FALSE | 2019-02-26 15:00 | 83 | 129 | 1 | 2379.1 | 1 | 1125.3 | 1 | 4011 | 1 | 244.1 | 1 | 47.3924 | 94.7849 | 271.9311 | 0.0067329 | 0.0078671 | 113.7418 | 14.2177 | 20190226
FALSE | 2019-02-26 16:00 | 14 | 142 | 1 | 1552.9 | 1 | 734.5 | 1 | 2701.4 | 1 | 159.3 | 1 | 30.9343 | 61.8685 | 177.4965 | 0.0043947 | 0.0051351 | 74.2422 | 9.2803 | 20190226
FALSE | 2019-02-26 17:00 | 0 | 143 | 1 | 1323.1 | 1 | 613.9 | 1 | 2338.1 | 1 | 135.7 | 1 | 26.3566 | 52.7131 | 151.2303 | 0.0037444 | 0.0043752 | 63.2558 | 7.907 | 20190226
FALSE | 2019-02-26 18:00 | 0 | 143 | 1 | 1298.7 | 1 | 622.1 | 1 | 2275.9 | 1 | 133.2 | 1 | 25.8705 | 51.741 | 148.4414 | 0.0036753 | 0.0042945 | 62.0892 | 7.7612 | 20190226
FALSE | 2019-02-26 19:00 | 0 | 141 | 1 | 1286 | 1 | 603.1 | 1 | 2265.6 | 1 | 131.9 | 1 | 25.6175 | 51.2351 | 146.9898 | 0.0036394 | 0.0042525 | 61.4821 | 7.6853 | 20190226
FALSE | 2019-02-26 20:00 | 0 | 144 | 1 | 1254.8 | 1 | 554.6 | 1 | 2172.4 | 1 | 128.7 | 1 | 24.996 | 49.992 | 143.4236 | 0.0035511 | 0.0041493 | 59.9904 | 7.4988 | 20190226
FALSE | 2019-02-26 21:00 | 0 | 145 | 1 | 1170 | 1 | 472.7 | 1 | 2028.3 | 1 | 120 | 1 | 23.3068 | 46.6135 | 133.731 | 0.0033111 | 0.0038689 | 55.9363 | 6.992 | 20190226
FALSE | 2019-02-26 22:00 | 0 | 144 | 1 | 1191.1 | 1 | 489.5 | 1 | 2048.4 | 1 | 122.2 | 1 | 23.7271 | 47.4542 | 136.1427 | 0.0033708 | 0.0039387 | 56.945 | 7.1181 | 20190226
FALSE | 2019-02-26 23:00 | 0 | 140 | 1 | 1147.7 | 1 | 479.7 | 1 | 1981.6 | 1 | 117.8 | 1 | 22.8625 | 45.7251 | 131.1821 | 0.003248 | 0.0037952 | 54.8701 | 6.8588 | 20190226
FALSE | 2019-02-27 | 0 | 139 | 1 | 1141.5 | 1 | 480.6 | 1 | 1979.7 | 1 | 117.1 | 1 | 22.739 | 45.4781 | 130.4734 | 0.0032304 | 0.0037747 | 54.5737 | 6.8217 | 20190227
FALSE | 2019-02-27 01:00 | 0 | 140 | 1 | 1187.8 | 1 | 516.7 | 1 | 2016.3 | 1 | 121.9 | 1 | 23.6614 | 47.3227 | 135.7655 | 0.0033615 | 0.0039278 | 56.7873 | 7.0984 | 20190227
FALSE | 2019-02-27 02:00 | 0 | 128 | 1 | 1057.2 | 1 | 438.7 | 1 | 1815.4 | 1 | 108.5 | 1 | 21.0598 | 42.1195 | 120.838 | 0.0029919 | 0.0034959 | 50.5434 | 6.3179 | 20190227
FALSE | 2019-02-27 03:00 | 0 | 118 | 1 | 1087.4 | 1 | 545.9 | 1 | 1847.7 | 1 | 111.6 | 1 | 21.6614 | 43.3227 | 124.2898 | 0.0030773 | 0.0035958 | 51.9873 | 6.4984 | 20190227
FALSE | 2019-02-27 04:00 | 0 | 118 | 1 | 1145 | 1 | 588.5 | 1 | 1954.4 | 1 | 117.5 | 1 | 22.8088 | 45.6175 | 130.8735 | 0.0032403 | 0.0037863 | 54.741 | 6.8426 | 20190227
FALSE | 2019-02-27 05:00 | 0 | 119 | 1 | 1159.6 | 1 | 583.3 | 1 | 1943.2 | 1 | 119 | 1 | 23.0996 | 46.1992 | 132.5423 | 0.0032817 | 0.0038345 | 55.439 | 6.9299 | 20190227
FALSE | 2019-02-27 06:00 | 0 | 119 | 1 | 1163.6 | 1 | 588.8 | 1 | 1985.1 | 1 | 119.4 | 1 | 23.1793 | 46.3586 | 132.9995 | 0.003293 | 0.0038478 | 55.6303 | 6.9538 | 20190227
FALSE | 2019-02-27 07:00 | 0 | 123 | 1 | 1182.2 | 1 | 619.5 | 1 | 2056.7 | 1 | 121.3 | 1 | 23.5498 | 47.0996 | 135.1255 | 0.0033456 | 0.0039093 | 56.5195 | 7.0649 | 20190227
FALSE | 2019-02-27 08:00 | 0 | 129 | 1 | 1243.3 | 1 | 621.7 | 1 | 2172.7 | 1 | 127.6 | 1 | 24.7669 | 49.5339 | 142.1092 | 0.0035185 | 0.0041113 | 59.4406 | 7.4301 | 20190227
FALSE | 2019-02-27 09:00 | 0 | 132 | 1 | 1254.8 | 1 | 636.2 | 1 | 2225.3 | 1 | 128.7 | 1 | 24.996 | 49.992 | 143.4236 | 0.0035511 | 0.0041493 | 59.9904 | 7.4988 | 20190227
FALSE | 2019-02-27 10:00 | 0 | 137 | 1 | 1293.9 | 1 | 643.1 | 1 | 2298.5 | 1 | 132.8 | 1 | 25.7749 | 51.5498 | 147.8928 | 0.0036617 | 0.0042786 | 61.8598 | 7.7325 | 20190227
FALSE | 2019-02-27 11:00 | 0 | 115 | 1 | 1130.1 | 1 | 482.6 | 1 | 1926.6 | 1 | 115.9 | 1 | 22.512 | 45.0239 | 129.1704 | 0.0031982 | 0.003737 | 54.0287 | 6.7536 | 20190227
FALSE | 2019-02-27 12:00 | 0 | 112 | 1 | 1103.5 | 1 | 441.4 | 1 | 1907.8 | 1 | 113.2 | 1 | 21.9821 | 43.9641 | 126.13 | 0.0031229 | 0.003649 | 52.757 | 6.5946 | 20190227
FALSE | 2019-02-27 13:00 | 0 | 113 | 1 | 1116.2 | 1 | 455.4 | 1 | 1918.5 | 1 | 114.5 | 1 | 22.2351 | 44.4701 | 127.5817 | 0.0031588 | 0.003691 | 53.3641 | 6.6705 | 20190227
FALSE | 2019-02-27 14:00 | 0 | 114 | 1 | 1116.7 | 1 | 457.8 | 1 | 1922.1 | 1 | 114.6 | 1 | 22.245 | 44.49 | 127.6388 | 0.0031603 | 0.0036927 | 53.388 | 6.6735 | 20190227
FALSE | 2019-02-27 15:00 | 0 | 113 | 1 | 1108.1 | 1 | 453.2 | 1 | 1914.8 | 1 | 113.7 | 1 | 22.0737 | 44.1474 | 126.6558 | 0.0031359 | 0.0036642 | 52.9769 | 6.6221 | 20190227
FALSE | 2019-02-27 16:00 | 0 | 97 | 1 | 945.4 | 1 | 359.3 | 1 | 1592 | 1 | 97 | 1 | 18.8327 | 37.6653 | 108.0592 | 0.0026755 | 0.0031262 | 45.1984 | 5.6498 | 20190227
FALSE | 2019-02-27 17:00 | 0 | 85 | 1 | 882.8 | 1 | 282.5 | 1 | 1484.1 | 1 | 90.6 | 1 | 17.5857 | 35.1713 | 100.904 | 0.0024983 | 0.0029192 | 42.2056 | 5.2757 | 20190227
FALSE | 2019-02-27 18:00 | 0 | 87 | 1 | 893.5 | 1 | 295.7 | 1 | 1520.1 | 1 | 91.7 | 1 | 17.7988 | 35.5976 | 102.127 | 0.0025286 | 0.0029546 | 42.7171 | 5.3396 | 20190227
FALSE | 2019-02-27 19:00 | 0 | 84 | 1 | 878.4 | 1 | 306.6 | 1 | 1468.1 | 1 | 90.1 | 1 | 17.498 | 34.996 | 100.4011 | 0.0024859 | 0.0029047 | 41.9952 | 5.2494 | 20190227
FALSE | 2019-02-27 20:00 | 0 | 45 | 1 | 550.2 | 1 | 175 | 1 | 806.2 | 1 | 56.4 | 1 | 10.9602 | 21.9203 | 62.8879 | 0.0015571 | 0.0018194 | 26.3044 | 3.288 | 20190227
FALSE | 2019-02-27 21:00 | 0 | 28 | 0.8 | 414.56 | 1 | 131.84 | 1 | 597.52 | 1 | 42.56 | 1 | 8.2582 | 16.5163 | 47.3842 | 0.0011732 | 0.0013709 | 19.8196 | 2.4775 | 20190227
FALSE | 2019-02-27 22:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190227
FALSE | 2019-02-27 23:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190227
FALSE | 2019-02-28 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190228
FALSE | 2019-02-28 01:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190228
FALSE | 2019-02-28 02:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190228
FALSE | 2019-02-28 03:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190228
FALSE | 2019-02-28 04:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190228
FALSE | 2019-02-28 05:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190228
FALSE | 2019-02-28 06:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190228
FALSE | 2019-02-28 07:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190228
FALSE | 2019-02-28 08:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190228
FALSE | 2019-02-28 09:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190228
FALSE | 2019-02-28 10:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190228
FALSE | 2019-02-28 11:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190228
FALSE | 2019-02-28 12:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190228
FALSE | 2019-02-28 13:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190228
FALSE | 2019-02-28 14:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190228
FALSE | 2019-02-28 15:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190228
FALSE | 2019-02-28 16:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190228
FALSE | 2019-02-28 17:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190228
FALSE | 2019-02-28 18:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190228
FALSE | 2019-02-28 19:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190228
FALSE | 2019-02-28 20:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190228
FALSE | 2019-02-28 21:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190228
FALSE | 2019-02-28 22:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190228
FALSE | 2019-02-28 23:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190228
FALSE | 2019-03-01 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190301
FALSE | 2019-03-01 01:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190301
FALSE | 2019-03-01 02:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190301
FALSE | 2019-03-01 03:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190301
FALSE | 2019-03-01 04:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190301
FALSE | 2019-03-01 05:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190301
FALSE | 2019-03-01 06:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190301
FALSE | 2019-03-01 07:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190301
FALSE | 2019-03-01 08:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190301
FALSE | 2019-03-01 09:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190301
FALSE | 2019-03-01 10:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190301
FALSE | 2019-03-01 11:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190301
FALSE | 2019-03-01 12:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190301
FALSE | 2019-03-01 13:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190301
FALSE | 2019-03-01 14:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190301
FALSE | 2019-03-01 15:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190301
FALSE | 2019-03-01 16:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190301
FALSE | 2019-03-01 17:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190301
FALSE | 2019-03-01 18:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190301
FALSE | 2019-03-01 19:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190301
FALSE | 2019-03-01 20:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190301
FALSE | 2019-03-01 21:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190301
FALSE | 2019-03-01 22:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190301
FALSE | 2019-03-01 23:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190301
FALSE | 2019-03-02 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190302
FALSE | 2019-03-02 01:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190302
FALSE | 2019-03-02 02:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190302
FALSE | 2019-03-02 03:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190302
FALSE | 2019-03-02 04:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190302
FALSE | 2019-03-02 05:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190302
FALSE | 2019-03-02 06:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190302
FALSE | 2019-03-02 07:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190302
FALSE | 2019-03-02 08:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190302
FALSE | 2019-03-02 09:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190302
FALSE | 2019-03-02 10:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190302
FALSE | 2019-03-02 11:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190302
FALSE | 2019-03-02 12:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190302
FALSE | 2019-03-02 13:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190302
FALSE | 2019-03-02 14:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190302
FALSE | 2019-03-02 15:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190302
FALSE | 2019-03-02 16:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190302
FALSE | 2019-03-02 17:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190302
FALSE | 2019-03-02 18:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190302
FALSE | 2019-03-02 19:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190302
FALSE | 2019-03-02 20:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190302
FALSE | 2019-03-02 21:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190302
FALSE | 2019-03-02 22:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190302
FALSE | 2019-03-02 23:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190302
FALSE | 2019-03-03 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190303
FALSE | 2019-03-03 01:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190303
FALSE | 2019-03-03 02:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190303
FALSE | 2019-03-03 03:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190303
FALSE | 2019-03-03 04:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190303
FALSE | 2019-03-03 05:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190303
FALSE | 2019-03-03 06:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190303
FALSE | 2019-03-03 07:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190303
FALSE | 2019-03-03 08:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190303
FALSE | 2019-03-03 09:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190303
FALSE | 2019-03-03 10:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190303
FALSE | 2019-03-03 11:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190303
FALSE | 2019-03-03 12:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190303
FALSE | 2019-03-03 13:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190303
FALSE | 2019-03-03 14:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190303
FALSE | 2019-03-03 15:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190303
FALSE | 2019-03-03 16:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190303
FALSE | 2019-03-03 17:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190303
FALSE | 2019-03-03 18:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190303
FALSE | 2019-03-03 19:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190303
FALSE | 2019-03-03 20:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190303
FALSE | 2019-03-03 21:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190303
FALSE | 2019-03-03 22:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190303
FALSE | 2019-03-03 23:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190303
FALSE | 2019-03-04 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190304
FALSE | 2019-03-04 01:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190304
FALSE | 2019-03-04 02:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190304
FALSE | 2019-03-04 03:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190304
FALSE | 2019-03-04 04:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190304
FALSE | 2019-03-04 05:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190304
FALSE | 2019-03-04 06:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190304
FALSE | 2019-03-04 07:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190304
FALSE | 2019-03-04 08:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190304
FALSE | 2019-03-04 09:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190304
FALSE | 2019-03-04 10:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190304
FALSE | 2019-03-04 11:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190304
FALSE | 2019-03-04 12:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190304
FALSE | 2019-03-04 13:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190304
FALSE | 2019-03-04 14:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190304
FALSE | 2019-03-04 15:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190304
FALSE | 2019-03-04 16:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190304
FALSE | 2019-03-04 17:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190304
FALSE | 2019-03-04 18:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190304
FALSE | 2019-03-04 19:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190304
FALSE | 2019-03-04 20:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190304
FALSE | 2019-03-04 21:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190304
FALSE | 2019-03-04 22:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190304
FALSE | 2019-03-04 23:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190304
FALSE | 2019-03-05 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190305
FALSE | 2019-03-05 01:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190305
FALSE | 2019-03-05 02:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190305
FALSE | 2019-03-05 03:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190305
FALSE | 2019-03-05 04:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190305
FALSE | 2019-03-05 05:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190305
FALSE | 2019-03-05 06:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190305
FALSE | 2019-03-05 07:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190305
FALSE | 2019-03-05 08:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190305
FALSE | 2019-03-05 09:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190305
FALSE | 2019-03-05 10:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190305
FALSE | 2019-03-05 11:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190305
FALSE | 2019-03-05 12:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190305
FALSE | 2019-03-05 13:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190305
FALSE | 2019-03-05 14:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190305
FALSE | 2019-03-05 15:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190305
FALSE | 2019-03-05 16:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190305
FALSE | 2019-03-05 17:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190305
FALSE | 2019-03-05 18:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190305
FALSE | 2019-03-05 19:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190305
FALSE | 2019-03-05 20:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190305
FALSE | 2019-03-05 21:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190305
FALSE | 2019-03-05 22:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190305
FALSE | 2019-03-05 23:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190305
FALSE | 2019-03-06 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190306
FALSE | 2019-03-06 01:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190306
FALSE | 2019-03-06 02:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190306
FALSE | 2019-03-06 03:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190306
FALSE | 2019-03-06 04:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190306
FALSE | 2019-03-06 05:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190306
FALSE | 2019-03-06 06:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190306
FALSE | 2019-03-06 07:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190306
FALSE | 2019-03-06 08:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190306
FALSE | 2019-03-06 09:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190306
FALSE | 2019-03-06 10:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190306
FALSE | 2019-03-06 11:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190306
FALSE | 2019-03-06 12:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190306
FALSE | 2019-03-06 13:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190306
FALSE | 2019-03-06 14:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190306
FALSE | 2019-03-06 15:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190306
FALSE | 2019-03-06 16:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190306
FALSE | 2019-03-06 17:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190306
FALSE | 2019-03-06 18:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190306
FALSE | 2019-03-06 19:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190306
FALSE | 2019-03-06 20:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190306
FALSE | 2019-03-06 21:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190306
FALSE | 2019-03-06 22:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190306
FALSE | 2019-03-06 23:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190306
FALSE | 2019-03-07 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190307
FALSE | 2019-03-07 01:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190307
FALSE | 2019-03-07 02:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190307
FALSE | 2019-03-07 03:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190307
FALSE | 2019-03-07 04:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190307
FALSE | 2019-03-07 05:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190307
FALSE | 2019-03-07 06:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190307
FALSE | 2019-03-07 07:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190307
FALSE | 2019-03-07 08:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190307
FALSE | 2019-03-07 09:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190307
FALSE | 2019-03-07 10:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190307
FALSE | 2019-03-07 11:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190307
FALSE | 2019-03-07 12:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190307
FALSE | 2019-03-07 13:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190307
FALSE | 2019-03-07 14:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190307
FALSE | 2019-03-07 15:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190307
FALSE | 2019-03-07 16:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190307
FALSE | 2019-03-07 17:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190307
FALSE | 2019-03-07 18:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190307
FALSE | 2019-03-07 19:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190307
FALSE | 2019-03-07 20:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190307
FALSE | 2019-03-07 21:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190307
FALSE | 2019-03-07 22:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190307
FALSE | 2019-03-07 23:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190307
FALSE | 2019-03-08 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190308
FALSE | 2019-03-08 01:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190308
FALSE | 2019-03-08 02:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190308
FALSE | 2019-03-08 03:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190308
FALSE | 2019-03-08 04:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190308
FALSE | 2019-03-08 05:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190308
FALSE | 2019-03-08 06:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190308
FALSE | 2019-03-08 07:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190308
FALSE | 2019-03-08 08:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190308
FALSE | 2019-03-08 09:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190308
FALSE | 2019-03-08 10:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190308
FALSE | 2019-03-08 11:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190308
FALSE | 2019-03-08 12:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190308
FALSE | 2019-03-08 13:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190308
FALSE | 2019-03-08 14:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190308
FALSE | 2019-03-08 15:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190308
FALSE | 2019-03-08 16:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190308
FALSE | 2019-03-08 17:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190308
FALSE | 2019-03-08 18:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190308
FALSE | 2019-03-08 19:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190308
FALSE | 2019-03-08 20:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190308
FALSE | 2019-03-08 21:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190308
FALSE | 2019-03-08 22:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190308
FALSE | 2019-03-08 23:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190308
FALSE | 2019-03-09 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190309
FALSE | 2019-03-09 01:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190309
FALSE | 2019-03-09 02:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190309
FALSE | 2019-03-09 03:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190309
FALSE | 2019-03-09 04:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190309
FALSE | 2019-03-09 05:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190309
FALSE | 2019-03-09 06:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190309
FALSE | 2019-03-09 07:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190309
FALSE | 2019-03-09 08:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190309
FALSE | 2019-03-09 09:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190309
FALSE | 2019-03-09 10:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190309
FALSE | 2019-03-09 11:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190309
FALSE | 2019-03-09 12:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190309
FALSE | 2019-03-09 13:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190309
FALSE | 2019-03-09 14:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190309
FALSE | 2019-03-09 15:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190309
FALSE | 2019-03-09 16:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190309
FALSE | 2019-03-09 17:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190309
FALSE | 2019-03-09 18:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190309
FALSE | 2019-03-09 19:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190309
FALSE | 2019-03-09 20:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190309
FALSE | 2019-03-09 21:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190309
FALSE | 2019-03-09 22:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190309
FALSE | 2019-03-09 23:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190309
FALSE | 2019-03-10 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190310
FALSE | 2019-03-10 01:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190310
FALSE | 2019-03-10 02:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190310
FALSE | 2019-03-10 03:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190310
FALSE | 2019-03-10 04:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190310
FALSE | 2019-03-10 05:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190310
FALSE | 2019-03-10 06:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190310
FALSE | 2019-03-10 07:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190310
FALSE | 2019-03-10 08:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190310
FALSE | 2019-03-10 09:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190310
FALSE | 2019-03-10 10:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190310
FALSE | 2019-03-10 11:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190310
FALSE | 2019-03-10 12:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190310
FALSE | 2019-03-10 13:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190310
FALSE | 2019-03-10 14:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190310
FALSE | 2019-03-10 15:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190310
FALSE | 2019-03-10 16:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190310
FALSE | 2019-03-10 17:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190310
FALSE | 2019-03-10 18:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190310
FALSE | 2019-03-10 19:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190310
FALSE | 2019-03-10 20:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190310
FALSE | 2019-03-10 21:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190310
FALSE | 2019-03-10 22:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190310
FALSE | 2019-03-10 23:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190310
FALSE | 2019-03-11 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190311
FALSE | 2019-03-11 01:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190311
FALSE | 2019-03-11 02:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190311
FALSE | 2019-03-11 03:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190311
FALSE | 2019-03-11 04:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190311
FALSE | 2019-03-11 05:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190311
FALSE | 2019-03-11 06:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190311
FALSE | 2019-03-11 07:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190311
FALSE | 2019-03-11 08:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190311
FALSE | 2019-03-11 09:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190311
FALSE | 2019-03-11 10:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190311
FALSE | 2019-03-11 11:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190311
FALSE | 2019-03-11 12:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190311
FALSE | 2019-03-11 13:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190311
FALSE | 2019-03-11 14:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190311
FALSE | 2019-03-11 15:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190311
FALSE | 2019-03-11 16:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190311
FALSE | 2019-03-11 17:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190311
FALSE | 2019-03-11 18:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190311
FALSE | 2019-03-11 19:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190311
FALSE | 2019-03-11 20:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190311
FALSE | 2019-03-11 21:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190311
FALSE | 2019-03-11 22:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190311
FALSE | 2019-03-11 23:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20190311
|  |  | Bi-Weekly Total Tons |  | 55902.9 | 336 | 12.1 | 336 | 46 | 336 | 5735.7 |  | 0.6 | 2227.21 | 3.1948 | 7.9103e-05 | 9.2429e-05 | 1.3363 | 0.16704
mmBtu
Note:
All data are collected and processed in accordance with Part 75.
Data with orange fill are substituted in accordance with Part 75.
Monthly sums may not agree with data published by EPA due to the handling of quarterly and annual totals.
Formulas:
Data End Date = '[1]Input Data'!B9
Report Start Date = [Data End Date]-13-TIME(23,59,59)