## Section 10 Tables
2012 Market Report on U.S. Wind Technologies in Distributed Applications
Section 10. Data Tables
Table 8. Megawatts By Year By Sector | [11 empty] | Table 10. 2012 Cost Per Kilowatt
| 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | Cumulative |  | Sample Size |  | Average $/kW | Min $/kW | Max $/kW
Small Wind Turbines | 3 | 5 | 3 | 9 | 10 | 17 | 20 | 26 | 19 | 18 | 130 | Small Wind Turbines - New Domestic | 3,209 units (6.3 MW) |  | 6510 | 1500 | 27500
Mid-Size Distributed | 19 | 7 | 4 | 3 | 3 | 14 | 9 | 9 | 12 | 19 | 100 | Small Wind Turbines - New Imported | 348 units (2.6 MW) |  | 8040 | 4590 | 16700
Utility-Scale Distributed | 10 | 19 | 18 | 53 | 39 | 72 | 92 | 63 | 76 | 138 | 581 | Small Wind Turbines - Refurbished | 105 units (9.6 MW) |  | 4080 | 3560 | 7480
All Distributed Wind | 32 | 31 | 26 | 65 | 51 | 104 | 121 | 98 | 108 | 175 | 812 | Subtotal Small Wind Turbines | 3,662 units (18.4 MW) |  | 5500 | 1500 | 27500
[12 empty] | Mid-Size Distributed | 17 turbines, 8 projects (9.4 MW) |  | 2810 | 2400 | 3351
Table 9. Units By Year By Sector | [11 empty] | Utility-Scale Distributed | 43 turbines, 26 projects (78 MW) |  | 2540 | 1760 | 4000
| 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | Cumulative | All Distributed Wind | 3,772 units (106 MW) |  | 3070 | 1500 | 27500
Small Wind Turbines (approx) | 3200 | 4700 | 4300 | 8300 | 9100 | 10400 | 9800 | 7800 | 7300 | 3700 | 68600
Mid-Size Distributed | 24 | 9 | 6 | 7 | 9 | 17 | 15 | 22 | 22 | 31 | 160
Utility-Scale Distributed | 5 | 12 | 12 | 40 | 22 | 43 | 63 | 34 | 42 | 78 | 350 | Table 11. 2012 Application Type
All Distributed Wind (approx) | 3200 | 4700 | 4300 | 8300 | 9100 | 10500 | 9900 | 7900 | 7400 | 3800 | 69000 |  | Project Count | Turbine Count | Total MW
[12 empty] | Small Wind Turbines Off-Grid | approx 2,600 | approx 2,600 | 1
Note: Rounding of annual figures accounts for a few apparent variances in cumulative totals presented. | [11 empty] | Small Wind Turbines Grid-Tied | approx 1,000 | approx 1,000 | 17
[12 empty] | Mid-Size On-Site | 2 | 6 | 5
[12 empty] | Utility-Scale On-Site | 17 | 26 | 50
[12 empty] | Subtotal On-site | approx 3,600 | approx 3,600 | 73
[12 empty] | Mid-Size Distribution Grid | 20 | 25 | 14
[12 empty] | Utility-Scale Distribution Grid | 30 | 52 | 88
[12 empty] | Subtotal Distribution Grid | 50 | 77 | 102

## 2012 Manufacturers
Manufacturers with Reported 2012 Distributed Wind Deployments
Small
US-based | International | Refurbished
ACME Wind Turbines | Ampair | enXco
Ark Alloy | Cleanfield Energy | Matrix Wind Solutions
Bergey Windpower | Eclectic Energy | Nordtank
DyoCore | Endurance Wind Power | Powerworks
Enertech | Evance Wind | Talk Incorporated
Home Energy | Gaia-Wind | Vestas
Northern Power Systems | Kestrel Wind Turbines | Windmatic
Polaris America | Kingspan
Renewegy | Seaforth Energy
Southwest Windpower | Sonkyo Energy
Urban Green Energy | Wind Energy Solutions
Ventera Wind
Wind Turbine Industries
Xzeres Wind
Mid-Size Distributed
US-based | International | Refurbished
Aeronautica | Gamesa | FreeBreeze
Nordic | PowerWind | Nordex
| Vergnet | Nordtank
Rock-Wind LLC
Vestas
Utility-Scale Distributed
US-based | International | Refurbished
Clipper | Gamesa | None Reported
GE Energy | Goldwind
Goudian
Hyundai
HZ Windpower
Kenersys
Leitner-Poma
Sany
Sinovel
Vensys
Vestas

## Figure 1
Figure 1. U.S. Distributed Wind Capacity by Turbine Type
Data are shown in Section 10 Tables.

## Figure 2
Figure 2. Wind Turbine Sales (units) in 2003-2012
This figure does not contain any data that are not already shown in the figure.

## Figure 3
Figure 3. Wind Turbine Sales (units) in (a) 2011 and (b) 2012
This figure does not contain any data that are not already shown in the figure.

## Figure 4
Figure 4. Types of Turbines and Towers Used in 2012 U.S. Distributed Wind Applications
This figure does not contain any data that are not already shown in the figure.

## Figure 5
Figure 5. Distributed Wind Capacity by Type and Average Turbine Size
All other data are included in figure.
Year | Average Wind Turbine Size (all distributed applications) (kW/unit)
2006 | 10
2007 | 6
2008 | 10
2009 | 12
2010 | 12
2011 | 15
2012 | 47

## Figure 6
Figure 6. 2012 U.S. Distributed Wind Capacity Additions
State | Capacity Addition Bin
Alaska | 1.1 MW - 5 MW
Arkansas | 2 kW - 100 kW
California | 10.1 MW - 25 MW
Colorado | 2 kW - 100 kW
Georgia | 2 kW - 100 kW
Hawaii | 2 kW - 100 kW
Idaho | 101 kW - 1 MW
Illinois | 1.1 MW - 5 MW
Indiana | 1.1 MW - 5 MW
Kansas | 1.1 MW - 5 MW
Kentucky | 2 kW - 100 kW
Louisiana | 2 kW - 100 kW
Maine | 2 kW - 100 kW
Maryland | 2 kW - 100 kW
Michigan | 101 kW - 1 MW
Minnesota | 1.1 MW - 5 MW
Missouri | 2 kW - 100 kW
Montana | 101 kW - 1 MW
Nebraska | 101 kW - 1 MW
Nevada | 5.1 MW - 10 MW
New Jersey | 1.1 MW - 5 MW
New York | 1.1 MW - 5 MW
North Carolina | 2 kW - 100 kW
North Dakota | 101 kW - 1 MW
Ohio | 10.1 MW - 25 MW
Oklahoma | 2 kW - 100 kW
Oregon | 2 kW - 100 kW
Pennsylvania | 2 kW - 100 kW
PR-VI | 2 kW - 100 kW
Rhode Island | 5.1 MW - 10 MW
South Carolina | 2 kW - 100 kW
South Dakota | 2 kW - 100 kW
Tennessee | 2 kW - 100 kW
Texas | 10.1 MW - 25 MW
Vermont | 10.1 MW - 25 MW
Virginia | 101 kW - 1 MW
Washington | 1.1 MW - 5 MW
Wisconsin | 10.1 MW - 25 MW
Wyoming | 2 kW - 100 kW

## Figure 7
Figure 7. 2003-2012 Cumulative U.S. Distributed Wind Capacity
State | Capacity Addition Bin
Alabama | 30 kW - 100 kW
Alaska | 5.1 MW - 10 MW
Arizona | 1.1 MW - 5 MW
Arkansas | 101 kW - 1 MW
California | 10.1 MW - 100 MW
Colorado | 10.1 MW - 100 MW
Connecticut | 101 kW - 1 MW
Delaware | 1.1 MW - 5 MW
Florida | 101 kW - 1 MW
Georgia | 101 kW - 1 MW
Hawaii | 101 kW - 1 MW
Idaho | 1.1 MW - 5 MW
Illinois | 10.1 MW - 100 MW
Indiana | 5.1 MW - 10 MW
Iowa | 101 MW - 180 MW
Kansas | 1.1 MW - 5 MW
Kentucky | 101 kW - 1 MW
Louisiana | 30 kW - 100 kW
Maine | 5.1 MW - 10 MW
Maryland | 1.1 MW - 5 MW
Massachusetts | 10.1 MW - 100 MW
Michigan | 1.1 MW - 5 MW
Minnesota | 101 MW - 180 MW
Mississippi | 30 kW - 100 kW
Missouri | 5.1 MW - 10 MW
Montana | 1.1 MW - 5 MW
Nebraska | 5.1 MW - 10 MW
Nevada | 10.1 MW - 100 MW
New Hampshire | 1.1 MW - 5 MW
New Jersey | 10.1 MW - 100 MW
New Mexico | 1.1 MW - 5 MW
New York | 5.1 MW - 10 MW
North Carolina | 101 kW - 1 MW
North Dakota | 5.1 MW - 10 MW
Ohio | 10.1 MW - 100 MW
Oklahoma | 1.1 MW - 5 MW
Oregon | 1.1 MW - 5 MW
Pennsylvania | 5.1 MW - 10 MW
Puerto Rico | 30 kW - 100 kW
Rhode Island | 5.1 MW - 10 MW
South Carolina | 30 kW - 100 kW
South Dakota | 1.1 MW - 5 MW
Tennessee | 101 kW - 1 MW
Texas | 101 MW - 180 MW
US Virgin Islands | 30 kW - 100 kW
Utah | 101 kW - 1 MW
Vermont | 10.1 MW - 100 MW
Virginia | 101 kW - 1 MW
Washington | 10.1 MW - 100 MW
West Virginia | 101 kW - 1 MW
Wisconsin | 10.1 MW - 100 MW
Wyoming | 5.1 MW - 10 MW

## Figure 8
Figure 8. Top States for Distributed Wind Capacity, 2003-2012
| 2003-2011 Cumulative Distributed Wind Capacity (All Sectors) | 2012 Utility-Scale Turbines (>1 MW) | 2012 Mid-Size Turbines (101 kW - 1 MW) | 2012 Small Wind Turbines (<100 kW) | 2003-2012 Cumulative Capacity
State | (MW) | (MW) | (MW) | (MW) | (MW)
Texas | 169 | 11 | 1 | None Reported | 181
Minnesota | 122 | None Reported | None Reported | 2 | 124
Iowa | 82 | 34 | 1 | 2 | 119
California | 43 | 21 | 1 | 0.4 | 66
Massachusetts | 34 | 26 | 1 | 0.4 | 62
Ohio | 22 | 6 | 5 | 0.4 | 33
Wisconsin | 8 | 18 | None Reported | 0.5 | 26
Illinois | 17 | 4 | None Reported | 0.2 | 22
Colorado | 21 | None Reported | None Reported | 0.1 | 21
Washington | 8 | None Reported | 4 | 0.1 | 13
Nevada | 4 | None Reported | None Reported | 7.8 | 12
Vermont | 2 | 10 | None Reported | 0.2 | 12
New Jersey | 9 | 2 | None Reported | >0.1 | 11
Alaska | 8 | None Reported | None Reported | 1.3 | 10
Rhode Island | 3 | 6 | 1 | >0.1 | 9
New York | 7 | None Reported | 1 | 1.3 | 9

## Figure 9
Figure 9. Average Installed Costs for All Turbine Types
Data are shown in Section 10 Tables.

## Figure 10
Figure 10. U.S. Small Wind Turbine Sales by Market Segment, 2007-2012
Year | Capacity Installed for Turbines Rated 0.1-0.9 kW | Capacity Installed for Turbines Rated 1-10 kW | Capacity Installed for Turbines Rated 11-100 kW | Total Capacity Installed
| (MW) | (MW) | (MW) | (MW)
2007 | 3.1 | 4.3 | 2.4 | 9.8
2008 | 2.8 | 7.6 | 7 | 17.4
2009 | 2.9 | 8 | 9.5 | 20.4
2010 | 1.5 | 8.3 | 15.9 | 25.6
2011 | 1.7 | 5.7 | 11.6 | 19
2012 Newly Manufactured | 0.6 | 3.7 | 4.5 | 8.9
2012 Refurbished | None Reported | None Reported | 9.5 | 9.5
Note: Rounding of segment figures accounts for a few apparent variances in annual totals presented.

## Figure 11
Figure 11. U.S. Small Wind Domestic, Imports, and Export Sales, 2003-2012
Cumulative Capacity | U.S. Manufacturer Exports | Imports from Non-U.S. Suppliers | U.S. Manufacturer Domestic Sales | U.S. Domestic Refurbished Installations | Cumulative U.S. Small Wind Capacity (MW)
Year | (MW) | (MW) | (MW) | (MW)
2003-2006 | 7 | 4 | 16 | None reported | 27
2003-2007 | 11 | 5 | 25 | None reported | 41
2003-2008 | 16 | 9 | 38 | None reported | 63
2003-2009 | 26 | 13 | 55 | None reported | 93
2003-2010 | 34 | 17 | 76 | None reported | 127
2003-2011 | 51 | 21 | 91 | None reported | 164
2003-2012 | 59 | 24 | 97 | 10 | 190
Note: Rounding of segment figures accounts for a few apparent variances in annual totals presented.

## Figure 12
Figure 12. U.S. Small Wind Capacity and Unit Trends, 2007-2012
| Off-Grid Capacity | Grid-Tied Small Wind Capacity | Average Grid-Tied Small Wind Turbine Size | Average Small Wind Turbine Size (all)
Year | (MW) | (MW) | (kW/unit) | (kW/unit)
2007 | 4 | 6 | 4 | 1
2008 | 4 | 14 | 5 | 2
2009 | 4 | 17 | 8 | 2
2010 | 2 | 24 | 8 | 3
2011 | 2 | 17 | 6 | 3
2012 | 1 | 18 | 17 | 5

## Figure 13
Figure 13. U.S. Small Wind Capacity Top States, 2003-2012
| 2003-2009 Installed Capacity | 2010 Installed Capacity | 2011 Installed Capacity | 2012 Installed Capacity | 2003-2012 Cumulative Capacity
State | (MW) | (MW) | (MW) | (MW) | (MW)
Iowa | 5 | 4 | 2 | 2 | 13
Nevada | 0.3 | 0.2 | 4 | 8 | 12
California | 8 | 1 | 0.6 | 0.4 | 10
Ohio | 2 | 3 | 4 | 0.4 | 9
Alaska | 4 | 1 | 3 | 1 | 9
Minnesota | 5 | 0.6 | 1 | 2 | 8
New York | 2 | 1 | 1 | 1 | 5
Kansas | 3 | None Reported | 1 | 1 | 5
Massachusetts | 3 | 1 | 0.1 | 0.4 | 4
Kansas | 2 | 1 | 0.6 | 1 | 4
Michigan | 3 | 0.4 | 0.1 | 0.2 | 4
Montana | 2 | 0.4 | 0.1 | None Reported | 3
Maine | 2 | 0.2 | None Reported | 0.1 | 3
Pennsylvania | 2 | 0.4 | 0.2 | 0.1 | 3
Arizona | 2 | 0.4 | 0.1 | None Reported | 2
Illinois | 1 | 0.6 | 0.5 | 0.2 | 2
Idaho | 2 | 0.2 | 0.1 | 0.1 | 2
Note: Rounding of annual figures accounts for a few apparent variances in cumulative totals presented.

## Figure 14
Figure 14. 2012 U.S. Small Wind Capacity Additions
State | Capacity Addition Bin
Alaska | 501 kW - 1.5 MW
Arkansas | 1 kW - 50 kW
California | 251 kW - 500 kW
Colorado | 51 kW - 250 kW
Georgia | 1 kW - 50 kW
Hawaii | 51 kW - 250 kW
Idaho | 51 kW - 250 kW
Illinois | 51 kW - 250 kW
Indiana | 1 kW - 50 kW
Iowa | 1.6 MW - 3 MW
Kansas | 501 kW - 1.5 MW
Kentucky | 51 kW - 250 kW
Louisiana | 1 kW - 50 kW
Maine | 51 kW - 250 kW
Maryland | 1 kW - 50 kW
Massachusetts | 251 kW - 500 kW
Michigan | 51 kW - 250 kW
Minnesota | 1.6 MW - 3 MW
Missouri | 51 kW - 250 kW
Montana | 1 kW - 50 kW
Nebraska | 51 kW - 250 kW
Nevada | 3.1 MW - 8 MW
New Jersey | 1 kW - 50 kW
New York | 501 kW - 1.5 MW
North Carolina | 1 kW - 50 kW
North Dakota | 1 kW - 50 kW
Ohio | 251 kW - 500 kW
Oklahoma | 1 kW - 50 kW
Oregon | 51 kW - 250 kW
Pennsylvania | 51 kW - 250 kW
Rhode Island | 1 kW - 50 kW
South Carolina | 1 kW - 50 kW
South Dakota | 51 kW - 250 kW
Tennessee | 1 kW - 50 kW
Vermont | 51 kW - 250 kW
Virgin Islands | 51 kW - 250 kW
Virginia | 251 kW - 500 kW
Washington | 51 kW - 250 kW
Wisconsin | 251 kW - 500 kW
Wyoming | 51 kW - 250 kW

## Figure 15
Figure 15. U.S. Small Wind Capacity, 2003-2012
State | Capacity Addition Bin
Alabama | 2.5 kW - 100 kW
Alaska | 5.1 MW - 145 MW
Arizona | 1.6 MW - 3 MW
Arkansas | 501 kW - 1.5 MW
California | 5.1 MW - 145 MW
Colorado | 1.6 MW - 3 MW
Connecticut | 501 kW - 1.5 MW
Delaware | 101 kW - 500 kW
Florida | 101 kW - 500 kW
Georgia | 101 kW - 500 kW
Hawaii | 501 kW - 1.5 MW
Idaho | 1.6 MW - 3 MW
Illinois | 1.6 MW - 3 MW
Indiana | 501 kW - 1.5 MW
Iowa | 5.1 MW - 145 MW
Kansas | 3.1 MW - 5 MW
Kentucky | 101 kW - 500 kW
Louisiana | 2.5 kW - 100 kW
Maine | 1.6 MW - 3 MW
Maryland | 501 kW - 1.5 MW
Massachusetts | 3.1 MW - 5 MW
Michigan | 3.1 MW - 5 MW
Minnesota | 5.1 MW - 145 MW
Mississippi | 2.5 kW - 100 kW
Missouri | 501 kW - 1.5 MW
Montana | 1.6 MW - 3 MW
Nebraska | 501 kW - 1.5 MW
Nevada | 5.1 MW - 145 MW
New Hampshire | 101 kW - 500 kW
New Jersey | 1.6 MW - 3 MW
New Mexico | 101 kW - 500 kW
New York | 3.1 MW - 5 MW
North Carolina | 101 kW - 500 kW
North Dakota | 101 kW - 500 kW
Ohio | 5.1 MW - 145 MW
Oklahoma | 501 kW - 1.5 MW
Oregon | 501 kW - 1.5 MW
Pennsylvania | 1.6 MW - 3 MW
Puerto Rico | 2.5 kW - 100 kW
Rhode Island | 501 kW - 1.5 MW
South Carolina | 2.5 kW - 100 kW
South Dakota | 501 kW - 1.5 MW
Tennessee | 101 kW - 500 kW
Texas | 5.1 MW - 145 MW
US Virgin Islands | 2.5 kW - 100 kW
Utah | 101 kW - 500 kW
Vermont | 1.6 MW - 3 MW
Virginia | 501 kW - 1.5 MW
Washington | 1.6 MW - 3 MW
West Virginia | 101 kW - 500 kW
Wisconsin | 5.1 MW - 145 MW
Wyoming | 1.6 MW - 3 MW

## Figure 16
Figure 16. U.S. Small Wind Manufacturer Sales
| U.S. Manufacturer Domestic Sales | U.S. Manufacturer Exports
Year | (MW) | (MW)
2006 | 7 | 3
2007 | 8 | 4
2008 | 13 | 5
2009 | 17 | 10
2010 | 19 | 8
2011 | 15 | 18
2012 | 6 | 8
Note: Refurbished sales and imports are not shown.

## Figure 17
Figure 17. U.S. Small Wind Turbines Average Installed Cost by Type, 2011-2012
Data are shown in Section 10 Tables.

## Figure 18
Figure 18. 2012 U.S. Small Wind Turbines Average Installed Cost by Size
Data are shown in Section 10 Tables.

## Figure 19
Figure 19. U.S. Mid-Size Distributed Wind Capacity Top States, 2003-2012
| 2003-2009 Installed Capacity | 2010 Installed Capacity | 2011 Installed Capacity | 2012 Installed Capacity | 2003-2012 Cumulative Capacity
State | (MW) | (MW) | (MW) | (MW) | (MW)
Minnesota | 22 | 3 | 1 | None Reported | 26
Texas | 11 | None Reported | None Reported | 1 | 12
Ohio | 0.2 | 2 | 1 | 5 | 8
Iowa | 7 | None Reported | None Reported | 1 | 8
Massachusetts | 5 | 1 | None Reported | 1 | 7
California | 2 | None Reported | 3 | 1 | 6
Indiana | None Reported | 2 | 1 | 3 | 6
Illinois | 4 | None Reported | 1 | 0.2 | 5
Washington | None Reported | None Reported | 0.2 | 4 | 4
Oregon | None Reported | None Reported | 4 | None Reported | 4
Montana | 2 | None Reported | None Reported | 0.2 | 2
North Dakota | 1 | None Reported | None Reported | 1 | 2
New Hampshire | 1 | None Reported | None Reported | None Reported | 1
Wyoming | 1 | None Reported | None Reported | None Reported | 1
Rhode Island | 1 | None Reported | None Reported | 0.5 | 1
Alaska | 0.2 | 1 | None Reported | None Reported | 1
Kansas | None Reported | None Reported | None Reported | 1 | 1
Note: Rounding of annual figures accounts for a few apparent variances in cumulative totals presented.

## Figure 20
Figure 20. 2012 U.S. Mid-Size Wind Capacity Additions
State | Capacity Addition Bin
California | 751 kW - 1 MW
Illinois | 200 kW - 750 kW
Indiana | 1.1 MW - 3 MW
Iowa | 751 kW - 1 MW
Kansas | 751 kW - 1 MW
Massachusetts | 200 kW - 750 kW
Montana | 200 kW - 750 kW
New York | 751 kW - 1 MW
North Dakota | 751 kW - 1 MW
Ohio | 3 MW - 4.9 MW
Rhode Island | 200 kW - 750 kW
Texas | 200 kW - 750 kW
Washington | 3 MW - 4.9 MW

## Figure 21
Figure 21. U.S. Mid-Size Wind Capacity, 2003-2012
State | Capacity Addition Bin
Colorado | 200 kW - 900 kW
Idaho | 200 kW - 900 kW
Maine | 200 kW - 900 kW
Michigan | 200 kW - 900 kW
New York | 200 kW - 900 kW
South Dakota | 200 kW - 900 kW
Utah | 200 kW - 900 kW
Alaska | 901 kW - 2 MW
Arizona | 901 kW - 2 MW
Kansas | 901 kW - 2 MW
New Hampshire | 901 kW - 2 MW
North Dakota | 901 kW - 2 MW
Rhode Island | 901 kW - 2 MW
Wyoming | 901 kW - 2 MW
California | 2.1 MW - 5.9 MW
Illinois | 2.1 MW - 5.9 MW
Indiana | 2.1 MW - 5.9 MW
Montana | 2.1 MW - 5.9 MW
Oregon | 2.1 MW - 5.9 MW
Washington | 2.1 MW - 5.9 MW
Iowa | 6 MW - 11 MW
Massachusetts | 6 MW - 11 MW
Ohio | 6 MW - 11 MW
Texas | 6 MW - 11 MW
Minnesota | 11.1 MW - 28.3 MW

## Figure 22
Figure 22. Average Installed Cost of Mid-Size Turbines in Distributed Applications, 2011-2012
Data are shown in Section 10 Tables.

## Figure 23
Figure 23. U.S. Utility-Scale Distributed Wind Capacity, Top States, 2003-2012
| 2003-2009 Installed Capacity | 2010 Installed Capacity | 2011 Installed Capacity | 2012 Installed Capacity | 2003-2012 Cumulative Capacity
State | (MW) | (MW) | (MW) | (MW) | (MW)
Texas | 117 | 24 | 9 | 11 | 161
Iowa | 50 | 3 | 11 | 34 | 98
Minnesota | 49 | 20 | 21 | None Reported | 90
Massachusetts | 8 | 5 | 13 | 26 | 51
California | 26 | 2 | 2 | 21 | 50
Wisconsin | None Reported | None Reported | None Reported | 18 | 18
Colorado | 11 | 2 | 5 | None Reported | 18
Ohio | 7 | None Reported | 3 | 6 | 16
Illinois | 8 | None Reported | 2 | 4 | 14
New Jersey | 8 | None Reported | None Reported | 2 | 10
Vermont | None Reported | None Reported | None Reported | 10 | 9
Rhode Island | 2 | None Reported | None Reported | 6 | 8
Missouri | 5 | None Reported | 2 | None Reported | 7
Washington | None Reported | 6 | None Reported | None Reported | 6
Maine | 5 | None Reported | None Reported | None Reported | 5
North Dakota | 5 | None Reported | None Reported | None Reported | 5
Nebrasksa | 1 | None Reported | 3 | None Reported | 4
Note: Rounding of annual figures accounts for a few apparent variances in cumulative totals presented.

## Figure 24
Figure 24. 2012 U.S. Utility-Scale Distributed Wind Capacity Additions
State | Capacity Addition Bin
California | 11.1 MW - 25 MW
Illinois | 1.5 MW - 5 MW
Iowa | 25.1 MW - 34 MW
Massachusetts | 25.1 MW - 34 MW
New Jersey | 1.5 MW - 5 MW
Ohio | 5.1 MW - 11 MW
Rhode Island | 5.1 MW - 11 MW
Texas | 5.1 MW - 11 MW
Vermont | 5.1 MW - 11 MW
Wisconsin | 11.1 MW - 25 MW

## Figure 25
Figure 25. U.S. Utility-Scale Distributed Wind Capacity, 2003-2012
State | Capacity Addition Bin
California | 20.1 MW - 55 MW
Colorado | 10.1 MW - 20 MW
Delaware | 1.5 MW - 3 MW
Illinois | 10.1 MW - 20 MW
Iowa | 55.1 MW - 162 MW
Maine | 3.6 MW -10 MW
Massachusetts | 20.1 MW - 55 MW
Minnesota | 55.1 MW - 162 MW
Montana | 3.6 MW -10 MW
Nebraska | 3.6 MW -10 MW
New Jersey | 3.6 MW -10 MW
New Mexico | 1.5 MW - 3 MW
New York | 1.5 MW - 3 MW
North Dakota | 3.6 MW -10 MW
Ohio | 10.1 MW - 20 MW
Pennsylvania | 1.5 MW - 3 MW
Rhode Island | 3.6 MW -10 MW
South Dakota | 1.5 MW - 3 MW
Texas | 55.1 MW - 162 MW
Vermont | 3.6 MW -10 MW
Washington | 3.6 MW -10 MW
Wisconsin | 10.1 MW - 20 MW
Wyoming | 1.5 MW - 3 MW

## Figure 26
Figure 26. Utility-Scale Turbines in Distributed Applications Average Installed Cost, 2011-2012
Data are shown in Section 10 Tables.

## Figure 27
Figure 27. 2012 U.S. Distributed Wind Federal and State/Local Funding Awards
State | Section 1603 | USDA Grants | State/Local | Number of Awards
Iowa | 12500000 | 1100000 | 11300000 | 115
Nevada | 4500000 | 0 | 18000000 | 87
Massachusetts | 13700000 | 0 | 2200000 | 15
Vermont | 8200000 | 0 | 300000 | 9
Texas | 7800000 | 0 | 0 | 2
New York | 2100000 | 0 | 3000000 | 72
Washington | 3500000 | 0 | 0 | 8
Illinois | 2500000 | 0 | 1000000 | 8
Minnesota | 2400000 | 1000000 | 0 | 64
Wisconsin | 2200000 | 0 | 100000 | 16
California | 1700000 | 0 | 510000 | 34
Kansas | 1100000 | 510000 | 0 | 24
Ohio | 870000 | 0 | 0 | 9
Nebraska | 390000 | 50000 | 0 | 15
Michigan | 370000 | 0 | 0 | 5
Rhode Island | 320000 | 0 | 0 | 1
Idaho | 200000 | 0 | 0 | 5
Pennsylvania | 190000 | 0 | 0 | 3
Alaska | 70000 | 80000 | 0 | 24
Hawaii | 190000 | 0 | 0 | 2
South Dakota | 180000 | 0 | 0 | 3
Wyoming | 0 | 0 | 160000 | 28

## Figure 28
Figure 28. Wind Incentives Available in 2012
For more state-specific incentive and policy information, see dsireusa.org or http://en.openei.org/wiki/Gateway:Incentives_and_Policies

## Figure 29
Figure 29. 8-MW Junction Hilltop Wind Project in Iowa (Photo credit: Tom Wind)
No data

## Figure 30
Figure 30. Net Metering State Policies
For more state-specific net metering policy information, see dsireusa.org or http://en.openei.org/wiki/Gateway:Incentives_and_Policies

## Figure 31
Figure 31. Residential-Scale 30 m Wind Map (NREL 2012)
For larger state-specific 30 m wind maps, see http://www.windpoweringamerica.gov/windmaps/residential_scale.asp