EQUIPMENT AND PIPING LABELING

Assessment Plan

NNSA/Nevada Site Office Facility Representative Division

Performance Objective:

To verify that facility equipment and piping are labeled in a manner such that facility personnel are able to positively identify equipment they operate.  To ensure that an effective labeling program is in effect to reduce operator and maintenance errors from incorrect identification of equipment, to increase training effectiveness by tracing the actual facility system as opposed to tracing its schematic, and to reduce personnel exposure to radiation and hazardous materials. This assessment provides a basis for evaluating the effectiveness of the contractor’s program for labeling equipment and piping and for establishing compliance with DOE requirements.

Criteria:

From DOE-STD-1044-93, “Guide to Good Practices for Equipment and Piping Labeling, 12/98:

Equipment, components, and piping that require labeling are identified by the facility.

Label information meets regulatory requirements and is consistent with facility procedures.

Label materials and means of attachment are compatible with the components and environment

where they are used.

Labels are properly placed and oriented to enhance readability and component identification.

Checks to verify that labels are correct are included in designated operating procedures.

Procedures are established to replace lost or damaged labels and to acquire new labels when

needed.

References:

ANSI A13.1, Scheme for the Identification of Piping Systems

ANSI Z53.1, Safety Color Code for Marking Physical Hazards

NFPA 70, National Electrical Code

DOE O 414.1A, Quality Assurance

DOE 5480.19, Conduct of Operations Requirements for DOE Facilities

DOE-STD-1044-93, Guide to Good Practices for Equipment and Piping Labeling

DOE/NV Facility Representative Program Surveillance Guide

BN Policy PY-0021.001 Formality of Operations

BN Process Description PD-0021.001 Formality of Operations

Approach:

Document Review:

Interviews:

Facility Manager / Supervisors

Operators / Maintenance personnel

Observations:

EQUIPMENT AND PIPING LABELING

Lines of Inquiry

NNSA/Nevada Site Office Facility Representative Division

|  | YES | NO | N/A | COMMENTS |
| --- | --- | --- | --- | --- |
| 1. Are you familiar with the process for ordering new labels to replace those found missing, damaged or incorrect? (BN PD-0021.001 Formality of Operations, Chapter 18) |  |  |  |  |
| 2. Are you familiar with the process of installing temporary labels? (BN PD-0021.001 Formality of Operations, Chapter 18) |  |  |  |  |
| 3. Have you identified a "Label Coordinator"? (BN PD-0021.001 Formality of Operations, Chapter 18) |  |  |  |  |
| 4. Are the following items labeled? (BN PD-0021.001 Formality of Operations, Chapter 18 or DOE 5480.19, “Conduct of Operations Requirements for DOE Facilities,”) |  |  |  |  |
| Valves, including all instrument valves (i.e., isolation, equalizing, vent, drain, test connection, and instrument rack isolation valves). |  |  |  |  |
| Major equipment and components (tanks, pumps, motors, transformers, compressors, etc.). |  |  |  |  |
| Switches and starters |  |  |  |  |
| Circuit breakers (13.8KV, 480V, 120VAC/DC, etc.) |  |  |  |  |
| Fuse blocks or fuse locations |  |  |  |  |
| Instruments, gauges, meters and panel boards |  |  |  |  |
| Motor control centers and buses |  |  |  |  |
| Cabinets and electrical panels, nominal voltage on the label, and internal components such as relays, terminals, etc. |  |  |  |  |
| Piping and ventilation ducts referenced in operation procedures |  |  |  |  |
| Equipment room doors |  |  |  |  |
| Emergency equipment (such as fire alarm stations, sound power phone headsets, eye wash stations) |  |  |  |  |
| Fire protection equipment |  |  |  |  |
| Friable asbestos-containing materials |  |  |  |  |
| Other components as required by the Facility Manager |  |  |  |  |
| Exits, evacuation routes and assembly areas |  |  |  |  |
| Protective equipment, first aid equipment, safety devices? |  |  |  |  |
| Safety hazards and warnings? |  |  |  |  |
| 5. Are equipment labels standardized with regard to label content, format, and use? (BN PD-0021.001 Formality of Operations, Chapter 18) |  |  |  |  |
| 6. Is information on component labels consistent with information found in facility procedures, valve lineup sheets, and piping and instrument drawings and diagrams? (BN PD-0021.001 Formality of Operations, Chapter 18) |  |  |  |  |
| 7. Is piping or equipment that has been positively identified with friable asbestos containing materials properly labeled? (BN PD-0021.001 Formality of Operations, Chapter 18) |  |  |  |  |
| 8. Are labels placed so that they do not interfere with equipment operation, obscure indicators or manufacturer's labels? (BN PD-0021.001 Formality of Operations, Chapter 18) |  |  |  |  |
| 9. Are labels permanent, secured, attached, and do they have distinguishable, easy to read information? (BN PD-0021.001 Formality of Operations, Chapter 18) |  |  |  |  |
| 10. Are labels oriented so that they are easy to read, placed on or as near as practicable to the equipment so that the correct component or material is easy to identify? (BN PD-0021.001 Formality of Operations, Chapter 18) |  |  |  |  |
| 11. Piping should indicate the fluid contained and direction of flow? (ANSI A13.1) |  |  |  |  |
| - OSHA color coding should be used and piping containing hazardous fluids or gasses should be uniquely identified? (ANSI Z53.1) |  |  |  |  |