# Mobile Home Roof Retrofit

# Weatherization Installer/Technician Mobile Homes

Learning Objectives

By attending this session, participants will become aware of:

- Cost effectiveness of re-insulating mobile home roof cavities.

- Mobile home roof components.

- Preparatory measures.

- Insulation properties.

- Specialized tools and materials.

- A variety of methods for accessing and insulating mobile home roof cavities.

- Roof surface finishing.

Key Terminology

Elastomeric roof coating

Mobile Home Energy Audit (MHEA) software

Supplemental Materials

Handouts & Resources

Greely, Kathy, John Randolph, and Bill Hill. “A Warm Wind Blows South: Virginia's Weatherization Evaluation.” Home Energy Jan..Feb. 1992: 15-21. www.homeenergy.org.

Mobile Home Tool and Material List for Duct Sealing, Air Sealing and Insulation Retrofits.

Scott, Bob, and Lyn M. Bartges. “Weatherizing Mobile Homes.” Home Energy July/Aug. 2004. www.homeenergy.org.

US DOE WAP, Midwest Regional Field Office. Midwest Weatherization Best Practices Field Guide May 2007: 188-189.

Classroom Props & Activities

- Various types of insulation: loose-fill fiberglass, cellulose (with R-value per inch indicated).

- Samples of various air sealing materials and specialized tools for the Edge Lift Method including:

  - A section of 12-foot long, 2” diameter gray PVC pipe.

  - Scrap 2 x 4 lumber.

  - Aluminum self-tapping ½” hex head screws.

  - 1.5” roofing nails.

  - Lengths of aluminum mobile home gutter material.

  - Putty tape.

  - Silicone caulk.

  - Elastomeric roof coating.

- Samples of various air sealing materials and specialized tools for the Top Fill Method, including:

- Flexible 8-foot, 2” diameter fill tube.

- High-temperature silicone caulk.

- Galvanized steel roofing pieces.

- Self-tapping galvanized screws.

- Fiberglass mesh.

- Elastomeric roof coating.

If possible, use a scale model of a mobile home or video clips to reinforce the concept of accessing and insulating of the roof cavity.

Class Overview

- Use the presentation, discussion, and handouts to introduce students to the key elements of preparing and insulating a roof cavity:

  - Repairing or reinforcing the ceiling.

  - Accessing the roof cavity.

  - Insulating the roof cavity.

- Use props, demos, or video footage to reinforce technical aspects. Encourage questions and anecdotes from the field. Take a break from the formal presentation to get students involved in handling the various tools and materials involved in the roof retrofit.