## Sheet1
Core Competencies for the
Weatherization Assistance Program
Companion Matrix to the
March 26, 2007, Narrative Draft | [6 empty] | HVAC
|  |  |  | Crew |  |  | Installer/ |  | Client | Monitor | Monitor | Program
|  |  | Installer | Chief | Auditor | Contractor | Contractor | Inspector | Ed. | (Tech.) | (Admin.) | Manager | Trainer
Basic Competencies |  |  | X | X | X | X | X | X | X | X | X | X | X
Safe Work Practices |  |  | X | X | X | X | X | X |  | X |  |  | X
Understand building science principles |  |  |  | X | X | X |  | X | X | X |  | X | X
Air Sealing
| Select proper materials |  | X | X | X | X |  | X |  | X |  |  | X
| Know minimum ventilation rates |  | X | X | X | X |  | X |  | X |  |  | X
| Use blower door |  | X | X | X | X |  | X |  | X |  |  | X
| Seal leaks in attics, floors, etc. |  | X | X | X | X |  | X |  | X |  |  | X
| Properly apply caulk & foam |  | X | X | X | X |  | X |  | X |  |  | X
| Weatherstrip doors, windows, etc. |  | X | X | X | X |  | X |  | X |  |  | X
| Repair broken glass |  | X | X | X | X |  | X |  | X |  |  | X
| Repair plaster & sheetrock |  | X | X | X | X |  | X |  | X |  |  | X
| Install or modify mechanical ventilation |  | X | X | X | X |  | X |  | X |  |  | X
Duct Sealing
| Seal ducts |  | X | X | X | X | X | X |  | X |  |  | X
| Repair/modify ducts per work order |  | X | X | X | X | X | X |  | X |  |  | X
Insulation
| Know insulation materials |  | X | X | X | X |  | X | X | X |  | X | X
| Know hazards of knob-&-tube wiring |  | X | X | X | X |  | X |  | X |  | X | X
| Know local attic ventilation codes |  |  | X | X | X |  | X |  | X |  |  | X
| Install blown & batt insulation |  | X | X | X | X |  | X |  | X |  |  | X
| Access & dense-pack sidewalls |  | X | X | X | X |  | X |  | X |  |  | X
| Install water heater blankets |  | X | X | X | X |  | X |  | X |  |  | X
| Insulate ducts & pipes |  | X | X | X | X |  | X |  | X |  |  | X
| Operate & maintain blowing machine |  | X | X | X | X |  | X |  | X |  |  | X
Base-Load Measures
| Convert incand. lamps to CFLs, maintain light level |  | X | X | X | X |  | X |  | X |  |  | X
| Install low-flow showerheads/aerators |  | X | X | X | X |  | X |  | X |  |  | X
| Meter energy usage of electrical appliances |  |  |  | X |  |  | X |  | X |  |  | X
| Determine refrig energy usage w/ meter of database |  |  |  | X |  |  | X |  | X |  |  | X
Project Management
| Manage a crew of Installers |  |  | X |  | X
| Ensure Safe Work Practices are used |  |  | X | X | X |  | X |  | X |  | X | X
| Understand a work order |  |  | X | X | X |  | X |  | X | X | X | X
| Know building codes, esp. energy & H&S codes |  |  | X | X | X | X | X |  | X |  | X | X
| Order materials to avoid delays |  |  | X |  | X
| Maintain QC of wx work & ensure it meets pgm stds |  |  | X |  | X | X | X |  | X |  | X
| Warehouse materials as necessary |  |  | X |  | X | X
Training
| Know adult learning concepts |  |  | X |  | X |  |  | X | X |  | X | X
| Complete adult education training program | [11 empty] | X
| Know benefits of cross training |  |  | X |  | X |  |  |  | X |  | X | X
| Provide ongoing training |  |  | X |  | X |  |  |  | X |  |  | X
| Certification in training topic | [8 empty] | X |  |  | X
| Know allowable activities at training location | [8 empty] | X |  | X | X
| Know training resources | [7 empty] | X | X |  | X | X
| Develop curriculum based on student needs | [8 empty] | X |  |  | X
| Tailor each class based on student needs | [8 empty] | X |  |  | X
| Motivate students | [7 empty] | X | X |  |  | X
| Provide hands-on training | [7 empty] | X | X | X |  | X
| Use technology to enhance learning | [8 empty] | X |  |  | X
Diagnostic Testing
Blower door/zone pressure diagnostics
|  | Know air & heat movement principles |  | X | X | X |  | X | X | X |  | X | X
|  | Know typical air leakage problems |  | X | X | X |  | X | X | X |  | X | X
|  | Compute minimum ventilation rates |  | X | X | X |  | X |  | X |  |  | X
|  | Take blower door readings & interpret results |  | X | X | X |  | X |  | X |  |  | X
|  | Know air barrier & its proper alignment |  | X | X | X |  | X | X | X |  | X | X
|  | Know primary & intermediate zones |  | X | X | X |  | X | X | X |  | X | X
|  | Conduct zone pressure diagnostics |  | X | X | X |  | X |  | X |  |  | X
|  | Locate air barrier & determine its effectiveness |  | X | X | X |  | X |  | X |  |  | X
Duct testing
|  | Know problems w/ different kinds of leakage |  | X | X | X | X | X | X | X |  | X | X
|  | Conduct pressure pan, duct blaster, or Delta Q |  | X | X | X | X | X |  | X |  |  | X
|  | Determine dominant duck leakage |  | X | X | X | X | X |  | X |  |  | X
|  | Measure & resolve room pressure imbalances |  | X | X | X | X | X |  | X |  |  | X
Steam & hot water pipe testing
|  | Know components & oper of steam & HW sys |  |  | X |  | X | X |  | X |  |  | X
|  | Test air vents, steam traps, t'stat rad valves, etc. |  |  | X |  | X | X |  | X |  |  | X
|  | Bleed air from HW distribution system |  |  |  |  | X
|  | Estimate energy impact of overheating problems |  |  | X |  | X | X |  | X |  |  | X
Combustion Appliance Safety
| Know CO action levels |  |  | X | X | X | X | X | X | X |  | X | X
Know code requirements of:
|  | Vent sizing, materials, clearances, installation |  | X | X | X | X | X |  | X |  |  | X
|  | Safety shut-off devices |  | X | X | X | X | X |  | X |  |  | X
|  | Gas line sizing |  | X | X | X | X | X |  | X |  |  | X
|  | Combustion air |  | X | X | X | X | X |  | X |  |  | X
| Know causes & remedies of common vent problems |  |  | X | X | X | X | X | X | X |  | X | X
| Measure CO in ambient air |  |  | X | X | X | X | X |  | X |  |  | X
| Measure CO in vented & unvented appliances |  |  | X | X | X | X | X |  | X |  |  | X
| Measure CO of gas & propane stoves & ranges |  |  | X | X | X | X | X |  | X |  |  | X
| Clean & adjust ovens/ranges to remedy high CO |  |  | X | X | X | X | X |  | X |  |  | X
| Understand as-measured & air-free CO readings |  |  | X | X | X | X | X |  | X |  |  | X
| Detect gas, propane, and fuel oil leaks |  |  | X | X | X | X | X |  | X |  |  | X
| Conduct worst-case draft test of CAZ |  |  | X | X | X | X | X |  | X |  |  | X
| Measure CAZ & ensure adequate combustion air |  |  |  | X |  | X | X |  | X |  |  | X
| Clock a gas meter to determine appliance input |  |  |  | X |  | X | X |  | X |  |  | X
| Measure temp rise/drop & static press drop on FA sys |  |  |  | X |  | X | X |  | X |  |  | X
| Measure steady-state efficiency of vented units |  |  | X | X | X | X | X |  | X |  |  | X
| Assess adequacy of plenum & duct sizes |  |  |  | X |  | X | X |  | X |  |  | X
Inspection and Measurement
| Know factors that affect heat loss in buildings |  |  | X | X | X |  | X | X | X |  | X | X
| Know critcal junction points |  |  | X | X | X |  | X | X | X |  | X | X
| Know R-values of different insulation materials |  |  | X | X | X |  | X |  | X |  |  | X
| Know different insulation mtrls & installation techniques |  |  | X | X | X |  | X | X | X |  | X | X
| Know air-sealing techniques & appropriate materials |  |  | X | X | X |  | X | X | X |  | X | X
| Know causes & remedies of moisture problems |  |  | X | X | X |  | X | X | X |  | X | X
| Know causes & remedies of IAQ problems |  |  | X | X | X |  | X | X | X |  | X | X
| Know residential mechanical ventilation systems |  |  | X | X | X |  | X |  | X |  | X | X
| Know min ventilation rates per appropriate ASHRAE 62 |  |  | X | X | X |  | X |  | X |  |  | X
| Know electric base-load usage |  |  | X | X | X |  | X |  | X |  | X | X
| Measure building dimensions & compute areas |  |  | X | X | X |  | X |  | X |  | X | X
| Compute volume of conditioned space |  |  | X | X | X |  | X |  | X |  | X | X
| Define thermal envelope of a building |  |  | X | X | X |  | X |  | X |  | X | X
| Assess existing insulation & its R-value |  |  | X | X | X |  | X |  | X |  |  | X
| Analyze utility bills |  |  |  | X |  |  | X |  | X |  |  | X
Measure Selection
| Know materials allowed by 10 CFR 440 Appendix A |  |  |  | X |  |  | X | X | X | X | X | X
| Know regs & policy affecting measure selection |  |  |  | X |  |  | X |  | X | X | X | X
| Understand the interaction between measures |  |  |  | X |  |  | X | X | X |  | X | X
| Properly use DOE-approved energy audit/priority list |  |  |  | X |  |  | X |  | X |  |  | X
| Prioritize air-sealing measures |  |  |  | X |  |  | X |  | X |  |  | X
| Estimate heating & cooling load of a building |  |  |  | X |  | X | X |  | X |  |  | X
Work Scope Development
| Estimate type & quantity of wx materials needed |  |  |  | X |  |  | X |  | X |  |  | X
| Prepare easy-to-understand work order |  |  |  | X |  |  | X |  | X |  |  | X
Business Management
| Maintain required licenses |  |  |  |  | X | X
| Possess adequate insurance |  |  |  |  | X | X
| Employ U.S. citizens or properly documented aliens |  |  | X |  | X | X
| Bid, negotiate, & sign contracts as necessary |  |  |  |  | X | X
Heating & Cooling Equipment
| Repair/place heating & cooling eqmt per code | [5 empty] | X
| Repair/place combustion appliance vent systems | [5 empty] | X | [5 empty] | X
| Repair/place water heater | [5 empty] | X | [5 empty] | X
| Add supply & return plenums & ducts as necessary | [5 empty] | X | [5 empty] | X
Client Education
| Know actions by occupant that reduce energy use | [7 empty] | X |  |  | X | X
| Estimate savings that can result from occupant actions | [7 empty] | X |  |  |  | X
| Know actions by occupant that ensure health & safety | [7 empty] | X |  |  | X | X
| Know basic steps involved in weatherization process' | [7 empty] | X |  |  | X | X
| Know basic equipment used to weatherize a house | [7 empty] | X |  |  | X | X
Monitoring
Technical Monitoring
|  | Produce reports, identify weaknesses & solutions | [5 empty] | X |  | X | X |  | X
|  | Solve complex technical problems | [5 empty] | X |  | X |  |  | X
Administrative Monitoring
|  | Know enabling legislation of Weatherization Pgm | [8 empty] | X | X | X
|  | Know DOE program regulations (10 CFR 440) | [8 empty] | X | X | X
|  | Know DOE program guidance & policy | [8 empty] | X | X | X
|  | Know budget federal, state, & local processes | [8 empty] | X | X
|  | Know 10 CFR 600 & OMB Circulars | [8 empty] | X | X
|  | Know applicable state procurement regulations | [8 empty] | X | X
|  | Know state approached to monitoring & T&TA | [8 empty] | X | X | X
Program Management
| Know applicable databases & tracking systems | [10 empty] | X
| Submit accurate financial and production reports | [10 empty] | X
| Provide T&TA for staff & contractors | [10 empty] | X | X
| Coordinate resources | [10 empty] | X
| Develop & implement leveraging strategies | [10 empty] | X
State Program Management
|  | Prepare an annual state plan | [9 empty] | X
|  | Prepare an annual weatherization grant application | [9 empty] | X
|  | Develop, maintain, and enforce tec pgm stds | [9 empty] | X
|  | Develop & manage an effective monitoring program | [9 empty] | X
|  | Process reimbursement requests | [9 empty] | X
Local Agency Program Coordination
|  | Prepare and track a budget | [9 empty] | X
|  | Maintain a purchase order system | [9 empty] | X
|  | Maintain inventory tracking system | [9 empty] | X
|  | Comply with federal limits on admin expenses | [9 empty] | X
|  | Manage a small construction-focused operation | [9 empty] | X
|  | Ensure rigorous final inspection of all units | [9 empty] | X | X