## IssuesConcerns
IssueID | IssueGroupID | IssueLabel | Issue/concern | Generation | Transmission | Distribution | Customer | Converter
53 | 21 | communications | Reliable communications and metering equipment for market operations/bidding | x | x
6 | 6 | control | Bi-directional power flow
7 | 6 | control | Dealing with distributed generation sources -- bidirectional power flow |  |  | x
8 | 6 | control | Backfeeding energy due to DER (renewables) - Voltage - Protection | x | x | x | x
9 | 6 | control | Backfeeding is the worry. Instrumentation is start of fix to worry. (and respond to same) |  | x | x
32 | 13 | control | Current substations have no control - unable to handle dynamics from DER and prosumers - but addition of PE/control conflicts with need for high reliability, resiliency and cyber-physical security (and cost) |  | x | x
33 | 13 | control | Evolving grid needs more dynamics distributed control, but no one has understanding of such distibution control system will behave or if it will be stable. |  | x | x | x
34 | 13 | control | Interaction of "many" active control devices, i.e., SVC, FACTs, PV, … |  | x | x
43 | 16 | control | Reverse power flow from DER/DG |  |  | x | x
60 | 24 | control | One concern is aggregating all the DER controllers. With increase of DERs, complexity of controlling them increases. (Coordination and bandwidth issue) | x | x | x
63 | 26 | control | Reverse flow due to DER and its impact to protection/coordination. |  |  | x | x
79 | 35 | control | Power flow control using high voltage, high frequency power electronics |  |  | x
95 | 39 | control | volt/var vs c-voltage reduction: can you do CVR with inverters on the system doing VVO?
96 | 39 | control | bidirectional (non-stiff) power flow control, management, and fault handling |  |  | x
97 | 39 | control | increasing automation: advanced substation control/ lack of flexibility of existing equipment
98 | 39 | control | bi-directional power flow control / protection | x | x | x | x | x
99 | 39 | control | protection / two way power flow
100 | 39 | control | volt/var and frequency regulation |  |  |  | x
101 | 39 | control | scalability; lack of flexibility (legacy protection and control) |  |  | x | x
105 | 41 | control | monitor and control so many bi-directional power consumers / producers
106 | 41 | control | control coordination and resiliency to cyber insecurity |  | x | x
15 | 8 | data | Data monitoring/utilization
39 | 15 | data | Sensing and situational awareness costs too much, complex and generates too much data. How do you manage complex system? |  | x | x
50 | 21 | data | Situation awareness visibility (smart sensors) - Assets assessment - Predict fault conditions |  | x | x
52 | 21 | data | Modernization of the metering at all levels. Need to implement smart grid. | x | x | x | x | x
76 | 33 | data | real time asset and functional performance monitoring | x | x | x | x | x
86 | 36 | data | transformer health monitoring and prediction of failures
17 | 9 | education | Perception current grid is not broken and wil do fine in the next 100 years. |  |  | x
41 | 15 | education | Solutions based on PE are too complex; education is needed [Fred's note: SSPS simplified, reduces complexity of grid, reduces education needs] |  |  | x
42 | 15 | education | "If it ain't broke don't replace it." Makes adoption of new technology challenging. PUC approval for funding. [Fred's note: Simple is beautiful if showing simplifying complex system. Also requires new regulation to help perception of value] |  | x | x
70 | 28 | education | Impact of aging infrastructure to be upgraded and not enough engineering manpower to design and replace systematically while workforce is small. | x | x | x | x | x
71 | 28 | education | Workforce: Younger generation gathering interest in designing. |  | x | x | x
75 | 32 | education | Age of workforce | x | x | x
22 | 12 | functionality | Lack of modularity/scalability |  | x | x | x
26 | 12 | functionality | Ability to provide emergency services |  | x | x
28 | 13 | functionality | Ability to provide dynamic reactive power for stability |  | x | x | x
29 | 13 | functionality | Inertia reduction and impacts on system dynamics (ΔMW/Δf = "bias" β) |  | x | x
30 | 13 | functionality | Redirecting energy for better asset utilization. | x | x | x
47 | 18 | functionality | Ability to transition to island while also meeting stability requirements; i.e. ride through requirement
48 | 19 | functionality | Non-wires alternatives (NWA, e.g., batteries for solar to defer upgrades) versus traditional T&D reinforcement |  | x | x
55 | 22 | functionality | Unmanned inspection capabilities for cyber and for maintenance.
58 | 23 | functionality | Customized components (unique) |  | x
65 | 26 | functionality | One way power flow, PV hosting capacity is limited
72 | 29 | functionality | "Static" substation operation cannot keep up with future -- dynamics (LTC and capacitor banks are only options) | x | x | x | x | x
80 | 35 | functionality | choosing optimum power electronic converter that meets efficiency target
82 | 35 | functionality | magnetics for high frequency converters using wide band gap semiconductors |  |  |  |  | x
87 | 37 | functionality | dealing with energy intermittency and renewables | x | x | x
88 | 37 | functionality | islanding, intentional / unintentional |  |  | x | x
90 | 37 | functionality | large penetration of solar / wind
91 | 37 | functionality | increase penetration of renewables; large swings due to solar/wind penetration causing grid instability |  | x | x
92 | 37 | functionality | renewable integration; islanding; microgrids |  |  | x
120 | 44 | functionality | power quality: imbalance, sag / swell; harmonics from grid or generated by customer (lack of high speed sensing) |  |  | x | x | x
24 | 12 | load | Capacity/load increase. Meeting the demand/scaling up
62 | 25 | load | Unbalanced loading on 3-phase feeders |  |  | x | x
93 | 38 | load | requirements for improved power quality for evolving loads
94 | 38 | load | population redistribution leads to converting / upgrading substations |  | x | x | x | x
1 | 1 | monetary | Value forecasting (to be able to invest right amount of resources, $ etc. for future) | x | x | x | x | x
5 | 5 | monetary | Required to Buy Power from Independents - No infrastructure investment by independent.
20 | 11 | monetary | Upgrade capacity with limited real estate |  |  | x | x
31 | 13 | monetary | Asset utilization (cost of adding stuff: who pays when renewables need more stuff?)
45 | 16 | monetary | Pricing and market mechanisms for absorbing large percentage of renewables and DER
49 | 20 | monetary | AC losses, reactive composition is adding extra cost.
59 | 23 | monetary | Where am I going to get the funds to upgrade substation?
77 | 34 | monetary | value-investing w/o undue cost | x | x | x
78 | 34 | monetary | lack of quantified cost and benefits
81 | 35 | monetary | commercial availability of semiconductor devices at high voltage and high power level (e.g. >6.5 kV)
83 | 35 | monetary | cost and performance of dielectrics and insulators | x | x | x
84 | 36 | monetary | added value of existing transformer industry |  |  | x | x | x
85 | 36 | monetary | weight and size; cost | x | x | x | x | x
2 | 2 | protection | Detecting Faults --> Problematic on inverter based power |  | x | x
3 | 3 | protection | Increasing fault currents. Requires equipment upgrades | x | x | x
4 | 4 | protection | Detect islanding and take action economically |  |  | x
10 | 6 | protection | Bi-directional flow and traditional over current protection scheme. I.e., over current scheme on radial circuits. |  |  | x
14 | 7 | protection | Protection/coordination
64 | 26 | protection | Backfeeding faults - DER feed sub-transmission faults, ride-through vs. protection
66 | 26 | protection | Cascading system failures. Protection complexity (e.g., Northeast blackout) |  |  | x | x
67 | 26 | protection | Protection coordination today; protection adaptation tomorrow (e.g., adaptable coordinated protection schemes) |  |  | x
102 | 40 | protection | robustness of system integration, including fault isolation |  |  | x
103 | 40 | protection | low fault current due to inverter-based sources
104 | 40 | protection | safety: fault duty and arc flash | x | x | x | x | x
18 | 10 | regulation | Will distributed control aggregating to 100 MW be subject to NERC CIP regulations. |  | x | x
19 | 10 | regulation | Will change be ahead of regulations? Will that slow things down?
21 | 11 | regulation | Ability to meet demand (capacity) -- Right of ways for new substations
68 | 27 | regulation | How do we meet NERC requirements for sag events? | x | x | x | x | x
23 | 12 | reliability | Aging assets | x | x | x | x | x
25 | 12 | reliability | Maintenance and replacement time off
27 | 12 | reliability | Emergency control and repairs after man-made or natural disasters | x | x | x | x | x
36 | 13 | reliability | Maintaining grid stability with large penetration of renewables and DER
46 | 17 | reliability | Self contained operation under different scenarios -- a reliability concern |  |  |  |  | x
51 | 21 | reliability | Predicition of components failure -- lacks good tools/techniques.
61 | 24 | reliability | Maintains system stability with renewable controllers |  |  | x |  | x
73 | 30 | reliability | Rapid restoration after equipment failure (radial feeds) |  |  | x
74 | 31 | reliability | Increased operations and stress on mechanical tap changers for DERs results in wear out of components. | x | x | x
116 | 43 | reliability | redundancy; reliability |  |  | x | x | x
117 | 43 | reliability | realiability as loads change | x |  | x
118 | 43 | reliability | ease of transportation, repair, and installation (time, cost, availability) |  | x | x
119 | 43 | reliability | transformer sparing | x | x
16 | 8 | security | Cyber systems: - Big data - Attacks - Control | x | x | x | x | x
38 | 14 | security | Physical security --> cyber-physical security
40 | 15 | security | Cyber Attack: - Cyber attacks can be carried out remotely without major infrastructure required for delivery - can have significant local or national impact. | x | x | x | x | x
54 | 22 | security | With substation automation, cyber threats? | x | x | x | x | x
56 | 22 | security | Physical/cyber security | x | x | x | x
107 | 42 | security | exposure to adverse conditions (natural and man-made) |  | x | x | x
108 | 42 | security | security - digital hardening | x | x | x | x
109 | 42 | security | physial and cyber security | x | x | x
110 | 42 | security | cyber-physical secuirty | x | x | x | x | x
111 | 42 | security | security, especially cyber | x | x | x
112 | 42 | security | physical attack; EMP; GMD; tornado; hurricane
113 | 42 | security | reliability, scalability, phyiscal security, resilience to natural disasters
114 | 42 | security | substation restoration and resiliency, from natural or man made events |  | x
115 | 42 | security | resilience to natural disasters | x | x | x | x | x
11 | 7 | standards | Interoperability (between different vendors, communication protocols, etc.) |  | x | x | x | x
12 | 7 | standards | Use of advanced ICT with legacy substation (interoberability, upgradability) | x | x | x
13 | 7 | standards | Different standards and protocols
35 | 13 | standards | Inability to respond to V going outside ANSI C84.1. - taps - PE |  |  | x
37 | 13 | standards | How do we integrate existing elements and systems with new technologies?
44 | 16 | standards | Backward compatibility (between different versions of technology progressions) |  | x | x | x | x
57 | 23 | standards | Interoperability -- use cases, applications, standards beyond communication
69 | 28 | standards | Legacy design/upgrade approaches as grid modernization takes place |  | x | x | x
89 | 37 | standards | requirements are still unclear, especially for DC integration
Note on D29: Morgan, Scott: grouped with "if it's not broke don't fix it"

## issueConcernStats
label | count | percentage | IssueGroupID | IssueLabel | Subject Matter Summary
control | 20 | 16.67% | 6, 16, 26 | control | bidirectional power flow as a consequence of renewables/DER; it's impact on protection/coordination
functionality | 19 | 15.83% | 13 | control | more distributed controls are needed, but control interactions may emerge as a result
security | 14 | 11.67% | 24, 41 | control | With increase of DERs/prosumer devices, complexity of securely monitoring and controlling them increases. (Coordination and bandwidth issue)
monetary | 13 | 10.83% | 35 | control | Power flow control using high voltage, high frequency power electronics
reliability | 13 | 10.83% | 39 | control | implementing volt/var control and frequency regulation to enhance operational flexibility
protection | 11 | 9.167% | 12 | functionality | lack of modularity and scalability; inability to provide emergency services as a result
standards | 9 | 7.5% | 13 | functionality | inability to provide dynamic reactive power or inertia, to enhance system stability
data | 6 | 5% | 19 | functionality | Non-wires alternatives (NWA, e.g., batteries for solar to defer upgrades) versus traditional T&D reinforcement
education | 6 | 5% | 22 | functionality | Unmanned inspection capabilities for cyber and for maintenance.
load | 4 | 3.333% | 23 | functionality | Customized components (unique)
regulation | 4 | 3.333% | 29 | functionality | "Static" substation operation cannot keep up with future -- dynamics (LTC and capacitor banks are only options)
communications | 1 | 0.8333% | 35 | functionality | converter topologies and components are not optimized for effieciency
|  |  | 18, 26, 37 | functionality | limited grid hosting capacity, supply intermittency, ride through, islanding, and reconnection, all prevent the seamless integration of DER and microgrids
Classification | Count | percentage | 44 | functionality | power quality: imbalance, sag / swell; harmonics from grid or generated by customer (lack of high speed sensing)
Generation | 33 | 27.5% | 8 | security | Cyber systems: big data, attacks, control
Transmission | 57 | 47.5% | 15 | security | Cyber Attack: can be carried out remotely; no major infrastructure required; can have significant local or national impact.
Distribution | 77 | 64.17% | 22 | security | does substation automation present increased vulnerability to cyber attacks?
Customer | 39 | 32.5% | 14, 42 | security | exposure to adverse conditions (natural and man-made; cyber and physical), including physical attack; EMP; GMD; tornado; hurricane
Converter | 57 | 47.5% | 5 | monetary | Required to Buy Power from Independents; No infrastructure investment by independent.
|  |  | 11 | monetary | Upgrade capacity with limited real estate
|  |  | 13 | monetary | Asset utilization (cost of adding stuff: who pays when renewables need more stuff?)
|  |  | 16 | monetary | Pricing and market mechanisms for absorbing large percentage of renewables and DER
|  |  | 20 | monetary | AC losses, reactive compensation is adding extra cost.
|  |  | 1, 23, 34 | monetary | lack of quantified cost and benefits prevents value forecasting and value investing
|  |  | 35 | monetary | cost, performance, and commcercial availability of dielectrics, insulators, and high voltage/power semiconductors
|  |  | 36 | monetary | weight and size drive transformer costs;
|  |  | 12 | reliability | aging assets; downtime for maintenance and repairs;
|  |  | 13, 24 | reliability | Maintaining grid stability with large penetration of renewables, DER, and their controllers
|  |  | 17 | reliability | Self contained operation under different scenarios -- a reliability concern
|  |  | 21 | reliability | Predicition of components failure -- lacks good tools/techniques.
|  |  | 12, 30 | reliability | Rapid restoration after equipment failure (radial feeds); emergency control and repairs after man-made or natural disasters;
|  |  | 31 | reliability | Increased operations and stress on mechanical tap changers for DERs results in wear out of components.
|  |  | 43 | reliability | transformer sparing and redundancy; ease of transportation, repair, and installation (time, cost, availability)
|  |  | 2, 7, 40 | protection | Detecting Faults --> Problematic on inverter based systems due to low fault current
|  |  | 3 | protection | Increasing fault currents. Requires equipment upgrades
|  |  | 4 | protection | Detect islanding and take action economically
|  |  | 6, 7 | protection | Bi-directional flow and traditional over current protection scheme. I.e., over current scheme on radial circuits.
|  |  | 26 | protection | Cascading system failures. Protection complexity (e.g., Northeast blackout)
|  |  | 26 | protection | Protection coordination today; protection adaptation tomorrow (e.g., adaptable coordinated protection schemes)
|  |  | 26, 40 | protection | robustness of system integration, including fault isolation; DER can backfeed sub-transmission faults; ride-through vs. protection
|  |  | 40 | protection | safety: fault duty and arc flash
Note on C7: Emmanuel: 1/2 max + 1 cutoff

## Benefits
BenefitID | BenefitGroupID | BenefitLabel | Potential Benefit | Near-term | Mid-term | Long-term
4 | 4 | control | Dynamic grid balancing (DER) using grid-side demand (CVR) control and power routing | x | x | x
6 | 6 | control | Enhanced monitoring and control
9 | 9 | control | Asset utilization through better powerflow control and better regulation
10 | 9 | control | Better utilization of transmission and distribution assets by redirecting power flow | x | x | x
11 | 9 | control | Improved flexibility and asset utilization
12 | 10 | control | Dynamic reactive power control
13 | 10 | control | Better controlability
31 | 25 | control | Dynamic (enhanced) power flow control | x | x
32 | 25 | control | - Improved asset utilization (power flow control) - Volt-VAR control (quality, PV hosting, voltage control) | x | x
66 | 38 | control | Controlability - Response to distubances - Coordinated set points - FACTS in (every) substation |  |  | x
68 | 39 | control | Specialized controllers such as POD, frequency, SSR and provide reactive support | x
104 | 52 | control | accomodating more components with better control
116 | 55 | control | smart, real-time interaction between substations
117 | 55 | control | flexible FIDVR loop distribution systems |  | x | x
118 | 55 | control | enhanced power routing for optimizing operation efficiency |  | x
119 | 55 | control | power routing and dynamic power management | x | x
120 | 55 | control | power flow control / system stability improvement | x | x | x
121 | 55 | control | controllability; volt/var regulation (completely dynamic, not discretized; faster response than traditional voltage regulators) | x
122 | 55 | control | intelligent control and communication: quick power rerouting |  | x
123 | 56 | control | increased degrees of control | x | x | x
124 | 56 | control | configurability and control | x | x | x
125 | 56 | control | intelligent and flexible active, reactive, harmonic power-flow control | x | x
126 | 56 | control | power quality improvement | x | x | x
35 | 27 | data | Large complex distributed systems that do not require detailed system knowledge -- robust with local intelligence |  | x | x
51 | 35 | data | Data collection center from distributed sensors. |  | x
52 | 35 | data | Increased equipment sensor technology and equipment monitoring -- even "smart" (i.e. predictive) monitoring |  | x
99 | 51 | data | high fidelity data (V, I, S, Z)
71 | 42 | education | Likely increase in creativity with engineers (more degree of freedom) |  | x
127 | 57 | education | encouraging more residential customers to invest in grid-connected renewables
14 | 11 | functionality | Power quality improvement
17 | 14 | functionality | MVDC or power router links between feeders can reduce overloads and give better balance |  | x | x
18 | 14 | functionality | Scalable HVDC features: - No cascading faults - buffer - desynchronous
19 | 15 | functionality | Enable grid reconfiguration based on demand/faults
20 | 16 | functionality | - independent feeders with local V and f - Shared storage and maybe equipment
21 | 17 | functionality | Completely decoupled (asynchronous) grid will provide: - Increased resilience - Increased availability | x | x | x
26 | 21 | functionality | Increased efficiency
27 | 22 | functionality | Scalability and flexibility
28 | 22 | functionality | Potential for scalable and modular concepts: upgrades
29 | 23 | functionality | Improve power quality: - phase imbalance - line dip - harmonic mitigation - reactive power
30 | 24 | functionality | Modularity and scability - available spores (??) - mobile
36 | 27 | functionality | Realtime solutions to coupled operation not needed with SSPS
37 | 27 | functionality | Do these large complex system have to be biologically (enabled by SSPS) inspired?
38 | 28 | functionality | Completely decoupled (asynchronous) grid will provide ability to accommodate 100% renewables --> FREE Energy | x | x | x
39 | 28 | functionality | Better renewable integration
40 | 28 | functionality | Seamless integration of AC and DC sources |  | x
41 | 28 | functionality | Active participants with grid support functionalities
42 | 28 | functionality | DC system integration into distibution system.
43 | 29 | functionality | Integration of active filtering stages for advanced dynamic grid connectivity.
44 | 30 | functionality | SSPS + generation
45 | 30 | functionality | Battery and variable generation coordination
46 | 31 | functionality | Interconnection device: Asynchronous power flow enabling (a) segregation into islands without causing instability (b) impedance control for stability during backflow |  | x | x
47 | 32 | functionality | Makes possible to achieve advanced MVDC topologies for generation and distribution |  | x | x
48 | 33 | functionality | Grid forming power electronics. Helpful for black start and provides ability to replace missing inertia. |  |  | x
49 | 34 | functionality | Prioritized QoS through power flow like data networks. |  | x | x
50 | 35 | functionality | Make variable resources dispatchable and stable with minimal local storage and control (e.g., impedence control) | x
53 | 35 | functionality | Key smart grid enabler, will significantly improve flexibility of the grid, but would need to be combined with energy storage to achieve full benefits. |  | x | x
56 | 37 | functionality | Overall substation size reduction and modular, configurable design. |  | x
57 | 37 | functionality | Modular power electronics functionality. Enhanced revenue opportunity, needs based deployment. |  | x
59 | 37 | functionality | Increase power flow in existing grid | x
61 | 37 | functionality | Being able to support Mvars to the tranmission level (from distribution grid) | x
62 | 37 | functionality | Step towards PEBB that facilitate AC and DC systems. Power electronics building blocks --> Microgrids in mid-term; T&D in long-term |  | x | x
63 | 38 | functionality | Synchronization between subs fed from different transmission lines | x | x
65 | 38 | functionality | Be a stabilizing force to accommodate dynamic power delivery with uncertain and varying conditions in both generation, distribution, routing. |  | x
74 | 45 | functionality | PE could manage the average over time and keep peak. |  | x
75 | 46 | functionality | enable conversion of some lines to DC; hybrid AC/DC system; future LVDC/MVDC networks |  | x | x
76 | 46 | functionality | blending AC/DC: ease increase in solar/wind with energy storage | x
78 | 46 | functionality | SSPS can blend DC and provide frequency control: ease storage integration |  | x | x
79 | 46 | functionality | coice of AC/DC supported for all end users (individual choice) | x | x
80 | 47 | functionality | SSPS transmission scale substation yields rapid replacemtn of any substation on the grid |  |  | x
81 | 47 | functionality | easily upgradable / modular nature | x | x | x
82 | 47 | functionality | SSPS modular substation replace or repair |  |  | x
83 | 47 | functionality | scalability: modularity and flexibility | x | x | x
84 | 47 | functionality | modularity, scalability, multifunctional |  | x
85 | 47 | functionality | enabling various frequencies, in addition to various voltages | x
86 | 48 | functionality | high power density, and modularity
87 | 48 | functionality | reduce cost, size, weight
88 | 48 | functionality | smaller size |  | x | x
89 | 48 | functionality | reduced footprint |  | x
90 | 48 | functionality | power density + modularity
91 | 48 | functionality | power density | x |  | x
92 | 49 | functionality | modular voltage, current (and power) scaling with interoperability - from distribution to transmission levels |  | x | x
93 | 49 | functionality | modularity and power density of standard power blocks |  |  | x
94 | 49 | functionality | portable, flexilbe transformer |  | x | x
95 | 50 | functionality | better capability, like UPS |  |  | x
96 | 50 | functionality | energy storage
97 | 50 | functionality | easy for energy storage integration, yeilds shock absorbers for the grid |  | x
98 | 51 | functionality | combination of electricity and data services (power line com.)
101 | 52 | functionality | grid support services |  | x
102 | 52 | functionality | enhanced flexibility: islanding, synthetic inertia, improved power quality | x
105 | 52 | functionality | improve black start capability, ease of islanding and re-connection to the grid |  | x | x
67 | 38 | load | Compatibility of load shedding/load transfer. Micro grid/islanding techniques |  |  | x
1 | 1 | monetary | Reduced assets through single devices which perform multiple functions i.e., power converstion and regulation and protection |  | x
7 | 7 | monetary | Reduced rates
8 | 8 | monetary | Exponential price drops of PV and power semis can lower costs of SSPS |  | x | x
58 | 37 | monetary | More cost but overall system upgrade in terms of performance (Dushan airplane example) |  | x | x
64 | 38 | monetary | Multiterminal MVDC/HVDC with advanced converter designs for economic benefits thru congestion and frequency response. |  | x
106 | 53 | monetary | lower costs (operations and maintenance) |  | x
107 | 53 | monetary | reduced cost to customer |  | x | x
108 | 53 | monetary | higher efficiency |  |  | x
109 | 53 | monetary | reduced no-load losses | x | x
110 | 53 | monetary | heat source for CHP | x
111 | 53 | monetary | lower bill paid by customer | x
112 | 53 | monetary | improved capacity |  |  | x
5 | 5 | protection | Active fault current (mitigation) reduction
23 | 18 | protection | SSPS 1.0 can isolate faults quickly not impacting the MV feeder or distribution network. | x
25 | 20 | protection | Hybrid arrangement (LFTs in parallel with SSPS) can provide reduced short-circuit levels in high-density load areas. | x
69 | 40 | protection | Fault isolation implemented at a substation | x
70 | 41 | protection | Sag mitigation | x
103 | 52 | protection | flexibility in protection and control | x
128 | 58 | protection | fault limiting | x | x
129 | 58 | protection | elimination of circuit breakers |  |  | x
130 | 58 | protection | fault current limiting | x | x
22 | 17 | regulation | Unregulated BPS T and sunb-T to substation
2 | 2 | reliability | Increased Reliability
3 | 3 | reliability | Parallel transformers of different types
15 | 12 | reliability | Spare availability -- modular/sizeable transformers
24 | 19 | reliability | Due to DC transmission and distribution most could be underground
33 | 26 | reliability | Resilience and recovery
34 | 26 | reliability | - Improved resiliency by creating 'flexible transformers' -- balancing different transformers |  | x | x
60 | 37 | reliability | Retrofit, renew and not replace: extend life indefinitely (solid state benefit over mechanical components) | x
72 | 43 | reliability | Make existing substation infrastructure redundant in functionality and add capability beyond what we know today. E-gateway (two-way power flow) |  |  | x
73 | 44 | reliability | Increased options for restoration (dynamic) - Faster/modular - Configurable |  | x
113 | 54 | reliability | frequency decoupling | x | x | x
114 | 54 | reliability | improved reliability |  |  | x
115 | 54 | reliability | enhanced reliability; less number of outages | x | x | x
16 | 13 | security | Resiliency - Hot swappable - Receive improved diagnostics - Redundancy - Cyber security
54 | 36 | security | Reduced attack surface area by replacing legacy components with single integrated device. |  | x | x
55 | 36 | security | Multistage EMP-cyber-physical early embedded design for future generation substations. | x
77 | 46 | standards | interoperability (V, I, Z; plug'n play) |  | x
100 | 52 | standards | seamless integration of conventional and next-generation sources | x | x

## benefitStats
label | count | percentage | BenefitGroupID | BenefitLabel | Subject Matter Summary
functionality | 61 | 46.92% | 14 | functionality | Scalable HVDC features: No cascading faults; buffer; desynchronous
control | 23 | 17.69% | 15 | functionality | Enable grid reconfiguration based on demand/faults
monetary | 12 | 9.231% | 16, 17, 27, 31, 38 | functionality | Completely decoupled (asynchronous) grid will provide: local V and f on feeders; inslanding without instability; dynamic power routing;
reliability | 12 | 9.231% | 21 | functionality | Increased efficiency
protection | 9 | 6.923% | 22, 37, 47, 48 | functionality | scalability, flexibility, modularity; simplifies upgrades and replacements; reduces overall substation size/footprint; increases power density
data | 4 | 3.077% | 11, 23 | functionality | Improve power quality: phase imbalance; line dip; harmonic mitigation; reactive power;
security | 3 | 2.308% | 24 | functionality | Modularity and scability: available spores (??); mobile;
education | 2 | 1.538% | 28, 46 | functionality | seamless integration of AC and DC sources; will lead to enhanced renewable integration, higher hosting capacity, customer choice
standards | 2 | 1.538% | 29 | functionality | Integration of active filtering stages for advanced dynamic grid connectivity.
load | 1 | 0.7692% | 30, 35, 50 | functionality | coordination of sources: batteries and variable generation; SSPS and generation; enhance flexibility and dispatchability; UPS-like operation;
regulation | 1 | 0.7692% | 14, 28, 32 | functionality | advanced MVDC topologies for generation and distribution, or power router links between feeders, can reduce overloads and give better balance
|  |  | 33 | functionality | Grid forming power electronics. Helpful for black start and provides ability to replace missing inertia.
Classification | Count | percentage | 34 | functionality | Prioritized QoS through power flow like data networks.
Near-term | 40 | 30.77% | 37, 49 | functionality | Power electronics building blocks; Modular functionality. Enhanced revenue opportunity, needs based deployment; scaling with inherent interoperability
Mid-term | 60 | 46.15% | 38 | functionality | Synchronization between subs fed from different transmission lines
Long-term | 44 | 33.85% | 45 | functionality | PE could manage the average over time and keep peak.
|  |  | 51 | functionality | combination of electricity and data services (power line com.); more value/services over the same infrastructure;
|  |  | 52 | functionality | grid support services: enhanced flexibility and power quality; islanding and reconnection, synthetic inertia, black start capability;
Note on C2: Emmanuel: 1/2 max + 1 cutoff

## IssueBenefitMatches
BenefitGroupID | SSPS Benefit | Near-term | Mid-term | Long-term | IssueGroupID | Issue/concern | Generation | Transmission | Distribution | Customer | Converter
24 | Modularity and scability - available spores (??) - mobile |  |  |  | 12 | Lack of modularity/scalability |  | x | x | x
24 | Modularity and scability - available spores (??) - mobile |  |  |  | 12 | Aging assets | x | x | x | x | x
24 | Modularity and scability - available spores (??) - mobile |  |  |  | 12 | Capacity/load increase. Meeting the demand/scaling up
24 | Modularity and scability - available spores (??) - mobile |  |  |  | 12 | Maintenance and replacement time off
24 | Modularity and scability - available spores (??) - mobile |  |  |  | 12 | Ability to provide emergency services |  | x | x
24 | Modularity and scability - available spores (??) - mobile |  |  |  | 12 | Emergency control and repairs after man-made or natural disasters | x | x | x | x | x
25 | Dynamic (enhanced) power flow control | x | x |  | 13 | Ability to provide dynamic reactive power for stability |  | x | x | x
25 | - Improved asset utilization (power flow control) - Volt-VAR control (quality, PV hosting, voltage control) | x | x |  | 13 | Inertia reduction and impacts on system dynamics (ΔMW/Δf = "bias" β) |  | x | x
25 | power flow control | x | x |  | 13 | Redirecting energy for better asset utilization. | x | x | x
25 | power flow control | x | x |  | 13 | Asset utilization (cost of adding stuff: who pays when renewables need more stuff?)
25 | power flow control | x | x |  | 13 | Current substations have no control - unable to handle dynamics from DER and prosumers - but addition of PE/control conflicts with need for high reliability, resiliency and cyber-physical security (and cost) |  | x | x
25 | power flow control | x | x |  | 13 | Evolving grid needs more dynamics distributed control, but no one has understanding of such distibution control system will behave or if it will be stable. |  | x | x | x
25 | power flow control | x | x |  | 13 | Interaction of "many" active control devices, i.e., SVC, FACTs, PV, … |  | x | x
25 | power flow control | x | x |  | 13 | Inability to respond to V going outside ANSI C84.1. - taps - PE |  |  | x
25 | power flow control | x | x |  | 13 | Maintaining grid stability with large penetration of renewables and DER
25 | power flow control | x | x |  | 13 | How do we integrate existing elements and systems with new technologies?
26 | Resilience and recovery |  |  |  | 14 | Physical security --> cyber-physical security
26 | - Improved resiliency by creating 'flexible transformers' -- balancing different transformers |  | x | x | 14 | Physical security --> cyber-physical security
27 | Large complex distributed systems that do not require detailed system knowledge -- robust with local intelligence |  | x | x | 15 | Sensing and situational awareness costs too much, complex and generates too much data. How do you manage complex system? |  | x | x
27 | Realtime solutions to coupled operation not needed with SSPS |  |  |  | 15 | Cyber Attack: - Cyber attacks can be carried out remotely without major infrastructure required for delivery - can have significant local or national impact. | x | x | x | x | x
27 | Do these large complex system have to be biologically (enabled by SSPS) inspired? |  |  |  | 15 | Solutions based on PE are too complex; education is needed [Fred's note: SSPS simplified, reduces complexity of grid, reduces education needs] |  |  | x
27 |  |  |  |  | 15 | "If it ain't broke don't replace it." Makes adoption of new technology challenging. PUC approval for funding. [Fred's note: Simple is beautiful if showing simplifying complex system. Also requires new regulation to help perception of value] |  | x | x
28 | Completely decoupled (asynchronous) grid will provide ability to accommodate 100% renewables --> FREE Energy | x | x | x | 16 | Reverse power flow from DER/DG |  |  | x | x
28 | Better renewable integration |  |  |  | 16 | Backward compatibility (between different versions of technology progressions) |  | x | x | x | x
28 | Seamless integration of AC and DC sources |  | x |  | 16 | Pricing and market mechanisms for absorbing large percentage of renewables and DER
28 | Active participants with grid support functionalities |  |  |  | 16
28 | DC system integration into distibution system. |  |  |  | 16
35 | Make variable resources dispatchable and stable with minimal local storage and control (e.g., impedence control) | x |  |  | 21 | Situation awareness visibility (smart sensors) - Assets assessment - Predict fault conditions |  | x | x
35 | Data collection center from distributed sensors. |  | x |  | 21 | Predicition of components failure -- lacks good tools/techniques.
35 | Increased equipment sensor technology and equipment monitoring -- even "smart" (i.e. predictive) monitoring |  | x |  | 21 | Modernization of the metering at all levels. Need to implement smart grid. | x | x | x | x | x
35 | Key smart grid enabler, will significantly improve flexibility of the grid, but would need to be combined with energy storage to achieve full benefits. |  | x | x | 21 | Reliable communications and metering equipment for market operations/bidding | x | x
36 | Reduced attack surface area by replacing legacy components with single integrated device. |  | x | x | 22 | With substation automation, cyber threats? | x | x | x | x | x
36 | Multistage EMP-cyber-physical early embedded design for future generation substations. | x |  |  | 22 | Unmanned inspection capabilities for cyber and for maintenance.
36 | [5 empty] | Physical/cyber security | x | x | x | x
37 | Overall substation size reduction and modular, configurable design. |  | x |  | 23 | Interoperability -- use cases, applications, standards beyond communication
37 | Modular power electronics functionality. Enhanced revenue opportunity, needs based deployment. |  | x |  | 23 | Customized components (unique) |  | x
37 | More cost but overall system upgrade in terms of performance (Dushan airplane example) |  | x | x | 23 | Where am I going to get the funds to upgrade substation?
37 | Increase power flow in existing grid | x |  |  | 23
37 | Retrofit, renew and not replace: extend life indefinitely (solid state benefit over mechanical components) | x |  |  | 23
37 | Being able to support Mvars to the tranmission level (from distribution grid) | x |  |  | 23
37 | Step towards PEBB that facilitate AC and DC systems. Power electronics building blocks --> Microgrids in mid-term; T&D in long-term |  | x | x | 23
38 | Synchronization between subs fed from different transmission lines | x | x |  | 24 | One concern is aggregating all the DER controllers. With increase of DERs, complexity of controlling them increases. (Coordination and bandwidth issue) | x | x | x
38 | Multiterminal MVDC/HVDC with advanced converter designs for economic benefits thru congestion and frequency response. |  | x |  | 24 | Maintains system stability with renewable controllers |  |  | x |  | x
38 | Be a stabilizing force to accommodate dynamic power delivery with uncertain and varying conditions in both generation, distribution, routing. |  | x |  | 24
38 | Controlability - Response to distubances - Coordinated set points - FACTS in (every) substation |  |  | x | 24
38 | Compatibility of load shedding/load transfer. Micro grid/islanding techniques |  |  | x | 24
39 | Specialized controllers such as POD, frequency, SSR and provide reactive support | x |  |  | 25 | Unbalanced loading on 3-phase feeders |  |  | x | x
40 | Fault isolation implemented at a substation | x |  |  | 26 | Reverse flow due to DER and its impact to protection/coordination. |  |  | x | x
40 | Fault isolation implemented at a substation | x |  |  | 26 | Backfeeding faults - DER feed sub-transmission faults, ride-through vs. protection
40 | Fault isolation implemented at a substation | x |  |  | 26 | One way power floor, PV hosting capacity is limited
40 | Fault isolation implemented at a substation | x |  |  | 26 | Cascading system failures. Protection complexity (e.g., Northeast blackout) |  |  | x | x
40 | Fault isolation implemented at a substation | x |  |  | 26 | Protection coordination today; protection adaptation tomorrow (e.g., adaptable coordinated protection schemes) |  |  | x
41 | Sag mitigation | x |  |  | 27 | How do we meet NERC requirements for sag events? | x | x | x | x | x
42 | Likely increase in creativity with engineers (more degree of freedom) |  | x |  | 28 | Legacy design/upgrade approaches as grid modernization takes place |  | x | x | x
42 | Likely increase in creativity with engineers (more degree of freedom) |  | x |  | 28 | Impact of aging infrastructure to be upgraded and not enough engineering manpower to design and replace systematically while workforce is small. | x | x | x | x | x
42 | Likely increase in creativity with engineers (more degree of freedom) |  | x |  | 28 | Workforce: Younger generation gathering interest in designing. |  | x | x | x
43 | Make existing substation infrastructure redundant in functionality and add capability beyond what we know today. E-gateway (two-way power flow) |  |  | x | 29 | "Static" substation operation cannot keep up with future -- dynamics (LTC and capacitor banks are only options) | x | x | x | x | x
44 | Increased options for restoration (dynamic) - Faster/modular - Configurable |  | x |  | 30 | Rapid restoration after equipment failure (radial feeds) |  |  | x
45 | PE could manage the average over time and keep peak. |  | x |  | 31 | Increased operations and stress on mechanical tap changers for DERs results in wear out of components. | x | x | x
46 | SSPS can blend DC and provide frequency control: ease storage integration |  | x | x | 37 | large penetration of solar / wind
46 | coice of AC/DC supported for all end users (individual choice) | x | x |  | 37 | increase penetration of renewables; large swings due to solar/wind penetration causing grid instability |  | x | x
47 | SSPS modular substation replace or repair |  |  | x | 42 | physical attack; EMP; GMD; tornado; hurricane
47 | scalability: modularity and flexibility | x | x | x | 43 | ease of transportation, repair, and installation (time, cost, availability) |  | x | x
47 | modularity, scalability, multifunctional |  | x |  | 39 | scalability; lack of flexibility (legacy protection and control) |  |  | x | x
47 | enabling various frequencies, in addition to various voltages | x |  |  | 37 | renewable integration; islanding; microgrids |  |  | x
48 | power density + modularity |  |  |  | 42 | reliability, scalability, phyiscal security, resilience to natural disasters
48 | power density | x |  | x | 36 | weight and size; cost | x | x | x | x | x
52 | improve black start capability, ease of islanding and re-connection to the grid |  | x | x | 42 | resilience to natural disasters | x | x | x | x | x
53 | lower bill paid by customer | x |  |  | 43 | transformer sparing | x | x
53 | improved capacity |  |  | x | 38 | population redistribution leads to converting / upgrading substations |  | x | x | x | x
54 | enhanced reliability; less number of outages | x | x | x | 43 | redundancy; reliability |  |  | x | x | x
54 | enhanced reliability; less number of outages | x | x | x | 43 | realiability as loads change | x |  | x
55 | controllability; volt/var regulation (completely dynamic, not discretized; faster response than traditional voltage regulators) | x |  |  | 39 | volt/var and frequency regulation |  |  |  | x
55 | intelligent control and communication: quick power rerouting |  | x |  | 42 | substation restoration and resiliency, from natural or man made events |  | x
56 | power quality improvement | x | x | x | 44 | power quality: imbalance, sag / swell; harmonics from grid or generated by customer (lack of high speed sensing) |  |  | x | x | x
58 | fault current limiting | x | x |  | 40 | increased fault currents |  | x | x

## Gaps 1.0
GapOneID | GapOneGroupID | GapOneGroupVotes | GapLabel | Gap | Impact | Votes | Category
39 | 12 | 12 | functionality | Power converters directly connected to the grid | Removes auxiliary transformers | 12
40 | 12 | 12 | functionality | State of art power converters: Creative topologies [still emphasis on 80s/90s designs] | Device rating to continuously think about developing higher ratings (and allow multilevel and seriesing of devices) | 0
41 | 12 | 12 | functionality | Power electronic's integration of 10-15 kV SiC MOSFETs: gate drive isolation, bus, passives | Supply chain support for manufacturing of systems MV direct converter | 0
42 | 12 | 12 | reliability | Fault tolerent/reconfigurable, redundant converter topologies and control to realize high availability. | Reach 5-nines type of availability | 0
43 | 13 | 11 | control | Control theory for SSPS-based grid is non-existent | Excessive operational costs and non-optimized performance. | 11
44 | 13 | 11 | reliability | Stability of system with ubiquitous power conversion to have limits and conditions. | Have robust operation in the presence of high variability. | 0
45 | 13 | 11 | control | Grid edge control functionality for second-to-second control for multiple DER and multiple grid constraints. | Autonomous, real-time control | 0
46 | 13 | 11 | control | Microgrid and ADMS control interoperability. - Demonstrations and practices not developed (standards exist) | Multiple level control able to consider SSPS functions | 0
47 | 13 | 11 | control | Control standards need to be developed to define how SSPS 1.0 will function. | Open-architecture, standardizated controls must be created. | 0
66 | 29 | 10 | monetary | Solid State Substation acceptance based on cost and performance | Cost Benefit Analysis will increase the penetration of new technologies | 10
48 | 14 | 8 | standards | Standardized, open, field testing test (bed/lab) criteria for utility acceptance | Less competition and interoperability. Longer time to show successful cases | 8
49 | 14 | 8 | standards | Testing methods and standards specific to SSPS. | Allows for identification of devices and component technology development | 0
1 | 1 | 7 | monetary | full conversion SSPS is expensive; cost increases too fast with power rating | cannot ride out brownout or do frequency conversion inexpesnively | 7 | cost component
2 | 1 | 7 | monetary | system costs (mainly SiC devices) too high | all SSPS 1.0 | 7 | cost component
3 | 1 | 7 | functionality | don't have direct connect MV inverter; needs MV devices, as in ARPA-E Adept (Cree); commercialization gap, it exists, but it's not available | MV connection costs (inverter + system), controls, modular / expandable | 7 | cost component
4 | 1 | 7 | monetary | quantitifed cost/benefit (even hypothetical, wishful) analysis of SSPS 1.0 does not exist | without serious multidisciplinary analysis, it is impossible (and undersirable) to convince investors and policy makers to fund new technology development and deployment | 7 | cost component
5 | 2 | 7 | standards | distribution system control architecture(s) must be defined. Should produce standards and responsibilities. | If different SSPSs are to be allowed to regulate frequency (including DC) & voltage mechanisms (protocols, algorithms, etc) for arbitrage and system energy efficiency optimization with prescribed power quality bounds must be defined. | 7 | system control issues
6 | 2 | 7 | control | controls hierarchy; local/fast to global/slow | everything interacts, overall controls need to be (too) slow | 7 | system control issues
7 | 2 | 7 | control | adequate control standards need to be developed | without them, no interoperability | 7 | system control issues
8 | 2 | 7 | data | use of security constrained OPF and state estimation requires detailed system knowledge and introducing latencies in control and market operation | makes high DER and dynamic scenarios very challenging at high penetration | 7 | system control issues
9 | 2 | 7 | reliability | intelligent distributed systems getting too complex. This introduces fragility and single point of failure (communications, cloud, etc) | system susceptible to large scale outages with slow restoration | 7 | system control issues
10 | 2 | 7 | control | local / wide area control systems. Need efficient control algorithms / schemes. (voltage and frequency regulation) | allows local / wide area controllability | 7 | system control issues
90 | 42 | 6 | standards | high and low side standards | need to start somewhere | 6
91 | 42 | 6 | protection | fragility under faults | cost, size | 6
92 | 42 | 6 | protection | over-voltage handling (and EMP handling) | size, reliaiblity, cost | 6
93 | 42 | 6 | protection | materials for insulation to achieve higher power and voltage | allow for stacking modules | 6
94 | 42 | 6 |  | faults - standards for the way SSPS behave during fault conditions and then technology to accomplish |  | 6
95 | 42 | 6 | protection | SSPS must deal with inrush, motor starting, etc. |  | 6
12 | 3 | 5 | simulation | outdated simulators / study tools; load flow, short circuit, dynamic, stability analysis, EMTP | ssps 2.0 and 3.0 | 5 | modeling and simulation
13 | 3 | 5 | simulation | instrumentation / modeling / simulation / control; a need for integrated package | uncertainty about operation, corners, extremes, etc. limit interconnection | 5 | modeling and simulation
11 | 3 |  | simulation | require multi-physics modeling of grid connected converters to understand transient propagation and BIL management. | limits cost effective PE as transformer isolation is needed | 5 | modeling and simulation
14 | 4 | 4 | functionality | state of the art power converters are not meant for field expandability | the system becomes rigid and cannot be repurposed for a wide array of applications | 4 | converter expandability
15 | 4 | 4 | reliability | systems not easily maintained - need long outages to fix | small modular "blocks" can be quickly replaced | 4 | converter expandability
16 | 4 | 4 | functionality | expandable system architecture applicable to SSPS 1.0 through 3.0 | having a framework for converter, controls, communications etc. ensures interoperability for modularity and scalability through levels | 4 | converter expandability
17 | 4 | 4 | functionality | state of the art PC are not meant for field expandability | oversize or costly forecast planning to avoid later cost. Less asset utilitzation and lower system efficiency | 4 | converter expandability
18 | 5 | 4 | functionality | high power converters are large. Because gas filled converters to reduce size are not available. | a typical FACTS device occupies a large area, compact opens up many applications | 4 | compact power density
19 | 5 | 4 | monetary | systems too large; high cost, hard to fit in small areas | easier implementation; less critical for taking outage; N-2 ??? | 4 | compact power density
20 | 5 | 4 | protection | power semiconductors that can manage high fault currents (5 kA to 65 kA) at high voltage (strategies to manage) | we cannot easiy add dynamic control to grid wihout meeting this need | 4 | compact power density
21 | 5 | 4 | protection | amperage limits of medium voltage power electronics require multiple parallel devices with reduce reliability | adoption reluctance | 4 | compact power density
22 | 5 | 4 | reliability | thermal management of high power density systems in certain applications | use of SSPS in nano-grid or customer sites require small spaces / higher density that will require innovative solutions | 4 | compact power density
67 | 30 | 4 | functionality | High frequency magnetics | high efficiency, low parasitics, MV insulation | 4
68 | 30 | 4 | functionality | engineered magnetic materials and cores leveraging advanced manufacturing for optimimzed converter topologies | improved ability to mitigate EMI, parasitics, leakage, etc. for a range of topologies | 4
69 | 31 | 4 | functionality | hardware design for: manufacturing, reliability, servicing, multi-function (AC/DC), using mass market components | cost | 4
70 | 32 | 4 | reliability | advanced cooling technologies that can work in a rugged utility environment | major breakthroughs needed | 4
23 | 6 | 3 | control | nanogrid controllers must be developed | enables more cost effecive renewable development at the grid edge; loads to microgrid development 2.0 | 3 | nanogrid controllers
24 | 6 | 3 | control | nanogrid controllers (bi-directional power converters) must be developed | without low cost, high reliability, modular (easily expandable / scalable) nanogrid controllers, it is impossible to have backwards compatible deployment of new power and control architectures | 3 | nanogrid controllers
25 | 6 | 3 | control | nanogrid controllers must be developed | difficult to contro individual loads and sources | 3 | nanogrid controllers
26 | 6 | 3 | control | adaptive and intelligent controllers to select between desired functions | knowing when to provide real and reactive power and by how much; when to connect / disconnect is critical to value proposition | 3 | nanogrid controllers
27 | 6 | 3 | control | nanogrid controllers (with no system-wide communications or minimal communications) must be developed | nanogrid controllers requiring communication cannot be scaled | 3 | nanogrid controllers
28 | 7 | 3 | functionality | power distribution system architecure(s) must be (re)defined | without clear definitions of allowed architectures (where are differenct frequencies [including DC] and voltages allowed, placement of new SSPSs and junction boxes is not possible) | 3 | architecture
50 | 15 | 3 | functionality | Availiability and costs of semiconductor devices. | Plenty of application ideas but no experience. | 3
51 | 15 | 3 | functionality | Reliability and cost of semiconductors. | Develop specific methods and engage multi-party consortium to fill the gaps. | 0
71 | 33 | 3 | control | self-tuned plug and play controller | meets simultaneously local and global objectives with limited communication | 3
72 | 33 | 3 | control | autonomous control must be developed to cooperate with system coordination |  | 3
73 | 34 | 2 | functionality | power electronics based devices for regulation of voltage and frequency with no moving parts or active cooling, at high power levels | reliability, robustness, and efficinecy needed for harsh environments | 2
74 | 35 | 2 | protection | work with existing protection and control systems down the stream | SSPS should consider working with traditional technologies | 2
75 | 35 | 2 | protection | protection schemes for two way power flow as a component of control system | lack of adoption | 2
76 | 35 | 2 | protection | easy protection scheme (re)programming | adapting to an evolving grid | 2
77 | 36 | 2 | control | device oriented control for wide bandgap devices | it yields: lower stitching loss, lower dv/dt, lower di/dt, lower stress, lower conductive and radiative noise | 2
85 | 39 | 2 | functionality | SST may be implemented at distribution level only. | Up to 12.47 kV, maybe less than 33 kV | 2
86 | 39 | 2 | functionality | how to hybrid Si power devices with SiC semiconductors cost! |  | 2
87 | 39 | 2 | functionality | existing power semiconductors voltage levels insufficient for SSPS | existing markets do not need higher voltage levels | 2
29 | 8 | 1 | reliability | most solutions (PE based) introduce single point of failure. Large PE converters also have a long MTTR | inhibits use of PE as system reliability and availability are compromised | 1 | reliability cluster
30 | 8 | 1 | reliability | still uknown reliability and ongoing operating costs of power electronic systems compared to legacy systems | adoption reluctance | 1 | reliability cluster
31 | 8 | 1 | reliability | lack of endurance testing standards to determine system lifetime | adoption reluctance | 1 | reliability cluster
32 | 8 | 1 | reliability | reliable / resilient system designs | with PE devices still developing, need to ensure reliaiblity and robustness for confidence | 1 | reliability cluster
33 | 9 | 1 | standards | lack of interconnection standards / performance standards | prevent deployment of ssps; all ssps 1.0 functions | 1 | standards issues
34 | 9 | 1 | standards | standards needed for interconnection and controls | double edged sword. Standards too early in a nascent field limit solutions and competition. Guidelines needed, standards follow | 1 | standards issues
35 | 9 | 1 | standards | control standards need to be developed to define how SSPS 1.0 functions | developing standards with NPD is chicken/egg problem. Usually NPD development combines with std development. Std development is a continuous process that begins at 1.0. If it doesn't start early, it won't be ready for 3.0 | 1 | standards issues
36 | 10 | 1 | functionality | can not provide "inertia" (maintain voltage in the presence of disturbances) | voltage collapse is more likely | 1 | inertia
52 | 16 | 1 | functionality | Optimal application size and scope | Cost justification analysis | 1
53 | 16 | 1 | functionality | Optimal placement algorithms. | Reduces cost and increases value and benefit. | 0
54 | 17 | 1 | functionality | Reliable batteries that have long life and meet cost goals | high | 1
55 | 18 | 1 | functionality | Effects of high-switching frequency on PE designs (common mode issues) | PE-dominated nano/micro grid designs. | 1
56 | 19 | 1 | functionality | Advanced sensing and protection gear for converters and system level. | Allows for operation with resiliency | 1
57 | 20 | 1 | functionality | Controllers fast enough or powerful enough to keep up with the faster switching frequencies and new algorithms/features (hardware is not fast enough). | High/medium: cost, test procedure | 1
78 | 37 | 1 | standards | lack of scale test bed to prototype / validate designs off the grid | utilities will not support without extensive pilot testing under actual conditions | 1
79 | 37 | 1 | simulation | design planning: need to do system studies for each install | non-recurring engineering cost | 1
80 | 38 | 1 | monetary | reduced device count for power electronics topologies | reduce cost, increase reliability of PE systems | 1
81 | 38 | 1 | functionality | novel transformer topologies with multi-frequency (including DC) output | multiple power converters would be required for flexible operation with cost, reliabilty, and other limitations | 1
82 | 38 | 1 | monetary | manufacturers should adopt new converter topologies |  | 1
83 | 38 | 1 | protection | fault current limitation in half-bridge voltage source converters | full bridge VSC will be too expensive. Hybrib configurations may have a major impact | 1
84 | 38 | 1 | standards | clear topology | interoperability, control | 1
88 | 40 | 1 | security | cyber protection at the chip level (FPGA, ASIC, micro controller, trusted supply chain) | cyber concerns will prevent adoption | 1
89 | 41 | 1 | data | low cost sensing compatible with MV/HV for asset monitoring and power flow |  | 1
37 | 11 | 0 | standards | Efficient and effective communication system: physical, protocols, standards | enabling system level control and integration | 0 | communication
38 | 11 | 0 | standards | with distributed devices, comunications complexity and latency prevent proper integration | limits DER resources | 0 | communication
58 | 21 | 0 | monetary | Putting money value to the extra benefits of SSPS 1.0 | Without providing a real value to these benefits, costs will be high | 0
59 | 22 | 0 | standards | Interconnection standards are largely driven by static snapshot worst case conditions. Need flexible interconnection standards to accommodate dynamic interconnections. | Better use of existing dynamic capacity of assets and more market based decisions on gred modernization. | 0
60 | 23 | 0 | control | Metering today does not allow for control. | Without changing the old metering system, controls could not be implemented. | 0
61 | 24 | 0 | protection | New protection/coordination rules but compatible with present strategies. | Technology deployment and adoption. | 0
62 | 25 | 0 | monetary | High frequency magnetic materials that meet cost targets. Manufacturing processes are too expensive, immature. | high | 0
63 | 26 | 0 | functionality | High semiconductor losses | Total cost of ownershio is higher due to low efficiency | 0
64 | 27 | 0 | control | Frequency regulation needs better definition -- grid frequency vs. local | Energy storage needs to be added for frequency regulation. | 0
65 | 28 | 0 | functionality | Limited penetration of power converter technology in traditional substation transformer application. (LTC) | Voltage regulation and power quality capabilities/potential for a hybrid solution not realized. | 0
96 | 43 | 0 | simulation | reliability modles / simulation tools (modules and systems) | better prediction of lifetime and failure modes | 0
97 | 43 | 0 | simulation | modeling criteria for each device |  | 0
98 | 44 | 0 | standards | Define interface of devices in SSPS |  | 0
99 | 44 | 0 | standards | Requirements for each SSPS device |  | 0
100 | 45 | 0 | monetary | MV power devies are expensive |  | 0
101 | 46 | 0 | functionality | transformer-based power converter efficiency is low |  | 0
102 | 47 | 0 | control | system integration control is not well designed |  | 0
103 | 48 | 0 | functionality | gate drives | medium voltage insulation, minimize losses, control dv/dt | 0
Note on C23: Emmanuel: 1/2 max + 1 cutoff

## Gaps 2.0
GapTwoID | GapTwoGroupID | GapTwoGroupVote | GapLabel | Gap | Impact | Votes | Category
29 | 11 | 12 | protection | Faster protection for distribution system | Allows for SSPS to react and limit fault current. | 12
30 | 11 | 12 | protection | How do we have adaptive dynamic protection paradigm to make conventional and power converters for synergy? | Long life and system reliability improvement for electrical service. | 0
31 | 11 | 12 | functionality | HVRT fault ride-through | More stringent requirements on converters. | 0
32 | 11 | 12 | protection | Ride through current and BIL withstand capability | Coordination / dependence / leveraging of legacy systems | 0
57 | 25 | 10 | protection | dymanic fault detection | enables adaptable over current protection | 10
58 | 25 | 10 | protection | self-adaptive protection | system coordination of fault current retained when going from 1.0 to 2.0 | 10
59 | 25 | 10 | protection | solid state fault isolation capability |  | 10
60 | 25 | 10 | control | Power electonics control that deals with nomial as well as mode-changing issues (e.g. fault setting, inrush) | higher stability, stabilization, reliability | 10
61 | 25 | 10 | protection | embedded protection functions (electrical and CS) | security; reliability | 10
62 | 25 | 10 | control | programmable fault controls |  | 10
50 | 22 | 9 | protection | dynamic fault detection; self-adaptive protection; solid-state fault isolation capability; | adaptable over current protection; system coordination of fault current retained when going from 1.0 to 2.0; | 9
1 | 1 | 8 | protection | interconnecting feeders to improve loading and utilization creates challenges for protection coordination | requires grid build - expensive, leads to poor asset utilization | 8 | advanced control architectures
2 | 1 | 8 | functionality | grid stabilization using virtual resources not enalbed (CVR, VAR support, spare PV) | makes grid operation challenging, especially in high DER environment | 8 | advanced control architectures
3 | 1 | 8 | standards | all grid elements need to oeprate to rules that are grid-supporting and grid-forming. Today, they operate for local benefit only | fragile grid w/ possiblity of cascading outages | 8 | advanced control architectures
4 | 1 | 8 | control | control and architecutre to allow proliferation of DER and microgrids without detailed utility studies | slows down adoption of DER, makes it too expensive | 8 | advanced control architectures
5 | 1 | 8 | functionality | distribution feeders do not provide dynamic support and power flow control for transmission | significant duplication of resources, asset utilitation poor | 8 | advanced control architectures
6 | 1 | 8 | standards | integrated communications to ensure coordination with other devices / legacy components | needed for integration of technologt at a distribution system | 8 | advanced control architectures
33 | 12 | 8 | control | Distributed control algorithms to work with microgrids | Centralized solution maybe too slow. | 8
34 | 12 | 8 | functionality | Wide area control platform to securely group distribution devices into transmission services. | Distributed control at lower cost | 0
35 | 12 | 8 | control | Setting a control philosophy and hierarchy. | Which controller has precedence and defining specific roles to each. | 0
51 | 23 | 7 | monetary | Identify optimum system cinfiguration first, then try to reduce cost | reduced total cost of ownership; more environmental friendly; improved overall system performance | 7
52 | 24 | 7 | functionality | energy storage modularity, scalability, and integration | enables low voltage ride through and microgrids | 7
53 | 24 | 7 | functionality | define / divide system into multiple microgrids which can operate independently | minimum load loss | 7
54 | 24 | 7 | monetary | low-cost solution to enable islanding and microgrid |  | 7
55 | 24 | 7 | functionality | understand SSPS role in microgrid | cost and design | 7
56 | 24 | 7 | monetary | cost-effetive energy storage integration | default grid-forming source for microgrid; easy low voltage ride through | 7
36 | 13 | 6 | functionality | Reliable 3.3 kV SiC MOSFETs that meet cost goals | High | 6
37 | 13 | 6 | functionality | Reliable high voltage for semiconductors | Allows for the research in getting grid connected PE at DL to TL | 0
7 | 2 | 5 | functionality | asynchronous feeders, including from transmission and sub-transmission |  | 5 | architecture: AC/DC
8 | 2 | 5 | functionality | instantaneous phase and amplitude detection and correction | prevent load transfer; fault recoever; integration of multiple frequencies; | 5 | architecture: AC/DC
9 | 2 | 5 | functionality | DC distribution systems | prevent load transer, fault recovery, and reconnection | 5 | architecture: AC/DC
10 | 3 | 5 | monetary | cost effective higher voltage commercial semiconductor and power components | without, systems are large, costly, complex | 5 | architecture: cost
11 | 3 | 5 | monetary | product design driven by which applications: no coordinated SSPS development plan | fragmented; non-scalable; non-interchangable; high cost, and unreliable | 5 | architecture: cost
12 | 3 | 5 | functionality | shared storage between feeders; modular / redundance power electronics | for cost effectiveness | 5 | architecture: cost
13 | 4 | 5 | protection | fault coordination mechanisms between transmission and distribution with power electronic converters | fault current mitigation. Clearing time coordination | 5 | fault current system issues: bidirectional
14 | 4 | 5 | control | controls need to be developed to perform microgrid/islanding distribution feeders | impact protection coordination required when SSPS is connected to feeders | 5 | fault current system issues: bidirectional
15 | 4 | 5 | protection | fault current management in microgrid rich feeders | impact on utility protection coordination, expensive to fix | 5 | fault current system issues: bidirectional
16 | 4 | 5 | control | need to develop controls (power converters and algorithms) for power flow control / islanding / black start / reconnection | without these grid 2.0 is not possible; i.e. we cannot increase asset utilitzation and resilience without the ability to control power flow electronically, including completely asynchronous grid | 5 | fault current system issues: bidirectional
17 | 4 | 5 | control | need to develop controls for performing power flow control from distiribution to transmission | added reslieiency through greater stability; especially renewables | 5 | fault current system issues: bidirectional
18 | 4 | 5 | control | controls needed for power flow control within transmission and distribution w/ renewables | address intermittency and variability on both T&D | 5 | fault current system issues: bidirectional
19 | 4 | 5 | security | cyber physical defenses are not fully developed | SSPSs are vulnerable to attacks | 5 | fault current system issues: bidirectional
38 | 14 | 5 | monetary | Open design tools for SSPS, integration of various PE applications (consistituting SSPS technology) | Vendor diversity and market animation. | 5
39 | 14 | 5 | simulation | Updated system studies tools. | System studies tools today do not inclkude the controllers at SSPS 1.0 level | 0
63 | 26 | 4 | protection | High voltage isolation and connectors at modular levels | complexity, cost, size, materials, control systems, etc | 4
64 | 27 | 4 | data | dielectric materials and improved understanding of dielectric breakdown | increased flexilibity of SSPS design and increased power density | 4
65 | 27 | 4 | functionality | lack of dielectrics for transmission level large power transformer applications | prohibits adoption / application | 4
40 | 15 | 3 | control | Grid forming controls on distribution level | Benefits at multi-feeder level/utility-scale | 3
41 | 15 | 3 | control | Controls for islanding and microgrids. | Establish process for separation and reconnection at sub-transmission | 0
42 | 15 | 3 | control | Grid forming control with transition to following (impedance control) | Transition between strong grid and back flow. | 0
66 | 28 | 3 | functionality | magnetic materials, core, and transformer design to minimize parasitics for HF magnetics | higher efficiency, increased flexibility of SSPS design, and increased power density | 3
20 | 5 | 2 | protection | limited power electronic withstand capability reduces ability to provide selective coordination with legacy protective devices | reduces application flexibility | 2 | fault current and device issues: legacy issues
21 | 5 | 2 | protection | provision of fault current or coordination with legacy systems and protection | the ability to ensure system compatibility is needed for adoption | 2 | fault current and device issues: legacy issues
22 | 5 | 2 | protection | current PE technologies cannot supply fault current | cannot be used with conventional protective devices | 2 | fault current and device issues: legacy issues
43 | 16 | 2 | control | Energy router: need more stable coupling system architecture, possibly DC. | Will reduce instability and increase connectivity. | 2
44 | 16 | 2 | control | Microgrid control platform that can be changed/updated rather than being static. {1 vendor does this} | "Modular" controller that can upgrade (like computer operating system as technology evolves) | 0
45 | 17 | 2 | control | Controller community to standardize architecture base for manufacturers to abide to. | Educates community at all levels to develop comfort with high investment. | 2
67 | 29 | 2 | load | load modeling | inrush and fault coordination | 2
68 | 29 | 2 | protection | fault and protection schemes and controls; modeling |  | 2
69 | 30 | 2 | reliability | live serviceability (reduce downtime) | cost, design, system layout | 2
70 | 31 | 2 | data | low cost, ubiquitous sensing for MV/HV environements for asset monitoring and power flow | more resilient, improved controls | 2
71 | 31 | 2 | data | controls, communications, sensors for coordination and control | robust and cyber securre | 2
72 | 31 | 2 | data | system health monitoring |  | 2
23 | 6 | 1 | monetary | cost/benefit analysis for energy storage in grid 2.0 (seconds, minutes) | energy efficiency benefit | 1 | energy storage
24 | 6 | 1 | functionality | energy storage plan / coordination | removing rotation generation will increase system instability and power quality | 1 | energy storage
25 | 7 | 1 | control | microgrid controllers (multi-directional power converters and control algorithms) need to be developed | without low cost, high efficiency, high reliability, scalable and modular, microgrid controllers, SSPS 2.0 cannot happen. We don not have these now. | 1 | microgrid controllers
46 | 18 | 1 | functionality | High voltage packaging of devices | Will provide higher rating power blocks | 1
73 | 32 | 1 | functionality | all substation equipment should carry bi-directional flows | improved reliability | 1
74 | 33 | 1 | functionality | novel series connection of na field effect WBG (e.g. SiC) devices | 1) same devices for dealing with trends and distribution voltages 2) significantly reduced cost 3) same tecnology for gate drive / control | 1
75 | 34 | 1 | monetary | SSPS must ensure all the existing benefits and advantages and more |  | 1
76 | 35 | 1 | standards | develop requirements for primary / secondary connections based on installation | over / under design SSPS if based on univeral installation | 1
26 | 8 | 0 | functionality | state of the art power converters are not able to connect directly to the power grid | require transformers that cause extra inrush stress on system and effect other costs | 0
27 | 9 | 0 | security | ability to withstand lightning and other distrubances / physical attacks | use at distribution substations have new requirements that can increase costs | 0
28 | 10 | 0 | functionality | P.C. should perform at lower input voltage i.e. 75 - 50 % voltage | insensitive to system distrubances; improve perfromance and reliability | 0
47 | 19 | 0 | reliability | Essential reliability services as defined by NA. How to provide them? | System reliability. Ancillary service markets. | 0
48 | 20 | 0 | control | Control coordination of T&D at T&D interface lacking. | Initially better observability and situational awareness, eventually coupled control in coordinated manner. | 0
49 | 21 | 0 | regulation | Regulatory and market mechanism for multi-stakeholder microgrids and retail and ancillary services. | Able to unbundle system and stimulate innovation and entrepreneurship | 0
77 | 36 | 0 | functionality | high/low voltage ride through types voltage grading vs topology | failure modes | 0
78 | 37 | 0 | functionality | novel cooling technologies and thermal management | reduced system cost and increased reliability | 0
79 | 38 | 0 | control | two way control and protection with traditional equipment | increased acceptance and utilization | 0
80 | 39 | 0 | monetary | unknown lifecycle costs | slows / inhibits adoption | 0
81 | 40 | 0 | standards | standardizing frequency variability | allows for increased plug and play | 0
Note on C27: Emmanuel: 1/2 max + 1 cutoff

## Gaps 3.0
GapThreeID | GapThreeGroupID | GapThreeGroupVote | GapLabel | Gap | Impact | Votes | Category
1 | 1 | 12 | simulation | lack of methodology to simulate power systems and power electronics operation | power system stability | 12 | modeling and simulation
2 | 1 | 12 | simulation | simulation and modeling tools to understand behavior of large systems w/ SSPS and smart power electronic converters that have fast dynamic response | do not know how system will behave and devices interact | 12 | modeling and simulation
3 | 1 | 12 | monetary | standard 'market node' for all prosumers in new grid with real time pricing access | sub optimal operation | 12 | modeling and simulation
4 | 1 | 12 | monetary | high DER penetration and variability at scale requires real-time pricing which can impact real time behavior of prosumers - simulation | poor understanding of how systems will behave | 12 | modeling and simulation
5 | 1 | 12 | simulation | simulation tools / models; load flow, short circuit, transient stability | engineering analysis / study tool | 12 | modeling and simulation
16 | 7 | 11 | functionality | Power electronics (SSPS) Grid approach versus transformer and rotating machine approach | PE capability determined grid approach and requirements. I.e. variable frequency, DC, etc. | 11
17 | 7 | 11 | control | Need tools for system security assessment based on "angle stability" "voltage" stability during normal and contingency with routers. | Improved levels of security margin, that is realistic | 0
18 | 7 | 11 | control | Need in fast communications, wide area control, state estimation. | Stability, reliability | 0
19 | 7 | 11 | control | Synchronous generator stability analysis | Keeps the system stable and decouples through SSPS. | 0
41 | 24 | 10 | control | Autonomous controls / distributed artificial intelligence platform, for all protection, control, and optimization | limit needs for real time communications and cyber security | 10
42 | 24 | 10 | control | distributed control architecutre; distributed control needed for multiple SSPS | increases reliaiblity; each SSPS coordinates to enhance system performance | 10
43 | 24 | 10 | control | large scale distributed control algorithms | system control and optimization | 10
44 | 24 | 10 | control | control system integration among SSPS', protection, loads, etc |  | 10
45 | 24 | 10 | control | peer to peer control / communication | allow multiple SSPS and centrilized control-stability | 10
20 | 8 | 8 | functionality | Control and coordination of blackstart | Substation dependence. | 8
21 | 8 | 8 | functionality | Black start coordination | Allows for system restoration | 0
22 | 8 | 8 | control | Seamless multi-microgrid - grid transitions (automation) | System reliability and event recovery | 0
46 | 25 | 8 | functionality | magnetic material, core, and transformer design to mimize parasiics for high frequency magnetics | increased flexilibity of SSPS design and increased power density | 8
47 | 25 | 8 | functionality | dielectric materials and improved understanding of dielectric breakown | increased flexilibity of SSPS design and increased power density | 8
48 | 25 | 8 | functionality | HV power devices needed to directly connect to the transmission grid |  | 8
49 | 25 | 8 | functionality | insulation for HV | switching and magnetic devices capable for high BIL | 8
6 | 2 | 7 | data | SSPS needs to be autonomous yet "situation-aware" of its surroundings | interconnected to assist, but not dependent | 7 | situational awareness
7 | 2 | 7 | control | capable of completely autonomous operation, on loss of T&D | emergency loads; community microgrid; decouipling; black start; | 7 | situational awareness
23 | 9 | 7 | simulation | Modeling and simulation of new PE-dominated systems; testing of controls on surrogate platforms. | Pre-field deployment testing; accelerated deployment cycle. | 7
24 | 9 | 7 | simulation | High fidelity modelling of converters and integration into system studies. | Will provide insights into economic benefits. | 0
50 | 26 | 7 | functionality | how to realize blackstart for multiple SSPS? | multiple SSPS availability | 7
51 | 26 | 7 | control | self-islanding a reconnection schemes on the fly | black start, resilience | 7
52 | 26 | 7 | control | event-driven, secure, distributed control with limited communication and asynchronous power transfer | high scalability; high robustness; high system utilization; efficient dynamic power management | 7
53 | 26 | 7 | control | programmable black start at arbitrary node and time | high stability to intermittency; resilience; decentralized operation | 7
54 | 26 | 7 | functionality | blackstart behavior; ability to operate autonomously (default) |  | 7
55 | 26 | 7 | control | coordination of blackstart; generators and substations with storage | improved reliaiblity | 7
8 | 3 | 6 | functionality | new "grid" architecture needs to be defined | every node in new transmission system is SSPS 3.0 | 6 | grid architecture
9 | 3 | 6 | control | control and coordination strategies must be developed | without which there is a risk of cascaded faults and domino effect | 6 | grid architecture
10 | 3 | 6 | functionality | full system architecture concepts with ubiquitous SSPS (fractal grid) | value proposition and many SSPS across T&D can be realized | 6 | grid architecture
59 | 28 | 5 | reliability | Fail safe designs | default to keep Power on!! | 5
60 | 28 | 5 | security | impact of solar storms on power electronics equipment | sudden loss due to outages | 5
61 | 28 | 5 | protection | fault coordination, ability to quickly isolate |  | 5
62 | 28 | 5 | protection | solid state DC protection device coordination |  | 5
63 | 28 | 5 | protection | dynamic SIPS (system integrity protection schemes) | system protection; black start; resilience | 5
64 | 28 | 5 | protection | DG coupling: fast sensing isolation and no load break switch |  | 5
11 | 4 | 4 | functionality | black start coordination | lower cost and complexity of black start | 4 | black start
12 | 4 | 4 | functionality | with a large system including high DER and microgrids, need a bottom-up black start capability with 'self-forming' feautre | without such capability, vulnerable to cyber attacks and long restoration times | 4 | black start
25 | 10 | 4 | functionality | Development of DC breakers | With DC buses at all levels, need for reliable DC breakers. | 4
13 | 5 | 3 | standards | efficient control system architecture | wide area contrl | 3
14 | 6 | 2 | functionality | GW power converters need to be developed |  | 2
15 | 6 | 2 | control | cost effective distributed power coordination; multiple wiring paths | improve resilience and asset utilitzation | 2 | power coordination
26 | 11 | 2 | control | How to decouple, island, and reroute power when there is a contingency? | Make regional black-out a thing of the past | 2
27 | 12 | 2 | functionality | Reliable 10 kV SiC MOSFETs that meet cost goals |  | 2
28 | 13 | 2 | functionality | Lack of unified vision for control architecture, and how influenced by SSPS. | Control architecture that includes SSPS functionality | 2
29 | 13 | 2 | data | Impacts on renewables penetration needs detailed analysis on system level. | Impacts on energy imbalance markets. | 0
30 | 14 | 2 | functionality | Programmable and stackable MV converter modules to direct connect to sub transmission. | Standard, interchangeable MV converter modules with standard function. | 2
56 | 27 | 2 | control | integration of substation control with energy management system (EMS) control system |  | 2
57 | 27 | 2 | control | coordination of multiple volt/var controls at various systems level: control interactions, controller stability, top down / bottom up approach needs to be evaluated | minimize down-time | 2
58 | 27 | 2 | control | transient 'multi-scale', 'online' stability for power electronics based system using verifiable, localizable, non-linear approach | robustness, resilience, real time stability and reliability | 2
65 | 29 | 2 | reliability | human-less installation / servicing | safety / increased resilience | 2
66 | 30 | 2 | monetary | cost analysis of catastrophic failure of major transmission scale substation (or stations) must be completed (man made or natural causes) | cost of SSPS 3.0 must be put in context in comparison to jamor power outages on the US grid and how SSPS could be used to rapidly repair or replace existing substation even if temporary | 2
68 | 32 | 2 | monetary | sustainability, recycle parts? | overall cost of ownership | 2
31 | 15 | 1 | education | Training/new procedures for highly skilled control center operators. | New operation philosophy requires new skills (new culture) | 1
32 | 15 | 1 | data | Situational awareness presentation. | Complexity generating actionable information. | 0
67 | 31 | 1 | functionality | define SSPS component wise | encourage various industries | 1
69 | 33 | 1 | data | low cost ubiquitous sensing for MV/HV environments for asset monitoring and power flow | system voltage stability issues | 1
74 | 38 | 1 | standards | need national transmission scale (substation) test bed, isolated from the grid | facilitate R&D, prototype and validation of SSPS technologies; utility acceptance | 1
75 | 39 | 1 | standards | codes and standards; marketing SSPS | awareness | 1
33 | 16 | 0 | functionality | Being able to provide overload capability to support microgrids | (blackstart) | 0
34 | 17 | 0 | monetary | At this level, big infrastructure => high capital investment. Who will be the first? | "Snowball" if technology proven. | 0
35 | 18 | 0 | security | EMI mitigation techniques |  | 0
36 | 19 | 0 | functionality | Integration with current HVDC links and future HVDC grids | Taking into account their controllers. | 0
37 | 20 | 0 | simulation | Validation of models developed through hardware in the loop technology | Technology deployment in field | 0
38 | 21 | 0 | standards | New SSPS port/coupling interconnection protection standards for power routing and MVDC, mutli-terminal HVDC | Lower cost transmission and better asset utilization | 0
39 | 22 | 0 | control | New protection and operational schemes at the transmission level (being able to operate with two phases) to provide high resilience |  | 0
40 | 23 | 0 | monetary | Open transactive energy and services markets with high frequency balancing between DERs and loads. | Higher efficiency and lower costs. Higher reliability. | 0
70 | 34 | 0 | simulation | modeling of systems, loads, systems with different frequencies, etc |  | 0
71 | 35 | 0 | standards | interconnection management | dynamic control and max efficiency | 0
72 | 36 | 0 | reliability | novel cooling technologies and thermal management | reduced system cost and increased reliability | 0
73 | 37 | 0 | control | synchronization between a high number of internal modules | control systm, standards | 0
Note on C32: Emmanuel: 1/2 max + 1 cutoff