## OriginalMatches
BenefitGroupID | BenefitLabel | SSPS Benefit | Near-term | Mid-term | Long-term | IssueGroupID | IssueLabel | Issue/concern | Generation | Transmission | Distribution | Customer | Converter
24 | functionality | Modularity and scability - available spores (??) - mobile |  |  |  | 12 | functionality | Lack of modularity/scalability |  | x | x | x
24 | functionality |  |  |  |  | 12 | functionality | Aging assets | x | x | x | x | x
24 | functionality |  |  |  |  | 12 | functionality | Capacity/load increase. Meeting the demand/scaling up
24 | functionality |  |  |  |  | 12 | functionality | Maintenance and replacement time off
24 | functionality |  |  |  |  | 12 | functionality | Ability to provide emergency services |  | x | x
24 | functionality |  |  |  |  | 12 | functionality | Emergency control and repairs after man-made or natural disasters | x | x | x | x | x
25 | control | Dynamic (enhanced) power flow control | x | x |  | 13 | functionality | Ability to provide dynamic reactive power for stability |  | x | x | x
25 | control | - Improved asset utilization (power flow control) - Volt-VAR control (quality, PV hosting, voltage control) | x | x |  | 13 | functionality | Inertia reduction and impacts on system dynamics (ΔMW/Δf = "bias" β) |  | x | x
25 | control |  |  |  |  | 13 | functionality | Redirecting energy for better asset utilization. | x | x | x
25 | control |  |  |  |  | 13 | functionality | Asset utilization (cost of adding stuff: who pays when renewables need more stuff?)
25 | control |  |  |  |  | 13 | functionality | Current substations have no control - unable to handle dynamics from DER and prosumers - but addition of PE/control conflicts with need for high reliability, resiliency and cyber-physical security (and cost) |  | x | x
25 | control |  |  |  |  | 13 | functionality | Evolving grid needs more dynamics distributed control, but no one has understanding of such distibution control system will behave or if it will be stable. |  | x | x | x
25 | control |  |  |  |  | 13 | functionality | Interaction of "many" active control devices, i.e., SVC, FACTs, PV, … |  | x | x
25 | control |  |  |  |  | 13 | functionality | Inability to respond to V going outside ANSI C84.1. - taps - PE |  |  | x
25 | control |  |  |  |  | 13 | functionality | Maintaining grid stability with large penetration of renewables and DER
25 | control |  |  |  |  | 13 | functionality | How do we integrate existing elements and systems with new technologies?
26 | reliability | Resilience and recovery |  |  |  | 14 | security | Physical security --> cyber-physical security
26 | reliability | - Improved resiliency by creating 'flexible transformers' -- balancing different transformers |  | x | x |  | security
27 | data | Large complex distributed systems that do not require detailed system knowledge -- robust with local intelligence |  | x | x | 15 | data | Sensing and situational awareness costs too much, complex and generates too much data. How do you manage complex system? |  | x | x
27 | data | Realtime solutions to coupled operation not needed with SSPS |  |  |  | 15 | data | Cyber Attack: - Cyber attacks can be carried out remotely without major infrastructure required for delivery - can have significant local or national impact. | x | x | x | x | x
27 | data | Do these large complex system have to be biologically (enabled by SSPS) inspired? |  |  |  | 15 | data | Solutions based on PE are too complex; education is needed [Fred's note: SSPS simplified, reduces complexity of grid, reduces education needs] |  |  | x
27 | data |  |  |  |  | 15 | data | "If it ain't broke don't replace it." Makes adoption of new technology challenging. PUC approval for funding. [Fred's note: Simple is beautiful if showing simplifying complex system. Also requires new regulation to help perception of value] |  | x | x
28 | functionality | Completely decoupled (asynchronous) grid will provide ability to accommodate 100% renewables --> FREE Energy | x | x | x | 16 | control | Reverse power flow from DER/DG |  |  | x | x
28 | functionality | Better renewable integration |  |  |  | 16 | control | Backward compatibility (between different versions of technology progressions) |  | x | x | x | x
28 | functionality | Seamless integration of AC and DC sources |  | x |  | 16 | control | Pricing and market mechanisms for absorbing large percentage of renewables and DER
28 | functionality | Active participants with grid support functionalities |  |  |  | 16 | control
28 | functionality | DC system integration into distibution system. |  |  |  | 16 | control
35 | functionality | Make variable resources dispatchable and stable with minimal local storage and control (e.g., impedence control) | x |  |  | 21 | data | Situation awareness visibility (smart sensors) - Assets assessment - Predict fault conditions |  | x | x
35 | data | Data collection center from distributed sensors. |  | x |  | 21 | reliability | Predicition of components failure -- lacks good tools/techniques.
35 | data | Increased equipment sensor technology and equipment monitoring -- even "smart" (i.e. predictive) monitoring |  | x |  | 21 | data | Modernization of the metering at all levels. Need to implement smart grid. | x | x | x | x | x
35 | functionality | Key smart grid enabler, will significantly improve flexibility of the grid, but would need to be combined with energy storage to achieve full benefits. |  | x | x | 21 | communications | Reliable communications and metering equipment for market operations/bidding | x | x
36 | security | Reduced attack surface area by replacing legacy components with single integrated device. |  | x | x | 22 | security | With substation automation, cyber threats? | x | x | x | x | x
36 | security | Multistage EMP-cyber-physical early embedded design for future generation substations. | x |  |  | 22 | functionality | Unmanned inspection capabilities for cyber and for maintenance.
36 | security | [5 empty] | security | Physical/cyber security | x | x | x | x
37 | functionality | Overall substation size reduction and modular, configurable design. |  | x |  | 23 | standards | Interoperability -- use cases, applications, standards beyond communication
37 | functionality | Modular power electronics functionality. Enhanced revenue opportunity, needs based deployment. |  | x |  | 23 | functionality | Customized components (unique)
37 | monetary | More cost but overall system upgrade in terms of performance (Dushan airplane example) |  | x | x | 23 | monetary | Where am I going to get the funds to upgrade substation?
37 | functionality | Increase power flow in existing grid | x |  |  | 23 | functionality
37 | reliability | Retrofit, renew and not replace: extend life indefinitely (solid state benefit over mechanical components) | x |  |  | 23 | functionality
37 | functionality | Being able to support Mvars to the tranmission level (from distribution grid) | x |  |  | 23 | functionality
37 | functionality | Step towards PEBB that facilitate AC and DC systems. Power electronics building blocks --> Microgrids in mid-term; T&D in long-term |  | x | x | 23 | functionality
38 | functionality | Synchronization between subs fed from different transmission lines | x | x |  | 24 | control | One concern is aggregating all the DER controllers. With increase of DERs, complexity of controlling them increases. (Coordination and bandwidth issue) | x | x | x
38 | monetary | Multiterminal MVDC/HVDC with advanced converter designs for economic benefits thru congestion and frequency response. |  | x |  | 24 | reliability | Maintains system stability with renewable controllers |  |  | x |  | x
38 | functionality | Be a stabilizing force to accommodate dynamic power delivery with uncertain and varying conditions in both generation, distribution, routing. |  | x |  | 24 | reliability
38 | control | Controlability - Response to distubances - Coordinated set points - FACTS in (every) substation |  |  | x | 24 | control
38 | load | Compatibility of load shedding/load transfer. Micro grid/islanding techniques |  |  | x | 24 | reliability
39 | control | Specialized controllers such as POD, frequency, SSR and provide reactive support | x |  |  | 25 | load | Unbalanced loading on 3-phase feeders |  |  | x | x
40 | protection | Fault isolation implemented at a substation | x |  |  | 26 | control | Reverse flow due to DER and its impact to protection/coordination. |  |  | x | x
40 | protection |  |  |  |  | 26 | protection | Backfeeding faults - DER feed sub-transmission faults, ride-through vs. protection
40 | protection |  |  |  |  | 26 | functionality | One way power floor, PV hosting capacity is limited
40 | protection |  |  |  |  | 26 | protection | Cascading system failures. Protection complexity (e.g., Northeast blackout) |  |  | x | x
40 | protection |  |  |  |  | 26 | protection | Protection coordination today; protection adaptation tomorrow (e.g., adaptable coordinated protection schemes) |  |  | x
41 | protection | Sag mitigation | x |  |  | 27 | regulation | How do we meet NERC requirements for sag events? | x | x | x | x | x
42 | education | Likely increase in creativity with engineers (more degree of freedom) |  | x |  | 28 | standards | Legacy design/upgrade approaches as grid modernization takes place |  | x | x | x
42 | education |  |  |  |  | 28 | education | Impact of aging infrastructure to be upgraded and not enough engineering manpower to design and replace systematically while workforce is small. | x | x | x | x | x
42 | education |  |  |  |  | 28 | education | Workforce: Younger generation gathering interest in designing. |  | x | x | x
43 | reliability | Make existing substation infrastructure redundant in functionality and add capability beyond what we know today. E-gateway (two-way power flow) |  |  | x | 29 | functionality | "Static" substation operation cannot keep up with future -- dynamics (LTC and capacitor banks are only options) | x | x | x | x | x
44 | reliability | Increased options for restoration (dynamic) - Faster/modular - Configurable |  | x |  | 30 | reliability | Rapid restoration after equipment failure (radial feeds) |  |  | x
45 | functionality | PE could manage the average over time and keep peak. |  | x |  | 31 | reliability | Increased operations and stress on mechanical tap changers for DERs results in wear out of components. | x | x | x
47 | functionality | SSPS modular substation replace or repair |  |  | x | 42 | security | physical attack; EMP; GMD; tornado; hurricane
46 | functionality | SSPS can blend DC and provide frequency control: ease storage integration |  | x | x | 37 | functionality | large penetration of solar / wind
48 | functionality | power density + modularity |  |  |  | 42 | security | reliability, scalability, phyiscal security, resilience to natural disasters
54 | reliability | enhanced reliability; less number of outages | x | x | x | 43 | reliability | redundancy; reliability |  |  | x | x | x
54 | reliability | enhanced reliability; less number of outages | x | x | x | 43 | reliability | realiability as loads change | x |  | x
47 | functionality | scalability: modularity and flexibility | x | x | x | 43 | reliability | ease of transportation, repair, and installation (time, cost, availability) |  | x | x
55 | control | controllability; volt/var regulation (completely dynamic, not discretized; faster response than traditional voltage regulators) | x |  |  | 39 | control | volt/var and frequency regulation |  |  |  | x
56 | control | power quality improvement | x | x | x | 44 | functionality | power quality: imbalance, sag / swell; harmonics from grid or generated by customer (lack of high speed sensing) |  |  | x | x | x
53 | monetary | lower bill paid by customer | x |  |  | 43 | reliability | transformer sparing | x | x
48 | functionality | power density | x |  | x | 36 | monetary | weight and size; cost | x | x | x | x | x
55 | control | intelligent control and communication: quick power rerouting |  | x |  | 42 | security | substation restoration and resiliency, from natural or man made events |  | x
47 | functionality | modularity, scalability, multifunctional |  | x |  | 39 | control | scalability; lack of flexibility (legacy protection and control) |  |  | x | x
52 | functionality | improve black start capability, ease of islanding and re-connection to the grid |  | x | x | 42 | security | resilience to natural disasters | x | x | x | x | x
46 | functionality | coice of AC/DC supported for all end users (individual choice) | x | x |  | 37 | functionality | increase penetration of renewables; large swings due to solar/wind penetration causing grid instability |  | x | x
47 | functionality | enabling various frequencies, in addition to various voltages | x |  |  | 37 | functionality | renewable integration; islanding; microgrids |  |  | x
53 | monetary | improved capacity |  |  | x | 38 | load | population redistribution leads to converting / upgrading substations |  | x | x | x | x
58 | protection | fault current limiting | x | x |  | 40 | protection | increased fault currents |  | x | x

## OriginalMatches - Cleaned
BenefitGroupID | BenefitLabel | SSPS Benefit | Near-term | Mid-term | Long-term | IssueGroupID | IssueLabel | Issue/concern | Generation | Transmission | Distribution | Customer | Converter
24 | functionality | Modularity and scability - available spores (??) - mobile | x | x | x | 12 | functionality | Lack of modularity/scalability |  | x | x | x
24 | functionality |  |  |  |  | 12 | functionality | Aging assets | x | x | x | x | x
24 | functionality |  |  |  |  | 12 | functionality | Ability to provide emergency services |  | x | x
24 | functionality |  |  |  |  | 12 | functionality | Emergency control and repairs after man-made or natural disasters | x | x | x | x | x
25 | control | Dynamic (enhanced) power flow control | x | x |  | 13 | functionality | Ability to provide dynamic reactive power for stability |  | x | x | x
25 | control | - Improved asset utilization (power flow control) - Volt-VAR control (quality, PV hosting, voltage control) | x | x |  | 13 | functionality | Inertia reduction and impacts on system dynamics (ΔMW/Δf = "bias" β) |  | x | x
25 | control |  |  |  |  | 13 | functionality | Redirecting energy for better asset utilization. | x | x | x
25 | control |  |  |  |  | 13 | functionality | Current substations have no control - unable to handle dynamics from DER and prosumers - but addition of PE/control conflicts with need for high reliability, resiliency and cyber-physical security (and cost) |  | x | x
25 | control |  |  |  |  | 13 | functionality | Evolving grid needs more dynamics distributed control, but no one has understanding of such distibution control system will behave or if it will be stable. |  | x | x | x
25 | control |  |  |  |  | 13 | functionality | Interaction of "many" active control devices, i.e., SVC, FACTs, PV, … |  | x | x
25 | control |  |  |  |  | 13 | functionality | Inability to respond to V going outside ANSI C84.1. - taps - PE |  |  | x
27 | data | Large complex distributed systems that do not require detailed system knowledge -- robust with local intelligence |  | x | x | 15 | data | Sensing and situational awareness costs too much, complex and generates too much data. How do you manage complex system? |  | x | x
27 | data | Realtime solutions to coupled operation not needed with SSPS | x | x | x | 15 | data | Cyber Attack: - Cyber attacks can be carried out remotely without major infrastructure required for delivery - can have significant local or national impact. | x | x | x | x | x
27 | data |  |  |  |  | 15 | data | Solutions based on PE are too complex; education is needed [Fred's note: SSPS simplified, reduces complexity of grid, reduces education needs] |  |  | x
27 | data |  |  |  |  | 15 | data | "If it ain't broke don't replace it." Makes adoption of new technology challenging. PUC approval for funding. [Fred's note: Simple is beautiful if showing simplifying complex system. Also requires new regulation to help perception of value] |  | x | x
28 | functionality | Completely decoupled (asynchronous) grid will provide ability to accommodate 100% renewables --> FREE Energy | x | x | x | 16 | control | Reverse power flow from DER/DG |  |  | x | x
28 | functionality | Better renewable integration | x | x | x | 16 | control | Backward compatibility (between different versions of technology progressions) |  | x | x | x | x
28 | functionality | Seamless integration of AC and DC sources |  | x |  | 16 | control
28 | functionality | Active participants with grid support functionalities | x | x | x | 16 | control
28 | functionality | DC system integration into distibution system. | x | x | x | 16 | control
35 | functionality | Make variable resources dispatchable and stable with minimal local storage and control (e.g., impedence control) | x |  |  | 21 | data | Situation awareness visibility (smart sensors) - Assets assessment - Predict fault conditions |  | x | x
35 | data | Data collection center from distributed sensors. |  | x |  | 21 | reliability
35 | data | Increased equipment sensor technology and equipment monitoring -- even "smart" (i.e. predictive) monitoring |  | x |  | 21 | data | Modernization of the metering at all levels. Need to implement smart grid. | x | x | x | x | x
35 | functionality | Key smart grid enabler, will significantly improve flexibility of the grid, but would need to be combined with energy storage to achieve full benefits. |  | x | x | 21 | communications | Reliable communications and metering equipment for market operations/bidding | x | x
36 | security | Reduced attack surface area by replacing legacy components with single integrated device. |  | x | x | 22 | security | With substation automation, cyber threats? | x | x | x | x | x
36 | security | Multistage EMP-cyber-physical early embedded design for future generation substations. | x |  |  | 22 | functionality
36 | security | [5 empty] | security | Physical/cyber security | x | x | x | x
38 | functionality | Synchronization between subs fed from different transmission lines | x | x |  | 24 | control | One concern is aggregating all the DER controllers. With increase of DERs, complexity of controlling them increases. (Coordination and bandwidth issue) | x | x | x
38 | monetary | Multiterminal MVDC/HVDC with advanced converter designs for economic benefits thru congestion and frequency response. |  | x |  | 24 | reliability | Maintains system stability with renewable controllers |  |  | x |  | x
38 | functionality | Be a stabilizing force to accommodate dynamic power delivery with uncertain and varying conditions in both generation, distribution, routing. |  | x |  | 24 | reliability
38 | control | Controlability - Response to distubances - Coordinated set points - FACTS in (every) substation |  |  | x | 24 | control
38 | load | Compatibility of load shedding/load transfer. Micro grid/islanding techniques |  |  | x | 24 | reliability
39 | control | Specialized controllers such as POD, frequency, SSR and provide reactive support | x |  |  | 25 | load | Unbalanced loading on 3-phase feeders |  |  | x | x
40 | protection | Fault isolation implemented at a substation | x |  |  | 26 | control | Reverse flow due to DER and its impact to protection/coordination. |  |  | x | x
40 | protection |  |  |  |  | 26 | protection | Cascading system failures. Protection complexity (e.g., Northeast blackout) |  |  | x | x
40 | protection |  |  |  |  | 26 | protection | Protection coordination today; protection adaptation tomorrow (e.g., adaptable coordinated protection schemes) |  |  | x
41 | protection | Sag mitigation | x |  |  | 27 | regulation | How do we meet NERC requirements for sag events? | x | x | x | x | x
42 | education | Likely increase in creativity with engineers (more degree of freedom) |  | x |  | 28 | standards | Legacy design/upgrade approaches as grid modernization takes place |  | x | x | x
42 | education |  |  |  |  | 28 | education | Impact of aging infrastructure to be upgraded and not enough engineering manpower to design and replace systematically while workforce is small. | x | x | x | x | x
42 | education |  |  |  |  | 28 | education | Workforce: Younger generation gathering interest in designing. |  | x | x | x
43 | reliability | Make existing substation infrastructure redundant in functionality and add capability beyond what we know today. E-gateway (two-way power flow) |  |  | x | 29 | functionality | "Static" substation operation cannot keep up with future -- dynamics (LTC and capacitor banks are only options) | x | x | x | x | x
44 | reliability | Increased options for restoration (dynamic) - Faster/modular - Configurable |  | x |  | 30 | reliability | Rapid restoration after equipment failure (radial feeds) |  |  | x
45 | functionality | PE could manage the average over time and keep peak. |  | x |  | 31 | reliability | Increased operations and stress on mechanical tap changers for DERs results in wear out of components. | x | x | x
54 | reliability | enhanced reliability; less number of outages | x | x | x | 43 | reliability | redundancy; reliability |  |  | x | x | x
54 | reliability | enhanced reliability; less number of outages | x | x | x | 43 | reliability | realiability as loads change | x |  | x
47 | functionality | scalability: modularity and flexibility | x | x | x | 43 | reliability | ease of transportation, repair, and installation (time, cost, availability) |  | x | x
55 | control | controllability; volt/var regulation (completely dynamic, not discretized; faster response than traditional voltage regulators) | x |  |  | 39 | control | volt/var and frequency regulation |  |  |  | x
56 | control | power quality improvement | x | x | x | 44 | functionality | power quality: imbalance, sag / swell; harmonics from grid or generated by customer (lack of high speed sensing) |  |  | x | x | x
53 | monetary | lower bill paid by customer | x |  |  | 43 | reliability | transformer sparing | x | x
48 | functionality | power density | x |  | x | 36 | monetary | weight and size; cost | x | x | x | x | x
55 | control | intelligent control and communication: quick power rerouting |  | x |  | 42 | security | substation restoration and resiliency, from natural or man made events |  | x
47 | functionality | modularity, scalability, multifunctional |  | x |  | 39 | control | scalability; lack of flexibility (legacy protection and control) |  |  | x | x
52 | functionality | improve black start capability, ease of islanding and re-connection to the grid |  | x | x | 42 | security | resilience to natural disasters | x | x | x | x | x
46 | functionality | coice of AC/DC supported for all end users (individual choice) | x | x |  | 37 | functionality | increase penetration of renewables; large swings due to solar/wind penetration causing grid instability |  | x | x
47 | functionality | enabling various frequencies, in addition to various voltages | x |  |  | 37 | functionality | renewable integration; islanding; microgrids |  |  | x
53 | monetary | improved capacity |  |  | x | 38 | load | population redistribution leads to converting / upgrading substations |  | x | x | x | x
58 | protection | fault current limiting | x | x |  | 40 | protection | increased fault currents |  | x | x

## Cleaned - Near Term
BenefitGroupID | BenefitLabel | SSPS Benefit | Near-term | Mid-term | Long-term | IssueGroupID | IssueLabel | Issue/concern | Generation | Transmission | Distribution | Customer | Converter | SSPS Benefit
24 | functionality | Modularity and scability - available spores (??) - mobile | x | x | x | 12 | functionality | Lack of modularity/scalability |  | x | x | x |  | Modularity and scability - available spores (??) - mobile
24 | functionality |  |  |  |  | 12 | functionality | Aging assets | x | x | x | x | x
24 | functionality |  |  |  |  | 12 | functionality | Ability to provide emergency services |  | x | x
24 | functionality |  |  |  |  | 12 | functionality | Emergency control and repairs after man-made or natural disasters | x | x | x | x | x
25 | control | Dynamic (enhanced) power flow control | x | x |  | 13 | functionality | Ability to provide dynamic reactive power for stability |  | x | x | x |  | Dynamic (enhanced) power flow control
25 | control | - Improved asset utilization (power flow control) - Volt-VAR control (quality, PV hosting, voltage control) | x | x |  | 13 | functionality | Inertia reduction and impacts on system dynamics (ΔMW/Δf = "bias" β) |  | x | x |  |  | - Improved asset utilization (power flow control) - Volt-VAR control (quality, PV hosting, voltage control)
25 | control |  |  |  |  | 13 | functionality | Redirecting energy for better asset utilization. | x | x | x
25 | control |  |  |  |  | 13 | functionality | Current substations have no control - unable to handle dynamics from DER and prosumers - but addition of PE/control conflicts with need for high reliability, resiliency and cyber-physical security (and cost) |  | x | x
25 | control |  |  |  |  | 13 | functionality | Evolving grid needs more dynamics distributed control, but no one has understanding of such distibution control system will behave or if it will be stable. |  | x | x | x
25 | control |  |  |  |  | 13 | functionality | Interaction of "many" active control devices, i.e., SVC, FACTs, PV, … |  | x | x
25 | control |  |  |  |  | 13 | functionality | Inability to respond to V going outside ANSI C84.1. - taps - PE |  |  | x
[6 empty] | 15 | data | Sensing and situational awareness costs too much, complex and generates too much data. How do you manage complex system? |  | x | x
27 | data | Realtime solutions to coupled operation not needed with SSPS | x | x | x | 15 | data | Cyber Attack: - Cyber attacks can be carried out remotely without major infrastructure required for delivery - can have significant local or national impact. | x | x | x | x | x | Realtime solutions to coupled operation not needed with SSPS
27 | data |  |  |  |  | 15 | data | Solutions based on PE are too complex; education is needed [Fred's note: SSPS simplified, reduces complexity of grid, reduces education needs] |  |  | x
27 | data |  |  |  |  | 15 | data | "If it ain't broke don't replace it." Makes adoption of new technology challenging. PUC approval for funding. [Fred's note: Simple is beautiful if showing simplifying complex system. Also requires new regulation to help perception of value] |  | x | x
28 | functionality | Completely decoupled (asynchronous) grid will provide ability to accommodate 100% renewables --> FREE Energy | x | x | x | 16 | control | Reverse power flow from DER/DG |  |  | x | x |  | Completely decoupled (asynchronous) grid will provide ability to accommodate 100% renewables --> FREE Energy
28 | functionality | Better renewable integration | x | x | x | 16 | control | Backward compatibility (between different versions of technology progressions) |  | x | x | x | x | Better renewable integration
28 | functionality | Active participants with grid support functionalities | x | x | x | 16 | control | [6 empty] | Active participants with grid support functionalities
28 | functionality | DC system integration into distibution system. | x | x | x | 16 | control | [6 empty] | DC system integration into distibution system.
35 | functionality | Make variable resources dispatchable and stable with minimal local storage and control (e.g., impedence control) | x |  |  | 21 | data | Situation awareness visibility (smart sensors) - Assets assessment - Predict fault conditions |  | x | x |  |  | Make variable resources dispatchable and stable with minimal local storage and control (e.g., impedence control)
[6 empty] | 21 | data | Modernization of the metering at all levels. Need to implement smart grid. | x | x | x | x | x
[6 empty] | 21 | communications | Reliable communications and metering equipment for market operations/bidding | x | x
[6 empty] | 22 | security | With substation automation, cyber threats? | x | x | x | x | x
36 | security | Multistage EMP-cyber-physical early embedded design for future generation substations. | x |  |  | 22 | functionality | Physical/cyber security | x | x | x | x |  | Multistage EMP-cyber-physical early embedded design for future generation substations.
38 | functionality | Synchronization between subs fed from different transmission lines | x | x |  | 24 | control | One concern is aggregating all the DER controllers. With increase of DERs, complexity of controlling them increases. (Coordination and bandwidth issue) | x | x | x |  |  | Synchronization between subs fed from different transmission lines
38 | monetary |  |  |  |  | 24 | reliability | Maintains system stability with renewable controllers |  |  | x |  | x
39 | control | Specialized controllers such as POD, frequency, SSR and provide reactive support | x |  |  | 25 | load | Unbalanced loading on 3-phase feeders |  |  | x | x |  | Specialized controllers such as POD, frequency, SSR and provide reactive support
40 | protection | Fault isolation implemented at a substation | x |  |  | 26 | control | Reverse flow due to DER and its impact to protection/coordination. |  |  | x | x |  | Fault isolation implemented at a substation
40 | protection |  |  |  |  | 26 | protection | Cascading system failures. Protection complexity (e.g., Northeast blackout) |  |  | x | x
40 | protection |  |  |  |  | 26 | protection | Protection coordination today; protection adaptation tomorrow (e.g., adaptable coordinated protection schemes) |  |  | x
41 | protection | Sag mitigation | x |  |  | 27 | regulation | How do we meet NERC requirements for sag events? | x | x | x | x | x | Sag mitigation
54 | reliability | enhanced reliability; less number of outages | x | x | x | 43 | reliability | redundancy; reliability |  |  | x | x | x | enhanced reliability; less number of outages
54 | reliability | enhanced reliability; less number of outages | x | x | x | 43 | reliability | realiability as loads change | x |  | x |  |  | enhanced reliability; less number of outages
47 | functionality | scalability: modularity and flexibility | x | x | x | 43 | reliability | ease of transportation, repair, and installation (time, cost, availability) |  | x | x |  |  | scalability: modularity and flexibility
55 | control | controllability; volt/var regulation (completely dynamic, not discretized; faster response than traditional voltage regulators) | x |  |  | 39 | control | volt/var and frequency regulation |  |  |  | x |  | controllability; volt/var regulation (completely dynamic, not discretized; faster response than traditional voltage regulators)
56 | control | power quality improvement | x | x | x | 44 | functionality | power quality: imbalance, sag / swell; harmonics from grid or generated by customer (lack of high speed sensing) |  |  | x | x | x | power quality improvement
53 | monetary | lower bill paid by customer | x |  |  | 43 | reliability | transformer sparing | x | x |  |  |  | lower bill paid by customer
48 | functionality | power density | x |  | x | 36 | monetary | weight and size; cost | x | x | x | x | x | power density
46 | functionality | coice of AC/DC supported for all end users (individual choice) | x | x |  | 37 | functionality | increase penetration of renewables; large swings due to solar/wind penetration causing grid instability |  | x | x |  |  | coice of AC/DC supported for all end users (individual choice)
47 | functionality | enabling various frequencies, in addition to various voltages | x |  |  | 37 | functionality | renewable integration; islanding; microgrids |  |  | x |  |  | enabling various frequencies, in addition to various voltages
58 | protection | fault current limiting | x | x |  | 40 | protection | increased fault currents |  | x | x |  |  | fault current limiting

## Cleaned - Mid Term
BenefitGroupID | BenefitLabel | SSPS Benefit | Near-term | Mid-term | Long-term | IssueGroupID | IssueLabel | Issue/concern | Generation | Transmission | Distribution | Customer | Converter | SSPS Benefit
24 | functionality | Modularity and scability - available spores (??) - mobile | x | x | x | 12 | functionality | Lack of modularity/scalability |  | x | x | x |  | Modularity and scability - available spores (??) - mobile
24 | functionality |  |  |  |  | 12 | functionality | Aging assets | x | x | x | x | x
24 | functionality |  |  |  |  | 12 | functionality | Ability to provide emergency services |  | x | x
24 | functionality |  |  |  |  | 12 | functionality | Emergency control and repairs after man-made or natural disasters | x | x | x | x | x
25 | control | Dynamic (enhanced) power flow control | x | x |  | 13 | functionality | Ability to provide dynamic reactive power for stability |  | x | x | x |  | Dynamic (enhanced) power flow control
25 | control | - Improved asset utilization (power flow control) - Volt-VAR control (quality, PV hosting, voltage control) | x | x |  | 13 | functionality | Inertia reduction and impacts on system dynamics (ΔMW/Δf = "bias" β) |  | x | x |  |  | - Improved asset utilization (power flow control) - Volt-VAR control (quality, PV hosting, voltage control)
25 | control |  |  |  |  | 13 | functionality | Redirecting energy for better asset utilization. | x | x | x
25 | control |  |  |  |  | 13 | functionality | Current substations have no control - unable to handle dynamics from DER and prosumers - but addition of PE/control conflicts with need for high reliability, resiliency and cyber-physical security (and cost) |  | x | x
25 | control |  |  |  |  | 13 | functionality | Evolving grid needs more dynamics distributed control, but no one has understanding of such distibution control system will behave or if it will be stable. |  | x | x | x
25 | control |  |  |  |  | 13 | functionality | Interaction of "many" active control devices, i.e., SVC, FACTs, PV, … |  | x | x
25 | control |  |  |  |  | 13 | functionality | Inability to respond to V going outside ANSI C84.1. - taps - PE |  |  | x
27 | data | Large complex distributed systems that do not require detailed system knowledge -- robust with local intelligence |  | x | x | 15 | data | Sensing and situational awareness costs too much, complex and generates too much data. How do you manage complex system? |  | x | x |  |  | Large complex distributed systems that do not require detailed system knowledge -- robust with local intelligence
27 | data | Realtime solutions to coupled operation not needed with SSPS | x | x | x | 15 | data | Cyber Attack: - Cyber attacks can be carried out remotely without major infrastructure required for delivery - can have significant local or national impact. | x | x | x | x | x | Realtime solutions to coupled operation not needed with SSPS
27 | data |  |  |  |  | 15 | data | Solutions based on PE are too complex; education is needed [Fred's note: SSPS simplified, reduces complexity of grid, reduces education needs] |  |  | x
27 | data |  |  |  |  | 15 | data | "If it ain't broke don't replace it." Makes adoption of new technology challenging. PUC approval for funding. [Fred's note: Simple is beautiful if showing simplifying complex system. Also requires new regulation to help perception of value] |  | x | x
28 | functionality | Completely decoupled (asynchronous) grid will provide ability to accommodate 100% renewables --> FREE Energy | x | x | x | 16 | control | Reverse power flow from DER/DG |  |  | x | x |  | Completely decoupled (asynchronous) grid will provide ability to accommodate 100% renewables --> FREE Energy
28 | functionality | Better renewable integration | x | x | x | 16 | control | Backward compatibility (between different versions of technology progressions) |  | x | x | x | x | Better renewable integration
28 | functionality | Seamless integration of AC and DC sources |  | x |  | 16 | control | [6 empty] | Seamless integration of AC and DC sources
28 | functionality | Active participants with grid support functionalities | x | x | x | 16 | control | [6 empty] | Active participants with grid support functionalities
28 | functionality | DC system integration into distibution system. | x | x | x | 16 | control | [6 empty] | DC system integration into distibution system.
35 | data | Data collection center from distributed sensors. |  | x |  | 21 | data | Situation awareness visibility (smart sensors) - Assets assessment - Predict fault conditions |  | x | x |  |  | Data collection center from distributed sensors.
35 | data | Increased equipment sensor technology and equipment monitoring -- even "smart" (i.e. predictive) monitoring |  | x |  | 21 | data | Modernization of the metering at all levels. Need to implement smart grid. | x | x | x | x | x | Increased equipment sensor technology and equipment monitoring -- even "smart" (i.e. predictive) monitoring
35 | functionality | Key smart grid enabler, will significantly improve flexibility of the grid, but would need to be combined with energy storage to achieve full benefits. |  | x | x | 21 | communications | Reliable communications and metering equipment for market operations/bidding | x | x |  |  |  | Key smart grid enabler, will significantly improve flexibility of the grid, but would need to be combined with energy storage to achieve full benefits.
36 | security | Reduced attack surface area by replacing legacy components with single integrated device. |  | x | x | 22 | security | With substation automation, cyber threats? | x | x | x | x | x | Reduced attack surface area by replacing legacy components with single integrated device.
[6 empty] | 22 | functionality | Physical/cyber security | x | x | x | x
38 | functionality | Synchronization between subs fed from different transmission lines | x | x |  | 24 | control | One concern is aggregating all the DER controllers. With increase of DERs, complexity of controlling them increases. (Coordination and bandwidth issue) | x | x | x |  |  | Synchronization between subs fed from different transmission lines
38 | monetary | Multiterminal MVDC/HVDC with advanced converter designs for economic benefits thru congestion and frequency response. |  | x |  | 24 | reliability | Maintains system stability with renewable controllers |  |  | x |  | x | Multiterminal MVDC/HVDC with advanced converter designs for economic benefits thru congestion and frequency response.
38 | functionality | Be a stabilizing force to accommodate dynamic power delivery with uncertain and varying conditions in both generation, distribution, routing. |  | x |  | 24 | reliability | [6 empty] | Be a stabilizing force to accommodate dynamic power delivery with uncertain and varying conditions in both generation, distribution, routing.
42 | education | Likely increase in creativity with engineers (more degree of freedom) |  | x |  | 28 | standards | Legacy design/upgrade approaches as grid modernization takes place |  | x | x | x |  | Likely increase in creativity with engineers (more degree of freedom)
42 | education |  |  |  |  | 28 | education | Impact of aging infrastructure to be upgraded and not enough engineering manpower to design and replace systematically while workforce is small. | x | x | x | x | x
42 | education |  |  |  |  | 28 | education | Workforce: Younger generation gathering interest in designing. |  | x | x | x
44 | reliability | Increased options for restoration (dynamic) - Faster/modular - Configurable |  | x |  | 30 | reliability | Rapid restoration after equipment failure (radial feeds) |  |  | x |  |  | Increased options for restoration (dynamic) - Faster/modular - Configurable
45 | functionality | PE could manage the average over time and keep peak. |  | x |  | 31 | reliability | Increased operations and stress on mechanical tap changers for DERs results in wear out of components. | x | x | x |  |  | PE could manage the average over time and keep peak.
54 | reliability | enhanced reliability; less number of outages | x | x | x | 43 | reliability | redundancy; reliability |  |  | x | x | x | enhanced reliability; less number of outages
54 | reliability | enhanced reliability; less number of outages | x | x | x | 43 | reliability | realiability as loads change | x |  | x |  |  | enhanced reliability; less number of outages
47 | functionality | scalability: modularity and flexibility | x | x | x | 43 | reliability | ease of transportation, repair, and installation (time, cost, availability) |  | x | x |  |  | scalability: modularity and flexibility
56 | control | power quality improvement | x | x | x | 44 | functionality | power quality: imbalance, sag / swell; harmonics from grid or generated by customer (lack of high speed sensing) |  |  | x | x | x | power quality improvement
55 | control | intelligent control and communication: quick power rerouting |  | x |  | 42 | security | substation restoration and resiliency, from natural or man made events |  | x |  |  |  | intelligent control and communication: quick power rerouting
47 | functionality | modularity, scalability, multifunctional |  | x |  | 39 | control | scalability; lack of flexibility (legacy protection and control) |  |  | x | x |  | modularity, scalability, multifunctional
52 | functionality | improve black start capability, ease of islanding and re-connection to the grid |  | x | x | 42 | security | resilience to natural disasters | x | x | x | x | x | improve black start capability, ease of islanding and re-connection to the grid
46 | functionality | coice of AC/DC supported for all end users (individual choice) | x | x |  | 37 | functionality | increase penetration of renewables; large swings due to solar/wind penetration causing grid instability |  | x | x |  |  | coice of AC/DC supported for all end users (individual choice)
58 | protection | fault current limiting | x | x |  | 40 | protection | increased fault currents |  | x | x |  |  | fault current limiting

## Cleaned - Long Term
BenefitGroupID | BenefitLabel | SSPS Benefit | Near-term | Mid-term | Long-term | IssueGroupID | IssueLabel | Issue/concern | Generation | Transmission | Distribution | Customer | Converter | SSPS Benefit
24 | functionality | Modularity and scability - available spores (??) - mobile | x | x | x | 12 | functionality | Lack of modularity/scalability |  | x | x | x |  | Modularity and scability - available spores (??) - mobile
24 | functionality |  |  |  |  | 12 | functionality | Aging assets | x | x | x | x | x
24 | functionality |  |  |  |  | 12 | functionality | Ability to provide emergency services |  | x | x
24 | functionality |  |  |  |  | 12 | functionality | Emergency control and repairs after man-made or natural disasters | x | x | x | x | x
27 | data | Large complex distributed systems that do not require detailed system knowledge -- robust with local intelligence |  | x | x | 15 | data | Sensing and situational awareness costs too much, complex and generates too much data. How do you manage complex system? |  | x | x |  |  | Large complex distributed systems that do not require detailed system knowledge -- robust with local intelligence
27 | data | Realtime solutions to coupled operation not needed with SSPS | x | x | x | 15 | data | Cyber Attack: - Cyber attacks can be carried out remotely without major infrastructure required for delivery - can have significant local or national impact. | x | x | x | x | x | Realtime solutions to coupled operation not needed with SSPS
27 | data |  |  |  |  | 15 | data | Solutions based on PE are too complex; education is needed [Fred's note: SSPS simplified, reduces complexity of grid, reduces education needs] |  |  | x
27 | data |  |  |  |  | 15 | data | "If it ain't broke don't replace it." Makes adoption of new technology challenging. PUC approval for funding. [Fred's note: Simple is beautiful if showing simplifying complex system. Also requires new regulation to help perception of value] |  | x | x
28 | functionality | Completely decoupled (asynchronous) grid will provide ability to accommodate 100% renewables --> FREE Energy | x | x | x | 16 | control | Reverse power flow from DER/DG |  |  | x | x |  | Completely decoupled (asynchronous) grid will provide ability to accommodate 100% renewables --> FREE Energy
28 | functionality | Better renewable integration | x | x | x | 16 | control | Backward compatibility (between different versions of technology progressions) |  | x | x | x | x | Better renewable integration
28 | functionality | Active participants with grid support functionalities | x | x | x | 16 | control | [6 empty] | Active participants with grid support functionalities
28 | functionality | DC system integration into distibution system. | x | x | x | 16 | control | [6 empty] | DC system integration into distibution system.
[8 empty] | Situation awareness visibility (smart sensors) - Assets assessment - Predict fault conditions |  | x | x
[8 empty] | Modernization of the metering at all levels. Need to implement smart grid. | x | x | x | x | x
35 | functionality | Key smart grid enabler, will significantly improve flexibility of the grid, but would need to be combined with energy storage to achieve full benefits. |  | x | x | 21 | communications | Reliable communications and metering equipment for market operations/bidding | x | x |  |  |  | Key smart grid enabler, will significantly improve flexibility of the grid, but would need to be combined with energy storage to achieve full benefits.
36 | security | Reduced attack surface area by replacing legacy components with single integrated device. |  | x | x | 22 | security | With substation automation, cyber threats? | x | x | x | x | x | Reduced attack surface area by replacing legacy components with single integrated device.
[6 empty] | 22 | functionality | Physical/cyber security | x | x | x | x
38 | control | Controlability - Response to distubances - Coordinated set points - FACTS in (every) substation |  |  | x | 24 | control | One concern is aggregating all the DER controllers. With increase of DERs, complexity of controlling them increases. (Coordination and bandwidth issue) | x | x | x |  |  | Controlability - Response to distubances - Coordinated set points - FACTS in (every) substation
38 | load | Compatibility of load shedding/load transfer. Micro grid/islanding techniques |  |  | x | 24 | reliability | Maintains system stability with renewable controllers |  |  | x |  | x | Compatibility of load shedding/load transfer. Micro grid/islanding techniques
43 | reliability | Make existing substation infrastructure redundant in functionality and add capability beyond what we know today. E-gateway (two-way power flow) |  |  | x | 29 | functionality | "Static" substation operation cannot keep up with future -- dynamics (LTC and capacitor banks are only options) | x | x | x | x | x | Make existing substation infrastructure redundant in functionality and add capability beyond what we know today. E-gateway (two-way power flow)
54 | reliability | enhanced reliability; less number of outages | x | x | x | 43 | reliability | redundancy; reliability |  |  | x | x | x | enhanced reliability; less number of outages
54 | reliability | enhanced reliability; less number of outages | x | x | x | 43 | reliability | realiability as loads change | x |  | x |  |  | enhanced reliability; less number of outages
47 | functionality | scalability: modularity and flexibility | x | x | x | 43 | reliability | ease of transportation, repair, and installation (time, cost, availability) |  | x | x |  |  | scalability: modularity and flexibility
56 | control | power quality improvement | x | x | x | 44 | functionality | power quality: imbalance, sag / swell; harmonics from grid or generated by customer (lack of high speed sensing) |  |  | x | x | x | power quality improvement
48 | functionality | power density | x |  | x | 36 | monetary | weight and size; cost | x | x | x | x | x | power density
52 | functionality | improve black start capability, ease of islanding and re-connection to the grid |  | x | x | 42 | security | resilience to natural disasters | x | x | x | x | x | improve black start capability, ease of islanding and re-connection to the grid
53 | monetary | improved capacity |  |  | x | 38 | load | population redistribution leads to converting / upgrading substations |  | x | x | x | x | improved capacity

## MatchesEnhanced
BenefitGroupID | BenefitLabel | SSPS Benefit | Near-term | Mid-term | Long-term | IssueGroupID | IssueLabel | Issue/concern | Generation | Transmission | Distribution | Customer | Converter
24 | functionality | Modularity and scability - available spores (??) - mobile |  |  |  | 12 | functionality | Lack of modularity/scalability |  | x | x | x
24 | functionality | Modularity and scability - available spores (??) - mobile |  |  |  | 12 | functionality | Aging assets | x | x | x | x | x
24 | functionality | Modularity and scability - available spores (??) - mobile |  |  |  | 12 | functionality | Capacity/load increase. Meeting the demand/scaling up
24 | functionality | Modularity and scability - available spores (??) - mobile |  |  |  | 12 | functionality | Maintenance and replacement time off
24 | functionality | Modularity and scability - available spores (??) - mobile |  |  |  | 12 | functionality | Ability to provide emergency services |  | x | x
24 | functionality | Modularity and scability - available spores (??) - mobile |  |  |  | 12 | functionality | Emergency control and repairs after man-made or natural disasters | x | x | x | x | x
25 | control | Dynamic (enhanced) power flow control | x | x |  | 13 | functionality | Ability to provide dynamic reactive power for stability |  | x | x | x
25 | control | - Improved asset utilization (power flow control) - Volt-VAR control (quality, PV hosting, voltage control) | x | x |  | 13 | functionality | Inertia reduction and impacts on system dynamics (ΔMW/Δf = "bias" β) |  | x | x
25 | control | - Improved asset utilization (power flow control) - Volt-VAR control (quality, PV hosting, voltage control) |  |  |  | 13 | functionality | Redirecting energy for better asset utilization. | x | x | x
25 | control | - Improved asset utilization (power flow control) - Volt-VAR control (quality, PV hosting, voltage control) |  |  |  | 13 | functionality | Asset utilization (cost of adding stuff: who pays when renewables need more stuff?)
25 | control | Dynamic (enhanced) power flow control |  |  |  | 13 | functionality | Current substations have no control - unable to handle dynamics from DER and prosumers - but addition of PE/control conflicts with need for high reliability, resiliency and cyber-physical security (and cost) |  | x | x
25 | control | Dynamic (enhanced) power flow control |  |  |  | 13 | functionality | Evolving grid needs more dynamics distributed control, but no one has understanding of such distibution control system will behave or if it will be stable. |  | x | x | x
25 | control | Dynamic (enhanced) power flow control |  |  |  | 13 | functionality | Interaction of "many" active control devices, i.e., SVC, FACTs, PV, … |  | x | x
25 | control |  |  |  |  | 13 | functionality | Inability to respond to V going outside ANSI C84.1. - taps - PE |  |  | x
25 | control |  |  |  |  | 13 | functionality | Maintaining grid stability with large penetration of renewables and DER
25 | control |  |  |  |  | 13 | functionality | How do we integrate existing elements and systems with new technologies?
26 | reliability | Resilience and recovery |  |  |  | 14 | security | Physical security --> cyber-physical security
26 | reliability | - Improved resiliency by creating 'flexible transformers' -- balancing different transformers |  | x | x |  | security
27 | data | Large complex distributed systems that do not require detailed system knowledge -- robust with local intelligence |  | x | x | 15 | data | Sensing and situational awareness costs too much, complex and generates too much data. How do you manage complex system? |  | x | x
27 | data | Realtime solutions to coupled operation not needed with SSPS |  |  |  | 15 | data | Cyber Attack: - Cyber attacks can be carried out remotely without major infrastructure required for delivery - can have significant local or national impact. | x | x | x | x | x
27 | data | Do these large complex system have to be biologically (enabled by SSPS) inspired? |  |  |  | 15 | data | Solutions based on PE are too complex; education is needed [Fred's note: SSPS simplified, reduces complexity of grid, reduces education needs] |  |  | x
27 | data |  |  |  |  | 15 | data | "If it ain't broke don't replace it." Makes adoption of new technology challenging. PUC approval for funding. [Fred's note: Simple is beautiful if showing simplifying complex system. Also requires new regulation to help perception of value] |  | x | x
28 | functionality | Completely decoupled (asynchronous) grid will provide ability to accommodate 100% renewables --> FREE Energy | x | x | x | 16 | control | Reverse power flow from DER/DG |  |  | x | x
28 | functionality | Better renewable integration |  |  |  | 16 | control | Backward compatibility (between different versions of technology progressions) |  | x | x | x | x
28 | functionality | Seamless integration of AC and DC sources |  | x |  | 16 | control | Pricing and market mechanisms for absorbing large percentage of renewables and DER
28 | functionality | Active participants with grid support functionalities |  |  |  | 16 | control
28 | functionality | DC system integration into distibution system. |  |  |  | 16 | control
35 | functionality | Make variable resources dispatchable and stable with minimal local storage and control (e.g., impedence control) | x |  |  | 21 | data | Situation awareness visibility (smart sensors) - Assets assessment - Predict fault conditions |  | x | x
35 | data | Data collection center from distributed sensors. |  | x |  | 21 | reliability | Predicition of components failure -- lacks good tools/techniques.
35 | data | Increased equipment sensor technology and equipment monitoring -- even "smart" (i.e. predictive) monitoring |  | x |  | 21 | data | Modernization of the metering at all levels. Need to implement smart grid. | x | x | x | x | x
35 | functionality | Key smart grid enabler, will significantly improve flexibility of the grid, but would need to be combined with energy storage to achieve full benefits. |  | x | x | 21 | communications | Reliable communications and metering equipment for market operations/bidding | x | x
36 | security | Reduced attack surface area by replacing legacy components with single integrated device. |  | x | x | 22 | security | With substation automation, cyber threats? | x | x | x | x | x
36 | security | Multistage EMP-cyber-physical early embedded design for future generation substations. | x |  |  | 22 | functionality | Unmanned inspection capabilities for cyber and for maintenance.
36 | security | [5 empty] | security | Physical/cyber security | x | x | x | x
37 | functionality | Overall substation size reduction and modular, configurable design. |  | x |  | 23 | standards | Interoperability -- use cases, applications, standards beyond communication
37 | functionality | Modular power electronics functionality. Enhanced revenue opportunity, needs based deployment. |  | x |  | 23 | functionality | Customized components (unique)
37 | monetary | More cost but overall system upgrade in terms of performance (Dushan airplane example) |  | x | x | 23 | monetary | Where am I going to get the funds to upgrade substation?
37 | functionality | Increase power flow in existing grid | x |  |  | 23 | functionality
37 | reliability | Retrofit, renew and not replace: extend life indefinitely (solid state benefit over mechanical components) | x |  |  | 23 | functionality
37 | functionality | Being able to support Mvars to the tranmission level (from distribution grid) | x |  |  | 23 | functionality
37 | functionality | Step towards PEBB that facilitate AC and DC systems. Power electronics building blocks --> Microgrids in mid-term; T&D in long-term |  | x | x | 23 | functionality
38 | functionality | Synchronization between subs fed from different transmission lines | x | x |  | 24 | control | One concern is aggregating all the DER controllers. With increase of DERs, complexity of controlling them increases. (Coordination and bandwidth issue) | x | x | x
38 | monetary | Multiterminal MVDC/HVDC with advanced converter designs for economic benefits thru congestion and frequency response. |  | x |  | 24 | reliability | Maintains system stability with renewable controllers |  |  | x |  | x
38 | functionality | Be a stabilizing force to accommodate dynamic power delivery with uncertain and varying conditions in both generation, distribution, routing. |  | x |  | 24 | reliability
38 | control | Controlability - Response to distubances - Coordinated set points - FACTS in (every) substation |  |  | x | 24 | control
38 | load | Compatibility of load shedding/load transfer. Micro grid/islanding techniques |  |  | x | 24 | reliability
39 | control | Specialized controllers such as POD, frequency, SSR and provide reactive support | x |  |  | 25 | load | Unbalanced loading on 3-phase feeders |  |  | x | x
40 | protection | Fault isolation implemented at a substation | x |  |  | 26 | control | Reverse flow due to DER and its impact to protection/coordination. |  |  | x | x
40 | protection | Fault isolation implemented at a substation |  |  |  | 26 | protection | Backfeeding faults - DER feed sub-transmission faults, ride-through vs. protection
40 | protection |  |  |  |  | 26 | functionality | One way power floor, PV hosting capacity is limited
40 | protection |  |  |  |  | 26 | protection | Cascading system failures. Protection complexity (e.g., Northeast blackout) |  |  | x | x
40 | protection |  |  |  |  | 26 | protection | Protection coordination today; protection adaptation tomorrow (e.g., adaptable coordinated protection schemes) |  |  | x
41 | protection | Sag mitigation | x |  |  | 27 | regulation | How do we meet NERC requirements for sag events? | x | x | x | x | x
42 | education | Likely increase in creativity with engineers (more degree of freedom) |  | x |  | 28 | standards | Legacy design/upgrade approaches as grid modernization takes place |  | x | x | x
42 | education | Likely increase in creativity with engineers (more degree of freedom) |  |  |  | 28 | education | Impact of aging infrastructure to be upgraded and not enough engineering manpower to design and replace systematically while workforce is small. | x | x | x | x | x
42 | education | Likely increase in creativity with engineers (more degree of freedom) |  |  |  | 28 | education | Workforce: Younger generation gathering interest in designing. |  | x | x | x
43 | reliability | Make existing substation infrastructure redundant in functionality and add capability beyond what we know today. E-gateway (two-way power flow) |  |  | x | 29 | functionality | "Static" substation operation cannot keep up with future -- dynamics (LTC and capacitor banks are only options) | x | x | x | x | x
44 | reliability | Increased options for restoration (dynamic) - Faster/modular - Configurable |  | x |  | 30 | reliability | Rapid restoration after equipment failure (radial feeds) |  |  | x
45 | functionality | PE could manage the average over time and keep peak. |  | x |  | 31 | reliability | Increased operations and stress on mechanical tap changers for DERs results in wear out of components. | x | x | x
47 | functionality | SSPS modular substation replace or repair |  |  | x | 42 | security | physical attack; EMP; GMD; tornado; hurricane
46 | functionality | SSPS can blend DC and provide frequency control: ease storage integration |  | x | x | 37 | functionality | large penetration of solar / wind
48 | functionality | power density + modularity |  |  |  | 42 | security | reliability, scalability, phyiscal security, resilience to natural disasters
54 | reliability | enhanced reliability; less number of outages | x | x | x | 43 | reliability | redundancy; reliability |  |  | x | x | x
54 | reliability | enhanced reliability; less number of outages | x | x | x | 43 | reliability | realiability as loads change | x |  | x
47 | functionality | scalability: modularity and flexibility | x | x | x | 43 | reliability | ease of transportation, repair, and installation (time, cost, availability) |  | x | x
55 | control | controllability; volt/var regulation (completely dynamic, not discretized; faster response than traditional voltage regulators) | x |  |  | 39 | control | volt/var and frequency regulation |  |  |  | x
56 | control | power quality improvement | x | x | x | 44 | functionality | power quality: imbalance, sag / swell; harmonics from grid or generated by customer (lack of high speed sensing) |  |  | x | x | x
53 | monetary | lower bill paid by customer | x |  |  | 43 | reliability | transformer sparing | x | x
48 | functionality | power density | x |  | x | 36 | monetary | weight and size; cost | x | x | x | x | x
55 | control | intelligent control and communication: quick power rerouting |  | x |  | 42 | security | substation restoration and resiliency, from natural or man made events |  | x
47 | functionality | modularity, scalability, multifunctional |  | x |  | 39 | control | scalability; lack of flexibility (legacy protection and control) |  |  | x | x
52 | functionality | improve black start capability, ease of islanding and re-connection to the grid |  | x | x | 42 | security | resilience to natural disasters | x | x | x | x | x
46 | functionality | coice of AC/DC supported for all end users (individual choice) | x | x |  | 37 | functionality | increase penetration of renewables; large swings due to solar/wind penetration causing grid instability |  | x | x
47 | functionality | enabling various frequencies, in addition to various voltages | x |  |  | 37 | functionality | renewable integration; islanding; microgrids |  |  | x
53 | monetary | improved capacity |  |  | x | 38 | load | population redistribution leads to converting / upgrading substations |  | x | x | x | x
58 | protection | fault current limiting | x | x |  | 40 | protection | increased fault currents |  | x | x

## MatchesSorted
BenefitGroupID | BenefitLabel | SSPS Benefit | Near-term | Mid-term | Long-term | IssueGroupID | IssueLabel | Issue/concern | Generation | Transmission | Distribution | Customer | Converter
36 | security | Reduced attack surface area by replacing legacy components with single integrated device. |  | x | x | 22 | security | With substation automation, cyber threats? | x | x | x | x | x
52 | functionality | improve black start capability, ease of islanding and re-connection to the grid |  | x | x | 42 | security | resilience to natural disasters | x | x | x | x | x
48 | functionality | power density | x |  | x | 36 | monetary | weight and size; cost | x | x | x | x | x
43 | reliability | Make existing substation infrastructure redundant in functionality and add capability beyond what we know today. E-gateway (two-way power flow) |  |  | x | 29 | functionality | "Static" substation operation cannot keep up with future -- dynamics (LTC and capacitor banks are only options) | x | x | x | x | x
35 | data | Increased equipment sensor technology and equipment monitoring -- even "smart" (i.e. predictive) monitoring |  | x |  | 21 | data | Modernization of the metering at all levels. Need to implement smart grid. | x | x | x | x | x
41 | protection | Sag mitigation | x |  |  | 27 | regulation | How do we meet NERC requirements for sag events? | x | x | x | x | x
24 | functionality | Modularity and scability - available spores (??) - mobile |  |  |  | 12 | functionality | Aging assets | x | x | x | x | x
24 | functionality | Modularity and scability - available spores (??) - mobile |  |  |  | 12 | functionality | Emergency control and repairs after man-made or natural disasters | x | x | x | x | x
27 | data | Realtime solutions to coupled operation not needed with SSPS |  |  |  | 15 | data | Cyber Attack: - Cyber attacks can be carried out remotely without major infrastructure required for delivery - can have significant local or national impact. | x | x | x | x | x
42 | education | Likely increase in creativity with engineers (more degree of freedom) |  |  |  | 28 | education | Impact of aging infrastructure to be upgraded and not enough engineering manpower to design and replace systematically while workforce is small. | x | x | x | x | x
53 | monetary | improved capacity |  |  | x | 38 | load | population redistribution leads to converting / upgrading substations |  | x | x | x | x
28 | functionality | Better renewable integration |  |  |  | 16 | control | Backward compatibility (between different versions of technology progressions) |  | x | x | x | x
54 | reliability | enhanced reliability; less number of outages | x | x | x | 43 | reliability | redundancy; reliability |  |  | x | x | x
56 | control | power quality improvement | x | x | x | 44 | functionality | power quality: imbalance, sag / swell; harmonics from grid or generated by customer (lack of high speed sensing) |  |  | x | x | x
38 | monetary | Multiterminal MVDC/HVDC with advanced converter designs for economic benefits thru congestion and frequency response. |  | x |  | 24 | reliability | Maintains system stability with renewable controllers |  |  | x |  | x
36 | security | [5 empty] | security | Physical/cyber security | x | x | x | x
25 | control | Dynamic (enhanced) power flow control | x | x |  | 13 | functionality | Ability to provide dynamic reactive power for stability |  | x | x | x
42 | education | Likely increase in creativity with engineers (more degree of freedom) |  | x |  | 28 | standards | Legacy design/upgrade approaches as grid modernization takes place |  | x | x | x
24 | functionality | Modularity and scability - available spores (??) - mobile |  |  |  | 12 | functionality | Lack of modularity/scalability |  | x | x | x
25 | control | Dynamic (enhanced) power flow control |  |  |  | 13 | functionality | Evolving grid needs more dynamics distributed control, but no one has understanding of such distibution control system will behave or if it will be stable. |  | x | x | x
42 | education | Likely increase in creativity with engineers (more degree of freedom) |  |  |  | 28 | education | Workforce: Younger generation gathering interest in designing. |  | x | x | x
28 | functionality | Completely decoupled (asynchronous) grid will provide ability to accommodate 100% renewables --> FREE Energy | x | x | x | 16 | control | Reverse power flow from DER/DG |  |  | x | x
47 | functionality | modularity, scalability, multifunctional |  | x |  | 39 | control | scalability; lack of flexibility (legacy protection and control) |  |  | x | x
39 | control | Specialized controllers such as POD, frequency, SSR and provide reactive support | x |  |  | 25 | load | Unbalanced loading on 3-phase feeders |  |  | x | x
40 | protection | Fault isolation implemented at a substation | x |  |  | 26 | control | Reverse flow due to DER and its impact to protection/coordination. |  |  | x | x
40 | protection |  |  |  |  | 26 | protection | Cascading system failures. Protection complexity (e.g., Northeast blackout) |  |  | x | x
55 | control | controllability; volt/var regulation (completely dynamic, not discretized; faster response than traditional voltage regulators) | x |  |  | 39 | control | volt/var and frequency regulation |  |  |  | x
38 | functionality | Synchronization between subs fed from different transmission lines | x | x |  | 24 | control | One concern is aggregating all the DER controllers. With increase of DERs, complexity of controlling them increases. (Coordination and bandwidth issue) | x | x | x
45 | functionality | PE could manage the average over time and keep peak. |  | x |  | 31 | reliability | Increased operations and stress on mechanical tap changers for DERs results in wear out of components. | x | x | x
25 | control | - Improved asset utilization (power flow control) - Volt-VAR control (quality, PV hosting, voltage control) |  |  |  | 13 | functionality | Redirecting energy for better asset utilization. | x | x | x
47 | functionality | scalability: modularity and flexibility | x | x | x | 43 | reliability | ease of transportation, repair, and installation (time, cost, availability) |  | x | x
27 | data | Large complex distributed systems that do not require detailed system knowledge -- robust with local intelligence |  | x | x | 15 | data | Sensing and situational awareness costs too much, complex and generates too much data. How do you manage complex system? |  | x | x
25 | control | - Improved asset utilization (power flow control) - Volt-VAR control (quality, PV hosting, voltage control) | x | x |  | 13 | functionality | Inertia reduction and impacts on system dynamics (ΔMW/Δf = "bias" β) |  | x | x
46 | functionality | coice of AC/DC supported for all end users (individual choice) | x | x |  | 37 | functionality | increase penetration of renewables; large swings due to solar/wind penetration causing grid instability |  | x | x
58 | protection | fault current limiting | x | x |  | 40 | protection | increased fault currents |  | x | x
35 | functionality | Make variable resources dispatchable and stable with minimal local storage and control (e.g., impedence control) | x |  |  | 21 | data | Situation awareness visibility (smart sensors) - Assets assessment - Predict fault conditions |  | x | x
24 | functionality | Modularity and scability - available spores (??) - mobile |  |  |  | 12 | functionality | Ability to provide emergency services |  | x | x
25 | control | Dynamic (enhanced) power flow control |  |  |  | 13 | functionality | Current substations have no control - unable to handle dynamics from DER and prosumers - but addition of PE/control conflicts with need for high reliability, resiliency and cyber-physical security (and cost) |  | x | x
25 | control | Dynamic (enhanced) power flow control |  |  |  | 13 | functionality | Interaction of "many" active control devices, i.e., SVC, FACTs, PV, … |  | x | x
27 | data |  |  |  |  | 15 | data | "If it ain't broke don't replace it." Makes adoption of new technology challenging. PUC approval for funding. [Fred's note: Simple is beautiful if showing simplifying complex system. Also requires new regulation to help perception of value] |  | x | x
54 | reliability | enhanced reliability; less number of outages | x | x | x | 43 | reliability | realiability as loads change | x |  | x
44 | reliability | Increased options for restoration (dynamic) - Faster/modular - Configurable |  | x |  | 30 | reliability | Rapid restoration after equipment failure (radial feeds) |  |  | x
47 | functionality | enabling various frequencies, in addition to various voltages | x |  |  | 37 | functionality | renewable integration; islanding; microgrids |  |  | x
25 | control |  |  |  |  | 13 | functionality | Inability to respond to V going outside ANSI C84.1. - taps - PE |  |  | x
27 | data | Do these large complex system have to be biologically (enabled by SSPS) inspired? |  |  |  | 15 | data | Solutions based on PE are too complex; education is needed [Fred's note: SSPS simplified, reduces complexity of grid, reduces education needs] |  |  | x
40 | protection |  |  |  |  | 26 | protection | Protection coordination today; protection adaptation tomorrow (e.g., adaptable coordinated protection schemes) |  |  | x
35 | functionality | Key smart grid enabler, will significantly improve flexibility of the grid, but would need to be combined with energy storage to achieve full benefits. |  | x | x | 21 | communications | Reliable communications and metering equipment for market operations/bidding | x | x
53 | monetary | lower bill paid by customer | x |  |  | 43 | reliability | transformer sparing | x | x
55 | control | intelligent control and communication: quick power rerouting |  | x |  | 42 | security | substation restoration and resiliency, from natural or man made events |  | x
26 | reliability | - Improved resiliency by creating 'flexible transformers' -- balancing different transformers |  | x | x |  | security
37 | monetary | More cost but overall system upgrade in terms of performance (Dushan airplane example) |  | x | x | 23 | monetary | Where am I going to get the funds to upgrade substation?
37 | functionality | Step towards PEBB that facilitate AC and DC systems. Power electronics building blocks --> Microgrids in mid-term; T&D in long-term |  | x | x | 23 | functionality
46 | functionality | SSPS can blend DC and provide frequency control: ease storage integration |  | x | x | 37 | functionality | large penetration of solar / wind
38 | control | Controlability - Response to distubances - Coordinated set points - FACTS in (every) substation |  |  | x | 24 | control
38 | load | Compatibility of load shedding/load transfer. Micro grid/islanding techniques |  |  | x | 24 | reliability
47 | functionality | SSPS modular substation replace or repair |  |  | x | 42 | security | physical attack; EMP; GMD; tornado; hurricane
28 | functionality | Seamless integration of AC and DC sources |  | x |  | 16 | control | Pricing and market mechanisms for absorbing large percentage of renewables and DER
35 | data | Data collection center from distributed sensors. |  | x |  | 21 | reliability | Predicition of components failure -- lacks good tools/techniques.
37 | functionality | Overall substation size reduction and modular, configurable design. |  | x |  | 23 | standards | Interoperability -- use cases, applications, standards beyond communication
37 | functionality | Modular power electronics functionality. Enhanced revenue opportunity, needs based deployment. |  | x |  | 23 | functionality | Customized components (unique)
38 | functionality | Be a stabilizing force to accommodate dynamic power delivery with uncertain and varying conditions in both generation, distribution, routing. |  | x |  | 24 | reliability
36 | security | Multistage EMP-cyber-physical early embedded design for future generation substations. | x |  |  | 22 | functionality | Unmanned inspection capabilities for cyber and for maintenance.
37 | functionality | Increase power flow in existing grid | x |  |  | 23 | functionality
37 | reliability | Retrofit, renew and not replace: extend life indefinitely (solid state benefit over mechanical components) | x |  |  | 23 | functionality
37 | functionality | Being able to support Mvars to the tranmission level (from distribution grid) | x |  |  | 23 | functionality
24 | functionality | Modularity and scability - available spores (??) - mobile |  |  |  | 12 | functionality | Capacity/load increase. Meeting the demand/scaling up
24 | functionality | Modularity and scability - available spores (??) - mobile |  |  |  | 12 | functionality | Maintenance and replacement time off
25 | control | - Improved asset utilization (power flow control) - Volt-VAR control (quality, PV hosting, voltage control) |  |  |  | 13 | functionality | Asset utilization (cost of adding stuff: who pays when renewables need more stuff?)
25 | control |  |  |  |  | 13 | functionality | Maintaining grid stability with large penetration of renewables and DER
25 | control |  |  |  |  | 13 | functionality | How do we integrate existing elements and systems with new technologies?
26 | reliability | Resilience and recovery |  |  |  | 14 | security | Physical security --> cyber-physical security
28 | functionality | Active participants with grid support functionalities |  |  |  | 16 | control
28 | functionality | DC system integration into distibution system. |  |  |  | 16 | control
40 | protection | Fault isolation implemented at a substation |  |  |  | 26 | protection | Backfeeding faults - DER feed sub-transmission faults, ride-through vs. protection
40 | protection |  |  |  |  | 26 | functionality | One way power floor, PV hosting capacity is limited
48 | functionality | power density + modularity |  |  |  | 42 | security | reliability, scalability, phyiscal security, resilience to natural disasters

## Near-Term
BenefitGroupID | BenefitLabel | SSPS Benefit | Near-term | Mid-term | Long-term | IssueGroupID | IssueLabel | Issue/concern | Generation | Transmission | Distribution | Customer | Converter
28 | functionality | Completely decoupled (asynchronous) grid will provide ability to accommodate 100% renewables --> FREE Energy | x | x | x | 16 | control | Reverse power flow from DER/DG |  |  | x | x
38 | functionality | Synchronization between subs fed from different transmission lines | x | x |  | 24 | control | One concern is aggregating all the DER controllers. With increase of DERs, complexity of controlling them increases. (Coordination and bandwidth issue) | x | x | x
40 | protection | Fault isolation implemented at a substation | x |  |  | 26 | control | Reverse flow due to DER and its impact to protection/coordination. |  |  | x | x
55 | control | controllability; volt/var regulation (completely dynamic, not discretized; faster response than traditional voltage regulators) | x |  |  | 39 | control | volt/var and frequency regulation |  |  |  | x
35 | functionality | Make variable resources dispatchable and stable with minimal local storage and control (e.g., impedence control) | x |  |  | 21 | data | Situation awareness visibility (smart sensors) - Assets assessment - Predict fault conditions |  | x | x
25 | control | Dynamic (enhanced) power flow control | x | x |  | 13 | functionality | Ability to provide dynamic reactive power for stability |  | x | x | x
25 | control | - Improved asset utilization (power flow control) - Volt-VAR control (quality, PV hosting, voltage control) | x | x |  | 13 | functionality | Inertia reduction and impacts on system dynamics (ΔMW/Δf = "bias" β) |  | x | x
36 | security | Multistage EMP-cyber-physical early embedded design for future generation substations. | x |  |  | 22 | functionality | Unmanned inspection capabilities for cyber and for maintenance.
37 | functionality | Increase power flow in existing grid | x |  |  | 23 | functionality
37 | reliability | Retrofit, renew and not replace: extend life indefinitely (solid state benefit over mechanical components) | x |  |  | 23 | functionality
37 | functionality | Being able to support Mvars to the tranmission level (from distribution grid) | x |  |  | 23 | functionality
56 | control | power quality improvement | x | x | x | 44 | functionality | power quality: imbalance, sag / swell; harmonics from grid or generated by customer (lack of high speed sensing) |  |  | x | x | x
46 | functionality | coice of AC/DC supported for all end users (individual choice) | x | x |  | 37 | functionality | increase penetration of renewables; large swings due to solar/wind penetration causing grid instability |  | x | x
47 | functionality | enabling various frequencies, in addition to various voltages | x |  |  | 37 | functionality | renewable integration; islanding; microgrids |  |  | x
39 | control | Specialized controllers such as POD, frequency, SSR and provide reactive support | x |  |  | 25 | load | Unbalanced loading on 3-phase feeders |  |  | x | x
48 | functionality | power density | x |  | x | 36 | monetary | weight and size; cost | x | x | x | x | x
58 | protection | fault current limiting | x | x |  | 40 | protection | increased fault currents |  | x | x
41 | protection | Sag mitigation | x |  |  | 27 | regulation | How do we meet NERC requirements for sag events? | x | x | x | x | x
54 | reliability | enhanced reliability; less number of outages | x | x | x | 43 | reliability | redundancy; reliability |  |  | x | x | x
54 | reliability | enhanced reliability; less number of outages | x | x | x | 43 | reliability | realiability as loads change | x |  | x
47 | functionality | scalability: modularity and flexibility | x | x | x | 43 | reliability | ease of transportation, repair, and installation (time, cost, availability) |  | x | x
53 | monetary | lower bill paid by customer | x |  |  | 43 | reliability | transformer sparing | x | x
[9 empty] | 5 | 10 | 16 | 9 | 4 | 4.7645

## Mid-Term
BenefitGroupID | BenefitLabel | SSPS Benefit | Near-term | Mid-term | Long-term | IssueGroupID | IssueLabel | Issue/concern | Generation | Transmission | Distribution | Customer | Converter
35 | functionality | Key smart grid enabler, will significantly improve flexibility of the grid, but would need to be combined with energy storage to achieve full benefits. |  | x | x | 21 | communications | Reliable communications and metering equipment for market operations/bidding | x | x
28 | functionality | Completely decoupled (asynchronous) grid will provide ability to accommodate 100% renewables --> FREE Energy | x | x | x | 16 | control | Reverse power flow from DER/DG |  |  | x | x
38 | functionality | Synchronization between subs fed from different transmission lines | x | x |  | 24 | control | One concern is aggregating all the DER controllers. With increase of DERs, complexity of controlling them increases. (Coordination and bandwidth issue) | x | x | x
28 | functionality | Seamless integration of AC and DC sources |  | x |  | 16 | control | Pricing and market mechanisms for absorbing large percentage of renewables and DER
47 | functionality | modularity, scalability, multifunctional |  | x |  | 39 | control | scalability; lack of flexibility (legacy protection and control) |  |  | x | x
27 | data | Large complex distributed systems that do not require detailed system knowledge -- robust with local intelligence |  | x | x | 15 | data | Sensing and situational awareness costs too much, complex and generates too much data. How do you manage complex system? |  | x | x
35 | data | Increased equipment sensor technology and equipment monitoring -- even "smart" (i.e. predictive) monitoring |  | x |  | 21 | data | Modernization of the metering at all levels. Need to implement smart grid. | x | x | x | x | x
25 | control | Dynamic (enhanced) power flow control | x | x |  | 13 | functionality | Ability to provide dynamic reactive power for stability |  | x | x | x
25 | control | - Improved asset utilization (power flow control) - Volt-VAR control (quality, PV hosting, voltage control) | x | x |  | 13 | functionality | Inertia reduction and impacts on system dynamics (ΔMW/Δf = "bias" β) |  | x | x
56 | control | power quality improvement | x | x | x | 44 | functionality | power quality: imbalance, sag / swell; harmonics from grid or generated by customer (lack of high speed sensing) |  |  | x | x | x
46 | functionality | coice of AC/DC supported for all end users (individual choice) | x | x |  | 37 | functionality | increase penetration of renewables; large swings due to solar/wind penetration causing grid instability |  | x | x
37 | functionality | Modular power electronics functionality. Enhanced revenue opportunity, needs based deployment. |  | x |  | 23 | functionality | Customized components (unique)
37 | functionality | Step towards PEBB that facilitate AC and DC systems. Power electronics building blocks --> Microgrids in mid-term; T&D in long-term |  | x | x | 23 | functionality
46 | functionality | SSPS can blend DC and provide frequency control: ease storage integration |  | x | x | 37 | functionality | large penetration of solar / wind
37 | monetary | More cost but overall system upgrade in terms of performance (Dushan airplane example) |  | x | x | 23 | monetary | Where am I going to get the funds to upgrade substation?
58 | protection | fault current limiting | x | x |  | 40 | protection | increased fault currents |  | x | x
54 | reliability | enhanced reliability; less number of outages | x | x | x | 43 | reliability | redundancy; reliability |  |  | x | x | x
54 | reliability | enhanced reliability; less number of outages | x | x | x | 43 | reliability | realiability as loads change | x |  | x
47 | functionality | scalability: modularity and flexibility | x | x | x | 43 | reliability | ease of transportation, repair, and installation (time, cost, availability) |  | x | x
35 | data | Data collection center from distributed sensors. |  | x |  | 21 | reliability | Predicition of components failure -- lacks good tools/techniques.
38 | monetary | Multiterminal MVDC/HVDC with advanced converter designs for economic benefits thru congestion and frequency response. |  | x |  | 24 | reliability | Maintains system stability with renewable controllers |  |  | x |  | x
38 | functionality | Be a stabilizing force to accommodate dynamic power delivery with uncertain and varying conditions in both generation, distribution, routing. |  | x |  | 24 | reliability
44 | reliability | Increased options for restoration (dynamic) - Faster/modular - Configurable |  | x |  | 30 | reliability | Rapid restoration after equipment failure (radial feeds) |  |  | x
45 | functionality | PE could manage the average over time and keep peak. |  | x |  | 31 | reliability | Increased operations and stress on mechanical tap changers for DERs results in wear out of components. | x | x | x
26 | reliability | - Improved resiliency by creating 'flexible transformers' -- balancing different transformers |  | x | x |  | security
36 | security | Reduced attack surface area by replacing legacy components with single integrated device. |  | x | x | 22 | security | With substation automation, cyber threats? | x | x | x | x | x
55 | control | intelligent control and communication: quick power rerouting |  | x |  | 42 | security | substation restoration and resiliency, from natural or man made events |  | x
52 | functionality | improve black start capability, ease of islanding and re-connection to the grid |  | x | x | 42 | security | resilience to natural disasters | x | x | x | x | x
37 | functionality | Overall substation size reduction and modular, configurable design. |  | x |  | 23 | standards | Interoperability -- use cases, applications, standards beyond communication
42 | education | Likely increase in creativity with engineers (more degree of freedom) |  | x |  | 28 | standards | Legacy design/upgrade approaches as grid modernization takes place |  | x | x | x
[9 empty] | 7 | 14 | 19 | 9 | 6 | 5.4314

## Long-Term
BenefitGroupID | BenefitLabel | SSPS Benefit | Near-term | Mid-term | Long-term | IssueGroupID | IssueLabel | Issue/concern | Generation | Transmission | Distribution | Customer | Converter
35 | functionality | Key smart grid enabler, will significantly improve flexibility of the grid, but would need to be combined with energy storage to achieve full benefits. |  | x | x | 21 | communications | Reliable communications and metering equipment for market operations/bidding | x | x
28 | functionality | Completely decoupled (asynchronous) grid will provide ability to accommodate 100% renewables --> FREE Energy | x | x | x | 16 | control | Reverse power flow from DER/DG |  |  | x | x
38 | control | Controlability - Response to distubances - Coordinated set points - FACTS in (every) substation |  |  | x | 24 | control
27 | data | Large complex distributed systems that do not require detailed system knowledge -- robust with local intelligence |  | x | x | 15 | data | Sensing and situational awareness costs too much, complex and generates too much data. How do you manage complex system? |  | x | x
56 | control | power quality improvement | x | x | x | 44 | functionality | power quality: imbalance, sag / swell; harmonics from grid or generated by customer (lack of high speed sensing) |  |  | x | x | x
37 | functionality | Step towards PEBB that facilitate AC and DC systems. Power electronics building blocks --> Microgrids in mid-term; T&D in long-term |  | x | x | 23 | functionality
46 | functionality | SSPS can blend DC and provide frequency control: ease storage integration |  | x | x | 37 | functionality | large penetration of solar / wind
43 | reliability | Make existing substation infrastructure redundant in functionality and add capability beyond what we know today. E-gateway (two-way power flow) |  |  | x | 29 | functionality | "Static" substation operation cannot keep up with future -- dynamics (LTC and capacitor banks are only options) | x | x | x | x | x
53 | monetary | improved capacity |  |  | x | 38 | load | population redistribution leads to converting / upgrading substations |  | x | x | x | x
37 | monetary | More cost but overall system upgrade in terms of performance (Dushan airplane example) |  | x | x | 23 | monetary | Where am I going to get the funds to upgrade substation?
48 | functionality | power density | x |  | x | 36 | monetary | weight and size; cost | x | x | x | x | x
54 | reliability | enhanced reliability; less number of outages | x | x | x | 43 | reliability | redundancy; reliability |  |  | x | x | x
54 | reliability | enhanced reliability; less number of outages | x | x | x | 43 | reliability | realiability as loads change | x |  | x
47 | functionality | scalability: modularity and flexibility | x | x | x | 43 | reliability | ease of transportation, repair, and installation (time, cost, availability) |  | x | x
38 | load | Compatibility of load shedding/load transfer. Micro grid/islanding techniques |  |  | x | 24 | reliability
26 | reliability | - Improved resiliency by creating 'flexible transformers' -- balancing different transformers |  | x | x |  | security
36 | security | Reduced attack surface area by replacing legacy components with single integrated device. |  | x | x | 22 | security | With substation automation, cyber threats? | x | x | x | x | x
52 | functionality | improve black start capability, ease of islanding and re-connection to the grid |  | x | x | 42 | security | resilience to natural disasters | x | x | x | x | x
47 | functionality | SSPS modular substation replace or repair |  |  | x | 42 | security | physical attack; EMP; GMD; tornado; hurricane
[9 empty] | 6 | 8 | 11 | 8 | 7 | 1.8708

## Generation
BenefitGroupID | BenefitLabel | SSPS Benefit | Near-term | Mid-term | Long-term | IssueGroupID | IssueLabel | Issue/concern | Generation | Transmission | Distribution | Customer | Converter
54 | reliability | enhanced reliability; less number of outages | x | x | x | 43 | reliability | realiability as loads change | x |  | x
35 | functionality | Key smart grid enabler, will significantly improve flexibility of the grid, but would need to be combined with energy storage to achieve full benefits. |  | x | x | 21 | communications | Reliable communications and metering equipment for market operations/bidding | x | x
36 | security | Reduced attack surface area by replacing legacy components with single integrated device. |  | x | x | 22 | security | With substation automation, cyber threats? | x | x | x | x | x
52 | functionality | improve black start capability, ease of islanding and re-connection to the grid |  | x | x | 42 | security | resilience to natural disasters | x | x | x | x | x
48 | functionality | power density | x |  | x | 36 | monetary | weight and size; cost | x | x | x | x | x
43 | reliability | Make existing substation infrastructure redundant in functionality and add capability beyond what we know today. E-gateway (two-way power flow) |  |  | x | 29 | functionality | "Static" substation operation cannot keep up with future -- dynamics (LTC and capacitor banks are only options) | x | x | x | x | x
38 | functionality | Synchronization between subs fed from different transmission lines | x | x |  | 24 | control | One concern is aggregating all the DER controllers. With increase of DERs, complexity of controlling them increases. (Coordination and bandwidth issue) | x | x | x
35 | data | Increased equipment sensor technology and equipment monitoring -- even "smart" (i.e. predictive) monitoring |  | x |  | 21 | data | Modernization of the metering at all levels. Need to implement smart grid. | x | x | x | x | x
45 | functionality | PE could manage the average over time and keep peak. |  | x |  | 31 | reliability | Increased operations and stress on mechanical tap changers for DERs results in wear out of components. | x | x | x
41 | protection | Sag mitigation | x |  |  | 27 | regulation | How do we meet NERC requirements for sag events? | x | x | x | x | x
53 | monetary | lower bill paid by customer | x |  |  | 43 | reliability | transformer sparing | x | x
27 | data | Realtime solutions to coupled operation not needed with SSPS |  |  |  | 15 | data | Cyber Attack: - Cyber attacks can be carried out remotely without major infrastructure required for delivery - can have significant local or national impact. | x | x | x | x | x
42 | education | Likely increase in creativity with engineers (more degree of freedom) |  |  |  | 28 | education | Impact of aging infrastructure to be upgraded and not enough engineering manpower to design and replace systematically while workforce is small. | x | x | x | x | x
24 | functionality | Modularity and scability - available spores (??) - mobile |  |  |  | 12 | functionality | Aging assets | x | x | x | x | x
24 | functionality | Modularity and scability - available spores (??) - mobile |  |  |  | 12 | functionality | Emergency control and repairs after man-made or natural disasters | x | x | x | x | x
25 | control | - Improved asset utilization (power flow control) - Volt-VAR control (quality, PV hosting, voltage control) |  |  |  | 13 | functionality | Redirecting energy for better asset utilization. | x | x | x
36 | security | [5 empty] | security | Physical/cyber security | x | x | x | x

## Transmission
BenefitGroupID | BenefitLabel | SSPS Benefit | Near-term | Mid-term | Long-term | IssueGroupID | IssueLabel | Issue/concern | Generation | Transmission | Distribution | Customer | Converter
47 | functionality | scalability: modularity and flexibility | x | x | x | 43 | reliability | ease of transportation, repair, and installation (time, cost, availability) |  | x | x
35 | functionality | Key smart grid enabler, will significantly improve flexibility of the grid, but would need to be combined with energy storage to achieve full benefits. |  | x | x | 21 | communications | Reliable communications and metering equipment for market operations/bidding | x | x
27 | data | Large complex distributed systems that do not require detailed system knowledge -- robust with local intelligence |  | x | x | 15 | data | Sensing and situational awareness costs too much, complex and generates too much data. How do you manage complex system? |  | x | x
36 | security | Reduced attack surface area by replacing legacy components with single integrated device. |  | x | x | 22 | security | With substation automation, cyber threats? | x | x | x | x | x
52 | functionality | improve black start capability, ease of islanding and re-connection to the grid |  | x | x | 42 | security | resilience to natural disasters | x | x | x | x | x
48 | functionality | power density | x |  | x | 36 | monetary | weight and size; cost | x | x | x | x | x
43 | reliability | Make existing substation infrastructure redundant in functionality and add capability beyond what we know today. E-gateway (two-way power flow) |  |  | x | 29 | functionality | "Static" substation operation cannot keep up with future -- dynamics (LTC and capacitor banks are only options) | x | x | x | x | x
53 | monetary | improved capacity |  |  | x | 38 | load | population redistribution leads to converting / upgrading substations |  | x | x | x | x
38 | functionality | Synchronization between subs fed from different transmission lines | x | x |  | 24 | control | One concern is aggregating all the DER controllers. With increase of DERs, complexity of controlling them increases. (Coordination and bandwidth issue) | x | x | x
25 | control | Dynamic (enhanced) power flow control | x | x |  | 13 | functionality | Ability to provide dynamic reactive power for stability |  | x | x | x
25 | control | - Improved asset utilization (power flow control) - Volt-VAR control (quality, PV hosting, voltage control) | x | x |  | 13 | functionality | Inertia reduction and impacts on system dynamics (ΔMW/Δf = "bias" β) |  | x | x
46 | functionality | coice of AC/DC supported for all end users (individual choice) | x | x |  | 37 | functionality | increase penetration of renewables; large swings due to solar/wind penetration causing grid instability |  | x | x
58 | protection | fault current limiting | x | x |  | 40 | protection | increased fault currents |  | x | x
35 | data | Increased equipment sensor technology and equipment monitoring -- even "smart" (i.e. predictive) monitoring |  | x |  | 21 | data | Modernization of the metering at all levels. Need to implement smart grid. | x | x | x | x | x
45 | functionality | PE could manage the average over time and keep peak. |  | x |  | 31 | reliability | Increased operations and stress on mechanical tap changers for DERs results in wear out of components. | x | x | x
55 | control | intelligent control and communication: quick power rerouting |  | x |  | 42 | security | substation restoration and resiliency, from natural or man made events |  | x
42 | education | Likely increase in creativity with engineers (more degree of freedom) |  | x |  | 28 | standards | Legacy design/upgrade approaches as grid modernization takes place |  | x | x | x
35 | functionality | Make variable resources dispatchable and stable with minimal local storage and control (e.g., impedence control) | x |  |  | 21 | data | Situation awareness visibility (smart sensors) - Assets assessment - Predict fault conditions |  | x | x
41 | protection | Sag mitigation | x |  |  | 27 | regulation | How do we meet NERC requirements for sag events? | x | x | x | x | x
53 | monetary | lower bill paid by customer | x |  |  | 43 | reliability | transformer sparing | x | x
28 | functionality | Better renewable integration |  |  |  | 16 | control | Backward compatibility (between different versions of technology progressions) |  | x | x | x | x
27 | data | Realtime solutions to coupled operation not needed with SSPS |  |  |  | 15 | data | Cyber Attack: - Cyber attacks can be carried out remotely without major infrastructure required for delivery - can have significant local or national impact. | x | x | x | x | x
27 | data |  |  |  |  | 15 | data | "If it ain't broke don't replace it." Makes adoption of new technology challenging. PUC approval for funding. [Fred's note: Simple is beautiful if showing simplifying complex system. Also requires new regulation to help perception of value] |  | x | x
42 | education | Likely increase in creativity with engineers (more degree of freedom) |  |  |  | 28 | education | Impact of aging infrastructure to be upgraded and not enough engineering manpower to design and replace systematically while workforce is small. | x | x | x | x | x
42 | education | Likely increase in creativity with engineers (more degree of freedom) |  |  |  | 28 | education | Workforce: Younger generation gathering interest in designing. |  | x | x | x
24 | functionality | Modularity and scability - available spores (??) - mobile |  |  |  | 12 | functionality | Aging assets | x | x | x | x | x
24 | functionality | Modularity and scability - available spores (??) - mobile |  |  |  | 12 | functionality | Emergency control and repairs after man-made or natural disasters | x | x | x | x | x
25 | control | - Improved asset utilization (power flow control) - Volt-VAR control (quality, PV hosting, voltage control) |  |  |  | 13 | functionality | Redirecting energy for better asset utilization. | x | x | x
24 | functionality | Modularity and scability - available spores (??) - mobile |  |  |  | 12 | functionality | Lack of modularity/scalability |  | x | x | x
24 | functionality | Modularity and scability - available spores (??) - mobile |  |  |  | 12 | functionality | Ability to provide emergency services |  | x | x
25 | control | Dynamic (enhanced) power flow control |  |  |  | 13 | functionality | Current substations have no control - unable to handle dynamics from DER and prosumers - but addition of PE/control conflicts with need for high reliability, resiliency and cyber-physical security (and cost) |  | x | x
25 | control | Dynamic (enhanced) power flow control |  |  |  | 13 | functionality | Evolving grid needs more dynamics distributed control, but no one has understanding of such distibution control system will behave or if it will be stable. |  | x | x | x
25 | control | Dynamic (enhanced) power flow control |  |  |  | 13 | functionality | Interaction of "many" active control devices, i.e., SVC, FACTs, PV, … |  | x | x
36 | security | [5 empty] | security | Physical/cyber security | x | x | x | x

## Distribution
BenefitGroupID | BenefitLabel | SSPS Benefit | Near-term | Mid-term | Long-term | IssueGroupID | IssueLabel | Issue/concern | Generation | Transmission | Distribution | Customer | Converter
28 | functionality | Completely decoupled (asynchronous) grid will provide ability to accommodate 100% renewables --> FREE Energy | x | x | x | 16 | control | Reverse power flow from DER/DG |  |  | x | x
56 | control | power quality improvement | x | x | x | 44 | functionality | power quality: imbalance, sag / swell; harmonics from grid or generated by customer (lack of high speed sensing) |  |  | x | x | x
47 | functionality | scalability: modularity and flexibility | x | x | x | 43 | reliability | ease of transportation, repair, and installation (time, cost, availability) |  | x | x
54 | reliability | enhanced reliability; less number of outages | x | x | x | 43 | reliability | realiability as loads change | x |  | x
54 | reliability | enhanced reliability; less number of outages | x | x | x | 43 | reliability | redundancy; reliability |  |  | x | x | x
27 | data | Large complex distributed systems that do not require detailed system knowledge -- robust with local intelligence |  | x | x | 15 | data | Sensing and situational awareness costs too much, complex and generates too much data. How do you manage complex system? |  | x | x
36 | security | Reduced attack surface area by replacing legacy components with single integrated device. |  | x | x | 22 | security | With substation automation, cyber threats? | x | x | x | x | x
52 | functionality | improve black start capability, ease of islanding and re-connection to the grid |  | x | x | 42 | security | resilience to natural disasters | x | x | x | x | x
48 | functionality | power density | x |  | x | 36 | monetary | weight and size; cost | x | x | x | x | x
43 | reliability | Make existing substation infrastructure redundant in functionality and add capability beyond what we know today. E-gateway (two-way power flow) |  |  | x | 29 | functionality | "Static" substation operation cannot keep up with future -- dynamics (LTC and capacitor banks are only options) | x | x | x | x | x
53 | monetary | improved capacity |  |  | x | 38 | load | population redistribution leads to converting / upgrading substations |  | x | x | x | x
38 | functionality | Synchronization between subs fed from different transmission lines | x | x |  | 24 | control | One concern is aggregating all the DER controllers. With increase of DERs, complexity of controlling them increases. (Coordination and bandwidth issue) | x | x | x
25 | control | Dynamic (enhanced) power flow control | x | x |  | 13 | functionality | Ability to provide dynamic reactive power for stability |  | x | x | x
25 | control | - Improved asset utilization (power flow control) - Volt-VAR control (quality, PV hosting, voltage control) | x | x |  | 13 | functionality | Inertia reduction and impacts on system dynamics (ΔMW/Δf = "bias" β) |  | x | x
46 | functionality | coice of AC/DC supported for all end users (individual choice) | x | x |  | 37 | functionality | increase penetration of renewables; large swings due to solar/wind penetration causing grid instability |  | x | x
58 | protection | fault current limiting | x | x |  | 40 | protection | increased fault currents |  | x | x
47 | functionality | modularity, scalability, multifunctional |  | x |  | 39 | control | scalability; lack of flexibility (legacy protection and control) |  |  | x | x
35 | data | Increased equipment sensor technology and equipment monitoring -- even "smart" (i.e. predictive) monitoring |  | x |  | 21 | data | Modernization of the metering at all levels. Need to implement smart grid. | x | x | x | x | x
45 | functionality | PE could manage the average over time and keep peak. |  | x |  | 31 | reliability | Increased operations and stress on mechanical tap changers for DERs results in wear out of components. | x | x | x
38 | monetary | Multiterminal MVDC/HVDC with advanced converter designs for economic benefits thru congestion and frequency response. |  | x |  | 24 | reliability | Maintains system stability with renewable controllers |  |  | x |  | x
44 | reliability | Increased options for restoration (dynamic) - Faster/modular - Configurable |  | x |  | 30 | reliability | Rapid restoration after equipment failure (radial feeds) |  |  | x
42 | education | Likely increase in creativity with engineers (more degree of freedom) |  | x |  | 28 | standards | Legacy design/upgrade approaches as grid modernization takes place |  | x | x | x
40 | protection | Fault isolation implemented at a substation | x |  |  | 26 | control | Reverse flow due to DER and its impact to protection/coordination. |  |  | x | x
35 | functionality | Make variable resources dispatchable and stable with minimal local storage and control (e.g., impedence control) | x |  |  | 21 | data | Situation awareness visibility (smart sensors) - Assets assessment - Predict fault conditions |  | x | x
47 | functionality | enabling various frequencies, in addition to various voltages | x |  |  | 37 | functionality | renewable integration; islanding; microgrids |  |  | x
39 | control | Specialized controllers such as POD, frequency, SSR and provide reactive support | x |  |  | 25 | load | Unbalanced loading on 3-phase feeders |  |  | x | x
41 | protection | Sag mitigation | x |  |  | 27 | regulation | How do we meet NERC requirements for sag events? | x | x | x | x | x
28 | functionality | Better renewable integration |  |  |  | 16 | control | Backward compatibility (between different versions of technology progressions) |  | x | x | x | x
27 | data | Realtime solutions to coupled operation not needed with SSPS |  |  |  | 15 | data | Cyber Attack: - Cyber attacks can be carried out remotely without major infrastructure required for delivery - can have significant local or national impact. | x | x | x | x | x
27 | data |  |  |  |  | 15 | data | "If it ain't broke don't replace it." Makes adoption of new technology challenging. PUC approval for funding. [Fred's note: Simple is beautiful if showing simplifying complex system. Also requires new regulation to help perception of value] |  | x | x
27 | data | Do these large complex system have to be biologically (enabled by SSPS) inspired? |  |  |  | 15 | data | Solutions based on PE are too complex; education is needed [Fred's note: SSPS simplified, reduces complexity of grid, reduces education needs] |  |  | x
42 | education | Likely increase in creativity with engineers (more degree of freedom) |  |  |  | 28 | education | Impact of aging infrastructure to be upgraded and not enough engineering manpower to design and replace systematically while workforce is small. | x | x | x | x | x
42 | education | Likely increase in creativity with engineers (more degree of freedom) |  |  |  | 28 | education | Workforce: Younger generation gathering interest in designing. |  | x | x | x
24 | functionality | Modularity and scability - available spores (??) - mobile |  |  |  | 12 | functionality | Aging assets | x | x | x | x | x
24 | functionality | Modularity and scability - available spores (??) - mobile |  |  |  | 12 | functionality | Emergency control and repairs after man-made or natural disasters | x | x | x | x | x
25 | control | - Improved asset utilization (power flow control) - Volt-VAR control (quality, PV hosting, voltage control) |  |  |  | 13 | functionality | Redirecting energy for better asset utilization. | x | x | x
24 | functionality | Modularity and scability - available spores (??) - mobile |  |  |  | 12 | functionality | Lack of modularity/scalability |  | x | x | x
24 | functionality | Modularity and scability - available spores (??) - mobile |  |  |  | 12 | functionality | Ability to provide emergency services |  | x | x
25 | control | Dynamic (enhanced) power flow control |  |  |  | 13 | functionality | Current substations have no control - unable to handle dynamics from DER and prosumers - but addition of PE/control conflicts with need for high reliability, resiliency and cyber-physical security (and cost) |  | x | x
25 | control | Dynamic (enhanced) power flow control |  |  |  | 13 | functionality | Evolving grid needs more dynamics distributed control, but no one has understanding of such distibution control system will behave or if it will be stable. |  | x | x | x
25 | control | Dynamic (enhanced) power flow control |  |  |  | 13 | functionality | Interaction of "many" active control devices, i.e., SVC, FACTs, PV, … |  | x | x
25 | control |  |  |  |  | 13 | functionality | Inability to respond to V going outside ANSI C84.1. - taps - PE |  |  | x
40 | protection |  |  |  |  | 26 | protection | Cascading system failures. Protection complexity (e.g., Northeast blackout) |  |  | x | x
40 | protection |  |  |  |  | 26 | protection | Protection coordination today; protection adaptation tomorrow (e.g., adaptable coordinated protection schemes) |  |  | x
36 | security | [5 empty] | security | Physical/cyber security | x | x | x | x

## Customer
BenefitGroupID | BenefitLabel | SSPS Benefit | Near-term | Mid-term | Long-term | IssueGroupID | IssueLabel | Issue/concern | Generation | Transmission | Distribution | Customer | Converter
28 | functionality | Completely decoupled (asynchronous) grid will provide ability to accommodate 100% renewables --> FREE Energy | x | x | x | 16 | control | Reverse power flow from DER/DG |  |  | x | x
56 | control | power quality improvement | x | x | x | 44 | functionality | power quality: imbalance, sag / swell; harmonics from grid or generated by customer (lack of high speed sensing) |  |  | x | x | x
54 | reliability | enhanced reliability; less number of outages | x | x | x | 43 | reliability | redundancy; reliability |  |  | x | x | x
36 | security | Reduced attack surface area by replacing legacy components with single integrated device. |  | x | x | 22 | security | With substation automation, cyber threats? | x | x | x | x | x
52 | functionality | improve black start capability, ease of islanding and re-connection to the grid |  | x | x | 42 | security | resilience to natural disasters | x | x | x | x | x
48 | functionality | power density | x |  | x | 36 | monetary | weight and size; cost | x | x | x | x | x
43 | reliability | Make existing substation infrastructure redundant in functionality and add capability beyond what we know today. E-gateway (two-way power flow) |  |  | x | 29 | functionality | "Static" substation operation cannot keep up with future -- dynamics (LTC and capacitor banks are only options) | x | x | x | x | x
53 | monetary | improved capacity |  |  | x | 38 | load | population redistribution leads to converting / upgrading substations |  | x | x | x | x
25 | control | Dynamic (enhanced) power flow control | x | x |  | 13 | functionality | Ability to provide dynamic reactive power for stability |  | x | x | x
47 | functionality | modularity, scalability, multifunctional |  | x |  | 39 | control | scalability; lack of flexibility (legacy protection and control) |  |  | x | x
35 | data | Increased equipment sensor technology and equipment monitoring -- even "smart" (i.e. predictive) monitoring |  | x |  | 21 | data | Modernization of the metering at all levels. Need to implement smart grid. | x | x | x | x | x
42 | education | Likely increase in creativity with engineers (more degree of freedom) |  | x |  | 28 | standards | Legacy design/upgrade approaches as grid modernization takes place |  | x | x | x
40 | protection | Fault isolation implemented at a substation | x |  |  | 26 | control | Reverse flow due to DER and its impact to protection/coordination. |  |  | x | x
55 | control | controllability; volt/var regulation (completely dynamic, not discretized; faster response than traditional voltage regulators) | x |  |  | 39 | control | volt/var and frequency regulation |  |  |  | x
39 | control | Specialized controllers such as POD, frequency, SSR and provide reactive support | x |  |  | 25 | load | Unbalanced loading on 3-phase feeders |  |  | x | x
41 | protection | Sag mitigation | x |  |  | 27 | regulation | How do we meet NERC requirements for sag events? | x | x | x | x | x
28 | functionality | Better renewable integration |  |  |  | 16 | control | Backward compatibility (between different versions of technology progressions) |  | x | x | x | x
27 | data | Realtime solutions to coupled operation not needed with SSPS |  |  |  | 15 | data | Cyber Attack: - Cyber attacks can be carried out remotely without major infrastructure required for delivery - can have significant local or national impact. | x | x | x | x | x
42 | education | Likely increase in creativity with engineers (more degree of freedom) |  |  |  | 28 | education | Impact of aging infrastructure to be upgraded and not enough engineering manpower to design and replace systematically while workforce is small. | x | x | x | x | x
42 | education | Likely increase in creativity with engineers (more degree of freedom) |  |  |  | 28 | education | Workforce: Younger generation gathering interest in designing. |  | x | x | x
24 | functionality | Modularity and scability - available spores (??) - mobile |  |  |  | 12 | functionality | Aging assets | x | x | x | x | x
24 | functionality | Modularity and scability - available spores (??) - mobile |  |  |  | 12 | functionality | Emergency control and repairs after man-made or natural disasters | x | x | x | x | x
24 | functionality | Modularity and scability - available spores (??) - mobile |  |  |  | 12 | functionality | Lack of modularity/scalability |  | x | x | x
25 | control | Dynamic (enhanced) power flow control |  |  |  | 13 | functionality | Evolving grid needs more dynamics distributed control, but no one has understanding of such distibution control system will behave or if it will be stable. |  | x | x | x
40 | protection |  |  |  |  | 26 | protection | Cascading system failures. Protection complexity (e.g., Northeast blackout) |  |  | x | x
36 | security | [5 empty] | security | Physical/cyber security | x | x | x | x

## Converter
BenefitGroupID | BenefitLabel | SSPS Benefit | Near-term | Mid-term | Long-term | IssueGroupID | IssueLabel | Issue/concern | Generation | Transmission | Distribution | Customer | Converter
56 | control | power quality improvement | x | x | x | 44 | functionality | power quality: imbalance, sag / swell; harmonics from grid or generated by customer (lack of high speed sensing) |  |  | x | x | x
54 | reliability | enhanced reliability; less number of outages | x | x | x | 43 | reliability | redundancy; reliability |  |  | x | x | x
36 | security | Reduced attack surface area by replacing legacy components with single integrated device. |  | x | x | 22 | security | With substation automation, cyber threats? | x | x | x | x | x
52 | functionality | improve black start capability, ease of islanding and re-connection to the grid |  | x | x | 42 | security | resilience to natural disasters | x | x | x | x | x
48 | functionality | power density | x |  | x | 36 | monetary | weight and size; cost | x | x | x | x | x
43 | reliability | Make existing substation infrastructure redundant in functionality and add capability beyond what we know today. E-gateway (two-way power flow) |  |  | x | 29 | functionality | "Static" substation operation cannot keep up with future -- dynamics (LTC and capacitor banks are only options) | x | x | x | x | x
53 | monetary | improved capacity |  |  | x | 38 | load | population redistribution leads to converting / upgrading substations |  | x | x | x | x
35 | data | Increased equipment sensor technology and equipment monitoring -- even "smart" (i.e. predictive) monitoring |  | x |  | 21 | data | Modernization of the metering at all levels. Need to implement smart grid. | x | x | x | x | x
38 | monetary | Multiterminal MVDC/HVDC with advanced converter designs for economic benefits thru congestion and frequency response. |  | x |  | 24 | reliability | Maintains system stability with renewable controllers |  |  | x |  | x
41 | protection | Sag mitigation | x |  |  | 27 | regulation | How do we meet NERC requirements for sag events? | x | x | x | x | x
28 | functionality | Better renewable integration |  |  |  | 16 | control | Backward compatibility (between different versions of technology progressions) |  | x | x | x | x
27 | data | Realtime solutions to coupled operation not needed with SSPS |  |  |  | 15 | data | Cyber Attack: - Cyber attacks can be carried out remotely without major infrastructure required for delivery - can have significant local or national impact. | x | x | x | x | x
42 | education | Likely increase in creativity with engineers (more degree of freedom) |  |  |  | 28 | education | Impact of aging infrastructure to be upgraded and not enough engineering manpower to design and replace systematically while workforce is small. | x | x | x | x | x
24 | functionality | Modularity and scability - available spores (??) - mobile |  |  |  | 12 | functionality | Aging assets | x | x | x | x | x
24 | functionality | Modularity and scability - available spores (??) - mobile |  |  |  | 12 | functionality | Emergency control and repairs after man-made or natural disasters | x | x | x | x | x