## YT Bi-Weekly Emissions
Dominion Energy - Yorktown Power Station
Bi-Weekly Mass Emissions
| 2018-12-04 | [7 empty] | through |  | 2018-12-17 23:00
(If opened as an Excel spreadsheet on a local computer (i.e., not on the QAEA server and not from the QAEA Portal), the "Date & Hour" will be incorrect during Daylight Savings Time)
| 1 | 3 | 4 | 2 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
|  | Unit 1 Load | Unit 2 Load | Common Stack
Substituted Data | Date & Hour | (Gross MW) | (Gross MW) | Operation (x.xx Hour) | Heat Input (mmBtu) | Stack_HI_MODC | NOx (Lbs) | Stack_NOx_Lbs_MODC | SO2 (Lbs) | Stack_SO2_Lbs_MODC | CO2 (Tons) | Stack_CO2_Tons_MODC | CO (Lbs) | Coal (Tons) | PM10 (Lbs) | Lead (Lbs) | Mercury (Lbs) | HCl (Lbs) | HF (Lbs) |  | CO Lbs/Ton | PM10 Lbs/mmBtu |  | Lead Lbs/mmBtu | Mercury Lb/Ton | HCl Lb/Ton | HF Lb/Ton | Data End Date | Report Start Date
[22 empty] | 20150602 | 20170720
FALSE | 2018-12-04 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181204 | 0.5 | 0.087 | 0.1143 | 2.83e-06 | 8.3e-05 | 1.2 | 0.15 | 2018-12-18 | 2018-12-04
FALSE | 2018-12-04 01:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181204
FALSE | 2018-12-04 02:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181204
FALSE | 2018-12-04 03:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181204
FALSE | 2018-12-04 04:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181204
FALSE | 2018-12-04 05:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181204
FALSE | 2018-12-04 06:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181204
FALSE | 2018-12-04 07:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181204
FALSE | 2018-12-04 08:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181204
FALSE | 2018-12-04 09:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181204
FALSE | 2018-12-04 10:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181204
FALSE | 2018-12-04 11:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181204
FALSE | 2018-12-04 12:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181204
FALSE | 2018-12-04 13:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181204
FALSE | 2018-12-04 14:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181204
FALSE | 2018-12-04 15:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181204
FALSE | 2018-12-04 16:00 | 0 | 0 | 0.75 | 19.05 | 1 | 0.075 | 1 | 0 | 1 | 1.95 | 1 | 0.37948 | 0.75896 | 2.1774 | 5.3911e-05 | 6.2994e-05 | 0.91076 | 0.11384 | 20181204
FALSE | 2018-12-04 17:00 | 0 | 0 | 1 | 56 | 1 | 0.6 | 1 | 0 | 1 | 5.7 | 1 | 1.1155 | 2.2311 | 6.4008 | 0.00015848 | 0.00018518 | 2.6773 | 0.33466 | 20181204
FALSE | 2018-12-04 18:00 | 0 | 0 | 1 | 59.2 | 1 | 0.9 | 1 | 0 | 1 | 6.1 | 1 | 1.1793 | 2.3586 | 6.7666 | 0.00016754 | 0.00019576 | 2.8303 | 0.35378 | 20181204
FALSE | 2018-12-04 19:00 | 0 | 0 | 1 | 92 | 1 | 2.2 | 1 | 0 | 1 | 9.4 | 1 | 1.8327 | 3.6653 | 10.5156 | 0.00026036 | 0.00030422 | 4.3984 | 0.5498 | 20181204
FALSE | 2018-12-04 20:00 | 0 | 0 | 1 | 93.4 | 1 | 3 | 1 | 0 | 1 | 9.6 | 1 | 1.8606 | 3.7211 | 10.6756 | 0.00026432 | 0.00030885 | 4.4653 | 0.55817 | 20181204
FALSE | 2018-12-04 21:00 | 0 | 0 | 1 | 108.5 | 1 | 3.7 | 1 | 0 | 1 | 11.1 | 1 | 2.1614 | 4.3227 | 12.4016 | 0.00030705 | 0.00035878 | 5.1873 | 0.64841 | 20181204
FALSE | 2018-12-04 22:00 | 0 | 0 | 1 | 92.3 | 1 | 3.2 | 1 | 0 | 1 | 9.5 | 1 | 1.8386 | 3.6773 | 10.5499 | 0.00026121 | 0.00030522 | 4.4127 | 0.55159 | 20181204
FALSE | 2018-12-04 23:00 | 0 | 0 | 1 | 107.5 | 1 | 4.7 | 1 | 0 | 1 | 11 | 1 | 2.1414 | 4.2829 | 12.2873 | 0.00030422 | 0.00035548 | 5.1394 | 0.64243 | 20181204
FALSE | 2018-12-05 | 0 | 0 | 1 | 77.2 | 1 | 2.6 | 1 | 0 | 1 | 7.9 | 1 | 1.5378 | 3.0757 | 8.824 | 0.00021848 | 0.00025528 | 3.6908 | 0.46135 | 20181205
FALSE | 2018-12-05 01:00 | 0 | 0 | 1 | 116.1 | 1 | 5 | 1 | 0 | 1 | 11.9 | 1 | 2.3127 | 4.6255 | 13.2702 | 0.00032856 | 0.00038392 | 5.5506 | 0.69382 | 20181205
FALSE | 2018-12-05 02:00 | 0 | 0 | 1 | 111.3 | 1 | 4.2 | 1 | 0 | 1 | 11.4 | 1 | 2.2171 | 4.4343 | 12.7216 | 0.00031498 | 0.00036804 | 5.3211 | 0.66514 | 20181205
FALSE | 2018-12-05 03:00 | 7 | 0 | 1 | 219.4 | 1 | 34.9 | 1 | 135.4 | 1 | 22.5 | 1 | 4.3705 | 8.741 | 25.0774 | 0.0006209 | 0.00072551 | 10.4892 | 1.3112 | 20181205
FALSE | 2018-12-05 04:00 | 35 | 0 | 1 | 437.8 | 1 | 127.4 | 1 | 574.2 | 1 | 44.9 | 1 | 8.7211 | 17.4422 | 50.0405 | 0.001239 | 0.0014477 | 20.9307 | 2.6163 | 20181205
FALSE | 2018-12-05 05:00 | 77 | 0 | 1 | 864.5 | 1 | 312.9 | 1 | 1562.5 | 1 | 88.7 | 1 | 17.2211 | 34.4422 | 98.8123 | 0.0024465 | 0.0028587 | 41.3307 | 5.1663 | 20181205
FALSE | 2018-12-05 06:00 | 94 | 0 | 1 | 974.7 | 1 | 392.8 | 1 | 1826.6 | 1 | 100 | 1 | 19.4163 | 38.8327 | 111.4082 | 0.0027584 | 0.0032231 | 46.5992 | 5.8249 | 20181205
FALSE | 2018-12-05 07:00 | 106 | 0 | 1 | 1108.8 | 1 | 441.3 | 1 | 2138.7 | 1 | 113.8 | 1 | 22.0876 | 44.1753 | 126.7358 | 0.0031379 | 0.0036665 | 53.0104 | 6.6263 | 20181205
FALSE | 2018-12-05 08:00 | 134 | 0 | 1 | 1370.5 | 1 | 572.9 | 1 | 2949.8 | 1 | 140.6 | 1 | 27.3008 | 54.6016 | 156.6481 | 0.0038785 | 0.0045319 | 65.5219 | 8.1902 | 20181205
FALSE | 2018-12-05 09:00 | 136 | 0 | 1 | 1398.6 | 1 | 576.2 | 1 | 2977.1 | 1 | 143.5 | 1 | 27.8606 | 55.7211 | 159.86 | 0.003958 | 0.0046249 | 66.8653 | 8.3582 | 20181205
FALSE | 2018-12-05 10:00 | 136 | 0 | 1 | 1378.6 | 1 | 581.8 | 1 | 2968.5 | 1 | 141.4 | 1 | 27.4622 | 54.9243 | 157.574 | 0.0039014 | 0.0045587 | 65.9092 | 8.2386 | 20181205
FALSE | 2018-12-05 11:00 | 139 | 0 | 1 | 1419.5 | 1 | 586.3 | 1 | 3046.6 | 1 | 145.6 | 1 | 28.2769 | 56.5538 | 162.2489 | 0.0040172 | 0.004694 | 67.8645 | 8.4831 | 20181205
FALSE | 2018-12-05 12:00 | 140 | 0 | 1 | 1418.3 | 1 | 588.6 | 1 | 3035.3 | 1 | 145.5 | 1 | 28.253 | 56.506 | 162.1117 | 0.0040138 | 0.00469 | 67.8072 | 8.4759 | 20181205
FALSE | 2018-12-05 13:00 | 140 | 0 | 1 | 1344.5 | 1 | 528.4 | 1 | 2832.1 | 1 | 137.9 | 1 | 26.7829 | 53.5657 | 153.6763 | 0.0038049 | 0.004446 | 64.2789 | 8.0349 | 20181205
FALSE | 2018-12-05 14:00 | 140 | 0 | 1 | 1420.1 | 1 | 553.8 | 1 | 2808.1 | 1 | 145.7 | 1 | 28.2888 | 56.5777 | 162.3174 | 0.0040189 | 0.0046959 | 67.8932 | 8.4867 | 20181205
FALSE | 2018-12-05 15:00 | 140 | 0 | 1 | 1424.4 | 1 | 564.1 | 1 | 2796.2 | 1 | 146.1 | 1 | 28.3745 | 56.749 | 162.8089 | 0.0040311 | 0.0047102 | 68.0988 | 8.5124 | 20181205
FALSE | 2018-12-05 16:00 | 140 | 0 | 1 | 1470.3 | 1 | 569 | 1 | 2787.2 | 1 | 150.9 | 1 | 29.2888 | 58.5777 | 168.0553 | 0.0041609 | 0.0048619 | 70.2932 | 8.7867 | 20181205
FALSE | 2018-12-05 17:00 | 140 | 0 | 1 | 1459 | 1 | 570.5 | 1 | 2769.1 | 1 | 149.7 | 1 | 29.0637 | 58.1275 | 166.7637 | 0.004129 | 0.0048246 | 69.753 | 8.7191 | 20181205
FALSE | 2018-12-05 18:00 | 140 | 0 | 1 | 1368.3 | 1 | 547.3 | 1 | 2712.5 | 1 | 140.4 | 1 | 27.257 | 54.5139 | 156.3967 | 0.0038723 | 0.0045247 | 65.4167 | 8.1771 | 20181205
FALSE | 2018-12-05 19:00 | 140 | 0 | 1 | 1454.2 | 1 | 564.2 | 1 | 2734.2 | 1 | 149.2 | 1 | 28.9681 | 57.9363 | 166.2151 | 0.0041154 | 0.0048087 | 69.5235 | 8.6904 | 20181205
FALSE | 2018-12-05 20:00 | 140 | 0 | 1 | 1465 | 1 | 567 | 1 | 2796.5 | 1 | 150.3 | 1 | 29.1833 | 58.3665 | 167.4495 | 0.0041459 | 0.0048444 | 70.0398 | 8.755 | 20181205
FALSE | 2018-12-05 21:00 | 140 | 0 | 1 | 1503.7 | 1 | 560.9 | 1 | 2815.4 | 1 | 154.3 | 1 | 29.9542 | 59.9084 | 171.8729 | 0.0042555 | 0.0049724 | 71.89 | 8.9863 | 20181205
FALSE | 2018-12-05 22:00 | 140 | 0 | 1 | 1530.5 | 1 | 561.7 | 1 | 2830.2 | 1 | 157 | 1 | 30.488 | 60.9761 | 174.9361 | 0.0043313 | 0.005061 | 73.1713 | 9.1464 | 20181205
FALSE | 2018-12-05 23:00 | 140 | 0 | 1 | 1532.2 | 1 | 560.8 | 1 | 2865.6 | 1 | 157.2 | 1 | 30.5219 | 61.0438 | 175.1305 | 0.0043361 | 0.0050666 | 73.2526 | 9.1566 | 20181205
FALSE | 2018-12-06 | 140 | 5 | 1 | 1618.6 | 1 | 644.2 | 1 | 3023.2 | 1 | 166.1 | 1 | 32.243 | 64.4861 | 185.006 | 0.0045806 | 0.0053523 | 77.3833 | 9.6729 | 20181206
FALSE | 2018-12-06 01:00 | 140 | 12 | 1 | 1726.4 | 1 | 761.3 | 1 | 3249.9 | 1 | 177.1 | 1 | 34.3904 | 68.7809 | 197.3275 | 0.0048857 | 0.0057088 | 82.5371 | 10.3171 | 20181206
FALSE | 2018-12-06 02:00 | 139 | 43 | 1 | 1943.8 | 1 | 762 | 1 | 3663.4 | 1 | 199.4 | 1 | 38.7211 | 77.4422 | 222.1763 | 0.005501 | 0.0064277 | 92.9307 | 11.6163 | 20181206
FALSE | 2018-12-06 03:00 | 140 | 80 | 1 | 2283.1 | 1 | 831 | 1 | 4232.2 | 1 | 234.2 | 1 | 45.4801 | 90.9602 | 260.9583 | 0.0064612 | 0.0075497 | 109.1522 | 13.644 | 20181206
FALSE | 2018-12-06 04:00 | 134 | 102 | 1 | 2343.2 | 1 | 895.1 | 1 | 4440.9 | 1 | 240.4 | 1 | 46.6773 | 93.3546 | 267.8278 | 0.0066313 | 0.0077484 | 112.0255 | 14.0032 | 20181206
FALSE | 2018-12-06 05:00 | 139 | 136 | 1 | 2656.3 | 1 | 1102.4 | 1 | 5089.6 | 1 | 272.5 | 1 | 52.9143 | 105.8287 | 303.6151 | 0.0075173 | 0.0087838 | 126.9944 | 15.8743 | 20181206
FALSE | 2018-12-06 06:00 | 124 | 145 | 1 | 2630.1 | 1 | 1244 | 1 | 4842.1 | 1 | 269.8 | 1 | 52.3924 | 104.7849 | 300.6204 | 0.0074432 | 0.0086971 | 125.7418 | 15.7177 | 20181206
FALSE | 2018-12-06 07:00 | 124 | 144 | 1 | 2569.9 | 1 | 1135.9 | 1 | 4722.4 | 1 | 263.7 | 1 | 51.1932 | 102.3865 | 293.7396 | 0.0072728 | 0.0084981 | 122.8637 | 15.358 | 20181206
FALSE | 2018-12-06 08:00 | 102 | 145 | 1 | 2374.4 | 1 | 1049.5 | 1 | 4280.2 | 1 | 243.6 | 1 | 47.2988 | 94.5976 | 271.3939 | 0.0067196 | 0.0078516 | 113.5171 | 14.1896 | 20181206
FALSE | 2018-12-06 09:00 | 103 | 146 | 1 | 2380.4 | 1 | 1064 | 1 | 4320.6 | 1 | 244.2 | 1 | 47.4183 | 94.8367 | 272.0797 | 0.0067365 | 0.0078714 | 113.804 | 14.2255 | 20181206
FALSE | 2018-12-06 10:00 | 116 | 146 | 1 | 2487.7 | 1 | 1134.4 | 1 | 4571.9 | 1 | 255.2 | 1 | 49.5558 | 99.1116 | 284.3441 | 0.0070402 | 0.0082263 | 118.9339 | 14.8667 | 20181206
FALSE | 2018-12-06 11:00 | 140 | 146 | 1 | 2713.5 | 1 | 1250.9 | 1 | 4985.3 | 1 | 278.4 | 1 | 54.0538 | 108.1076 | 310.1531 | 0.0076792 | 0.0089729 | 129.7291 | 16.2161 | 20181206
FALSE | 2018-12-06 12:00 | 139 | 146 | 1 | 2597.1 | 1 | 1199.9 | 1 | 4912.7 | 1 | 266.5 | 1 | 51.7351 | 103.4701 | 296.8485 | 0.0073498 | 0.008588 | 124.1641 | 15.5205 | 20181206
FALSE | 2018-12-06 13:00 | 138 | 146 | 1 | 2647.4 | 1 | 1167.5 | 1 | 4916.3 | 1 | 271.6 | 1 | 52.7371 | 105.4741 | 302.5978 | 0.0074921 | 0.0087544 | 126.5689 | 15.8211 | 20181206
FALSE | 2018-12-06 14:00 | 139 | 147 | 1 | 2694.9 | 1 | 1191.1 | 1 | 4927.9 | 1 | 276.5 | 1 | 53.6833 | 107.3665 | 308.0271 | 0.0076266 | 0.0089114 | 128.8398 | 16.105 | 20181206
FALSE | 2018-12-06 15:00 | 139 | 147 | 1 | 2724.5 | 1 | 1204.2 | 1 | 4908.3 | 1 | 279.5 | 1 | 54.2729 | 108.5458 | 311.4103 | 0.0077103 | 0.0090093 | 130.255 | 16.2819 | 20181206
FALSE | 2018-12-06 16:00 | 139 | 147 | 1 | 2693 | 1 | 1195.7 | 1 | 4912.5 | 1 | 276.3 | 1 | 53.6454 | 107.2908 | 307.8099 | 0.0076212 | 0.0089051 | 128.749 | 16.0936 | 20181206
FALSE | 2018-12-06 17:00 | 140 | 146 | 1 | 2758 | 1 | 1194.2 | 1 | 4902.8 | 1 | 283 | 1 | 54.9402 | 109.8805 | 315.2394 | 0.0078051 | 0.0091201 | 131.8566 | 16.4821 | 20181206
FALSE | 2018-12-06 18:00 | 140 | 146 | 1 | 2667 | 1 | 1181.5 | 1 | 4835.2 | 1 | 273.6 | 1 | 53.1275 | 106.255 | 304.8381 | 0.0075476 | 0.0088192 | 127.506 | 15.9382 | 20181206
FALSE | 2018-12-06 19:00 | 140 | 146 | 1 | 2639 | 1 | 1192.8 | 1 | 4873.9 | 1 | 270.8 | 1 | 52.5697 | 105.1394 | 301.6377 | 0.0074684 | 0.0087266 | 126.1673 | 15.7709 | 20181206
FALSE | 2018-12-06 20:00 | 141 | 146 | 1 | 2743 | 1 | 1204.2 | 1 | 4928.6 | 1 | 281.4 | 1 | 54.6414 | 109.2829 | 313.5249 | 0.0077627 | 0.0090705 | 131.1394 | 16.3924 | 20181206
FALSE | 2018-12-06 21:00 | 141 | 143 | 1 | 2666.8 | 1 | 1208.1 | 1 | 4904.1 | 1 | 273.6 | 1 | 53.1235 | 106.247 | 304.8152 | 0.007547 | 0.0088185 | 127.4964 | 15.9371 | 20181206
FALSE | 2018-12-06 22:00 | 142 | 145 | 1 | 2743.7 | 1 | 1193.5 | 1 | 4927.9 | 1 | 281.5 | 1 | 54.6554 | 109.3108 | 313.6049 | 0.0077647 | 0.0090728 | 131.1729 | 16.3966 | 20181206
FALSE | 2018-12-06 23:00 | 142 | 146 | 1 | 2687 | 1 | 1222.6 | 1 | 4901.6 | 1 | 275.7 | 1 | 53.5259 | 107.0518 | 307.1241 | 0.0076042 | 0.0088853 | 128.4622 | 16.0578 | 20181206
FALSE | 2018-12-07 | 141 | 145 | 1 | 2661.6 | 1 | 1208.4 | 1 | 4869.4 | 1 | 273.1 | 1 | 53.0199 | 106.0398 | 304.2209 | 0.0075323 | 0.0088013 | 127.2478 | 15.906 | 20181207
FALSE | 2018-12-07 01:00 | 138 | 145 | 1 | 2648 | 1 | 1141.3 | 1 | 4843.2 | 1 | 271.7 | 1 | 52.749 | 105.498 | 302.6664 | 0.0074938 | 0.0087563 | 126.5976 | 15.8247 | 20181207
FALSE | 2018-12-07 02:00 | 139 | 145 | 1 | 2719.7 | 1 | 1136.8 | 1 | 4839.2 | 1 | 279 | 1 | 54.1773 | 108.3546 | 310.8617 | 0.0076968 | 0.0089934 | 130.0255 | 16.2532 | 20181207
FALSE | 2018-12-07 03:00 | 139 | 145 | 1 | 2684.7 | 1 | 1132.9 | 1 | 4805.3 | 1 | 275.5 | 1 | 53.4801 | 106.9602 | 306.8612 | 0.0075977 | 0.0088777 | 128.3522 | 16.044 | 20181207
FALSE | 2018-12-07 04:00 | 139 | 145 | 1 | 2719.1 | 1 | 1131.1 | 1 | 4799.5 | 1 | 279 | 1 | 54.1653 | 108.3307 | 310.7931 | 0.0076951 | 0.0089914 | 129.9968 | 16.2496 | 20181207
FALSE | 2018-12-07 05:00 | 139 | 145 | 1 | 2618 | 1 | 1104.8 | 1 | 4680.6 | 1 | 268.6 | 1 | 52.1514 | 104.3028 | 299.2374 | 0.0074089 | 0.0086571 | 125.1633 | 15.6454 | 20181207
FALSE | 2018-12-07 06:00 | 139 | 145 | 1 | 2727 | 1 | 1137.2 | 1 | 4744.9 | 1 | 279.8 | 1 | 54.3227 | 108.6454 | 311.6961 | 0.0077174 | 0.0090176 | 130.3745 | 16.2968 | 20181207
FALSE | 2018-12-07 07:00 | 139 | 145 | 1 | 2726 | 1 | 1131.3 | 1 | 4774.9 | 1 | 279.7 | 1 | 54.3028 | 108.6056 | 311.5818 | 0.0077146 | 0.0090143 | 130.3267 | 16.2908 | 20181207
FALSE | 2018-12-07 08:00 | 139 | 145 | 1 | 2699.9 | 1 | 1139.4 | 1 | 4775.7 | 1 | 277 | 1 | 53.7829 | 107.5657 | 308.5986 | 0.0076407 | 0.008928 | 129.0789 | 16.1349 | 20181207
FALSE | 2018-12-07 09:00 | 139 | 145 | 1 | 2731.6 | 1 | 1136.3 | 1 | 4871.4 | 1 | 280.3 | 1 | 54.4143 | 108.8287 | 312.2219 | 0.0077304 | 0.0090328 | 130.5944 | 16.3243 | 20181207
FALSE | 2018-12-07 10:00 | 139 | 145 | 1 | 2726.5 | 1 | 1134.2 | 1 | 4888.1 | 1 | 279.7 | 1 | 54.3127 | 108.6255 | 311.639 | 0.007716 | 0.0090159 | 130.3506 | 16.2938 | 20181207
FALSE | 2018-12-07 11:00 | 139 | 145 | 1 | 2728.6 | 1 | 1148.7 | 1 | 4877.8 | 1 | 279.9 | 1 | 54.3546 | 108.7092 | 311.879 | 0.0077219 | 0.0090229 | 130.451 | 16.3064 | 20181207
FALSE | 2018-12-07 12:00 | 139 | 145 | 1 | 2660 | 1 | 1154.4 | 1 | 4813.6 | 1 | 272.9 | 1 | 52.988 | 105.9761 | 304.038 | 0.0075278 | 0.008796 | 127.1713 | 15.8964 | 20181207
FALSE | 2018-12-07 13:00 | 139 | 145 | 1 | 2693.8 | 1 | 1158.3 | 1 | 4685.4 | 1 | 276.4 | 1 | 53.6614 | 107.3227 | 307.9013 | 0.0076235 | 0.0089078 | 128.7873 | 16.0984 | 20181207
FALSE | 2018-12-07 14:00 | 139 | 145 | 1 | 2652 | 1 | 1151 | 1 | 4579.1 | 1 | 272.1 | 1 | 52.8287 | 105.6574 | 303.1236 | 0.0075052 | 0.0087696 | 126.7888 | 15.8486 | 20181207
FALSE | 2018-12-07 15:00 | 139 | 145 | 1 | 2589.1 | 1 | 1152.1 | 1 | 4461.3 | 1 | 265.6 | 1 | 51.5757 | 103.1514 | 295.9341 | 0.0073272 | 0.0085616 | 123.7817 | 15.4727 | 20181207
FALSE | 2018-12-07 16:00 | 139 | 145 | 1 | 2695.1 | 1 | 1169.7 | 1 | 4280.9 | 1 | 276.5 | 1 | 53.6873 | 107.3745 | 308.0499 | 0.0076271 | 0.0089121 | 128.8494 | 16.1062 | 20181207
FALSE | 2018-12-07 17:00 | 139 | 145 | 1 | 2655.1 | 1 | 1162.9 | 1 | 4153.1 | 1 | 272.4 | 1 | 52.8904 | 105.7809 | 303.4779 | 0.0075139 | 0.0087798 | 126.9371 | 15.8671 | 20181207
FALSE | 2018-12-07 18:00 | 139 | 145 | 1 | 2683.5 | 1 | 1129.8 | 1 | 4055.7 | 1 | 275.3 | 1 | 53.4562 | 106.9124 | 306.724 | 0.0075943 | 0.0088737 | 128.2948 | 16.0369 | 20181207
FALSE | 2018-12-07 19:00 | 139 | 145 | 1 | 2688.5 | 1 | 1142.6 | 1 | 4077.1 | 1 | 275.8 | 1 | 53.5558 | 107.1116 | 307.2955 | 0.0076085 | 0.0088903 | 128.5339 | 16.0667 | 20181207
FALSE | 2018-12-07 20:00 | 139 | 145 | 1 | 2727.7 | 1 | 1151.1 | 1 | 4090.1 | 1 | 279.9 | 1 | 54.3367 | 108.6733 | 311.7761 | 0.0077194 | 0.0090199 | 130.408 | 16.301 | 20181207
FALSE | 2018-12-07 21:00 | 139 | 145 | 1 | 2660.5 | 1 | 1154.7 | 1 | 4097.1 | 1 | 273 | 1 | 52.998 | 105.996 | 304.0951 | 0.0075292 | 0.0087977 | 127.1952 | 15.8994 | 20181207
FALSE | 2018-12-07 22:00 | 140 | 145 | 1 | 2588.1 | 1 | 1141.4 | 1 | 4081.7 | 1 | 265.5 | 1 | 51.5558 | 103.1116 | 295.8198 | 0.0073243 | 0.0085583 | 123.7339 | 15.4667 | 20181207
FALSE | 2018-12-07 23:00 | 139 | 145 | 1 | 2674.2 | 1 | 1136.5 | 1 | 4067.2 | 1 | 274.4 | 1 | 53.2709 | 106.5418 | 305.6611 | 0.007568 | 0.008843 | 127.8502 | 15.9813 | 20181207
FALSE | 2018-12-08 | 113 | 145 | 1 | 2431.5 | 1 | 1062.6 | 1 | 3652 | 1 | 249.5 | 1 | 48.4363 | 96.8725 | 277.9205 | 0.0068811 | 0.0080404 | 116.247 | 14.5309 | 20181208
FALSE | 2018-12-08 01:00 | 98 | 145 | 1 | 2296 | 1 | 952.8 | 1 | 3465.8 | 1 | 235.6 | 1 | 45.7371 | 91.4741 | 262.4328 | 0.0064977 | 0.0075924 | 109.7689 | 13.7211 | 20181208
FALSE | 2018-12-08 02:00 | 112 | 118 | 1 | 2213.8 | 1 | 856.7 | 1 | 3383.5 | 1 | 227.1 | 1 | 44.0996 | 88.1992 | 253.0373 | 0.0062651 | 0.0073205 | 105.839 | 13.2299 | 20181208
FALSE | 2018-12-08 03:00 | 141 | 98 | 1 | 2309.6 | 1 | 919.2 | 1 | 3597.2 | 1 | 237 | 1 | 46.008 | 92.0159 | 263.9873 | 0.0065362 | 0.0076373 | 110.4191 | 13.8024 | 20181208
FALSE | 2018-12-08 04:00 | 140 | 120 | 1 | 2489.5 | 1 | 1033.1 | 1 | 3832.8 | 1 | 255.4 | 1 | 49.5916 | 99.1833 | 284.5498 | 0.0070453 | 0.0082322 | 119.0199 | 14.8775 | 20181208
FALSE | 2018-12-08 05:00 | 140 | 144 | 1 | 2567.6 | 1 | 1127.2 | 1 | 4021.3 | 1 | 263.4 | 1 | 51.1474 | 102.2948 | 293.4767 | 0.0072663 | 0.0084905 | 122.7538 | 15.3442 | 20181208
FALSE | 2018-12-08 06:00 | 140 | 144 | 1 | 2676.9 | 1 | 1121.6 | 1 | 4073.4 | 1 | 274.7 | 1 | 53.3247 | 106.6494 | 305.9697 | 0.0075756 | 0.0088519 | 127.9793 | 15.9974 | 20181208
FALSE | 2018-12-08 07:00 | 140 | 144 | 1 | 2671.2 | 1 | 1116.6 | 1 | 4064.6 | 1 | 274.1 | 1 | 53.2112 | 106.4223 | 305.3182 | 0.0075595 | 0.0088331 | 127.7068 | 15.9633 | 20181208
FALSE | 2018-12-08 08:00 | 140 | 144 | 1 | 2706.4 | 1 | 1120.4 | 1 | 4003.9 | 1 | 277.7 | 1 | 53.9124 | 107.8247 | 309.3415 | 0.0076591 | 0.0089495 | 129.3896 | 16.1737 | 20181208
FALSE | 2018-12-08 09:00 | 139 | 144 | 1 | 2698 | 1 | 1117 | 1 | 3910.8 | 1 | 276.8 | 1 | 53.745 | 107.49 | 308.3814 | 0.0076353 | 0.0089217 | 128.988 | 16.1235 | 20181208
FALSE | 2018-12-08 10:00 | 139 | 144 | 1 | 2692.9 | 1 | 1117.6 | 1 | 3970.2 | 1 | 276.3 | 1 | 53.6434 | 107.2869 | 307.7985 | 0.0076209 | 0.0089048 | 128.7442 | 16.093 | 20181208
FALSE | 2018-12-08 11:00 | 139 | 144 | 1 | 2684 | 1 | 1111.2 | 1 | 4019.6 | 1 | 275.4 | 1 | 53.4661 | 106.9323 | 306.7812 | 0.0075957 | 0.0088754 | 128.3187 | 16.0398 | 20181208
FALSE | 2018-12-08 12:00 | 139 | 144 | 1 | 2685.3 | 1 | 1117.1 | 1 | 4023.5 | 1 | 275.5 | 1 | 53.492 | 106.9841 | 306.9298 | 0.0075994 | 0.0088797 | 128.3809 | 16.0476 | 20181208
FALSE | 2018-12-08 13:00 | 139 | 144 | 1 | 2688.7 | 1 | 1102.4 | 1 | 4018.9 | 1 | 275.9 | 1 | 53.5598 | 107.1195 | 307.3184 | 0.007609 | 0.0088909 | 128.5434 | 16.0679 | 20181208
FALSE | 2018-12-08 14:00 | 140 | 144 | 1 | 2648.9 | 1 | 1099.3 | 1 | 4001.4 | 1 | 271.8 | 1 | 52.7669 | 105.5339 | 302.7693 | 0.0074964 | 0.0087593 | 126.6406 | 15.8301 | 20181208
FALSE | 2018-12-08 15:00 | 140 | 144 | 1 | 2687.6 | 1 | 1104.6 | 1 | 4009.4 | 1 | 275.7 | 1 | 53.5378 | 107.0757 | 307.1927 | 0.0076059 | 0.0088873 | 128.4908 | 16.0614 | 20181208
FALSE | 2018-12-08 16:00 | 140 | 144 | 1 | 2691.9 | 1 | 1106.4 | 1 | 4033.5 | 1 | 276.2 | 1 | 53.6235 | 107.247 | 307.6842 | 0.0076181 | 0.0089015 | 128.6964 | 16.0871 | 20181208
FALSE | 2018-12-08 17:00 | 140 | 144 | 1 | 2686.1 | 1 | 1101.3 | 1 | 4018.9 | 1 | 275.6 | 1 | 53.508 | 107.0159 | 307.0212 | 0.0076017 | 0.0088823 | 128.4191 | 16.0524 | 20181208
FALSE | 2018-12-08 18:00 | 140 | 144 | 1 | 2625.4 | 1 | 1086.9 | 1 | 4007.6 | 1 | 269.4 | 1 | 52.2988 | 104.5976 | 300.0832 | 0.0074299 | 0.0086816 | 125.5171 | 15.6896 | 20181208
FALSE | 2018-12-08 19:00 | 140 | 144 | 1 | 2660.1 | 1 | 1093.3 | 1 | 4027.2 | 1 | 272.9 | 1 | 52.99 | 105.9801 | 304.0494 | 0.0075281 | 0.0087963 | 127.1761 | 15.897 | 20181208
FALSE | 2018-12-08 20:00 | 140 | 144 | 1 | 2663.1 | 1 | 1110.5 | 1 | 4057.2 | 1 | 273.2 | 1 | 53.0498 | 106.0996 | 304.3923 | 0.0075366 | 0.0088063 | 127.3195 | 15.9149 | 20181208
FALSE | 2018-12-08 21:00 | 140 | 144 | 1 | 2636.4 | 1 | 1112.6 | 1 | 4073.7 | 1 | 270.5 | 1 | 52.5179 | 105.0359 | 301.3405 | 0.007461 | 0.008718 | 126.043 | 15.7554 | 20181208
FALSE | 2018-12-08 22:00 | 140 | 144 | 1 | 2660.9 | 1 | 1106.9 | 1 | 4054.9 | 1 | 273 | 1 | 53.006 | 106.012 | 304.1409 | 0.0075303 | 0.008799 | 127.2143 | 15.9018 | 20181208
FALSE | 2018-12-08 23:00 | 140 | 144 | 1 | 2689.8 | 1 | 1108.2 | 1 | 4022.5 | 1 | 276 | 1 | 53.5817 | 107.1633 | 307.4441 | 0.0076121 | 0.0088946 | 128.596 | 16.0745 | 20181208
FALSE | 2018-12-09 | 140 | 144 | 1 | 2655.3 | 1 | 1107.3 | 1 | 4023.9 | 1 | 272.4 | 1 | 52.8944 | 105.7888 | 303.5008 | 0.0075145 | 0.0087805 | 126.9466 | 15.8683 | 20181209
FALSE | 2018-12-09 01:00 | 140 | 144 | 1 | 2623.4 | 1 | 1114.9 | 1 | 4035 | 1 | 269.2 | 1 | 52.259 | 104.5179 | 299.8546 | 0.0074242 | 0.008675 | 125.4215 | 15.6777 | 20181209
FALSE | 2018-12-09 02:00 | 140 | 144 | 1 | 2590.8 | 1 | 1124.4 | 1 | 4040.2 | 1 | 265.8 | 1 | 51.6096 | 103.2191 | 296.1284 | 0.007332 | 0.0085672 | 123.8629 | 15.4829 | 20181209
FALSE | 2018-12-09 03:00 | 140 | 144 | 1 | 2593.2 | 1 | 1125.4 | 1 | 4011.5 | 1 | 266.1 | 1 | 51.6574 | 103.3147 | 296.4028 | 0.0073388 | 0.0085751 | 123.9777 | 15.4972 | 20181209
FALSE | 2018-12-09 04:00 | 140 | 144 | 1 | 2625 | 1 | 1123.5 | 1 | 4017.8 | 1 | 269.3 | 1 | 52.2908 | 104.5817 | 300.0375 | 0.0074288 | 0.0086803 | 125.498 | 15.6873 | 20181209
FALSE | 2018-12-09 05:00 | 140 | 144 | 1 | 2559.5 | 1 | 1098 | 1 | 3913.1 | 1 | 262.6 | 1 | 50.9861 | 101.9721 | 292.5509 | 0.0072434 | 0.0084637 | 122.3665 | 15.2958 | 20181209
FALSE | 2018-12-09 06:00 | 140 | 144 | 1 | 2589.3 | 1 | 1110.8 | 1 | 3975.2 | 1 | 265.7 | 1 | 51.5797 | 103.1594 | 295.957 | 0.0073277 | 0.0085622 | 123.7912 | 15.4739 | 20181209
FALSE | 2018-12-09 07:00 | 140 | 144 | 1 | 2625.4 | 1 | 1118.4 | 1 | 3991.9 | 1 | 269.4 | 1 | 52.2988 | 104.5976 | 300.0832 | 0.0074299 | 0.0086816 | 125.5171 | 15.6896 | 20181209
FALSE | 2018-12-09 08:00 | 140 | 144 | 1 | 2656.2 | 1 | 1112.9 | 1 | 3998.7 | 1 | 272.5 | 1 | 52.9124 | 105.8247 | 303.6037 | 0.007517 | 0.0087835 | 126.9896 | 15.8737 | 20181209
FALSE | 2018-12-09 09:00 | 139 | 144 | 1 | 2610.8 | 1 | 1107 | 1 | 3988.4 | 1 | 267.9 | 1 | 52.008 | 104.0159 | 298.4144 | 0.0073886 | 0.0086333 | 124.8191 | 15.6024 | 20181209
FALSE | 2018-12-09 10:00 | 105 | 109 | 1 | 2054 | 1 | 891.4 | 1 | 3069.5 | 1 | 210.7 | 1 | 40.9163 | 81.8327 | 234.7722 | 0.0058128 | 0.0067921 | 98.1992 | 12.2749 | 20181209
FALSE | 2018-12-09 11:00 | 98 | 98 | 1 | 1891 | 1 | 764 | 1 | 2834.9 | 1 | 194 | 1 | 37.6693 | 75.3386 | 216.1413 | 0.0053515 | 0.0062531 | 90.4064 | 11.3008 | 20181209
FALSE | 2018-12-09 12:00 | 97 | 98 | 1 | 1860.3 | 1 | 755.3 | 1 | 2865.3 | 1 | 190.9 | 1 | 37.0578 | 74.1155 | 212.6323 | 0.0052646 | 0.0061516 | 88.9386 | 11.1173 | 20181209
FALSE | 2018-12-09 13:00 | 97 | 98 | 1 | 1919.9 | 1 | 766 | 1 | 2881 | 1 | 197 | 1 | 38.245 | 76.49 | 219.4446 | 0.0054333 | 0.0063487 | 91.788 | 11.4735 | 20181209
FALSE | 2018-12-09 14:00 | 97 | 98 | 1 | 1881.3 | 1 | 780.7 | 1 | 2888.7 | 1 | 193 | 1 | 37.4761 | 74.9522 | 215.0326 | 0.0053241 | 0.006221 | 89.9426 | 11.2428 | 20181209
FALSE | 2018-12-09 15:00 | 97 | 98 | 1 | 1883.8 | 1 | 787.4 | 1 | 2912 | 1 | 193.3 | 1 | 37.5259 | 75.0518 | 215.3183 | 0.0053312 | 0.0062293 | 90.0622 | 11.2578 | 20181209
FALSE | 2018-12-09 16:00 | 97 | 98 | 1 | 1943.2 | 1 | 794.8 | 1 | 2941.6 | 1 | 199.4 | 1 | 38.7092 | 77.4183 | 222.1078 | 0.0054993 | 0.0064257 | 92.902 | 11.6127 | 20181209
FALSE | 2018-12-09 17:00 | 97 | 98 | 1 | 1938.9 | 1 | 798.8 | 1 | 2933.6 | 1 | 198.9 | 1 | 38.6235 | 77.247 | 221.6163 | 0.0054871 | 0.0064115 | 92.6964 | 11.5871 | 20181209
FALSE | 2018-12-09 18:00 | 98 | 97 | 1 | 1864.5 | 1 | 786.8 | 1 | 2897.7 | 1 | 191.3 | 1 | 37.1414 | 74.2829 | 213.1123 | 0.0052765 | 0.0061655 | 89.1394 | 11.1424 | 20181209
FALSE | 2018-12-09 19:00 | 97 | 98 | 1 | 1912.8 | 1 | 801.5 | 1 | 2926.2 | 1 | 196.3 | 1 | 38.1036 | 76.2072 | 218.633 | 0.0054132 | 0.0063252 | 91.4486 | 11.4311 | 20181209
FALSE | 2018-12-09 20:00 | 98 | 98 | 1 | 1940.9 | 1 | 809.4 | 1 | 2965.9 | 1 | 199.1 | 1 | 38.6633 | 77.3267 | 221.8449 | 0.0054927 | 0.0064181 | 92.792 | 11.599 | 20181209
FALSE | 2018-12-09 21:00 | 98 | 98 | 1 | 1915.1 | 1 | 808.2 | 1 | 2986.2 | 1 | 196.5 | 1 | 38.1494 | 76.2988 | 218.8959 | 0.0054197 | 0.0063328 | 91.5586 | 11.4448 | 20181209
FALSE | 2018-12-09 22:00 | 98 | 98 | 1 | 1892.5 | 1 | 808.1 | 1 | 3006.9 | 1 | 194.2 | 1 | 37.6992 | 75.3984 | 216.3127 | 0.0053558 | 0.0062581 | 90.4781 | 11.3098 | 20181209
FALSE | 2018-12-09 23:00 | 97 | 98 | 1 | 1926.1 | 1 | 805.1 | 1 | 3035.2 | 1 | 197.6 | 1 | 38.3685 | 76.7371 | 220.1532 | 0.0054509 | 0.0063692 | 92.0845 | 11.5106 | 20181209
FALSE | 2018-12-10 | 96 | 98 | 1 | 1921.3 | 1 | 805 | 1 | 3036.6 | 1 | 197.1 | 1 | 38.2729 | 76.5458 | 219.6046 | 0.0054373 | 0.0063533 | 91.855 | 11.4819 | 20181210
FALSE | 2018-12-10 01:00 | 96 | 98 | 1 | 1944 | 1 | 797 | 1 | 3055.9 | 1 | 199.4 | 1 | 38.7251 | 77.4502 | 222.1992 | 0.0055015 | 0.0064284 | 92.9402 | 11.6175 | 20181210
FALSE | 2018-12-10 02:00 | 97 | 98 | 1 | 1972.5 | 1 | 792.9 | 1 | 3061.8 | 1 | 202.4 | 1 | 39.2928 | 78.5857 | 225.4567 | 0.0055822 | 0.0065226 | 94.3028 | 11.7878 | 20181210
FALSE | 2018-12-10 03:00 | 98 | 98 | 1 | 1941.6 | 1 | 790.2 | 1 | 3059 | 1 | 199.2 | 1 | 38.6773 | 77.3546 | 221.9249 | 0.0054947 | 0.0064204 | 92.8255 | 11.6032 | 20181210
FALSE | 2018-12-10 04:00 | 97 | 98 | 1 | 1939.5 | 1 | 791.3 | 1 | 3057.9 | 1 | 199 | 1 | 38.6355 | 77.2709 | 221.6849 | 0.0054888 | 0.0064135 | 92.7251 | 11.5906 | 20181210
FALSE | 2018-12-10 05:00 | 98 | 98 | 1 | 1893.1 | 1 | 772.4 | 1 | 2977.7 | 1 | 194.2 | 1 | 37.7112 | 75.4223 | 216.3813 | 0.0053575 | 0.0062601 | 90.5068 | 11.3133 | 20181210
FALSE | 2018-12-10 06:00 | 98 | 97 | 1 | 1888.3 | 1 | 785.5 | 1 | 3023.5 | 1 | 193.7 | 1 | 37.6155 | 75.2311 | 215.8327 | 0.0053439 | 0.0062442 | 90.2773 | 11.2847 | 20181210
FALSE | 2018-12-10 07:00 | 98 | 98 | 1 | 1894.8 | 1 | 797.7 | 1 | 3033.8 | 1 | 194.4 | 1 | 37.745 | 75.49 | 216.5756 | 0.0053623 | 0.0062657 | 90.588 | 11.3235 | 20181210
FALSE | 2018-12-10 08:00 | 99 | 98 | 1 | 1943.6 | 1 | 758 | 1 | 3026.7 | 1 | 199.4 | 1 | 38.7171 | 77.4343 | 222.1535 | 0.0055004 | 0.006427 | 92.9211 | 11.6151 | 20181210
FALSE | 2018-12-10 09:00 | 99 | 98 | 1 | 1964.4 | 1 | 823.1 | 1 | 3031.3 | 1 | 201.5 | 1 | 39.1315 | 78.2629 | 224.5309 | 0.0055593 | 0.0064958 | 93.9155 | 11.7394 | 20181210
FALSE | 2018-12-10 10:00 | 100 | 98 | 1 | 1977.2 | 1 | 848.2 | 1 | 3022.3 | 1 | 202.9 | 1 | 39.3865 | 78.7729 | 225.994 | 0.0055955 | 0.0065382 | 94.5275 | 11.8159 | 20181210
FALSE | 2018-12-10 11:00 | 100 | 98 | 1 | 1923.7 | 1 | 846.4 | 1 | 3020.8 | 1 | 197.4 | 1 | 38.3207 | 76.6414 | 219.8789 | 0.0054441 | 0.0063612 | 91.9697 | 11.4962 | 20181210
FALSE | 2018-12-10 12:00 | 100 | 98 | 1 | 1907.6 | 1 | 852.7 | 1 | 3015.4 | 1 | 195.7 | 1 | 38 | 76 | 218.0387 | 0.0053985 | 0.006308 | 91.2 | 11.4 | 20181210
FALSE | 2018-12-10 13:00 | 99 | 98 | 1 | 1936.5 | 1 | 834.6 | 1 | 3014.3 | 1 | 198.7 | 1 | 38.5757 | 77.1514 | 221.3419 | 0.0054803 | 0.0064036 | 92.5817 | 11.5727 | 20181210
FALSE | 2018-12-10 14:00 | 99 | 98 | 1 | 1925.1 | 1 | 820.1 | 1 | 3010.4 | 1 | 197.5 | 1 | 38.3486 | 76.6972 | 220.0389 | 0.005448 | 0.0063659 | 92.0367 | 11.5046 | 20181210
FALSE | 2018-12-10 15:00 | 99 | 98 | 1 | 1895.1 | 1 | 818.7 | 1 | 3010.4 | 1 | 194.4 | 1 | 37.751 | 75.502 | 216.6099 | 0.0053631 | 0.0062667 | 90.6024 | 11.3253 | 20181210
FALSE | 2018-12-10 16:00 | 99 | 100 | 1 | 1934 | 1 | 827.8 | 1 | 3028.1 | 1 | 198.4 | 1 | 38.5259 | 77.0518 | 221.0562 | 0.0054732 | 0.0063953 | 92.4622 | 11.5578 | 20181210
FALSE | 2018-12-10 17:00 | 99 | 98 | 1 | 1938.5 | 1 | 775.4 | 1 | 2973.8 | 1 | 198.9 | 1 | 38.6155 | 77.2311 | 221.5705 | 0.005486 | 0.0064102 | 92.6773 | 11.5847 | 20181210
FALSE | 2018-12-10 18:00 | 99 | 98 | 1 | 1917.3 | 1 | 770.8 | 1 | 2919.5 | 1 | 196.7 | 1 | 38.1932 | 76.3865 | 219.1474 | 0.005426 | 0.0063401 | 91.6637 | 11.458 | 20181210
FALSE | 2018-12-10 19:00 | 98 | 98 | 1 | 1895 | 1 | 784.5 | 1 | 2936.7 | 1 | 194.4 | 1 | 37.749 | 75.498 | 216.5985 | 0.0053628 | 0.0062663 | 90.5976 | 11.3247 | 20181210
FALSE | 2018-12-10 20:00 | 98 | 98 | 1 | 1908.1 | 1 | 799.5 | 1 | 2967.1 | 1 | 195.8 | 1 | 38.01 | 76.0199 | 218.0958 | 0.0053999 | 0.0063097 | 91.2239 | 11.403 | 20181210
FALSE | 2018-12-10 21:00 | 99 | 98 | 1 | 1936.5 | 1 | 836.6 | 1 | 3018.2 | 1 | 198.7 | 1 | 38.5757 | 77.1514 | 221.3419 | 0.0054803 | 0.0064036 | 92.5817 | 11.5727 | 20181210
FALSE | 2018-12-10 22:00 | 100 | 98 | 1 | 1932.7 | 1 | 827.2 | 1 | 3025.3 | 1 | 198.3 | 1 | 38.5 | 77 | 220.9076 | 0.0054695 | 0.006391 | 92.4 | 11.55 | 20181210
FALSE | 2018-12-10 23:00 | 100 | 98 | 1 | 1927.7 | 1 | 825.1 | 1 | 3031.3 | 1 | 197.8 | 1 | 38.4004 | 76.8008 | 220.3361 | 0.0054554 | 0.0063745 | 92.161 | 11.5201 | 20181210
FALSE | 2018-12-11 | 99 | 98 | 1 | 1875.4 | 1 | 825.2 | 1 | 3032.9 | 1 | 192.4 | 1 | 37.3586 | 74.7171 | 214.3582 | 0.0053074 | 0.0062015 | 89.6606 | 11.2076 | 20181211
FALSE | 2018-12-11 01:00 | 100 | 98 | 1 | 1877.9 | 1 | 828.2 | 1 | 3030.1 | 1 | 192.7 | 1 | 37.4084 | 74.8167 | 214.644 | 0.0053145 | 0.0062098 | 89.7801 | 11.2225 | 20181211
FALSE | 2018-12-11 02:00 | 100 | 98 | 1 | 1933.9 | 1 | 837.4 | 1 | 3038.7 | 1 | 198.4 | 1 | 38.5239 | 77.0478 | 221.0448 | 0.0054729 | 0.006395 | 92.4574 | 11.5572 | 20181211
FALSE | 2018-12-11 03:00 | 100 | 98 | 1 | 1934.8 | 1 | 837.8 | 1 | 3037 | 1 | 198.5 | 1 | 38.5418 | 77.0837 | 221.1476 | 0.0054755 | 0.0063979 | 92.5004 | 11.5625 | 20181211
FALSE | 2018-12-11 04:00 | 100 | 98 | 1 | 1945.8 | 1 | 850.3 | 1 | 3046.5 | 1 | 199.6 | 1 | 38.761 | 77.5219 | 222.4049 | 0.0055066 | 0.0064343 | 93.0263 | 11.6283 | 20181211
FALSE | 2018-12-11 05:00 | 100 | 98 | 1 | 1896 | 1 | 828.6 | 1 | 2973.9 | 1 | 194.5 | 1 | 37.7689 | 75.5378 | 216.7128 | 0.0053657 | 0.0062696 | 90.6454 | 11.3307 | 20181211
FALSE | 2018-12-11 06:00 | 103 | 100 | 1 | 1928.5 | 1 | 867.8 | 1 | 3095 | 1 | 197.9 | 1 | 38.4163 | 76.8327 | 220.4275 | 0.0054577 | 0.0063771 | 92.1992 | 11.5249 | 20181211
FALSE | 2018-12-11 07:00 | 137 | 136 | 1 | 2592.4 | 1 | 1140.7 | 1 | 4210.3 | 1 | 266 | 1 | 51.6414 | 103.2829 | 296.3113 | 0.0073365 | 0.0085725 | 123.9394 | 15.4924 | 20181211
TRUE | 2018-12-11 08:00 | 140 | 145 | 1 | 2667.8 | 99 | 1189.8 | 99 | 4329.8 | 99 | 273.7 | 99 | 53.1434 | 106.2869 | 304.9295 | 0.0075499 | 0.0088218 | 127.5442 | 15.943 | 20181211
FALSE | 2018-12-11 09:00 | 140 | 145 | 1 | 2635.9 | 1 | 1154.5 | 1 | 4275 | 1 | 270.4 | 1 | 52.508 | 105.0159 | 301.2834 | 0.0074596 | 0.0087163 | 126.0191 | 15.7524 | 20181211
FALSE | 2018-12-11 10:00 | 140 | 145 | 1 | 2658.8 | 1 | 1164.6 | 1 | 4339.8 | 1 | 272.8 | 1 | 52.9641 | 105.9283 | 303.9008 | 0.0075244 | 0.008792 | 127.1139 | 15.8892 | 20181211
FALSE | 2018-12-11 11:00 | 140 | 145 | 1 | 2686.2 | 1 | 1165.8 | 1 | 4346.1 | 1 | 275.6 | 1 | 53.51 | 107.0199 | 307.0327 | 0.0076019 | 0.0088827 | 128.4239 | 16.053 | 20181211
FALSE | 2018-12-11 12:00 | 140 | 145 | 1 | 2682.2 | 1 | 1169.4 | 1 | 4366.3 | 1 | 275.2 | 1 | 53.4303 | 106.8606 | 306.5755 | 0.0075906 | 0.0088694 | 128.2327 | 16.0291 | 20181211
FALSE | 2018-12-11 13:00 | 140 | 145 | 1 | 2614.5 | 1 | 1176.5 | 1 | 4373.7 | 1 | 268.2 | 1 | 52.0817 | 104.1633 | 298.8374 | 0.007399 | 0.0086456 | 124.996 | 15.6245 | 20181211
FALSE | 2018-12-11 14:00 | 140 | 145 | 1 | 2614.1 | 1 | 1186.8 | 1 | 4372.1 | 1 | 268.2 | 1 | 52.0737 | 104.1474 | 298.7916 | 0.0073979 | 0.0086442 | 124.9769 | 15.6221 | 20181211
FALSE | 2018-12-11 15:00 | 139 | 145 | 1 | 2613.7 | 1 | 1189.2 | 1 | 4387.2 | 1 | 268.2 | 1 | 52.0657 | 104.1315 | 298.7459 | 0.0073968 | 0.0086429 | 124.9578 | 15.6197 | 20181211
FALSE | 2018-12-11 16:00 | 139 | 145 | 1 | 2645.8 | 1 | 1188 | 1 | 4401.4 | 1 | 271.5 | 1 | 52.7052 | 105.4104 | 302.4149 | 0.0074876 | 0.0087491 | 126.4924 | 15.8116 | 20181211
FALSE | 2018-12-11 17:00 | 139 | 145 | 1 | 2616.7 | 1 | 1193.2 | 1 | 4408.2 | 1 | 268.5 | 1 | 52.1255 | 104.251 | 299.0888 | 0.0074053 | 0.0086528 | 125.1012 | 15.6376 | 20181211
FALSE | 2018-12-11 18:00 | 139 | 145 | 1 | 2548.3 | 1 | 1164.6 | 1 | 4341.1 | 1 | 261.5 | 1 | 50.7629 | 101.5259 | 291.2707 | 0.0072117 | 0.0084266 | 121.8311 | 15.2289 | 20181211
FALSE | 2018-12-11 19:00 | 139 | 145 | 1 | 2586 | 1 | 1176.6 | 1 | 4384.6 | 1 | 265.3 | 1 | 51.5139 | 103.0279 | 295.5798 | 0.0073184 | 0.0085513 | 123.6335 | 15.4542 | 20181211
FALSE | 2018-12-11 20:00 | 140 | 145 | 1 | 2620.2 | 1 | 1194.8 | 1 | 4411.1 | 1 | 268.8 | 1 | 52.1952 | 104.3904 | 299.4889 | 0.0074152 | 0.0086644 | 125.2685 | 15.6586 | 20181211
FALSE | 2018-12-11 21:00 | 139 | 145 | 1 | 2548.2 | 1 | 1192.6 | 1 | 4433 | 1 | 261.4 | 1 | 50.761 | 101.5219 | 291.2593 | 0.0072114 | 0.0084263 | 121.8263 | 15.2283 | 20181211
FALSE | 2018-12-11 22:00 | 139 | 145 | 1 | 2644.8 | 1 | 1198.1 | 1 | 4453.2 | 1 | 271.4 | 1 | 52.6853 | 105.3705 | 302.3006 | 0.0074848 | 0.0087458 | 126.4446 | 15.8056 | 20181211
FALSE | 2018-12-11 23:00 | 139 | 145 | 1 | 2675.1 | 1 | 1187.7 | 1 | 4472.3 | 1 | 274.5 | 1 | 53.2888 | 106.5777 | 305.7639 | 0.0075705 | 0.0088459 | 127.8932 | 15.9867 | 20181211
FALSE | 2018-12-12 | 139 | 145 | 1 | 2669.6 | 1 | 1182.6 | 1 | 4476.9 | 1 | 273.9 | 1 | 53.1793 | 106.3586 | 305.1353 | 0.007555 | 0.0088278 | 127.6303 | 15.9538 | 20181212
FALSE | 2018-12-12 01:00 | 139 | 145 | 1 | 2633.9 | 1 | 1180 | 1 | 4471.1 | 1 | 270.2 | 1 | 52.4681 | 104.9363 | 301.0548 | 0.0074539 | 0.0087097 | 125.9235 | 15.7404 | 20181212
FALSE | 2018-12-12 02:00 | 138 | 145 | 1 | 2625.4 | 1 | 1176.2 | 1 | 4463.6 | 1 | 269.4 | 1 | 52.2988 | 104.5976 | 300.0832 | 0.0074299 | 0.0086816 | 125.5171 | 15.6896 | 20181212
FALSE | 2018-12-12 03:00 | 137 | 145 | 1 | 2595.6 | 1 | 1165.4 | 1 | 4473.8 | 1 | 266.3 | 1 | 51.7052 | 103.4104 | 296.6771 | 0.0073455 | 0.0085831 | 124.0924 | 15.5116 | 20181212
FALSE | 2018-12-12 04:00 | 137 | 145 | 1 | 2662.7 | 1 | 1171.6 | 1 | 4486.9 | 1 | 273.2 | 1 | 53.0418 | 106.0837 | 304.3466 | 0.0075354 | 0.0088049 | 127.3004 | 15.9125 | 20181212
FALSE | 2018-12-12 05:00 | 137 | 145 | 1 | 2599.5 | 1 | 1130.8 | 1 | 4379.3 | 1 | 266.7 | 1 | 51.7829 | 103.5657 | 297.1228 | 0.0073566 | 0.008596 | 124.2789 | 15.5349 | 20181212
FALSE | 2018-12-12 06:00 | 138 | 145 | 1 | 2630.2 | 1 | 1154.7 | 1 | 4467.9 | 1 | 269.9 | 1 | 52.3944 | 104.7888 | 300.6319 | 0.0074435 | 0.0086975 | 125.7466 | 15.7183 | 20181212
FALSE | 2018-12-12 07:00 | 140 | 145 | 1 | 2626.5 | 1 | 1155.7 | 1 | 4482.2 | 1 | 269.5 | 1 | 52.3207 | 104.6414 | 300.209 | 0.007433 | 0.0086852 | 125.5697 | 15.6962 | 20181212
FALSE | 2018-12-12 08:00 | 110 | 145 | 1 | 2350.7 | 1 | 1100.1 | 1 | 3995.4 | 1 | 241.2 | 1 | 46.8267 | 93.6534 | 268.685 | 0.0066525 | 0.0077732 | 112.3841 | 14.048 | 20181212
FALSE | 2018-12-12 09:00 | 96 | 145 | 1 | 2243.8 | 1 | 944.6 | 1 | 3796 | 1 | 230.2 | 1 | 44.6972 | 89.3944 | 256.4663 | 0.00635 | 0.0074197 | 107.2733 | 13.4092 | 20181212
FALSE | 2018-12-12 10:00 | 95 | 145 | 1 | 2217.7 | 1 | 949.2 | 1 | 3824.7 | 1 | 227.5 | 1 | 44.1773 | 88.3546 | 253.4831 | 0.0062761 | 0.0073334 | 106.0255 | 13.2532 | 20181212
FALSE | 2018-12-12 11:00 | 97 | 145 | 1 | 2195.8 | 1 | 955.2 | 1 | 3867.7 | 1 | 225.3 | 1 | 43.741 | 87.4821 | 250.9799 | 0.0062141 | 0.007261 | 104.9785 | 13.1223 | 20181212
FALSE | 2018-12-12 12:00 | 101 | 145 | 1 | 2290.2 | 1 | 955 | 1 | 3967.3 | 1 | 235 | 1 | 45.6215 | 91.243 | 261.7699 | 0.0064813 | 0.0075732 | 109.4916 | 13.6865 | 20181212
FALSE | 2018-12-12 13:00 | 99 | 145 | 1 | 2233.6 | 1 | 976.1 | 1 | 3954.9 | 1 | 229.2 | 1 | 44.494 | 88.988 | 255.3005 | 0.0063211 | 0.007386 | 106.7857 | 13.3482 | 20181212
FALSE | 2018-12-12 14:00 | 100 | 145 | 1 | 2212.6 | 1 | 1002.3 | 1 | 3951.9 | 1 | 227 | 1 | 44.0757 | 88.1514 | 252.9002 | 0.0062617 | 0.0073166 | 105.7817 | 13.2227 | 20181212
FALSE | 2018-12-12 15:00 | 98 | 145 | 1 | 2206.4 | 1 | 997.3 | 1 | 3942.6 | 1 | 226.4 | 1 | 43.9522 | 87.9044 | 252.1915 | 0.0062441 | 0.0072961 | 105.4853 | 13.1857 | 20181212
FALSE | 2018-12-12 16:00 | 98 | 145 | 1 | 2178.3 | 1 | 988.9 | 1 | 3944.4 | 1 | 223.5 | 1 | 43.3924 | 86.7849 | 248.9797 | 0.0061646 | 0.0072031 | 104.1418 | 13.0177 | 20181212
FALSE | 2018-12-12 17:00 | 98 | 145 | 1 | 2207.7 | 1 | 984.6 | 1 | 3961.4 | 1 | 226.5 | 1 | 43.9781 | 87.9562 | 252.3401 | 0.0062478 | 0.0073004 | 105.5474 | 13.1934 | 20181212
FALSE | 2018-12-12 18:00 | 98 | 145 | 1 | 2214.3 | 1 | 983.1 | 1 | 3931.5 | 1 | 227.2 | 1 | 44.1096 | 88.2191 | 253.0945 | 0.0062665 | 0.0073222 | 105.8629 | 13.2329 | 20181212
FALSE | 2018-12-12 19:00 | 98 | 145 | 1 | 2220.1 | 1 | 992.4 | 1 | 3975 | 1 | 227.8 | 1 | 44.2251 | 88.4502 | 253.7574 | 0.0062829 | 0.0073414 | 106.1402 | 13.2675 | 20181212
FALSE | 2018-12-12 20:00 | 98 | 145 | 1 | 2217 | 1 | 999.9 | 1 | 4020.8 | 1 | 227.5 | 1 | 44.1633 | 88.3267 | 253.4031 | 0.0062741 | 0.0073311 | 105.992 | 13.249 | 20181212
FALSE | 2018-12-12 21:00 | 98 | 145 | 1 | 2212.8 | 1 | 993.5 | 1 | 4048.9 | 1 | 227 | 1 | 44.0797 | 88.1594 | 252.923 | 0.0062622 | 0.0073172 | 105.7912 | 13.2239 | 20181212
FALSE | 2018-12-12 22:00 | 98 | 145 | 1 | 2240.7 | 1 | 997.1 | 1 | 4072.8 | 1 | 229.9 | 1 | 44.6355 | 89.2709 | 256.112 | 0.0063412 | 0.0074095 | 107.1251 | 13.3906 | 20181212
FALSE | 2018-12-12 23:00 | 97 | 145 | 1 | 2208.5 | 1 | 989.4 | 1 | 4097.4 | 1 | 226.6 | 1 | 43.994 | 87.988 | 252.4315 | 0.0062501 | 0.007303 | 105.5857 | 13.1982 | 20181212
FALSE | 2018-12-13 | 97 | 145 | 1 | 2206.4 | 1 | 981.8 | 1 | 4111.8 | 1 | 226.4 | 1 | 43.9522 | 87.9044 | 252.1915 | 0.0062441 | 0.0072961 | 105.4853 | 13.1857 | 20181213
FALSE | 2018-12-13 01:00 | 97 | 137 | 1 | 2132.1 | 1 | 961.6 | 1 | 4009.4 | 1 | 218.8 | 1 | 42.4721 | 84.9442 | 243.699 | 0.0060338 | 0.0070504 | 101.9331 | 12.7416 | 20181213
FALSE | 2018-12-13 02:00 | 97 | 102 | 1 | 1893.8 | 1 | 823.8 | 1 | 3461.7 | 1 | 194.3 | 1 | 37.7251 | 75.4502 | 216.4613 | 0.0053595 | 0.0062624 | 90.5402 | 11.3175 | 20181213
FALSE | 2018-12-13 03:00 | 97 | 101 | 1 | 1870.1 | 1 | 822.8 | 1 | 3466.1 | 1 | 191.9 | 1 | 37.253 | 74.506 | 213.7524 | 0.0052924 | 0.006184 | 89.4072 | 11.1759 | 20181213
FALSE | 2018-12-13 04:00 | 97 | 133 | 1 | 2158.3 | 1 | 971.2 | 1 | 3937.3 | 1 | 221.4 | 1 | 42.994 | 85.988 | 246.6937 | 0.006108 | 0.007137 | 103.1857 | 12.8982 | 20181213
FALSE | 2018-12-13 05:00 | 97 | 144 | 1 | 2189.5 | 1 | 974.3 | 1 | 4055.3 | 1 | 224.6 | 1 | 43.6155 | 87.2311 | 250.2599 | 0.0061963 | 0.0072402 | 104.6773 | 13.0847 | 20181213
FALSE | 2018-12-13 06:00 | 97 | 144 | 1 | 2239.4 | 1 | 983.1 | 1 | 4100.9 | 1 | 229.8 | 1 | 44.6096 | 89.2191 | 255.9634 | 0.0063375 | 0.0074052 | 107.0629 | 13.3829 | 20181213
FALSE | 2018-12-13 07:00 | 97 | 144 | 1 | 2267.7 | 1 | 986.4 | 1 | 4118.5 | 1 | 232.7 | 1 | 45.1733 | 90.3466 | 259.1981 | 0.0064176 | 0.0074988 | 108.4159 | 13.552 | 20181213
FALSE | 2018-12-13 08:00 | 97 | 144 | 1 | 2265.9 | 1 | 978.9 | 1 | 4119.5 | 1 | 232.5 | 1 | 45.1375 | 90.2749 | 258.9924 | 0.0064125 | 0.0074928 | 108.3299 | 13.5412 | 20181213
FALSE | 2018-12-13 09:00 | 97 | 144 | 1 | 2233.9 | 1 | 971.7 | 1 | 4103.8 | 1 | 229.2 | 1 | 44.5 | 89 | 255.3348 | 0.0063219 | 0.007387 | 106.8 | 13.35 | 20181213
FALSE | 2018-12-13 10:00 | 97 | 144 | 1 | 2224.7 | 1 | 970 | 1 | 4078.1 | 1 | 228.2 | 1 | 44.3167 | 88.6335 | 254.2832 | 0.0062959 | 0.0073566 | 106.3602 | 13.295 | 20181213
FALSE | 2018-12-13 11:00 | 97 | 144 | 1 | 2164.7 | 1 | 967.6 | 1 | 4079.2 | 1 | 222.1 | 1 | 43.1215 | 86.243 | 247.4252 | 0.0061261 | 0.0071582 | 103.4916 | 12.9365 | 20181213
FALSE | 2018-12-13 12:00 | 97 | 144 | 1 | 2154.9 | 1 | 961.1 | 1 | 4079.7 | 1 | 221.1 | 1 | 42.9263 | 85.8526 | 246.3051 | 0.0060984 | 0.0071258 | 103.0231 | 12.8779 | 20181213
FALSE | 2018-12-13 13:00 | 97 | 144 | 1 | 2185.6 | 1 | 959.5 | 1 | 4096.3 | 1 | 224.2 | 1 | 43.5378 | 87.0757 | 249.8141 | 0.0061852 | 0.0072273 | 104.4908 | 13.0614 | 20181213
FALSE | 2018-12-13 14:00 | 97 | 144 | 1 | 2158.4 | 1 | 962.6 | 1 | 4110.4 | 1 | 221.5 | 1 | 42.996 | 85.992 | 246.7051 | 0.0061083 | 0.0071373 | 103.1904 | 12.8988 | 20181213
FALSE | 2018-12-13 15:00 | 97 | 144 | 1 | 2159.2 | 1 | 965.2 | 1 | 4098.9 | 1 | 221.5 | 1 | 43.012 | 86.0239 | 246.7966 | 0.0061105 | 0.00714 | 103.2287 | 12.9036 | 20181213
FALSE | 2018-12-13 16:00 | 68 | 144 | 1 | 1865.3 | 1 | 817 | 1 | 3363.3 | 1 | 191.4 | 1 | 37.1574 | 74.3147 | 213.2038 | 0.0052788 | 0.0061681 | 89.1777 | 11.1472 | 20181213
FALSE | 2018-12-13 17:00 | 0 | 144 | 1 | 1199.8 | 1 | 496.7 | 1 | 2188.4 | 1 | 123.1 | 1 | 23.9004 | 47.8008 | 137.1371 | 0.0033954 | 0.0039675 | 57.361 | 7.1701 | 20181213
FALSE | 2018-12-13 18:00 | 0 | 144 | 1 | 1143.7 | 1 | 463.2 | 1 | 2132.4 | 1 | 117.3 | 1 | 22.7829 | 45.5657 | 130.7249 | 0.0032367 | 0.003782 | 54.6789 | 6.8349 | 20181213
FALSE | 2018-12-13 19:00 | 0 | 90 | 1 | 738.1 | 1 | 230.3 | 1 | 1370.6 | 1 | 75.7 | 1 | 14.7032 | 29.4064 | 84.3648 | 0.0020888 | 0.0024407 | 35.2876 | 4.411 | 20181213
FALSE | 2018-12-13 20:00 | 0 | 38 | 0.72 | 358.56 | 1 | 69.192 | 1 | 529.128 | 1 | 36.792 | 1 | 7.1426 | 14.2853 | 40.9834 | 0.0010147 | 0.0011857 | 17.1423 | 2.1428 | 20181213
FALSE | 2018-12-13 21:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181213
FALSE | 2018-12-13 22:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181213
FALSE | 2018-12-13 23:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181213
FALSE | 2018-12-14 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181214
FALSE | 2018-12-14 01:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181214
FALSE | 2018-12-14 02:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181214
FALSE | 2018-12-14 03:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181214
FALSE | 2018-12-14 04:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181214
FALSE | 2018-12-14 05:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181214
FALSE | 2018-12-14 06:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181214
FALSE | 2018-12-14 07:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181214
FALSE | 2018-12-14 08:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181214
FALSE | 2018-12-14 09:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181214
FALSE | 2018-12-14 10:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181214
FALSE | 2018-12-14 11:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181214
FALSE | 2018-12-14 12:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181214
FALSE | 2018-12-14 13:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181214
FALSE | 2018-12-14 14:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181214
FALSE | 2018-12-14 15:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181214
FALSE | 2018-12-14 16:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181214
FALSE | 2018-12-14 17:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181214
FALSE | 2018-12-14 18:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181214
FALSE | 2018-12-14 19:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181214
FALSE | 2018-12-14 20:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181214
FALSE | 2018-12-14 21:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181214
FALSE | 2018-12-14 22:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181214
FALSE | 2018-12-14 23:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181214
FALSE | 2018-12-15 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181215
FALSE | 2018-12-15 01:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181215
FALSE | 2018-12-15 02:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181215
FALSE | 2018-12-15 03:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181215
FALSE | 2018-12-15 04:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181215
FALSE | 2018-12-15 05:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181215
FALSE | 2018-12-15 06:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181215
FALSE | 2018-12-15 07:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181215
FALSE | 2018-12-15 08:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181215
FALSE | 2018-12-15 09:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181215
FALSE | 2018-12-15 10:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181215
FALSE | 2018-12-15 11:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181215
FALSE | 2018-12-15 12:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181215
FALSE | 2018-12-15 13:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181215
FALSE | 2018-12-15 14:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181215
FALSE | 2018-12-15 15:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181215
FALSE | 2018-12-15 16:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181215
FALSE | 2018-12-15 17:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181215
FALSE | 2018-12-15 18:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181215
FALSE | 2018-12-15 19:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181215
FALSE | 2018-12-15 20:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181215
FALSE | 2018-12-15 21:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181215
FALSE | 2018-12-15 22:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181215
FALSE | 2018-12-15 23:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181215
FALSE | 2018-12-16 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181216
FALSE | 2018-12-16 01:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181216
FALSE | 2018-12-16 02:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181216
FALSE | 2018-12-16 03:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181216
FALSE | 2018-12-16 04:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181216
FALSE | 2018-12-16 05:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181216
FALSE | 2018-12-16 06:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181216
FALSE | 2018-12-16 07:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181216
FALSE | 2018-12-16 08:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181216
FALSE | 2018-12-16 09:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181216
FALSE | 2018-12-16 10:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181216
FALSE | 2018-12-16 11:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181216
FALSE | 2018-12-16 12:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181216
FALSE | 2018-12-16 13:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181216
FALSE | 2018-12-16 14:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181216
FALSE | 2018-12-16 15:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181216
FALSE | 2018-12-16 16:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181216
FALSE | 2018-12-16 17:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181216
FALSE | 2018-12-16 18:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181216
FALSE | 2018-12-16 19:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181216
FALSE | 2018-12-16 20:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181216
FALSE | 2018-12-16 21:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181216
FALSE | 2018-12-16 22:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181216
FALSE | 2018-12-16 23:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181216
FALSE | 2018-12-17 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181217
FALSE | 2018-12-17 01:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181217
FALSE | 2018-12-17 02:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181217
FALSE | 2018-12-17 03:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181217
FALSE | 2018-12-17 04:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181217
FALSE | 2018-12-17 05:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181217
FALSE | 2018-12-17 06:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181217
FALSE | 2018-12-17 07:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181217
FALSE | 2018-12-17 08:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181217
FALSE | 2018-12-17 09:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181217
FALSE | 2018-12-17 10:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181217
FALSE | 2018-12-17 11:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181217
FALSE | 2018-12-17 12:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181217
FALSE | 2018-12-17 13:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181217
FALSE | 2018-12-17 14:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181217
FALSE | 2018-12-17 15:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181217
FALSE | 2018-12-17 16:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181217
FALSE | 2018-12-17 17:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181217
FALSE | 2018-12-17 18:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181217
FALSE | 2018-12-17 19:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181217
FALSE | 2018-12-17 20:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181217
FALSE | 2018-12-17 21:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181217
FALSE | 2018-12-17 22:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181217
FALSE | 2018-12-17 23:00 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20181217
|  |  | Bi-Weekly Total Tons |  | 468062.1 | 434 | 100 | 434 | 393.8 | 434 | 48022.7 |  | 4.7 | 18647.89 | 26.7497 | 0.00066231 | 0.00077389 | 11.1887 | 1.3986
mmBtu
Note:
All data are collected and processed in accordance with Part 75.
Data with orange fill are substituted in accordance with Part 75.
Monthly sums may not agree with data published by EPA due to the handling of quarterly and annual totals.
Formulas:
Data End Date = '[1]Input Data'!B9
Report Start Date = [Data End Date]-13-TIME(23,59,59)