## Slide 1: SiC Based Modular Transformer-less MW-Scale Power Conditioning System and Control for Flexible CHP System DE-EE0008410 The University of Tennessee/Chattanooga Electric Power Board/ North Carolina State University/General Electric/Oak Ridge National Laboratory Budget Period 2
PI: Fred Wang, The University of Tennessee, Knoxville
U.S. DOE Advanced Manufacturing Office Virtual Program Review
June 2-3, 2020
This presentation does not contain any proprietary, confidential, or otherwise restricted information.

## Slide 2: Overview
Timeline:
Project Start Date: 10/30/2018
Budget Period End Date: 12/31/2020
Project End Date: 12/31/2021
Project Budget and Costs:
Barriers and Challenges:
Support different combined heat and power (CHP) sources to flexibly connect with MV grid to provide a range of grid services, as well as meet grid requirements.
Save cost for overall CHP system.
Project Team and Roles:
Project lead: The University of Tennessee (overall lead and project management).
Team members:
Chattanooga Electric Power Board (utility partner)
North Carolina State University (CHP expert)
General Electric (power electronics manufacturer partner)
Oak Ridge National Laboratory (control system partner)
AMO MYPP Connection:
AMO MYPP 3.1.13: Combined Heat and Power (CHP) system.
Project Title: SiC Based Modular Transformer-less MW-Scale Power Conditioning System and Control for Flexible CHP System
Budget | DOE Share | Cost Share | Total | Cost Share %
Overall Budget | $1,075,701 | $268,927 | $1,344,628 | 20%
Approved Budget (BP) | $629,472 | $210,515 | $839,987 | 25%
Costs as of 3/31/20 | $245,059 | $71,272 | $316,331 | 22.5%

## Slide 3: Project Objectives
Existing CHP systems mainly serve site loads with very limited grid services. It highly limits the installation of small to mid-size CHP systems (1-20 MWe).
Our work will enable grid-support functions for CHP systems, and increase the market acceptance of cost-effective, highly efficient MW-scale CHP.
Objectives: develop 1) a SiC based, modular, transformer-less, MW-scale, four-wire DC/AC power conditioning system (PCS), and 2) a corresponding control system for flexible CHP using general-purpose controller hardware:
Potential benefits include bring additional revenue for CHP users through providing grid services, and lower cost hardware of overall system.
Target: Compliance with related grid standards (i.e. IEEE 1547 and IEEE 2030.7), <$1,800/kWe cost.
High voltage SiC PCS for CHP systems with grid compliant and grid support functions are new. There are many unknowns and challenges.

## Slide 4: Technical Innovation
State-of–the-art CHP systems:
Power conditioning system (PCS): CHP sources interact with grid w/o PCS or w/ Silicon based PCS.
CHP Controller: dedicated proprietary controller specifically for one type of CHP source.
Limitations:
Very limited grid functions, without PCS and with existing controller.
Inflexible and no coordination with other possible sources on site.
High cost hardware for Silicon based PCS and dedicated controller.

## Slide 5: Technical Innovation
Innovations of proposed approach: SiC based PCS and general-purpose controller
  SiC based PCS, with a higher control bandwidth, enables more grid functions and meets all grid requirements.
  The general-purpose controller can comprehensively consider different CHP sources, local loads, grid interactions, as well as other possible sources on site.
  SiC based PCS can save bulky transformer and passives compared to silicon. The general-purpose controller is also cheaper than dedicated controller.
Impact on manufacturing:
  The developed PCS uses U.S. manufactured high voltage SiC devices. The conventional Si based PCS will be replaced by SiC based PCS in future manufacturing.
  The dedicated CHP controller will be replaced by the general-purpose CHP controller, potentially beneficial for manufacturing.

## Slide 6: Technical Approach
Scientific/technological aspects:
Flexible CHP (F-CHP) controller:
  Functionality and architecture
  Operation in different modes
  Transition between operating modes
  Controller design considering protection
  Modelling and test
Power conditioning system (PCS):
  Grid requirement identification
  PCS design considering grid requirements
  Multiple grid support functions
  Topology, control and modulation
  Silicon carbide device application issues
  PCS function test
Concept of overall CHP system

## Slide 7: Technical Approach
Participant roles:
  The University of Tennessee (overall lead and project management): F-CHP controller algorithm development, PCS design and development;
  Chattanooga Electric Power Board (Utility): Provide guidance on grid requirements on PCS and controller, provide data and model for CHP systems;
  North Carolina State University (CHP expert): Provide expertise on CHP system, data and model;
  General Electric (Power electronics manufacturer): Help on PCS design considering future manufacturing and commercialization;
  Oak Ridge National Lab (Control system expert): Assist with control algorithm development.
Risks:
  PCS design using SiC and fully considering grid requirements;
  Controller integration with existing grid infrastructure.
  Risks mitigation:
  Team experience on 10 kV SiC based medium voltage grid interface converters, as well as microgrid controller.

## Slide 8: Results and Accomplishments
Milestone/Tasks | Status
Milestone 1.1.1 (M12/Q4, 2019): SiC-based, transformer-less, MW-scale, four-wire DC/AC PCS designed | Achieved
Milestone 1.2.1 (M6/Q2, 2019): F-CHP control architecture identified, and the control algorithm developed, including central controller and local controllers | Achieved
Milestone 1.2.2 (M12/Q4, 2019): F-CHP control algorithm implemented in a general-purpose controller | Achieved
Milestone 2.1.1 (M12/Q4, 2020): PCS converter prototype built and tested, meeting all requirements | In Progress
Milestone 2.2.1 (M9/Q3, 2020): Closed-loop tests completed in Hardware-In-the-Loop (HIL) platform for F-CHP controller algorithms, hardware, and communications | In Progress
Milestone 2.2.2 (M12/Q4, 2020): F-CHP controller tested in Hardware-Testbed (HTB) platform | In Progress

## Slide 9: Transition
Technology readiness (TR) level of 4~5 anticipated by end of the project.
The SiC based PCS technology used in this project may be introduced in GE’s power electronics product.
  GE helps on PCS design considering future manufacturing and commercialization in this project.
The flexible CHP controller will be published as open source software that can be easily adopted by manufacturers.

## Slide 10: Questions?
This work was supported primarily by DOE under Award Number DE-EE0008410 .
This work made use of Engineering Research Center Shared Facilities supported by the Engineering Research Center Program of the National Science Foundation and DOE under NSF Award Number EEC-1041877 and the CURENT Industry Partnership Program.