## Slide 1: Advanced Turbine Airfoils for Efficient CHP Systems DE-LC-000L059 National Energy Technology Laboratory/Oak Ridge National Laboratory October 1, 2019 – September 30, 2022
Doug Straub
National Energy Technology Laboratory (NETL)
U.S. DOE Advanced Manufacturing Office Program Review Meeting
Washington, D.C.
June 2-3, 2020
This presentation does not contain any proprietary, confidential, or otherwise restricted information.

## Slide 2: Overview
Timeline:
Project Start Date: 10/01/2019
Budget Period End Date: 09/30/2020
Project End Date: 09/30/2022
Budget | DOE Share | Cost Share | Total | Cost Share %
Overall Budget | $2,800,000 | -- | $2,800,000 | --
Approved Budget (BP-1) | $887,576 | -- | $887,576 | --
FY20 (BP-1) Plan | $1,000,000 | -- | $1,000,000 | --
Project Budget and Costs:
Barriers and Challenges:
Benefit of advanced cooling architectures cannot be quantified without a common baseline and test protocol
R&D investments lag for small (<20MW) gas turbines
AM steps have not been optimized, or defined in terms of yield, resolution, and performance potential for gas turbine applications
Project Team and Roles:
National Energy Technology Laboratory (NETL) – Lead
  Develop baseline and quantify benefits of advanced cooling designs
  Evaluate economic benefits for small-scale (<20MW) combined heat and power gas turbine applications
Oak Ridge National Laboratory (ORNL)
  AM processing of baseline and advanced designs
  Materials selection and processing
Technical Advisory Panel (industry experts)
  Provide feedback and consultation
  Technology adoption for Phase 2
AMO MYPP Connection:
Combined Heat and Power (CHP) Systems
  Advanced Materials
  Additive Manufacturing
Project Title: Advanced Turbine Airfoils for Efficient CHP Systems

## Slide 3: Project Objectives
CHP technical market potential is large (~100GW)
Higher efficiency/lower cost  growth of CHP market
  Higher productivity and energy efficiency for US manufacturing (AMO strategic goal)
Research Target: Increase turbine inlet temperature by 100°C over 2015 baseline
  Phase 1 – Demonstrate potential of advanced cooling, AM materials, and AM processing to temperature/efficiency improvements
  Phase 2 (Option) – Establish CRADA with turbine manufacturer for follow-on development, testing, and deployment
Technology adoption challenges:
  Additive manufacturability limitations
  Package advanced cooling concepts into airfoils
  Assess cost/benefit tradeoffs for AM airfoils
Source: NETL

## Slide 4: Technical Approach
Current limitations:
  Efficiencies for small GT’s have not increased significantly over the last decade
  Investment casting  Long lead times/high tooling costs
  Prior “AM/cooling” studies have not addressed entire airfoil
  No public baseline for small GT’s
Proposed Approach:
  Initially focus on cooling improvements
    Establish baseline conditions, airfoil geometry, cooling design
    Incorporate advanced cooling enabled by AM into airfoils
    Develop baseline engine performance model
    Use model to predict engine performance improvements from cooling
    Experimentally validate cooling assumptions in model
  Investigate other AM material options for small gas turbines
    Identify potential advanced material options
    Fabricate test airfoils for NETL
  Public baseline designs can be leveraged for future studies
Ref: “2019 GTW Handbook,” Gas Turbine World, pp. 47–56, 2019
Commercial Gas Turbine Gensets
“Baseline” Definition:
Representative of engines in the target size range, but not identical to any specific engine

## Slide 5: Technical Approach
Target engine size and conditions
Baseline and advanced cooling designs
Model efficiency based on cooling improvements
Market and benefits studies
Identify AM material options
Fabricate test articles
Validate integrated cooling performance in test rigs
Identify commercial interest
Task | 2019 |  |  |  |  |  | 2020 |  |  |  |  |  |  |  |  |  |  |  | 2021 |  |  |  |  |  |  |  |  |  |  |  | 2022 |  |  |  |  |  |  |  |  |  |  | 
Advisory Panel |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
Establish Test Plans and Approach |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
Modeling and Validation Testing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
Reporting |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
Establish Technical Advisory Panel for Constructive Guidance/Feedback
5
AM Options
Baselines
Adv cooling options
1st AM Build
CHP Benefits and Market Analysis
Advanced AM Options
Validate Preliminary Model
Analysis of 1st Build
2nd AM Build
Analysis 2nd Build
Airfoil Prelim. Design
Industrial Interest in Phase 2
AM fidelity checks
Complete Validation Tests
Predict Efficiency
AM cost analysis
Final Report
PH2 Req’ts
7
Final Perf. Testing
8
Go / No-Go
Decision
Chart Key
NETL &
ORNL
ORNL
NETL
Project Milestone
CGT Model
1
2
3
4
6
Phase 2 CRADAs
Predict Efficiency

## Slide 6: Results and Accomplishments
Preliminary Cooled Gas Turbine Model (CGTM) Predictions
Efficiency improvement: ~2 percentage points
Power increase: ~1.5 MWe (~20-25%)

## Slide 7: Results and Accomplishments
1st Stage Vane Baseline Cooled Airfoil Design
1st Stage Rotor Blade Baseline Cooled Airfoil Design
Symmetric public airfoil geometry (NACA-0024) selected for testing and cooling performance validation

## Slide 8: Transition (beyond DOE assistance)
Strategy for commercial adoption:
  Engage turbine OEM’s and suppliers at the beginning of the project
  Task 1 – Technology Advisory Panel
    Provide feedback and research focus on issues needed to accelerate commercial adoption
At the end of Phase 1,
  CRADA’s will be established with commercialization partners with the intent of pursuing a strategy to increase TRL through engine testing
    DOE role would transform into a consultant/advisory role
    Leverage DOE expertise and capabilities to accelerate commercial deployment