## Annual
DOE ESPC ENABLE AWARDED PROJECTS July 2020
Project # | Project Title | City | State | Agency | Energy Services Company (ESCO) | Energy Conservation Measures (ECMs) | Awarded Date | Project Investment1 | Guaranteed Cost Savings | Contract Price | Period of Performance (Years) | Annual Energy Savings (10^6 Btu) | Cumulative Energy Savings (10^6 Btu)
Grand Total for FY 2014 - FY 2020 | [7 empty] | 86237564.09 | 124948275.74 | 119607893.16 |  | 155127.4185 | 2531467.3702
FY 2020
68 | Detroit ESPC ENABLE Project | Detroit | MI | U.S. General Services Administration | Honeywell International | Lighting; lighting controls; steam to boiler | 2020-07-15 | 18548221 | 25883923 | 24670720 | 16 | 204 | 3264
[8 empty] | 18548221 | 25883923 | 24670720 |  | 204 | 3264
FY 2019
60 | GSA Rocky Mountain Region 8 ESPC ENABLE | Denver Cheyenne | CO WY | U.S. General Services Administration | ABM Facility Support Services | Lighting; steam to boiler; boiler replacement; air handling unit sealing; perimeter heat control; pipe insulation; HVAC retro-commissioning; building envelope | 2019-09-18 | 12239517 | 16118065 | 15663652 | 16 | 20359 | 325744
58 | GSA Dayton & Columbus ESPC ENABLE | Dayton Columbus | OH OH | U.S. General Services Administration | Green Generation Solutions | Lighting; HVAC upgrades; water | 2018-10-31 | 941493 | 1376724 | 1363889.42 | 12 | 2787 | 33444
[8 empty] | 13181010 | 17494789 | 17027541.42 |  | 23146 | 359188
FY 2018
37 | ESPC ENABLE - 3 Buildings in Fort Worth Texas | Fort Worth | TX | U.S. General Services Administration | Green Generation Solutions | Lighting; HVAC upgrades and controls | 2018-06-29 | 2145825 | 3228944 | 3210423.7 | 13 | 8825 | 114725
41 | Corpus Christi Air Traffic Control Tower (CRP ATCT) ESPC ENABLE | Corpus Christi | TX | Federal Aviation Administration (FAA) | CTI Energy Services | Lighting; HVAC upgrades; plumbing and irrigation upgrades; solar photovoltaics; boiler replacement; building automation system upgrade | 2018-05-22 | 1441871 | 2560270 | 2528259 | 21 | 2138 | 44898
49 | NIST Gaithersburg, MD Solar PV Array System | Gaithersburg | MD | National Institute of Standards and Technology (NIST) | Legatus62 | Solar photovoltaics in ESPC energy sales agreement (ESA) | 2018-05-15 | 10975505 | 11720431 | 10225198 | 20 | 20714.4185 | 414288.3702
47 | NOAA Office of National Marine Sanctuaries ESPC ENABLE | Florida Keys NMS, Key West Humpback Whale NMS, Maui Stellwagen Bank NMS, Scituate Flower Garden NMS, Galveston | FL HI MA TX | National Oceanic and Atmospheric Administration (NOAA) Office of National Marine Sanctuaries (ONMS) | ABM Facility Support Services | Exterior and Interior lighting; HVAC upgrades; chiller replacement; building envelope; building automation system upgrade | 2018-04-30 | 758671 | 1272156 | 1261284 | 20 | 819 | 16380
17 | ESPC ENABLE AFFECT Off-Grid Renewable Project | Cleveland National Forest (NF) Los Padres NF Mendocino NF Plumas NF Sequoia NF | CA CA CA CA CA | U.S. Forest Service | Trane | Exterior and Interior lighting; solar photovoltaics with battery backup | 2017-12-29 | 3088378 | 4017214 | 4017100 | 14 | 3023 | 42322
Total for FY 2018 | [7 empty] | 18410250 | 22799015 | 21242264.7 |  | 35519.4185 | 632613.3702
FY 2017
42 | El Paso Intelligence Center (EPIC) | El Paso | TX | U.S. Drug Enforcement Administration | Ameresco | Exterior and Interior lighting; lighting controls; water fixtures; solar photovoltaics in ESPC energy sales agreement (ESA) | 2017-09-21 | 4804070 | 9047743 | 9047722 | 21 | 16433 | 345093
2 | U.S. Immigration and Customs Enforcement (ICE) Enterprise-wide ESPC ENABLE | El Paso Batavia Los Fresnos Miami Florence | TX NY TX FL AZ | U.S. Immigration and Customs Enforcement | Johnson Controls, Inc. | Exterior and Interior lighting; lighting controls; water fixtures; HVAC equipment and controls | 7/6/2017 | 5532250.14 | 8873622.71 | 8635129.13 | 17 | 13854 | 235518
20 | U.S. Forest Service (USFS) Region 6 ESPC ENABLE | Deschutes National Forest (NF) Gifford Pinchot NF Malheur NF Mt. Baker-Snoqualmie NF Mt. Hood NF Ochoco NF Rogue River-Siskiyou NF Siuslaw NF Umatilla NF Umpqua NF Wallowa-Whitman NF Okanogan-Wenatchee NF Willamette NF Colville NF | OR WA OR WA OR OR OR OR OR OR OR, ID WA OR WA | U.S. Forest Service | Green Generation Solutions | Exterior and Interior lighting; lighting controls; HVAC controls; solar photovoltaics | 2017-06-12 | 3633252 | 7495998 | 7219944 | 23 | 9209 | 211807
45 | Federal Prison Camp (FPC) Duluth, MN | Duluth | MN | Federal Bureau of Prisons | ADI Energy | Exterior and interior lighting; water fixtures; boiler and chiller replacement | 2017-04-13 | 3432599.5 | 7333636.51 | 7113067.78 | 24 | 10732 | 257568
5 | Los Padres and San Bernardino National Forests | Big Bear Del Rosa Idyllwild Los Prietos Lytle Creek Mill Creek Ojai Santa Maria San Bernardino | CA CA CA CA CA CA CA CA CA | U.S. Forest Service | Green Generation Solutions | Exterior and interior lighting; lighting controls; HVAC; HVAC controls; solar photovoltaics | 2016-10-27 | 2691481 | 4494812 | 4047655 | 14 | 4891 | 68474
Total for FY 2017 | [7 empty] | 20093652.64 | 37245812.22 | 36063517.91 |  | 55119 | 1118460
FY 2016
44 | Seven Buildings in the State of Michigan | Ann Arbor Detroit Flint Saginaw | MI MI MI MI | U.S. General Services Administration | Green Generation Solutions | Exterior and interior lighting; lighting controls; electric motors and drives; chiller plant; building envelope (solar film) | 2016-09-29 | 1015017 | 1313502 | 1270734 | 6 | 9721 | 58326
46 | Marine Corps Air Station (MCAS) Beaufort | Beaufort | SC | U.S. Department of Navy, Naval Facilities Engineering Command (NAVFAC) / MCAS Beaufort | Woodstone Energy | Exterior lighting | 2016-09-28 | 5933303 | 7704774 | 7521972 | 14 | 7120 | 99680
38 | Forrestal HQ LED Lighting Project | Washington | DC | U.S. Department of Energy | ADI Energy | Interior LED lighting | 2016-08-25 | 2069592 | 2922688 | 2742129 | 12 | 6667 | 80004
6 | Yuma Border LED Lighting | San Luis | AZ | U.S. Customs and Border Protection | Green Generation Solutions | Exterior lighting | 2016-05-20 | 2241776 | 3494390 | 3073573 | 12 | 9216 | 110592
Total for FY 2016 | [7 empty] | 11259688 | 15435354 | 14608408 |  | 32724 | 348602
FY 2015
21 | Federal Building and U.S. Courthouse | Hammond | IN | U.S. General Services Administration | Green Generation Solutions | Exterior, interior lighting | 2015-09-25 | 182575 | 182575 | 182575 | NF3 | 364 | NF3
4 | Belmopan U.S. Embassy | Belmopan | Belize | U.S. Department of State | ABM Government Services | Exterior and interior lighting, HVAC controls, Solar photovoltaics | 2015-06-12 | 3318848 | 4440037 | 4364066 | 14 | 4046 | 56644
3 | Laughlin Air Force Base | Del Rio | TX | U.S. Air Force | ABM Government Services | Exterior lighting Lighting control systems | 2015-05-12 | 910741 | 910741 | 910741 | NF3 | 2947 | NF3
Total for FY 2015 | [7 empty] | 4412164 | 5533353 | 5457382 |  | 7357 | 56644
FY 2014
1 | Deschutes National Forest | Bend Redmond | OR OR | U.S. Forest Service | Siemens Government Technologies | Exterior, interior lighting Lighting controls Water fixtures | 2014-03-31 | 332578.45 | 556029.52 | 538059.13 | 12 | 1058 | 12696
Total for FY 2014 | [7 empty] | 332578.45 | 556029.52 | 538059.13 |  | 1058 | 12696
1 For Project #42, DEA-EPIC, Project Investment includes $486,770 for lighting and water ECMs and $4,317,300 in direct implementation expenses for the solar photovoltaics ECM, which is being implemented under an energy sales agreement (ESA).
2 Legatus6 will build the project but novate the contract to Constellation.
3 Project not financed, agency will use available funds.