PA Kickoff Meeting Agenda

ESPC Process Doc. P2-07

Rev. 4-15-2022

Responsibility:   FPE & PF

SBQ* Preliminary Assessment (PA) Kickoff Meeting Agenda**

(minimum topics required to be covered are listed)

# Introductions/Roles

- Welcome by Agency

- Introductions and roles of each person in the project (PF)

- Objectives of the meeting (PF)

# Setting the Stage

- ESPC overview if needed (FPE)

- PA overview (35-page requirement) (FPE)

- Discussion by Agency/Site of interest, goals, objectives and priorities (Agency)

  - Meeting required goals, site specific needs, identified opportunities

  - NOO key points

- Levels of management support (Agency)

- Discussion on scope, buildings, areas and ECMs to be considered (Agency)

- Discussion by ESCO of their interest, anticipated opportunities and hurdles in the project (ESCO)

- Process Development and Templates  (promote comprehensive project, but simplified PA if not yet addressed in pre-PA discussions)

  - Brief overview of the Task Order project development process (PF)

  - Promote 12-month development schedule  (PF)

- Initiating project in eProject Builder (identify Initiator, Builder, Viewers)

# Setting Expectations

- Discuss how best to reduce carbon emissions by including unconventional, low or no carbon emission ECMs as alternatives to standard or traditional ECMs.

- Site Data (Agency)

  - Building environmental, resilience, and performance requirements (Agency)

- Long term plans at the site--additional capacity, utilization (impact of Covid-19 on building use)

- Facilities to be included

- Facilities to be excluded

- Discussion of ECMs, long-term plans at the site, and exceptions (evaluate operational changes due to Covid-19)

- O&M services, R&R responsibilities and O&M savings

- Discuss potential cybersecurity requirements

- Codes, regulations, hazards, other considerations/issues

- Categorical Exclusions – environmental documentation

- Design Intent – Commissioning requirements

- Discuss available technology screenings (renewables, resiliency, etc.; check with FPE)

- Energy Star/FEMP EE Project requirements (PF)

- Address Life of Contract planning prior to task order award (PF)

- Fair and reasonable pricing (subcontractor competition)

- Preparing the project for an audit (historical lessons learned)

# Preliminary Assessment Process***

- Contractor discussion of their plans and needs for PA phase (ESCO)

  - Logistics and access procedures for domestic and/or foreign nationals and possible travel-related restrictions

  - Security, restricted areas, escorts, etc.

  - Testing and metering to be performed

  - Safety requirements – training, hazards

  - Drawings, studies (including asbestos, PCBs, etc.)

  - Historical designation

  - Other ESCO needs during PA

- Process discussion – reviews (copies), document transmittals, etc. (ESCO)

- PA requirements - what does it look like (components/revised proposal); what needs to be approved (ECM package, savings estimates, baseline, M&V plan, etc.) (ESCO)

  - Government witnessing for M&V baseline (if measurements are made to support the IGA/proposal)

- Government discussion/expectations of what they think needs further investigation (Agency/ESCO)

# Communications and Approvals

- Establish leads and discuss responsibilities (Agency/ESCO)

- Establish frequency and method of communications – emails, conference calls (Agency/ESCO)

  - Meeting minutes drafting, distribution, review and approval

  - ESCO requests for information

  - PA submission

  - Protocols for bringing new people in/exiting others – responsibility for passing on information and informing the team

  - All approval points and who must approve

Project Schedule

- PA development

- Agency review time required

- Award target date

- Project schedule chart

Construction Logistics

- Installation planning

- Service interruptions

- Swing space

- Other

Utility Issues

- Rebates, grants, incentives from utilities, state, others

- Utility rates for electricity, gas, oil, coal, water, sewer, steam, chilled water

  - Consider potential consequences for district or regional systems where rates could suddenly increase if a single user reduces their consumption (campuses, central systems, water districts/regions, etc.)

  - Stand-by, ratchet, and interruptible rates and interconnection costs/tariffs/studies

Other Issues?

Action Items

- Site

- ESCO

- DOE

Progress call schedule and date of first call

* SBQ – (ESCO) selection by qualification

** Agenda is useable for both original task order and subsequent modifications.  See the IDIQ contract for further requirements for modifications.

***The ESCO should inform the Agency that if baseline measurements will be made during the Preliminary Assessment, those measurements should be witnessed in accordance with the IDIQ requirements.

https://www.energy.gov/eere/femp/resilience-planning-and-implementation#trn

https://www.energy.gov/eere/femp/cybersecurity-considerations-performance-contracts