| Revisions |  |
| --- | --- |
| 0.0, 3/31/2004 | Version approved for distribution |
| 0.1, 3/31/2005 | Minor updates i.e., typos, incorporation of a missing figure |
| 1.0, 3/31/2005 | Revisions for subsequent major updates approved with additional R&A |
| 1.1, 7/31/2009 | Revisions to incorporate all appropriate DCI/DICCE contractor design/build requirements for release of RFP |
| 1.2, 11/2/2015 | Addition of Rodent language per OL CI CR 15-012 |
| 1.3, 02/26/2016 | Updated variations from standard configuration/equipment language |

PRE-SURVEY INFORMATION (Pre-trip Team Plan) (Section 1)

(fill in form prior to leaving if possible)

Site name:                                                Type:                                    Date(s):

Survey team members and trip responsibilities (Appendix 2 of SSR/DRD)

- DOE

- SNL

- LANL

- Contractor

- Others

Scope

- Control points for all or selected traffic (e.g. international but not national passengers).  Will there be areas of limited access to the survey team (e.g., dual-use facility)?

- For each site confirm the deliverable(s) needed, due date(s) for each deliverable (specify draft or final), and the organization/person responsible (i.e., DRD, ConOps, SRS).

- Will the report address ConOps issues in addition to the physical placement of monitors?  If not, will there be a separate ConOps document?

- Does the trip schedule look adequate to allow sufficient survey time at each site?

General Information/Preparation

- Who is the primary contact (Customs, Border Guard, etc)?  Will they also own and operate the NSDD provided equipment?

- Schematics, maps, or related material available pre-survey: Y/N  If yes, CM to distribute to the team.

- Will NSDD give a presentation to site personnel:  Y/N           If yes, who?

- Will Lane Names be assigned during survey?  If yes, identify them during the survey and include them in the DRD.

- Will a joint Statement of Survey (also called a Site Survey Protocol) be developed?  (This is at the Country Manager’s discretion)

NSDD/US Team Reminders during the Survey

- Jointly, with Host participation, summarize path upgrades at the end of the survey (Section 4 table) to ensure understanding

- Perform and record Background Readings of all paths

- Sketch each path, including proposed upgrades (optional drawing tool on last page)

GENERAL SITE INFORMATION (Section 2)

Reminder -- get site schematic

## General Site Usage

- Operating hours

- General traffic and cargo data for the site [if traffic data varies by path, include that in the path section]

## Existing ConOps

- Current onsite and offsite communication method(s) (telephone, hand-held radios, internet) [use to determine need for VoIP]

- Primary and Secondary radiation response procedures including agreements between different agencies and communication methods

- Off-site assistance available (e.g. reach back)

- Existing training for personnel who will operate and respond to radiation alarms

## Radiation Detection Equipment

Summary of Existing Portal Monitors

| Location | Monitor Type and Number |  |  |  |  |  |  |  |  | Model and Serial Number(s) | Owned by and/or Installed by | Potential Action |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Single-Pillar Pedestrian | Dual-Pillar Pedestrian |  | Single-Pillar Vehicle |  | Double-Pillar Vehicle | Single-Pillar Rail | Dual-Pillar Rail | Other |  |  |  |

Note if the existing equipment has video camera(s)

Summary of Existing Hand-held Detectors

| Quantity | Model | Description |
| --- | --- | --- |

- Responsible party for maintenance and calibration of existing equipment and potential NSDD-provided equipment

## Site Authority

- Owner(s) and operator(s) the facilities

- Owner and operator of installed equipment

- Financial responsibility for long-term sustainability (maintenance and repair, training) of installed equipment

## Site Infrastructure

- Communication lines (internet, land line or wireless; is it via phone line, fiber, or RF)?

- Existing system integration (cameras, CAS, workstations, Remote Alarm Panel; local, regional, national)

- Power description (200 volt, 50 Hz) and deficiencies (source, back up, average and frequency of outages, general reliability, voltage/capacity, how far away, exists/doesn’t exist, clean/dirty)  [use to determine if UPS default of 15 minutes is sufficient and if not, what it should be.  Also to determine if other upgrades are necessary such a generator]

- Upgrades for power

## Other Considerations

- Current or future construction or reconstruction of the site

- During the site survey, document any known problems/issues with rodents in and around the site and its structures.

- Safety related issues

## Central Alarm Station

- Number and location of existing/potential CASs, Local Alarm Stations, Secondary Inspection Workstations, Window CASs, Remote Alarm Panels, dedicated servers

- Interface language(s) required

- If there is an existing communication system, discuss the option(s) to integrate (or not integrate) with the NSDD provided equipment

- Location specifics (dimensions, climate control, space modifications or space limitations, etc) of proposed CASs and workstations

- Server room secure or access controlled.  If not, identify options to restrict access.

- Restrictions to be aware of when installing communication system (ownership of property, multiple approvals, long distances etc)

- Estimated distances between the RPM locations and CAS / workstation(s)

Summary of Approximate Distances to the CAS

| Location | Distance to CAS |
| --- | --- |

PATH / CONTROL POINT INFORMATION --- complete for each CP (Section 3)

Sketch the CP layout – tool provided on last page.

Take a couple photos of each CP, preferably from opposite directions

## Path / Control Points (repeat the following for each path surveyed)

### Path Name

Path Usage

- Volume/frequency/posted or estimated average speed, type of traffic, type of cargo, origin/destination, flags of origin, international, domestic, military

- Specialty or oversized vehicles that transit the path (special vehicles to move transportainers at SPs,  combines)

Noticeable impact from environmental factors

- Buckled concrete, corrosion (etc) due to factors like temperature extremes, humidity, wind, moisture etc

Path Infrastructure

- Current or planned changes and impact on possible installation

- Potential equipment connection to the CAS (RF, fiber optic, hardwire)

- Underground utility lines or infrastructure elements in the area (water or sewer lines, electrical or other cabling) or other suspected obstacles to installation

- Note of visible obstacles to installation (above ground water lines, storage tanks, power lines)

Interference Factors

- Environmental (humidity, soil) or interference factors (x-ray machines, space, speed, bypass opportunities, monitor occupancy)

System Configuration

- Variations from standard configuration/equipment and justification

  - Spacing, movable vs fixed, remote real-time monitoring, additional video cameras, etc.

  - Security enhancements – anti-vandal cages, additional lighting, security video cameras, tamper switches on UP cabinets, etc.

- Will multiple alarms during single occupancy be treated as separate events

- Viable options not selected and why

- Current or proposed secondary inspection area

SUMMARY OF NSDD UPGRADES FOR OUT-BRIEFING (Section 4)

Summary of NSDD potential upgrades for out-briefing (refer to control point diagrams):

Number and type of monitors

| Location (CP) | Type of monitor | Number of Monitors | Number of Cameras | Comment/special requirements * |
| --- | --- | --- | --- | --- |

*Special requirements such as:

- Physical modifications  (channeling and bypass barriers, monitor occupancy control, anti-vandal cages, fences)

- Speed control (speed bumps, drop bars, tire spikes, signs)

- Additional lighting

Hand-held Equipment:

| Quantity | Model | Description |
| --- | --- | --- |

Non-Standard Design Factors: [e.g., install at 7.0 m to accommodate snow plows]

CONTROL POINT DIAGRAMS

(Make Copies as needed)

Control Point:   													Site: