**Prefabricated Extruded Polystyrene Wall Panels Post Evaluation Checklist**

|  |
| --- |
| **PROJECT INFORMATION**  |
| **Property Address:** |   |
| **Job# or Client ID:** |  |
| **Inspector Printed Name:** |  |
| **Inspector QCI Certification #:** |  |
| **Inspection Date:** |  |
| **Local code inspection(s):** **(if applicable)** | Permit #\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Date Passed \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_Permit #\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Date Passed \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ |

|  |
| --- |
| **ENERGY AUDIT INFORMATION** |
| Was an energy audit performed on this dwelling that included this installation? | ☐ Yes ☐ No |
| If yes, was the measure Savings to Investment (SIR) less than 1? | ☐ Yes ☐ No ☐N/A |

|  |
| --- |
| **PRODUCT INFORMATION** |
| Manufacturer: |   |
| Make/Model #: |   |
| R-Value: |  |
| COMMENTS: |  |

|  |
| --- |
| **INSTALLATION** |
| **Yes** | **No** | **N/A** |  | **Note** |
|  |  |  | Panels are installed per the work order/invoice (e.g., R-value, coverage, etc.) |  |
|   |   |   | Panels are installed per the requirements of the authority having jurisdiction (AHJ) and the manufacturer installation directions (the most stringent of these apply) |   |
|  |  |  | All wall panel penetrations and seams are sealed to prevent water and pest intrusion |  |
|  |  |  | Adhesives and sealants are compatible with extruded polystyrene |  |
| COMMENTS: |  |

|  |
| --- |
| **PERFORMANCE** |
| **Yes** | **No** | **N/A** |  | **Note** |
|  |  |  | Panels resist air movement when subjected to a 50-Pascal pressure difference (e.g., during blower door testing) |  |
|  |  |  | Panels cover 100% of the intended coverage area with no significant thermal anomalies noted |  |
|  |  |  | Windows and doors operate as intended and no evidence of water or air infiltration exists |  |
| COMMENTS: |  |

|  |
| --- |
| **ELECTRICAL, PLUMBING, HVAC** |
| **Yes** | **No** | **N/A** |  | **Note** |
|   |   |   | All fixtures and terminations are extended to external wall plane based on site conditions (e.g., light fixtures, water spigots, exhaust vents, chimneys, fresh air inlets, etc.) |   |
|  |  |  | All fixtures and terminated inlets/outlets operate as designed  |  |
|  |  |  | All fixtures and terminations are weatherproof and prevent water intrusion |  |
| COMMENTS: |  |

|  |
| --- |
| **CLIENT EDUCATION** |
| **Yes** | **No** | **N/A** |  | **Note** |
|  |  |  | Occupant(s), owner(s), and/or maintenance staff have been provided with, warranty information, installation instructions, and installer contact information |  |
|  |  |  | Documentation signed by the installer was posted that at minimum includes: Install date, insulation type and R-value, coverage area, and installed thickness |  |
| COMMENTS: |  |

|  |
| --- |
| **ADDITIONAL COMMENTS** |
|  |

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Signature of Inspector Date