Heat Pump Water Heater Post Evaluation Checklist

| PROJECT INFORMATION |  |
| --- | --- |
| Property Address: |  |
| Job# or Client ID: |  |
| Inspector Printed Name: |  |
| Inspector QCI Certification #: |  |
| Inspection Date: |  |
| Local code inspection(s): (if applicable) | Permit #_________________________________________ Date Passed _________________ Permit #_________________________________________ Date Passed _________________ |

| ENERGY AUDIT INFORMATION |  |
| --- | --- |
| Was an energy audit performed on this dwelling that included this installation? | ☐ Yes ☐ No |
| If yes, was the measure Savings to Investment (SIR) less than 1? | ☐ Yes ☐ No ☐N/A |

| EQUIPMENT INFORMATION |  |
| --- | --- |
| Manufacturer: |  |
| Model #: |  |
| Serial #: |  |
| Tank Size: |  |
| Uniform Energy Factor (UEF) Rating: | _______________ Must meet Energy Star criteria, or equivalent efficiency rating: https://www.energystar.gov/products/water_heaters/residential_water_heaters_key_product_criteria |
| Location: | ☐Conditioned Space ☐Unconditioned Space ☐Basement/Crawlspace ☐Garage ☐Utility Room ☐Other_______________________ |
| Any Adjacent Heat Sources: | ☐None ☐Furnace ☐Boiler ☐Other_____________________________ |
| COMMENTS: |  |

| INSTALLATION |  |  |  |  |
| --- | --- | --- | --- | --- |
| Yes | No | N/A |  | Note |
|  |  |  | System is installed per work order/invoice and design documents |  |
|  |  |  | System is installed per manufacturer specifications |  |
|  |  |  | Heat Pump Water Heater installation meets minimum requirements set forth in SWS 7.0302.3 |  |
|  |  |  | Water lines which were insulated by WAP are insulated to R3 or greater |  |
| COMMENTS: |  |  |  |  |

| PERFORMANCE |  |  |  |  |
| --- | --- | --- | --- | --- |
| Yes | No | N/A |  | Note |
|  |  |  | Condensate line is functional and connected to drain or working pump |  |
|  |  |  | No water leaks are present in installation area |  |
|  |  |  | Air filter is clean at time of inspection |  |
|  |  |  | At the time of inspection water heater is in: ☐ heat pump mode ☐ hybrid mode |  |
|  |  |  | Water heater is NOT in pure resistance heat mode at time of inspection |  |
| COMMENTS: |  |  |  |  |

| ELECTRICAL |  |  |  |  |
| --- | --- | --- | --- | --- |
| Yes | No | N/A |  | Note |
|  |  |  | System has a dedicated circuit breaker that meets manufacturer’s specifications |  |
|  |  |  | Electrical service is protected and secure per AHJ and manufacturer specifications |  |
| COMMENTS: |  |  |  |  |

| CLIENT EDUCATION |  |  |  |  |
| --- | --- | --- | --- | --- |
| Yes | No | N/A |  | Note |
|  |  |  | Occupant(s), owner(s), and/or maintenance staff have been provided with user’s manual, warranty information, installation instructions, and installer contact information |  |
|  |  |  | Air filter access is clearly labeled |  |
| COMMENTS: |  |  |  |  |

ADDITIONAL COMMENTS

_______________________________________________________________________    _______________________________________

Signature of Inspector											Date