Solar Hot Air System Post Evaluation Checklist

| PROJECT INFORMATION |  |
| --- | --- |
| Property Address: |  |
| Job# or Client ID: |  |
| Inspector Printed Name: |  |
| Inspector QCI Certification #: |  |
| Inspection Date: |  |
| Local code inspection(s): (if applicable) | Permit #_________________________________________ Date Passed _________________ Permit #_________________________________________ Date Passed _________________ |

| ENERGY AUDIT INFORMATION |  |
| --- | --- |
| Was an energy audit performed on this dwelling that included this installation? | ☐ Yes ☐ No |
| If yes, was the measure Savings to Investment (SIR) less than 1? | ☐ Yes ☐ No ☐N/A |

| EQUIPMENT INFORMATION |  |
| --- | --- |
| Manufacturer: |  |
| Model #: |  |
| Serial #: |  |
| Panel Information: | # of panels_____ Footprint of absorber ______m2 or _____ft2 |
| Installed Capacity: | Kw____ or BTUs/hr. _____ |
| Panel Location (e.g., roof, wall): |  |
| Orientation (e.g., S, SW): |  |
| Tilt (If applicable) (e.g., 32 degrees) |  |
| System Type: | ☐ Active (uses powered fan) ☐ Passive (convective) |
| If active system; | Fan is powered by: ☐ Solar PV ☐ Grid Electricity Rated CFM: ____________ |
| COMMENTS: |  |

| INSTALLATION |  |  |  |  |
| --- | --- | --- | --- | --- |
| Yes | No | N/A |  | Note |
|  |  |  | Solar hot air system is installed per the work order/invoice |  |
|  |  |  | Solar hot air system is installation per manufacturer instructions and design documentation |  |
|  |  |  | If roof mounted, roof has 10 years or more of useful life remaining and is capable of handling additional load |  |
|  |  |  | System and thermostat controls are operational and located minimum 4-5 feet away from the air intake and diffuser |  |
|  |  |  | Solar collectors are located to minimize shading factor and maximize solar gain, but not interfere with other appliance operation (e.g., chimneys, vents, exhaust terminations) |  |
|  |  |  | Materials used outdoors are UV-resistant and listed for outdoor use (exterior fasteners, sealants, etc.) |  |
|  |  |  | Any building insulation disturbed during installation is restored to existing R-value or better |  |
|  |  |  | Installation penetrations of the building shell are weatherproof and airtight |  |
|  |  |  | Structure fire resistance is maintained as required by AHJ |  |
|  |  |  | Collectors are installed above snow line if wall mounted |  |
|  |  |  | Backdraft dampers are installed and operate correctly |  |
|  |  |  | Air outlet is equipped with diffuser/grill |  |
|  |  |  | Any ductwork attached to system is sealed per SWS 5.0106 |  |
|  |  |  | Any ductwork attached to system is installed per SWS 5.0104.1 |  |
|  |  |  | Electrical fan connections and wiring are installed according to manufacturer installation specifications and installation complies with NEC (National Electric Code) or local jurisdictions |  |
| COMMENTS: |  |  |  |  |

| PERFORMANCE |  |  |  |  |
| --- | --- | --- | --- | --- |
| Yes | No | N/A |  | Note |
|  |  |  | Thermostat setpoint properly set Setpoint=______F° |  |
|  |  |  | Room temperature increased as specified by manufacturer |  |
|  |  |  | Thermal efficiency rating of at least 15 percent (CFR 440.21(c)(1)(iv)) |  |
| COMMENTS: |  |  |  |  |

| CLIENT EDUCATION |  |  |  |  |
| --- | --- | --- | --- | --- |
| Yes | No | N/A |  | Note |
|  |  |  | Occupant(s), owner(s), and/or maintenance staff have been provided with user’s manual, warranty information, installation instructions, and installer contact information |  |
| COMMENTS: |  |  |  |  |

ADDITIONAL COMMENTS

_______________________________________________________________________    _______________________________________

Signature of Inspector											Date