IGA/Proposal Review Checklist

ESPC Process Doc. P3-03

Rev. 9-1-25

Responsibility: PF

INVESTMENT-GRADE AUDIT/PROPOSAL:  REVIEW CHECKLIST

| Project Name |  |
| --- | --- |
| FEMP ID# |  |
| Agency |  |
| Project Facilitator |  |
| Date of Review |  |

Overall

☐ IGA content consistent with Agency requirements (regulatory as well as mission based)

☐ All buildings included in the scope are appropriate given facility master plan

☐ Overall percentage energy and cost savings (at the ECM, building, facility, and campus levels) are reasonable

☐ Rebates and incentives were adequately pursued by ESCO

☐ Risks of emerging/underutilized technologies properly identified and brought to Agency’s attention as necessary

☐ Where Agency performs O&M, reviewer has assessed the likelihood of problems and their potential impacts, and has brought these to the Agency’s attention

☐ ESCO is responsible for O&M of equipment installed (required by Generation 4 and 2017 IDIQ contracts, Sections C.6 and C.7)

☐ ESCO is responsible for repair and/or replacement of measures installed (required by Generation 4 and 2017 IDIQ contracts, Section C.8)

☐ Risk, Responsibility, and Performance Matrix consistent with Agency expectations

☐ M&V strategies and costs provide good balance between cost and Agency risk

☐ Reviewer has assessed the overall reliance on M&V options proposed to ensure appropriate, given risks (especially for Option A)

☐ Reviewer has examined percentage of project savings from electricity, gas, other fuels, water, and O&M, to identify where more extensive M&V should be emphasized

☐  Review comments from all reviewers (including SMEs) have been pulled together by the PF into a single document/package, provided to the Agency and contractor, and archived by the PF

☐ Analyses, notes, and other work done to support the PF’s comments have been archived

For each form of energy and water (duplicate for each type of energy):

☐ Energy type:

☐ Baseline unit rate adequately documented

☐ If blended rates are used, the methodologies for calculating them are provided and valid

☐ Rates used align with current utility rate schedule

☐ Escalation rates adequately documented and consistent with FEMP recommendations  (latest version of EERC tool utilized)

For each ECM (duplicate for each ECM):

☐ Technical Category:

☐ ECM Name:

☐ FPE notified of need for technology expert review, if necessary

☐ ECM suitable for intended purpose and consistent with agency requirements

☐ Construction cost consistent with similar ECMs in recent projects

☐ Proposed construction schedule reasonable and consistent with previous projects

☐ Commissioning plan is adequate

☐ Methodology used to calculate baseline energy use adequate and supported by the included measured data

☐ Operating hours and other assumptions are reasonable and well-documented

☐ Energy savings estimate consistent with similar ECMs in recent projects, and is adequately documented

☐ Interactive effects with other ECMs considered in the calculations

☐ Assessed the need for expert review of building models (DOE-2, EnergyPlus, etc.) and obtained secondary reviews as necessary

☐ Simulation models adequately calibrated

☐ Sampling of equipment to calculate baseline performed correctly

☐ Energy cost savings calculation consistent with energy savings estimate and baseline energy unit prices

☐ Energy-related O&M cost savings are reasonable, well-documented and consistent with FEMP guidance, and supported by customer evaluation

☐ Added O&M costs for additional equipment adequately documented, and included in cash flow

☐ For ECMs with expected useful life less than project term, replacement plan is documented and budgeted in project

☐ Post-installation M&V activities appropriate and adequate to determine potential to provide savings

☐ Annual M&V activities adequate and consistent with current FEMP guidance (reference latest version of M&V Guidelines: Measurement and Verification for Performance-Based Contracts)

☐ The IGA M&V plan includes a schedule indicating M&V activities, a recommended level of government witnessing for each ECM, and post-award M&V reporting milestones for each ECM (reference Generation 4 and 2017 IDIQs Sec. C.4.2.B and Guide to Government Witnessing and Review of Measurement and Verification Activities)

☐ Planned measurements during post-acceptance M&V confirm performance as opposed to confirming intent (e.g., confirming that space temperatures actually change in the case of setbacks or an actuator moves versus confirming they are programmed to occur)

☐ Any sampling performed during M&V is adequate and consistent with FEMP guidelines (reference latest version of M&V Guidelines: Measurement and Verification for Performance-Based Contracts)

☐ Where M&V method depends on customer-maintained equipment like a BAS/EMCS, reviewer comments address the potential risks and/or recommend backup plan

☐ Where ECMs or M&V depend on connection to military LAN, reviewer comments address potential connection challenges and risks

☐ ECM lessons learned for distributed energy generation power purchase agreement, and emerging technology ECMs was reviewed and applied as appropriate for this project (lessons learned document available from https://www.energy.gov/cmei/femp/resources-implementing-federal-energy-savings-performance-contracts)

TO Schedules

☐ TO schedules in proposal/IGA match those in eProject Builder

TO-1

☐ Implementation period savings and payments consistent with Agency expectations and FEMP guidance

☐ Estimated annual cost savings traceable to and consistent with ECM-level calculations

☐ Guaranteed cost savings consistent with estimated annual cost savings

☐ Annual contractor payments consistent with guaranteed cost savings, and are less than guaranteed savings in each contract year

TO-2a

☐ Components of the implementation price (columns a, b, and c)  for each ECM are traceable to costs detailed in the proposal/IGA

☐ Activities that make up the M&V expense for each ECM are adequately described in the proposal/IGA and reasonable (for both M&V equipment installed at construction and post-installation M&V activities – see TO-2b parts b and j)

TO-2b

☐ M&V costs in parts b and j sum to the M&V expense total in TO-2a

TO-3

☐ Performance period service expenses adequately documented and consistent with previous projects of this size

☐ Interest payments for each year consistent with project interest rate and loan balance

☐ Loan balance correct for each year

TO-4

☐ Energy baseline and savings for each ECM and each form of energy consistent with calculations provided in the IGA

☐ Energy cost savings for each ECM and each form of energy consistent with energy savings and energy unit costs

☐ Other energy-related O&M costs for each ECM consistent with documentation in IGA

☐ M&V expense represents a reasonable balance of cost versus savings risk (one-time M&V expenses/costs on TO-2a and TO-2b may need to be considered in this assessment)

TO-5

☐ Cancellation ceiling for each year is consistent with remaining principle per Schedule TO-3 and agreed-upon cancellation penalty ceiling

Summary of Key Issues/Findings (List main areas of concern identified in review)