## Slide 1: Radiological Assessment - of effects from - Fukushima Daiichi Nuclear Power Plant April 22, 2011

## Slide 2
  Aerial Measuring Systems have totaled more than 400 flight hours in support of aerial monitoring operations
  NNSA’s Consequence Management Response Teams have collected approximately 160,000 total field measurements taken by DOE, DoD, and Japanese monitoring assets
  559 total air samples taken at U.S. facilities throughout Japan undergoing lab analysis in the United States
Operations Summary

## Slide 3
Survey Data Over Time

## Slide 4
Assessment
An assessment of measurements gathered through April 20 continues to show:
Radiation levels continue to decrease
No measurable deposit of radiological material since March 19
US bases and facilities all measure dose rates below 32 microrem/hr (32 millionths of a REM) – a level with no known health risks
Agricultural monitoring and possible intervention will be required for several hundred square kilometers surrounding the site:
      Soil and water samples are the only definitive method to determine agricultural countermeasures
      Ground monitoring can give better fidelity to identify areas that require agricultural sampling

## Slide 5
Context
The Nuclear Regulatory Commission estimates that the average American absorbs 620 mRem a year* (or 0.071 mRem/hour)
An average transatlantic flight produces an exposure of 2.5 mRem*
A typical chest x-ray produces 10 mRem per image
EPA guidelines call for public health actions if exposure exceeds 1000 mRem over 4 days
  * Source: NRC: http://nrc.gov/images/about-nrc/radiation/factoid2-lrg.gif