



CONFINED SPACES
Assessment Plan 

NNSA/Nevada Site Office Facility Representative Division
Performance Objective:
This assessment provides a basis for evaluating the safety effectiveness of the contractor’s confined or enclosed spaces procedure, and for establishing compliance with DOE and OSHA requirements.  Specifically, this assessment is to verify the information and findings of the BN Management Self Assessment Report on "Confined Space", ES&H-MSA-03-13, dated December 31, 2003. 
Criteria:
Practices and procedures are in place to protect employees in general industry from the hazards of entry into permit-required confined spaces.  29 CFR 1910.146 (a)

Each employee is instructed in the recognition and avoidance of unsafe conditions and the regulations applicable to his work environment to control or eliminate hazards or other exposure to illness of injury.  29 CFR 1926.21(b)(2)

Requirements for issuing a confined or enclosed workspace permit, which may be issued in conjunction with a hazardous work permit, are documented with all the measures certifying acceptable entry conditions.  

Facility personnel are utilizing this procedure to ensure their safety while working in confined or enclosed spaces. 
References:
29 CFR 1910.146, Permit-required Confined Space

29 CFR 1926.21, Safety Training and Education

NNSA/NSO Approved Work Smart Standards

BN CD-0444.064, Permit-Required Confined Space Entry
BN CD-0444.021, Excavation

BN OI-0444.025, Confined or Enclosed Spaces

BN-0429, Confined Space Entry Team Checklist

BN-0024, Hot Work Permit

BN-0027, Confined Space Entry Air Monitoring Survey

BN-0028, Confined Space Entry Permit

BN Management Self Assessment Report, Environmental Safety & Health (ES&H)               Functional Area, Confined Space, Integrated Safety Management System (ISMS),         Phase I & II, ES&H-MSA_03-13, December 31, 2003

Approach:

Document Review:


References


Facility specific


Support activity specific


Project specific

Interviews:

Safety and Industrial Hygiene (S&IH) Personnel
Facility Manager


Facility Owner


Support Activity Managers


Project Managers


Supervisor


Workers

Observations:

Lines of Inquiry

CONFINED SPACES
NNSA/Nevada Site Office Facility Representative Division
	

	YES
	NO
	N/A
	COMMENTS

	1.  Has a Safety & Health Representative (S&HR) evaluated your workplace to determine which spaces (if any) are confined spaces?

BN OI-0444.025, 3.1.1(1)
	
	
	
	

	2.  Are you aware of a form or a checklist for evaluating and determining if a space is an enclosed space, a confined space and a non-permit or permit required space?
29 CFR 1910.146(c)(1)
	
	
	
	

	3.  Are you aware of the procedures for reentry into a confined space after evacuation?
29 CFR 1910.146,(c)(5)(ii)(H)
	
	
	
	

	4.  Do you complete a "Hazardous Work Permit", BN-1315, prior to entry into a Permit-Required Confined Space?
BN OI-0444.025, 3.7.1
	
	
	
	

	5.  Is the confined space entry permit with hazardous work permit posted at the entry portal for entry inspection by workers?
BN OI-0444.025, 3.7.4
	
	
	
	

	6.  Are pre-testing and monitoring results documented on the confined space entry permit?

BN OI-0444.025, 3.8.5
	
	
	
	

	7.  Are you aware of the process of reclassifying a Permit Required Confined Space to a Non-Permit-Required Confined Space?
29 CFR 1910.146(c)(7)
	
	
	
	

	8.  Is the confined space entry permit being reviewed and signed by entrants?

BN OI-0444.025, 3.5.4(1)
	
	
	
	

	9.  Is the reclassification process part of the annual review?
29 CFR 1910.146(c)(7)
	
	
	
	

	10.  Have all authorized entrants, attendants, and entry supervisors been trained in the procedures for entrance into confined or enclosed spaces?

BN OI-0444.025, 3.1.1(9)
	
	
	
	

	11.  When working with a subcontractor are you required to provide them with a copy of the appropriate Company Directives?
29 CFR 1910.146(c)(9)(ii)
	
	
	
	

	12.   Has an S&HR tested the confined space to identify potential hazards? BN OI-0444.025, 3.1.1(3)
	
	
	
	

	13   Have warning signs, entry barriers, etc., been posted or emplaced warning of a presence of the permit required confined space?

BN OI-0444.025, 3.1.1(4) and 4.6.1; 4.6.2; and 4.7.1
	
	
	
	

	14.  Are there conditions other then monitoring of air which should be monitored  throughout the duration of an authorized entry into a permit required confined space?
29 CFR 1910.146,(d)(3)(vi)
	
	
	
	

	15.  In the event that rescue and emergency services are needed do you know what equipment is to be used and how the operators are contacted?
29 CFR 1910.146,(f)(11)
	
	
	
	

	16.   Has the equipment been provided for testing, ventilation, communications, lighting, access/egress, personal protection, and emergency/rescue for the identified confined space(s)?

BN OI-0444.025, 3.1.1(7)
	
	
	
	

	17.  Has the Emergency Response Coordinator and S&HR evaluated the qualifications and training of OFFSITE emergency/rescue personnel?

BN OI-0444.025, 3.5.2(1)
	
	
	
	

	18.  Have any emergency drills involving permit required confined spaces been conducted?  Please provide documentation of that drill.
BN OI-0444.025, 3.5.2(2)
	
	
	
	

	19.  Please provide documentation of how BN complies with the following 29CFR1910.146 (g)(4) requirement…”The employer shall certify that the training required by paragraphs (g)(1) through (g)(3) of this section has been accomplished. The certification shall contain each employee's name, the signatures or initials of the trainers, and the dates of training. The certification shall be available for inspection by employees and their authorized representatives.”  Also, see… BN OI-0444.025, 3.6.4
	
	
	
	

	20.  Are you aware of how the employee is be consulted and allowed to participate in all phases of the development and implementation of the permit space program?
29 CFR 1910.146,(l)
	
	
	
	

	21.  BN CD-0444.064, Permit-Required Confined Space Entry does not define or address the requirements for enclosed space, are you aware of a company document that does?

29 CFR 1926.21.(b)(6)(i)
	
	
	
	

	22.  In BN CD-0444.064, Permit-Required Confined Space Entry, the definition for Non-Permit-Required Confined Space does not indicate they are an enclosed space, are you aware of a company document that does?

29 CFR 1926.21.(b)(6)(i)
	
	
	
	


