## 2016 GP EB Checklist
2016 Guiding Principles Checklist for Existing Buildings v2.1
Per Executive Order 13693, the 2016 Guiding Principles were issued on February 26, 2016 by the White House Council on Environmental Quality, Office of Sustainability, in two documents: “Determining Compliance with the Guiding Principles for Sustainable Federal Buildings” (GP Compliance Document), which outlines evaluation criteria on which the Guiding Principles will be scored, and the “Guiding Principles for Sustainable Federal Buildings and Associated Instructions,” which provides instructions, guidance and recommended practices. This Checklist was developed by the U.S. Department of Energy, Federal Energy Management Program, as a voluntary tool for evaluating and tracking a building’s progress towards meeting the evaluation criteria defined in the GP Compliance Document. Agencies are invited to use this Checklist as is, or to reformat it to suit agency needs. Some cells in this worksheet are protected. For the password, contact the FEMP sustainability program at the link below.
For more information about the Guiding Principles and FEMP support: http://energy.gov/eere/femp/guiding-principles-sustainable-federal-buildings
Agency: |  |  |  | Department/Region: |  |  |  | Federal Campus:
Building Name: |  |  |  | Address (street, city, state, zip): | [6 empty] | Checklist Manager:
Date: |  |  |  | Building meets ongoing operational requirements: Yes No |  |  |  | Federal Real Property ID:
Instructions: Achieve 12 of 18 metrics to comply with the Guiding Principles for Existing Buildings, eight of eight (8 of 8) metrics specified as "Required" and four of ten (4 of 10) metrics specified as "Additional." Only metrics marked as "Yes" count towards compliance. Responses of "N/A" for Required metrics should be minimized and should be justified and documented.
Checklist Notes:
|  |  |  | Total Achieved (meet 12 of 18) |  | 0 of 18 Metrics Achieved |  |  |  |  | Needed for Compliance or N/A Justification (only Required metrics need justification where N/A is used)
|  |  |  | Required Metrics (meet 8 of 8) |  | 0 | 0 | 0 | 8 | 0 | 8
|  |  |  | Additional Metrics (meet 4 of 10) |  | 0 | 0 | 0 | 10 | 0 | 4
Guiding Principle | Required or Additional | Metric |  | Suggested Evidence of Compliance (may need one or more) |  | Yes | In Process | No | Not Assessed | N/A | Notes/Comments | Which | RQD or ADD
I. Employ Integrated Assessment, Operation, and Management Principles
Integrated Assessment, Operation, and Management | RQD | 1. Through an integrated process and team, assess building and operating conditions and identify areas for improvement; establish operational goals for environmental performance; and incorporate goals into building management. |  |  | Team roster or equivalent
Baseline Guiding Principles assessment
Building assessment (condition assessment, EISA audit, etc.)
Site or agency-level policy for environmental performance
[5 empty] | Document incorporation of goals into building management | [6 empty] | 4 | 1
Environmental Management System (EMS)
Site sustainability plan
Other
Commissioning | RQD | 2. Commissioning reports for certification purposes must be completed within two years prior to certification date. Recommissioning should be completed at least every four years thereafter to optimize building performance. Use commissioning agents who are independent of the design and construction or operating team. Commissioning should be consistent with EISA section 432 and FEMP commissioning guidance. |  |  | Commissioning report
[5 empty] | Other | [6 empty] | 4 | 1
II. Optimize Energy Performance
Energy Efficiency | RQD | 3. A) Ensure:
|  |  | 1. The building has an ENERGY STAR rating of 75 or higher, OR |  | ENERGY STAR Portfolio Manager documentation
|  |  | 2. Energy use is 20% below the FY 2015 energy use baseline, OR |  | ENERGY STAR Portfolio Manager documentation
Document reduction calculation method and results
|  |  | 3. Energy use is 30% below the FY 2003 energy use baseline, OR |  | ENERGY STAR Portfolio Manager documentation | [6 empty] | 4 | 1
Document reduction calculation method and results
|  |  | 4. Energy efficiency is 30% better than the current ASHRAE 90.1 standard, AND |  | Results of design calculations/energy modeling
|  |  | B) Use energy efficient products, as required by statute |  | Agency or site purchasing policy
Purchasing contracts
Purchase orders
Affirmative procurement reports
Other
Renewable and Clean Energy | ADD | 4. Evaluate and implement, where appropriate, life cycle cost-effective renewable energy projects on-site; consider long-term offsite renewable sources and RECs; and utilize clean and alternative energy where possible. |  |  | Renewable energy contract
Utility records
[5 empty] | Photos of on-site renewable | [6 empty] | 4 | 2
Photos of alternative energy
Proof of purchase of RECs
Other
Metering | ADD | 5. Install building level meters for electricity, natural gas, and steam; install advanced or standard meters as appropriate. |  |  | Building-level utility bills | [6 empty] | 4 | 2
Hourly interval metered data
Photos of building-level meters
Other
Benchmarking | ADD | 6. Compare building performance with energy performance benchmarks at least annually, preferably using ENERGY STAR Portfolio Manager; regularly monitor building energy performance against historic performance data and peer buildings. |  |  | ENERGY STAR Portfolio Manager documentation
[5 empty] | Other | [6 empty] | 4 | 2
III. Protect and Conserve Water
Indoor Water Use | RQD | 7. A) Install building level water meters, reduce water use 20% below FY 2007 baseline, and use water efficient products, OR |  |  | Photos of building-level meters
Building-level utility bills
ENERGY STAR Portfolio Manager documentation
Document reduction calculation method and results
Agency or site purchasing policy
Document efficient products (photos, lists, product specs, etc.)
Other
|  |  | B) Install building level meters, conduct an analysis of water use, identify and repair leaks, eliminate single pass cooling, optimize cooling tower operations, and use water efficient products. |  | Photos building-level meters | [6 empty] | 4 | 1
Building-level utility bills
Water use/balance analyses (includes sources, uses, and actions taken)
Agency or site purchasing policy
Document efficient products (photos, lists, product specs, etc.)
Other
Outdoor Water Use | ADD | 8. A) Install water meters for irrigation systems serving more than 25,000 square feet of landscape, AND |  |  | Photos of irrigation meters
Building-level utility bills (showing metered use for irrigation)
Document when < 25,000 sf2 of landscape is irrigated
Document when no water is used to irrigate
[5 empty] | Other | [6 empty] | 4 | 2
B) Either:
|  |  | 1. Use water efficient landscaping, OR |  | Landscape drawing and/or narrative of landscape
Photos of efficient landscaping
Other
|  |  | 2. Limit potable water use for irrigation to 50% or more below conventional practices using methodologies from (but not the numeric requirements contained in) ASHRAE standard 189.1-2014 section 6.5.1, or current comparable standard, to calculate water use of conventional practices. |  | Document when no water is used to irrigate
Other
Alternative Water | ADD | 9. Consider alternative sources of water where cost-effective and permitted by local laws and regulations. |  |  | Document consideration of alternative sources
[5 empty] | ENERGY STAR Portfolio Manager documentation | [6 empty] | 4 | 2
Document use of alternative water (photos, narrative, etc.)
Other
Stormwater Management | ADD | 10. Employ strategies that reduce storm water runoff and discharges of polluted water offsite to protect the natural hydrology and watershed health. |  |  | Stormwater plan
Stormwater permit
[5 empty] | Document stormwater strategies (photos, narrative, etc.) | [6 empty] | 4 | 2
Other
IV. Enhance Indoor Environmental Quality
Ventilation and Thermal Comfort | RQD | 11. Meet the current ASHRAE 55 and either 62.1or 62.2 standards for ventilation and thermal comfort. |  |  | ENERGY STAR Certification
[5 empty] | Documentation from licensed architect, engineer or qualified building professional | [6 empty] | 4 | 1
Other
Daylighting and Lighting Controls | ADD | 12. Maximize opportunities for daylighting in regularly occupied space, automatic dimming controls or accessible manual controls, task lighting, and shade and glare control. |  |  | Schematic of floor layout
[5 empty] | Document (photos, list, narrative, etc.) | [6 empty] | 4 | 2
Other
Indoor Air Quality | ADD | 13. Develop and implement an indoor air quality policy that considers the following: moisture control, use of low emitting materials and products with low pollutant emissions, necessary protocols to protect indoor air quality during construction and in the finished building, prohibition of smoking in any form inside and within 25 feet of all building entrances, operable windows, and building ventilation intakes, and use of integrated pest management techniques. |  |  | Indoor air quality policy
[5 empty] | Compilation of individual policies | [6 empty] | 4 | 2
Other
Occupant Health and Wellness | ADD | 14. Where feasible, promote opportunities for voluntary increased physical movement of building occupants such as making stairwells an option for circulation, active workstations, fitness centers and bicycle commuter facilities; and support convenient access to healthy dining options, potable water, daylight, plants, and exterior views. |  |  | Building or site-wide health and fitness programs
Fitness centers
[5 empty] | Healthy dining options | [6 empty] | 4 | 2
Active/ergonomic work stations
Other
V. Reduce the Environmental Impact of Materials
Material Content and Performance | RQD | 15. Procure products that meet the following requirements where applicable:
|  |  | A. RCRA section 6002, AND |  | Agency or site purchasing policy
|  |  | B. FSRIA section 9002, AND |  | Other
|  |  | C. Federally Recommended Specifications, Standards and Ecolabels or are on the Federal Green Procurement Compilation for other green products, as appropriate, AND | [8 empty] | 4 | 1
|  |  | D. Avoid ozone depleting compounds and high GWP chemicals. |  | Document no ODC and GWP chemicals
Plan to avoid ODC and GWP chemicals
Other
Waste Diversion | RQD | 16. Where markets exist, provide reuse and recycling services for building occupants and divert at least 50% of non-hazardous non-construction related materials from landfills. |  |  | Recycling contract
Waste stream report/s
[5 empty] | Other | [6 empty] | 4 | 1
Materials Management | ADD | 17. Where markets exist, divert at least 50% of construction and demolition materials from landfills. |  |  | Construction and Demolition (C&D) contract
[5 empty] | Construction and demolition policy | [6 empty] | 4 | 2
Other
VI. Assess and Consider Climate Change Risks
Climate Resilience and Adaptation | RQD | 18. A) Determine long-term mission criticality of the physical asset and operations to be housed in the facility, AND |  |  | Climate resilience plan | [6 empty] | 4 | 1
|  |  | B) Evaluate climate change impacts, including wildfire, based on mission criticality and cost, AND |  | Other
C) Implement no and low cost actions to increase climate resilience.
Version 2.1, 14 November 2016
Group Box 816
Group Box 817
Group Box 834
Group Box 840
Group Box 846
Group Box 852
Group Box 858
Group Box 864
Group Box 871
Group Box 877
Group Box 884
Group Box 890
Group Box 897
Group Box 903
Group Box 909
Group Box 922

## Revision History
U.S. Department of Energy Federal Energy Management Program: Revision History for Guiding Principles Checklist for Existing Buildings
Version | Release Date | Notes
1 | 2016-06-10 | Updates the 2008 Guiding Principles Checklist for Existing Buildings.
2 | 2016-10-18 | Updates the introduction, instructions, building information fields, and summary display of points and adds checkbox to track adherance to ongoing operational requirements.
2.1 | 2016-11-14 | Updates the instructions with minor edits and clarifies in the instructions and in cell Q9 that justification for using N/A is only necessary for Required metrics.