## Instructions
Project Upload Template Instructions
• First Sheet - Instructions
• Second Sheet - Project Upload Template
○ Populate this sheet with data to be imported into CTS
○ Data uploaded for projects which exist in CTS will update the data in CTS
○ "Sub-Agency Acronym" and "Agency Designated Covered Facility ID" MUST correspond to the existing acronym and IDs used in CTS
○ All columns with red header names are required and must be filled out
○ DO NOT EDIT any information above the third row
○ DO NOT ADD ADDITIONAL COLUMNS to the sheet
○ Click on a column header to be taken to the data dictionary for more information
• Fourth Sheet - Data Dictionary
○ This sheet contains information relevant to the Project Module data fields
○ In here you will find terms and definitions to help explain columns in the upload template
○ If you still have any questions after reviewing the Data Dictionary please send an e-mail to:
eere_cts@ee.doe.gov

## Project Upload Template
Sub-agency Acronym | Agency Designated Covered Facility ID | Facility Name (reference only) | Project Name | Agency Designated Project ID | Project Initiation Date | Project Implementation Date | Project Acceptance Date | Direct Centralized Capital Funding | Direct ARRA | Decentralized Operating Budgets | Utility Energy Service Contract (UESC) | Energy Savings Performance Contract (ESPC) | Power Purchase Agreement (PPA) | Enhanced Use Lease (EUL) | Incentive Program | Other Funding Source | Total Project Implementation Cost | Other Costs (O&M, M&V costs, etc, if applicable) | Total Financing Cost (if applicable for ESPC or UESC) | Estimated LCC Net Savings | Life Of Project | Electricity Savings | Natural Gas Savings | Coal - Anthracite | Coal - Bituminous | Coal - Coke | Distillate Fuel Oil 1 | Distillate Fuel Oil 2 | Distillate Fuel Oil 4 | Distillate Fuel Oil 5 | Distillate Fuel Oil 6 | Propane | Liquid Propane | District Steam | Chilled Water Absorption | Chilled Water Electric Driven | Chilled Water Engine Driven | Kerosene | Diesel | Other Fuel Type | Combined Estimated Annual Energy Savings | Estimated Annual Water Saving | Estimated Annual Renewable Electricity Output | Estimated Annual Renewable Thermal Output | A_Uncategorized | B_Uncategorized | C_Uncategorized | D_Uncategorized | E_Uncategorized | F_Uncategorized | G_Uncategorized | H_Uncategorized | I_Uncategorized | J_Uncategorized | K_Uncategorized | L_Uncategorized | M_Uncategorized | N_Uncategorized | O_Uncategorized | P_Uncategorized | Q_Uncategorized | R_Uncategorized | S_Uncategorized | T_Uncategorized | Project Comments | A_Add energy recovery | A_Decentralize boiler | A_Insulate boiler room | A_Convert gas-fired unit to boiler loop | A_Clean and/or repair | A_Upgrade operating protocols, calibration, and/or sequencing | A_Replace Boiler | A_Replace Burner | A_Convert system from steam to hot water | A_Implement training and/or documentation | B_Add energy recovery | B_Install VSD on Electric Centrifugal Chillers | B_Replace Chiller | B_Install gas cooling | B_Add or repair economizer cycle | B_Add or replace cooling tower | B_Clean and/or repair | B_Implement training and/or documentation | B_Upgrade operating protocols, calibration, and/or sequencing | C_Add or Upgrade BAS/EMS/EMCS | C_Add or Upgrade Controls | C_Upgrade operating protocols, calibration, and/or sequencing | C_Convert pneumatic controls to DDC | D_Add Duct Insulation | D_Add or replace Cooling Tower | D_Convert CV System to VAV System | D_Add energy recovery | D_Other cooling | D_Balance ventilation/distribution system | D_Improve distribution fans | D_Add or repair economizer | D_Other distribution | D_Clean and/or repair | D_Implement training and/or documentation | D_Repair or replace HVAC damper and controller | D_Repair Leaks / Seal Ducts | D_Replace Package Units | D_Replace Packaged Terminal Units | D_Replace/Modify AHU | D_Other ventilation | D_Improve ventilation fans | D_Upgrade operating protocols, calibration, and/or sequencing | D_Replace burner | D_Install passive solar heating | D_Replace AC and heating units with ground coupled heat pump systems | D_Install gas cooling | D_Add enhanced dehumidification | D_Install solar ventilation preheating system | D_Other heating | E_Add daylight controls | E_Add occupancy sensors | E_Retrofit with fiber optic lighting technologies | E_Retrofit with light emitting diode technologies | E_Clean and/or repair | E_Upgrade operating protocols, calibration, and/or sequencing | E_Retrofit with CFLs | E_Retrofit with T-5 | E_Retrofit with T-8 | E_Install spectrally enhanced lighting | E_Implement training and/or documentation | F_Add attic/knee wall insulation | F_Add shading devices | F_Add window films | F_Air seal envelope | F_Install cool/green roof | F_Clean and/or repair | F_Increase ceiling insulation | F_Increase floor insulation | F_Increase roof insulation | F_Increase wall insulation | F_Insulate attic hatch / stair box | F_Insulate foundation | F_Insulate thermal bypasses | F_Install or replace solar screens | F_Replace glazing | F_Replace windows | G_Add recirculating pumps | G_Add pipe insulation | G_Add energy recovery | G_Replace or upgrade water heater | G_Repair or replace existing condensate return systems or install new condensate return systems | G_Separate DHW from heating | G_Install solar hot water system | G_Repair and/or replace steam traps | G_Retrofit and replace chiller plant pumping, piping, and controls | G_Replace with higher efficiency pump | G_Replace with variable speed pump | G_Clean and/or repair | G_Implement training and/or documentation | G_Upgrade operating protocols, calibration, and/or sequencing | H_Replace with higher efficiency | H_Add VSD motor controller | H_Add drive controls | H_Clean and/or repair | H_Implement training and/or documentation | H_Upgrade operating protocols, calibration, and/or sequencing | I_Replace ice/refrigeration equipment with high efficiency units | I_Replace air-cooled ice/refrigeration equipment | I_Replace refrigerators | I_Clean and/or repair | I_Implement training and/or documentation | I_Upgrade operating protocols, calibration, and/or sequencing | J_Install CHP/cogeneration systems | J_Install fuel cells | J_Install microturbines | J_Convert fuels | J_Clean and/or repair | J_Implement training and/or documentation | J_Upgrade operating protocols, calibration, and/or sequencing | K_Install landfill gas, wastewater treatment plant digester gas, or coal bed methane power plant | K_Install photovoltaic system | K_Install wind energy system | K_Install wood waste or other organic waste stream heating or power plant | K_Clean and/or repair | K_Implement training and/or documentation | K_Upgrade operating protocols, calibration, and/or sequencing | L_Install gas distribution systems | L_Implement power factor corrections | L_Implement power quality upgrades | L_Upgrade transformers | L_Clean and/or repair | L_Implement training and/or documentation | L_Upgrade operating protocols, calibration, and/or sequencing | M_Install low-flow faucets and showerheads | M_Install low-flow plumbing equipment | M_Install on-site sewer treatment systems | M_Implement water efficient irrigation | M_Clean and/or repair | M_Implement training and/or documentation | M_Upgrade operating protocols, calibration, and/or sequencing | N_Install thermal energy storage | N_Implement training and/or documentation | N_Upgrade operating protocols, calibration, and/or sequencing | O_Change to more favorable rate schedule | O_Energy service billing and meter auditing recommendations | O_Change to lower energy cost supplier(s) | P_Implement industrial process improvements | P_Implement production and/or manufacturing improvements | P_Clean and/or repair | P_Implement training and/or documentation | P_Upgrade operating protocols, calibration, and/or sequencing | Q_Install advanced metering systems | Q_Clean and/or repair | Q_Implement training and/or documentation | Q_Upgrade operating protocols, calibration, and/or sequencing | R_De-lamp vending machines | R_Install plug load controls | R_Clean and/or repair | R_Replace with ENERGY STAR rated | R_Improve data center efficiency | R_Implement training and/or documentation | R_Upgrade operating protocols, calibration, and/or sequencing
Covered Facility Identification (Required fields indicated with Red) |  |  | Project Identification (Required fields indicated with Red) |  | Project Status |  |  | Project Implementation Cost by Funding Source Enter the Implementation Cost by Individual Funding Source if available, OR enter the Total Project Implementation Cost (column R) (* At least one Funding Source/type OR the Total Project Implementation Cost is required for the project record to be valid) | [8 empty] | Project Contract Costs |  |  | Project Cost Effectiveness |  | Estimated Annual Energy Savings Enter the Estimated Annual Energy Savings by Fuel Type if available, OR enter the Combined Estimated Annual Energy Savings (column AP) (* Savings by at least one Fuel Type, OR the Estimated Annual EnergyWater Savings is required for the project record to be valid) | [18 empty] | Estimated Energy/Water Savings Water/Renewable (* At least one savings type is required for project to be valid) |  |  |  | Potential Conservation Measures (per Technology Category) Add the number of ECMs below by category as "unspeciified" or break out into Detail Level ECMs in the columns to the right. * At least one ECM must be indicated if there are energy or water savings. | [20 empty] | Energy and Water Conservation Measures
Sub-agency Acronym | Agency Designated Covered Facility ID | Facility Name (reference only) | Project Name | Agency Designated Project ID | Project Initiation Date | Project Implementation Date | Project Acceptance Date | Direct Centralized Capital Funding | Direct ARRA | Decentralized Operating Budgets | Utility Energy Service Contract (UESC) | Energy Savings Performance Contract (ESPC) | Power Purchase Agreement (PPA) | Enhanced Use Lease (EUL) | Incentive Program | Other Funding Source | Total Project Implementation Cost | Other Costs (O&M, M&V costs, etc., if applicable) | Total Financing Cost (if applicable for ESPC or UESC) | Estimated LCC Net Savings | Life Of Project | Electricity Savings | Natural Gas Savings | Coal - Anthracite | Coal - Bituminous | Coal - Coke | Distillate Fuel Oil #1 | Distillate Fuel Oil #2 | Distillate Fuel Oil #4 | Distillate Fuel Oil #5 | Distillate Fuel Oil #6 | Propane | Liquid Propane | District Steam | Chilled Water Absorption | Chilled Water Electric Driven | Chilled Water Engine Driven | Kerosene | Diesel | Other Fuel Type | Combined Estimated Annual Energy Savings | Estimated Annual Water Saving | Estimated Annual Renewable Electricity Output | Estimated Annual Renewable Thermal Output | Boiler Plant Improvements | Chiller Plant Improvements | Building Automation Systems / EMCS | HVAC | Lighting Improvements | Building Envelope Modifications | CW / HW / Steam Distribution Systems | Electric Motors and Drives | Refrigeration | Distributed Generation | Renewable Energy Systems | Energy / Utility Distribution Systems | Water and Sewer Conservation Systems | Electrical Peak Shaving / Load Shifting | Rate Adjustments | Energy Related Process Improvements | Advanced Metering Systems | Appliance / Plug-load reductions | Commissioning Measures | Other | Project Comments | Add energy recovery | Decentralize boiler | Insulate boiler room | Convert gas-fired unit to boiler loop | Clean and/or repair | Upgrade operating protocols, calibration, and/or sequencing | Replace boiler | Replace burner | Convert system from steam to hot water | Implement training and/or documentation | Add energy recovery | Install VSD on electric centrifugal chillers | Replace chiller | Install gas cooling | Add or repair economizer cycle | Add or replace cooling tower | Clean and/or repair | Implement training and/or documentation | Upgrade operating protocols, calibration, and/or sequencing | Add or upgrade BAS/EMS/EMCS | Add or upgrade controls | Upgrade operating protocols, calibration, and/or sequencing | Convert pneumatic controls to DDC | Add duct insulation | Add or replace cooling tower | Convert CV system to VAV system | Add energy recovery | Other cooling | Balance ventilation/distribution system | Improve distribution fans | Add or repair economizer | Other distribution | Clean and/or repair | Implement training and/or documentation | Repair or replace HVAC damper and controller | Repair leaks/seal ducts | Replace package units | Replace packaged terminal units | Replace/modify AHU | Other ventilation | Improve ventilation fans | Upgrade operating protocols, calibration, and/or sequencing | Replace burner | Install passive solar heating | Replace AC and heating units with ground coupled heat pump systems | Install gas cooling | Add enhanced dehumidification | Install solar ventilation preheating system | Other heating | Add daylight controls | Add occupancy sensors | Retrofit with fiber optic lighting technologies | Retrofit with light emitting diode technologies | Clean and/or repair | Upgrade operating protocols, calibration, and/or sequencing | Retrofit with CFLs | Retrofit with T-5 | Retrofit with T-8 | Install spectrally enhanced lighting | Implement training and/or documentation | Add attic/knee wall Insulation | Add shading devices | Add window films | Air seal envelope | Install cool/green roof | Clean and/or repair | Increase ceiling insulation | Increase floor insulation | Increase roof insulation | Increase wall insulation | Insulate attic hatch/stair box | Insulate foundation | Insulate thermal bypasses | Install or replace solar screens | Replace glazing | Replace windows | Add recirculating pumps | Add pipe insulation | Add energy recovery | Replace or upgrade water heater | Repair or replace existing condensate return systems or install new condensate return systems | Separate DHW from heating | Install solar hot water system | Repair and/or replace steam traps | Retrofit and replace chiller plant pumping, piping, and controls | Replace with higher efficiency pump | Replace with variable speed pump | Clean and/or repair | Implement training and/or documentation | Upgrade operating protocols, calibration, and/or sequencing | Replace with higher efficiency | Add VSD motor controller | Add drive controls | Clean and/or repair | Implement training and/or documentation | Upgrade operating protocols, calibration, and/or sequencing | Replace ice/refrigeration equipment with high efficiency units | Replace air-cooled ice/refrigeration equipment | Replace refrigerators | Clean and/or repair | Implement training and/or documentation | Upgrade operating protocols, calibration, and/or sequencing | Install CHP/cogeneration systems | Install fuel cells | Install microturbines | Convert fuels | Clean and/or repair | Implement training and/or documentation | Upgrade operating protocols, calibration, and/or sequencing | Install landfill gas, wastewater treatment plant digester gas, or coal bed methane power plant | Install photovoltaic system | Install wind energy system | Install wood waste or other organic waste stream heating or power plant | Clean and/or repair | Implement training and/or documentation | Upgrade operating protocols, calibration, and/or sequencing | Install gas distribution systems | Implement power factor corrections | Implement power quality upgrades | Upgrade transformers | Clean and/or repair | Implement training and/or documentation | Upgrade operating protocols, calibration, and/or sequencing | Install low-flow faucets and showerheads | Install low-flow plumbing equipment | Install on-site sewer treatment systems | Implement water efficient irrigation | Clean and/or repair | Implement training and/or documentation | Upgrade operating protocols, calibration, and/or sequencing | Install thermal energy storage | Implement training and/or documentation | Upgrade operating protocols, calibration, and/or sequencing | Change to more favorable rate schedule | Energy service billing and meter auditing recommendations | Change to lower energy cost supplier(s) | Implement industrial process improvements | Implement production and/or manufacturing improvements | Clean and/or repair | Implement training and/or documentation | Upgrade operating protocols, calibration, and/or sequencing | Install advanced metering systems | Clean and/or repair | Implement training and/or documentation | Upgrade operating protocols, calibration, and/or sequencing | De-lamp vending machines | Install plug load controls | Clean and/or repair | Replace with ENERGY STAR rated | Improve data center efficiency | Implement training and/or documentation | Upgrade operating protocols, calibration, and/or sequencing
Caution: Do not add data to this row |  |  |  |  | (yyyy-mm-dd) | (yyyy-mm-dd) | (yyyy-mm-dd) | (Dollars) | (Dollars) | (Dollars) | (Dollars) | (Dollars) | (Dollars) | (Dollars) | (Dollars) | (Dollars) | (Dollars) | (Dollars) | (Dollars) | (Dollars) | (Years) | (Kwh) | (Thou. Cu Ft) | (Short Tons) | (Short Tons) | (Short Tons) | (Gallons) | (Gallons) | (Gallons) | (Gallons) | (Gallons) | (Gallons) | (Gallons) | (Thou. Lbs) | (Ton Hours) | (Ton Hours) | (Ton Hours) | (Gallons) | (Gallons) | (Million Btu) | (Million Btu) | (Thou. Gallons) | (Kwh) | (Million Btu) | [21 empty] | Boiler Plant Improvements | [9 empty] | Chiller Plant Improvements | [8 empty] | Building Automation Systems/EMCS |  |  |  | Heating, Ventilating, and Air Conditioning | [25 empty] | Lighting Improvements | [10 empty] | Building Envelope Modifications | [15 empty] | Chilled Water, Hot Water, and Steam Distribution Systems | [13 empty] | Electric Motors and Drives | [5 empty] | Refrigeration | [5 empty] | Distributed Generation | [6 empty] | Renewable Energy Systems | [6 empty] | Energy/Utility Distribution Systems | [6 empty] | Water and Sewer Conservation Systems | [6 empty] | Electrical Peak Shaving/Load Shifting |  |  | Rate Adjustments |  |  | Energy Related Process Improvements |  |  |  |  | Advanced Metering Systems |  |  |  | Appliance/Plug-load Reductions
Note on A3: Sub-agency designation. A top-agency acronym, e.g. "DOE", represents facilities that reside at the headquarters level of an agency, or any facility within an agency with no sub-agencies designated.
Note on B3: Agency designated covered facility identifier displayed for reference purposes. This ID is used to match the project to the appropriate covered facility. It will not be updated during upload.
Note on D3: Internal agency assigned project Name (100 char max)
Note on E3: Internal agency assigned project ID. ID must be unique within sub-agency. (50 char max)
Note on F3: Date of contract award
Note on G3: Date representing substantial completion of project
Note on H3: Date representing when equipment was commissioned/ O&M plan in place
Note on R3: Enter the Total Project Implementation Cost if the breakdown by Funding Source is not available.
Note on S3: Include O&M, M&V costs, etc., if applicable
Note on T3: Include the financing costs if applicable for ESPC or UESC
Note on AP3: Enter the Combined Estimated Annual Energy Savings if the breakdown by fuel type is not available.
Note on BN3: Use this comment field for evaluation comments that are to be made available to the public.

## Data Dictionary
Implemented Project - Data Fields
Project Identification
Project Name | The agency designated implemented project name. | Text: (100 char max) | Required | A project may consist of the implementation of one or multiple ECMs.
Agency Designated Project ID | Internal agency defined project identifier. It must be unique across the sub-agency. | Text: (50 char max) | Required | This identifier is used to link follow-up activity to existing projects in CTS during batch uploads.
Project Status
Project Initiation Date | Typically the date of contract award | Date (mm/dd/yyyy) | Require | If the project is performed in-house (no contract), enter the date equipment was purchased/installed.
Project Implementation Date | Date when majority of the project was completed and implemented. (substantial completion) | Date (mm/dd/yyyy) | Optional
Project Acceptance Date | Date of project completion and formal project acceptance. (equipment commissioned/O&M plan in place) | Date (mm/dd/yyyy) | Optional
Funding Source |  | Selection: (list) | Required (indicate the Funding Level for at least one Funding Source OR supply the Total Project Implementation Cost)
Funding Level | Dollar value associated with funding source | Numeric: (Dollars) | Required for each funding source type selected | Required: Indicate the Funding Level for at least one Funding Source OR supply the Total Project Implementation Cost (in Dollars)
Direct Centralized Capital Funding) |  | Integer (Dollars) | Required if applicable | In general, direct funding includes appropriations or other funding from centralized agency funding accounts for larger capital-intensive projects. Examples of centralized agency funding include agency infrastructure improvement funds under the American Recovery and Reinvestment Act, the Department of Defense’s Energy Conservation Investment Program (ECIP), and the General Services Administration’s Federal Buildings Fund.
Agency sites should apply for centralized capital improvement funding for those projects which most closely match the selection criteria for that funding. Also, agencies should explore revolving fund arrangements supported by project savings funding streams.
Direct (ARRA) | American Recovery and Reinvestment Act funding | Integer (Dollars) | Required if applicable | Funding from centralized agency funding accounts for larger capital-intensive projects.
Decentralized Operating Budgets | Funding for smaller projects from decentralized operating budgets. | Integer (Dollars) | Required if applicable | Decentralized operation and maintenance budgets administered by agency regions and sites are also important source of efficiency investment.
Utility Energy Service Contract (UESC) |  | Integer (Dollars) | Required if applicable | A UESC is a contract between a Federal agency and a local utility providing energy, water, or sewage services, as well as provision of technical services and/or upfront project financing for energy efficiency, water conservation, and renewable energy investments, allowing Federal agencies to pay for the services from the savings generated from improvement projects over time, either on their utility bill, or through a separate agreement. Agency sites should leverage existing relationships with servicing utility to request proposals for those projects that reduce demand of the commodity it provides, especially if demand side incentives are available from the utility. Agencies can also use a GSA Utility Area wide master contract to procure utility services and to finance energy efficiency projects with generated savings.
Energy Savings Performance Contract (ESPC) | Enter the project implement costs for the project. Do not include financing costs associated with the ESPC. | Integer (Dollars) | Required if applicable | An ESPC is a contract (such as a task order under DOE’s multiple award, indefinite-delivery, indefinite-quantity (IDIQ) umbrella contract and awarded to an energy service company) that provides for the performance of services for the design, acquisition, financing, installation, testing, operation, and maintenance and repair, of an identified energy, water conservation, or renewable energy measure or series of measures, at one or more locations. Such contracts shall provide that the contractor must incur costs of implementing energy savings measures, including at least the cost (if any) incurred in making energy audits, acquiring and installing equipment, and training personnel in exchange for a predetermined share of the value of the energy savings directly resulting from implementation of such measures during the term of the contract. Payment to the contractor is contingent upon realizing a guaranteed stream of future energy and cost savings, with any savings in excess of that guaranteed by the contractor accruing to the Federal Government. Agency sites should work with project facilitators and financing experts at DOE FEMP and other agencies to package potential ECMs together to make the effort attractive to energy service companies and private sector investment.
Power Purchase Agreement (PPA) | Enter the project implementation costs associated with the PPA (equivalent to the value of installed equipment plus the labor to install). | Integer (Dollars) | Required if applicable | Agencies should strongly consider the use of Power Purchase Agreements, where permitted, to finance the development of renewable (or other) energy projects at their facilities. As defined by FEMP, under a PPA, a developer installs a renewable or other energy system on agency property, pursuant to a contract that the agency will purchase the power generated by the system. The agency pays for the system through these power payments over the life of the contract. After installation, the developer owns, operates, and maintains the system for the life of the contract. By purchasing renewable power, the facility can obtain a percentage of its energy from renewable sources and meet the Federal renewable energy goal.
Enhanced Use Lease (EUL) | Enter the implementation cost for the project (equivalent to the value of the installed equipment and labor costs to install). | Integer (Dollars) | Required if applicable | An Enhanced Use Lease is an authority by which some Federal agencies can lease underutilized real property to the public or private sector as a means of obtaining services, facilities, revenue, space, etc., that enhance their mission. Under a EUL agreement, underutilized agency land or facilities can be leased to a developer, or energy service company in exchange for a wide variety of energy improvements, including large or long-term renewable energy and cogeneration projects.
Incentive Program |  | Integer (Dollars) | Required if applicable | Most states and utilities have energy incentive programs that help offset energy costs while promoting energy efficiency and renewable energy technologies. Examples of these programs include:
Energy Efficiency and Renewable Energy Programs:
Public purpose programs administered by utilities, state agencies, or other third parties and paid for by utility ratepayers, typically through a non-by-passable system benefits charge instituted as part of restructuring legislation or rules
Utility programs administered by the local utility and paid for by utility ratepayers through their bundled rates
Programs sponsored by state agencies that are designed to promote energy efficiency and renewable energy and which are usually funded out of general tax revenues.
Demand Response/Load Management Programs:
These are programs that provide incentives to curtail demand during peak energy usage periods in response to system reliability or market conditions. Agencies can participate in state and utility incentive programs in order to reduce their energy usage and control their energy costs.
Other | Funding from sources not listed above. | Integer (Dollars) | Required if applicable
Total Project Implementation Cost | Total Project Implementation Cost may be entered by Funding Source or directly as a total. Does not include financing and interest payments | Integer: (Dollars) | Required | Option: If entered by Funding Source, the system calculates the total of Funding Levels above.
Financing Costs | The cost of financing for projects that are funded over time through performance-based contracts. | Integer: (Dollars) | Required (if applicable) | Typically the total awarded contract value of a performance contract less the project implementation cost.
Total Awarded Contract Value | Calculated field: Total Project Implementation Costs + Total Financing Costs for all sources | Numeric: (Dollars) system calculated total | Required
Estimated LCC Net Savings | Measure of cost effectiveness used to validate this project. Value in $ entered directly. | Integer: (Dollars) | Optional
Life of Project | The estimated life of project in years. | Integer: (Years) | Optional
Estimated Energy/Water Savings
Total Estimated Annual Energy Savings | Combined Estimated Annual Energy Savings entered by Fuel Type or entered directly as Million Btu | Numeric: (Million Btu) Note: Either calculated from native fuel type or entered as a total in Million Btu. | Required (if applicable) At least one: Energy or Water or Renewable Savings, is required.
Estimated Annual Energy Savings by Fuel Type | Estimated annual energy savings entered in the native units shown below. | Numeric: (Saved in native units by fuel type as indicated) | Required (if applicable)
Electricity Savings | Electricity Savings (kwh) [0.0034123 MBtu/kwh] | Numeric (kwh) | Required (if applicable)
Natural Gas Savings | Natural Gas Savings (thou cu ft) [1.028 MBtu/kscf] | Numeric (thou cu ft) | Required (if applicable)
Coal - Anthracite | Coal - Anthracite (short tons) [25.09 MBtu/short ton] | Numeric (short tons) | Required (if applicable)
Coal - Bituminous | Coal - Bituminous (short tons) [24.93 MBtu/short ton] | Numeric (short tons) | Required (if applicable)
Coal - Coke | Coal - Coke (short tons) [24.80 MBtu/short ton] | Numeric (short tons) | Required (if applicable)
Distillate Fuel Oil #1 | Distillate Fuel Oil #1 (gallons) [0.139 MBtu/gallon] | Numeric (gallons) | Required (if applicable)
Distillate Fuel Oil #2 | Distillate Fuel Oil #2 (gallons) [0.138 MBtu/gallon] | Numeric (gallons) | Required (if applicable)
Distillate Fuel Oil #4 | Distillate Fuel Oil #4 (gallons) [0.146 MBtu/gallon] | Numeric (gallons) | Required (if applicable)
Distillate Fuel Oil #5 | Residual Fuel Oil #5 (gallons) [0.14 MBtu/gallon] | Numeric (gallons) | Required (if applicable)
Distillate Fuel Oil #6 | Residual Fuel Oil #6 (gallons) [0.15 MBtu/gallon] | Numeric (gallons) | Required (if applicable)
Propane | Propane (gallons) [0.091 MBtu/gallon] | Numeric (gallons) | Required (if applicable)
Liquid Propane | Liquid Propane (gallons) [0.092 MBtu/gallon] | Numeric (gallons) | Required (if applicable)
District Steam | District Steam [1.194 MBtu/Thou. Lbs] | Numeric (Thou. Lbs.) | Required (if applicable)
Chilled Water - Electric Driven | Chilled Water - Electric Driven [0.012 MBtu/ton hours | Numeric (ton hours) | Required (if applicable)
Chilled Water - Absorption | Chilled Water – Absorption [0.012 MBtu/ton hours] | Numeric (ton hours) | Required (if applicable)
Chilled Water - Engine Driven | Chilled Water - Engine Driven [0.012 MBtu/ton hours] | Numeric (ton hours) | Required (if applicable)
Kerosene | Kerosene (gallons) [0.135 MBtu/gallon] | Numeric (gallons) | Required (if applicable)
Diesel | Diesel (gallons) [0.138 MBtu/gallon] | Numeric (gallons) | Required (if applicable)
Other | Savings by fuel type(s) other than those listed above entered in Million Btu. | Numeric (Million Btu) | Required (if applicable)
Estimated Annual Water Saving | Estimated Annual Water Savings | Numeric: (Thou. Gallons) | Required (if applicable) At least one: Energy or Water or Renewable Savings, is required.
Estimated Annual Renewable Electricity Output | Estimated Annual Renewable Electricity Output Savings | Numeric: (Kwh) | Required (if applicable; see note for Total Estimated Energy Savings)
Estimated Annual Renewable Thermal Output | Estimated Annual Renewable Thermal Output Savings | Numeric: (Million Btu) | Required (if applicable; see note for Total Estimated Energy Savings)
Comments | Text field for capturing any notes related to this implemented project | Text (2000 char max) | Optional
Energy Conservation Measures Implemented | List of energy and water Efficiency and Conservation Measures (ECMs) implemented within this project. | Selection: (list) Allow selection of multiple Technology Categories and ECMs. | Required (at least 1 ECM from any Technology Category) | Identify one or more ECM(s) from any of the 20 Technology Categories.
ECM Count per Technology Category
Boiler Plant Improvements |  | Integer | At least 1 ECM from any category is required for the project to be valid. | Add Energy Recovery
Decentralize Boiler
Insulate Boiler Room
Convert Gas-Fired Unit to Boiler Loop
Clean and/or Repair
Upgrade Operating Protocols, Calibration, and/or Sequencing
Replace Boiler
Replace Burner
Convert System from Steam to Hot Water
Implement Training and/or Documentation
Chiller Plant Improvements |  | Integer | At least 1 ECM from any category is required for the project to be valid. | Add Energy Recovery
Install VSD on Electric Centrifugal Chillers
Replace Chiller
Install Gas Cooling
Add or Repair Economizer Cycle
Add or Replace Cooling Tower
Clean and/or Repair
Implement Training and/or Documentation
Upgrade Operating Protocols, Calibration, and/or Sequencing
Building Automation Systems/Energy Management Control Systems (EMCS) |  | Integer | At least 1 ECM from any category is required for the project to be valid. | Add or Upgrade BAS/EMS/EMCS
Add or Upgrade Controls
Upgrade Operating Protocols, Calibration, and/or Sequencing
Convert Pneumatic Controls to DDC
Heating, Ventilating, and Air Conditioning |  | Integer | At least 1 ECM from any category is required for the project to be valid. | Add Duct Insulation
Add or replace cooling tower
Convert CV System to VAV System
Add Energy Recovery
Other Cooling
Balance Ventiation/Distribution System
Improve Distribution Fans
Add or Repair Economizer
Other Distribution
Clean and/or Repair
Implement Training and/or Documentation
Repair or Replace HVAC Damper and Controller
Repair Leaks/Seal Ducts
Replace Package units
Replace Packaged Terminal Units
Replace/ Modify AHU
Other Ventilation
Improve Ventilation
Improve Ventilation Fans
Upgrade Operating Protocols, Calibration, and/or Sequencing
Replace Burner
Install Passive Solar Heating
Replace AC and Heating Units with Ground Coupled Heat Pump Systems
Install Gas Cooling
Add Enhanced Dehumidification
Install Solar Ventilation Preheating System
Other Heating
Lighting Improvements |  | Integer | At least 1 ECM from any category is required for the project to be valid. | Add Daylight Controls
Add Occupancy Sensors
Retrofit with Fiber Optic Lighting Technologies
Retrofit with Light Emitting Diode Technologies
Clean and/or Repair
Upgrade Operating Protocols, Calibration, and/or Sequencing
Retrofit with CFLs
Retrofit with T-5
Retrofit with T-8
Install Spectrally Enhanced Lighting
Implement Training and/or Documentation
Building Envelope Modifications |  | Integer | At least 1 ECM from any category is required for the project to be valid. | Add Attic/Knee Wall Insulation
Add Shading Devices
Add Window Films
Air Seal Envelope
Install Cool/Green Roof
Clean and/or Repair
Increase Ceiling Insulation
Increase Floor Insulation
Increase Roof Insulation
Increase Wall Insulation
Insulate Attic Hatch / Stair Box
Insulate Foundation
Insulate Thermal Bypasses
Install or Replace Solar Screens
Replace Glazing
Replace Windows
Chilled Water, Hot Water, and Steam Distribution Systems |  | Integer | At least 1 ECM from any category is required for the project to be valid. | Add Recirculating Pumps
Add Pipe Insulation
Add Energy Recovery
Replace or Upgrade Water Heater
Repair or Replace Existing Condensate Return System or Install New Condenstate Return Systems
Separate DHW from Heating
Install Solar Hot Water System
Repair and/or Replace Steam Traps
Retrofit and Replace Chiller Plant Pumping, Piping , and Controls
Replace with Higher Efficiency Pump
Replace with Variable Speed Pump
Clean and/or Repair
Implement Training and/or Documentation
Upgrade Operating Protocols, Calibration, and/or Sequencing
Electric Motors and Drives |  | Integer | At least 1 ECM from any category is required for the project to be valid. | Replace with Higher Efficiency
Add VSD Motor Controller
Add Drive Controls
Clean and/or Repair
Implement Training and/or Documentation
Upgrade Operating Protocols, Calibration, and/or Sequencing
Refrigeration |  | Integer | At least 1 ECM from any category is required for the project to be valid. | Replace of ice/refrigeration equipment with high efficiency units
Replace air-cooled ice/refrigeration equipment
Replace refrigerators
Clean and/or Repair
Implement Training and/or Documentation
Upgrade Operating Protocols, Calibration, and/or Sequencing
Distributed Generation |  | Integer | At least 1 ECM from any category is required for the project to be valid. | Install CHP/Cogeneration Systems
Install Fuel Cells
Instal Mircoturbines
Convert Fuels
Clean and/or Repair
Implement Training and/or Documentation
Upgrade Operating Protocols, Calibration, and/or Sequencing
Renewable Energy Systems |  | Integer | At least 1 ECM from any category is required for the project to be valid. | Install Landfill Gas, Wastewater Treatment Plant Digester Gas, and Coalbed Methane Power Plant
Install Photovoltaic System
Install Wind Energy System
Install Wood Waste or Other Organic Waste Stream Heating or Power Plant
Clean and/or Repair
Implement Training and/or Documentation
Upgrade Operating Protocols, Calibration, and/or Sequencing
Energy/Utility Distribution Systems |  | Integer | At least 1 ECM from any category is required for the project to be valid. | Install Gas Distribution Systems
Implement Power Factor Corrections
Implement Power Quality Upgrades
Upgrade Transformers
Clean and/or Repair
Implemenet Training and/or documentation
Upgrade Operating Protocols, Calibration, and/or Sequencing
Water and Sewer Conservation Systems |  | Integer | At least 1 ECM from any category is required for the project to be valid. | Install Low-Flow Faucets and Showerheads
Install Low-Flow Plumbing Equipment
Install On-Site Sewer Treatment Systems
Implement Water Efficient Irrigation
Clean and/or Repair
Implement Training and/or Documentation
Upgrade Operating Protocols, Calibration, and/or Sequencing
Electrical Peak Shaving/Load Shifting |  | Integer | At least one ECM from the listed categories is required. | Install Thermal Energy Storage
Implement Training and/or Documentation
Upgrade Operating Protocols, Calibration, and/or Sequencing
Energy Cost Reduction Through Rate Adjustments |  | Integer | At least 1 ECM from any category is required for the project to be valid. | Change to More Favorable Rate Schedule
Energy Service Billing and Meter Auditing Recommendations
Change to Lower Energy Cost Supplier(s)
Energy Related Process Improvements |  | Integer | At least 1 ECM from any category is required for the project to be valid. | Implement Industrial Process Improvements
Implement Production and/or Manufacturing Improvements
Clean and/or Repair
Implement Training and/or Documentation
Upgrade Operating Protocols, Calibration, and/or Sequencing
Advanced Metering Systems |  | Integer | At least 1 ECM from any category is required for the project to be valid. | Install Advanced Metering Systems
Clean and/or Repair
Implement Training and/or Documentation
Upgrade Operating Protocols, Calibration, and/or Sequencing
Appliance/Plug-load reductions |  | Integer | At least 1 ECM from any category is required for the project to be valid. | De-lamp vending machines
Install Plug Load Controls
Clean and/or Repair
Replace with ENERGY STAR Rated
Improve Data Center Efficiency
Implement Training and/or Documentation
Upgrade Operating Protocols, Calibration, and/or Sequencing
Commissioning Measures |  | Integer | At least 1 ECM from any category is required for the project to be valid. | Commissioning or re-commissioning
Other |  | Integer | At least 1 ECM from any category is required for the project to be valid. | Add the number of ECMs below by category as "unspecified" or break out into Detail Level ECMs in the columns to the right.
Covered Facility Characteristics - Data Fields
Facility Characteristics
Sub-Agency Acronym | The Department/agency or sub-agency/bureau to which the covered facility is associated. | Selection (list) in CTS | Required | Sub-agencies designated by the same acronym as the top-tier agency (e.g. DOE/DOE) may be used to represent facilities that reside at the headquarters level of an agency or for facilities in agencies that are not broken down by sub-agency..
Facility Name | The name of the Covered Facility | Text: (75 char max) | Required | The Covered Facility may be any building, installation, structure, or other property (including any applicable fixtures) owned or operated by, or constructed or manufactured and leased to, the Federal Government. The Covered Facility may consist of a group of facilities at a single location or multiple locations managed as an integrated operation; or contractor-operated facilities owned by the Federal Government.
Agency Designated Covered Facility ID | Agency assigned internal covered facility identifier. This identifier must be unique across the top-tier agency. | Text: (25 char max) | Required | Choose an identifier that is meaningful to your agency. The identifier may contain numbers, letters and special characters. This identifier provides the link between CTS and buildings entered into Portfolio Manager. There may be multiple buildings associated with one CTS Covered Facility.