## NC+M (2)
2016 Guiding Principles for New Construction or Modernization
Frequently Asked Questions (FAQs)
U.S. Department of Energy, Federal Energy Management Program
Version 1 released 15 August 2017
FAQs for the Guiding Principles for New Construction and Modernization and for the Guiding Principles for Existing Buildings are found on separate tabs. Each tab includes a section for general topic areas and a section broken out by Guiding Principle. To provide feedback on these questions or to ask a new question, contact Nic Baker, nicolas.baker@ee.doe.gov. These FAQs will be updated quarterly.
|  | # | Question | Answer
General Topic Areas
Compliance |  | 1 | Is LEED, Green Globes or other third-party certification required? | No, unless the building is subject to an agency-specific requirement for third-party certification.
Compliance |  | 2 | Is verification by a third-party required to meet the Guiding Principles? | No. Each agency is responsible for evaluating its buildings and ensuring that sufficient evidence and documentation is readily available to demonstrate compliance with the Guiding Principles. This could be done internally or through a third-party. Determinations of compliance should be made on a building-by-building basis.
Compliance |  | 3 | Can LEED, Green Globes or other third-party certifications be used as an alternative means to meet the Guiding Principles? | Yes, as long as each required Guiding Principle is met. The Guiding Principles and other green building rating systems have similar credits and requirements, and in some cases, achieving a third-party credit is equivalent to meeting a Guiding Principle requirement. In these cases, documentation developed to meet the requirements of third-party green building rating systems can be used to document compliance with the Guiding Principles. In other cases, third party systems don't address all of the Guiding Principles' elements and sub-elements. Therefore, it is necessary to verify that all Guiding Principles are met when using a third-party certification system.
Compliance |  | 4 | Can ASHRAE Standard 189.1 Standard for the Design of High-Performance Green Buildings - Except Low Rise Residential Buildings be used to meet the Guiding Principles? | Yes, however, ASHRAE Standard 189.1 Standard for the Design of High-Performance Green Buildings - Except Low Rise Residential Buildings may meet many, but not all Guiding Principles. Therefore, make sure that all elements or sub-elements of the Guiding Principles are met.
Compliance |  | 5 | Which OMB document should be used to comply with the Guiding Principles, “Determining Compliance with the Guiding Principles for Sustainable Federal Buildings” or the “The Guiding Principles for Sustainable Federal Buildings and Associated Instructions”? | Measure the building against the metrics included in the document “Determining Compliance with the Guiding Principles for Sustainable Federal Buildings” released in February 2016. Use “The Guiding Principles for Sustainable Federal Buildings and Associated Instructions” to provide additional guidance on applicability and general provisions.
Applicability |  | 6 | The building will undergo the installation of new chillers, boilers, pumps and air handlers, at a significant capital cost. Does the building need to meet the Guiding Principles for New Construction and Modernization? | The project manager must determine if the retrofits will affect all major building systems. The new construction and modernization criteria should be applied for all new construction and when the project that an agency is undertaking in an existing building is essentially a comprehensive replacement or restoration of virtually all major systems, interior work (such as ceilings, partitions, doors, floor finishes, etc.), and building elements and features. If not, follow the Guiding Principles for Existing Buildings or the applicable codes for purchasing and installing specific building systems or equipment.
Applicability |  | 7 | For retrofits, restorations and replacements, when does a building need to meet the Guiding Principles for New Construction and Modernization instead of the Guiding Principles for Existing Buildings? | When evaluating compliance with the Guiding Principles, the new construction and modernization criteria should be applied for all new construction and when the project that an agency is undertaking in an existing building is essentially a comprehensive replacement or restoration of virtually all major systems, interior work (such as ceilings, partitions, doors, floor finishes, etc.), and building elements and features. If not, follow the Guiding Principles for Existing Buildings or the applicable codes for purchasing and installing specific building systems or equipment.
Applicability |  | 8 | What happens when a Guiding Principle is not applicable to a building? Can a determination of "not applicable" be applied to individual Guiding Principles? | For building evaluation purposes, “not applicable” may be used where the building’s inherent function, mission, safety, or designation prevents compliance with a specific Guiding Principle, element, or sub-element. For new construction and modernization, “not applicable” is equivalent to compliance with that Guiding Principle, element, or sub-element.
Applicability |  | 9 | Our project is a new electric substation with transformers and associated equipment that supports an existing building/s. Must the project meet the Guiding Principles? | No. If it is not a building, the Guiding Principles do not apply. The Guiding Principles for new construction and modernization apply to all new Federally owned buildings over 5,000 square feet.
Applicability |  | 10 | The Guiding Principles instruction document states that the 2016 Guiding Principles should be used to qualify "...all new construction and modernization where a project design has not been completed." One project is at 90% design and another project is at 30% design, using the 2008 Guiding Principles. Do these buildings have to be re-qualified using the 2016 version instead? | No. It would be unreasonable and costly to redesign the buildings. If a preliminary design, code of record, or approved cost baseline was established using the 2008 Guiding Principles, the buildings do not have to be reconsidered using the 2016 version. If a building's code of record or approved cost baseline changes after February 2016, the 2016 Guiding Principles shall apply. An agency may always choose to use the current version of the Guiding Principles.
Applicability |  | 11 | The document “Determining Compliance with the Guiding Principles for Sustainable Federal Buildings” released in February 2016 includes a table that provide a Yes/No response. However, the FEMP Guiding Principles Checklist also offers a response of "Not Applicable". Can "Not Applicable" be used in the FEMP Checklist for New Construction and Modernization? | Yes. Per the document "The Guiding Principles for Sustainable Federal Buildings and Associated Instructions” released in February 2016, “ For building evaluation purposes, “not applicable” may be used where the building’s inherent function, mission, safety, or designation prevents compliance with a specific guiding principle, element, or sub-element. The use of “not applicable” should be minimized. For new construction and modernization, “not applicable” is equivalent to compliance with that guiding principle, element, or sub-element.”
Guiding Principles |  | # | Question | Answer
I. Employ Integrated Design Principles
1. Integrated Design | Required | 12 | Will a Conceptual Design Report (CDR) and Integrated Project Team (IPT) meeting notes meet this requirement? | Yes, a CDR along with IPT meeting notes and related materials can be used to document adherence to this Guiding Principle, as long as each sub-element is addressed.
2. Commissioning | Required | 13 | When should a Commissioning Authority/Agent be brought into the project? | Assigning a Commissioning Authority/Agent to the IPT prior to CD-1 (early in the design process) helps ensure a smooth transition to startup, construction, post construction and operations.
|  | 14 | Must commissioning be performed by a third-party? | No, commissioning can be performed internally, however, commissioning agents must be independent of the building's design and construction or operating team. For example, personnel from a different site or program office may assist with commissioning and be considered independent of the team operating at the site to be commissioned.
|  | # | Question | Answer
II. Optimize Energy Performance
3. Energy Efficiency | Required | 15 | Which version ASHRAE 90.1 should we use? | Use the current version which is referenced in the Federal Code of Regulations, 10 CFR 433, Energy Efficiency Standards for the Design and Construction of New Federal Commercial and Multi-family High Rise Residential Buildings.
|  | 16 | The Code of Record was established using ASHRAE 90.1-2010. Do we need to change the Code of Record now that the current version is ASHRAE 90.1 - 2013? | Potentially, if design has not begun or if there are major design changes. If not, there is no need to change. If the building project is on schedule, document when the Code of Record was established.
4. Renewable Energy | Required | 17 | Can RECs be used to meet the renewable energy metric? | Yes, however, RECs are the least preferential option. Executive order 13693 established a hierarchy of renewable practices for federal agencies which are listed at this link: https://energy.gov/eere/femp/achieving-30-renewable-electricity-use-2025 according to EO13693.
|  | 18 | A building has onsite renewable energy but the associated RECs have been sold. Does this comply? | No. RECs should be retained.
|  | 19 | Renewable energy is purchased from a utility for the building. Does this comply? | Yes, explicit renewable energy purchases count when the RECs are also purchased and owned by the federal agency.
|  | 20 | There is a power purchase agreement to purchase renewable energy from a seller. Does this comply? | Yes, when the purchase of energy includes the installation of renewable energy on site at a federal facility or off site from a federal facility and the corresponding RECs have been retained or replacement RECs of equal value have been purchased.
|  | 21 | An onsite renewable energy system serves a campus of buildings, but does not supply any particular building. Does this comply? | Yes. Each building can be apportioned a percentage of the total demand from the system.
|  | 22 | In a campus setting, RECs are typically purchased for an entire campus, or sometimes at the agency-level. Does this comply? | Yes.
|  | 23 | Onsite renewable and alternative energy are found to be inappropriate or not life-cycle cost effective and offsite renewable energy and RECs have been considered but not purchased. Does this comply? | No. Renewable or clean energy must be produced on or offsite for the building's use and RECs must be purchased.
5. Metering | Required | 24 | Should an advanced meter be installed for new construction? | Yes.
6. Benchmarking | Required | 25 | Must a building that meets all other Guiding Principles for New Construction wait to count the building as compliant until one year of operating energy consumption is available, at which point the building can be benchmarked using Portfolio Manager? | No. A plan to allow for benchmarking is all that is needed. Ideally, a plan means establishing a building record in Portfolio Manager (enter basic building data) which can be further populated when consumption data is available post-occupancy, or using Portfolio Manager's "Design" tab to assess the anticipated, as-designed energy.
|  | # | Question | Answer
III. Protect and Conserve Water
7. Indoor Water | Required | 26 | What is a water efficient product? | A water efficient product is a WaterSense certified product, or a product with efficiency performance equivalent to WaterSense. These should be used to the maximum extent practicable.
8. Outdoor Water | Required
9. Alternative Water | Required | 27 | Does non-potable fresh water used for irrigation need to be metered? | Yes. Non-potable and potable water used for irrigation needs to be metered for irrigation systems serving more than 25,000 square feet of landscape.
|  | 28 | Do sources of water considered to be "alternative water" (e.g. rain water and condensate collection, etc.) need to be metered? | According to the “Implementing Instructions: Federal Agency Implementation of Water Efficiency and Management Provisions of EO 13514, “at a minimum, meters should be installed on all supply water sources including non-potable and alternative on-site water sources.” Alternative water used for irrigation only needs to be metered when the irrigation system serves more than 25,000 square feet of landscape.
|  | 29 | Alternative water was considered and found not to be cost effective and not implemented. Does this comply? | Yes. For new construction, "not applicable" is equivalent to meeting the metric. Document the findings.
|  | 30 | Alternative water was considered and found to be cost effective, but it is not implemented. Does this comply? | No. Alternative sources of water must be present if they are found to be cost effective.
10. Stormwater Management | Required
|  | # | Question | Answer
IV. Enhance Indoor Environmental Quality
11. Ventilation and Thermal Comfort | Required | 31 | The Code of Record was established using an earlier version of the ASHRAE Standards. Do we need to change the Code of Record now that the ASHRAE version has been updated? | Potentially, if design has not begun or if there are major design changes. If not, there is no need to change. If the building project is on schedule, document when the Code of Record was established.
12. Daylighting and Lighting Controls | Required | 32 | The building will not have dimming controls or manual lighting controls in some areas of the building due to safety requirements. Can this metric be met? | Yes. Document why automatic dimming controls and manual controls cannot be used, and the daylighting features and lighting controls that are applied.
13. Indoor Air Quality (2016) | Required | 33 | This Guiding Principle includes many sub-elements. Is it necessary to have one policy for all sub-elements? | No. Evidence of compliance could be one comprehensive policy that covers each sub-element, or a compilation of separate existing or new policies and/or documented procedures that cover each sub-element.
|  | 34 | What is evidence of compliance for "low emitting materials and products with low pollutant emissions…"? | Evidence of compliance is a purchasing policy to which the building is subject that specifies low emitting materials and building specifications or environmental product declarations or data sheets demonstrating low emitting products. Other evidence might include photos, receipts, and purchase orders along with specification sheets.
|  | 35 | Are no-smoking signs placed near entrances a requirement? | No. However, signs are ideal because they send a clear message to building occupants and visitors. They are also an effective way to demonstrate compliance. Evidence of compliance can also include a policy or documented statement that smoking is prohibited.
14. Occupant Health and Wellness (2016) | Required | 36 | Is a fitness center required? | No. The intent is to promote health and wellness, which can be achieved by various other means. It is up to the site to make an honest assessment of available opportunities during the design phase. Additional opportunities may be present when the building is operational, e.g. health and wellness programs.
|  | 37 | How many health and wellness opportunities are required? | The recommendation is to have at least two opportunities. It is up to the site to make an honest assessment of available opportunities. Generally there are many opportunities to promote occupant health and wellness.
|  | # | Question | Answer
V. Reduce Environmental Impact of Materials
15. Material Content and Performance | Required
16. Waste Diversion | Required | 38 | Our building is in a rural area and the design team is unfamiliar with recycling opportunities. How do we meet this requirement? | The building should have a dedicated area for the collection of waste and recycling. Research of local markets should be conducted with findings considered by the building design team.
17. Materials Management | Required
|  | # | Question | Answer
VI. Assess and Consider Climate Change Risks
18. Mission Criticality | Required
19. Floodplain Considerations | Required for NC; optional for modernization
20. Facility Design | Required for NC; optional for modernization
21. Facility Adaptation | Required for modernization

## EB (2)
2016 Guiding Principles for Existing Buildings
Frequently Asked Questions (FAQs)
U.S. Department of Energy, Federal Energy Management Program
Version 1 released 15 August 2017
FAQs for the Guiding Principles for New Construction and Modernization and for the Guiding Principles for Existing Buildings are found on separate tabs. Each tab includes a section for general topic areas and a section broken out by Guiding Principle. To provide feedback on these questions or to ask a new question, contact Nic Baker, nicolas.baker@ee.doe.gov. These FAQs will be updated quarterly.
|  | # | Question | Answer
General Topic Areas
Compliance |  | 1 | Do existing buildings that met the 2008 Guiding Principles need to be re-certified? | No. Buildings that were determined to have met the 2008 Guiding Principles are considered to meet the Guiding Principles through FY 2025 as long as they meet the 6th Guiding Principle introduced in the 2016 version, and continue to meet ongoing requirements. Ongoing requirements include Energy Independence and Security Act of 2007 (EISA) section 432 requirements for quadrennial evaluations, ongoing commissioning, benchmarking, and operating and maintenance (O&M) requirements. O&M requirements refers to statutory requirements for purchasing (ENERGY STAR, Biobased, low-emitting, etc.), waste diversion, indoor air quality, and climate resilience/adaptation.
Compliance |  | 2 | According to the guidance, buildings that met the 2008 Guiding Principles should continue to meet ongoing requirements such as EISA 432 requirements including quadrennial evaluations, ongoing commissioning, benchmarking, and operating and maintenance requirements. What, specifically, are these "operating and maintenance" requirements? | Ongoing requirements include Energy Independence and Security Act of 2007 (EISA) section 432 requirements for quadrennial evaluations, ongoing commissioning, benchmarking, and operating and maintenance (O&M) requirements. O&M requirements refers to statutory requirements for purchasing (ENERGY STAR, Biobased, low-emitting, etc.), waste diversion, indoor air quality, and climate resilience/adaption.
Compliance |  | 3 | Do existing buildings that meet the 2016 Guiding Principles need to meet the ongoing requirements? | Yes.
Compliance |  | 4 | Which OMB document should be used to comply with the Guiding Principles, “Determining Compliance with the Guiding Principles for Sustainable Federal Buildings” or the “The Guiding Principles for Sustainable Federal Buildings and Associated Instructions”? | For compliance, measure the building against the metrics included in the document “Determining Compliance with the Guiding Principles for Sustainable Federal Buildings” released in February 2016. Use “The Guiding Principles for Sustainable Federal Buildings and Associated Instructions” to provide additional guidance on applicability and general provisions.
Compliance |  | 5 | Is LEED, Green Globes or other third-party certification required? | No, unless the building is subject to an agency-specific requirement for third-party certification.
Compliance |  | 6 | Is verification by a third-party required to meet the Guiding Principles? | No. Each agency is responsible for evaluating its buildings and ensuring that sufficient evidence and documentation is readily available to demonstrate compliance with the Guiding Principles. This could be done internally or through a third-party. Determinations of compliance should be made on a building-by-building basis.
Compliance |  | 7 | Can LEED, Green Globes or other third-party certifications be used as an alternative means to meet the Guiding Principles? | Yes, as long as each required Guiding Principle is met. The Guiding Principles and other green building rating systems have similar credits and requirements, and in some cases, achieving a third-party credit is equivalent to meeting a Guiding Principle requirement. In these cases, documentation developed to meet the requirements of third-party green building rating systems can be used to document compliance with the Guiding Principles. In other cases, third party systems don't address all of the Guiding Principles' elements and sub-elements. Therefore, it is necessary to verify that all Guiding Principles are met when using a third-party certification system.
Life Cycle Cost |  | 8 | Life cycle cost effectiveness applies to each individual Guiding Principle per EO 13693. If a "required" or "additional" Guiding Principle isn't implemented because it is found not to be cost effective, can the building take credit for it? | No. However, if an "Additional" metric is not cost effective, a different "Additional" metric may be used instead.
Life Cycle Cost |  | 9 | Is there a way to achieve the "Required" performance metrics for energy and water reductions if the required reduction amount cannot be met cost-effectively? [Note to agencies reviewing this document: FEMP, on behalf of OMB, is requesting your input on this question in particular. Please provide us with your feedback and whether you have experienced something similar with this or another GP by emailing Nic Baker using the email address at the top of this document.] | Draft FEMP response: Yes. If a performance based metric such as the "Required" energy or water reduction metrics cannot be achieved, document the maximum reduction that can be achieved cost-effectively. For example, a 15% reduction from a 2015 baseline is documented for a building, but additional savings to achieve the stated 20% is not cost effective. In this case, provide justification that maximum cost effective savings have been achieved and take credit for the metric.
Life Cycle Cost |  | 10 | Can "Required" GPs that are found not to be cost effective be substituted with an "Additional" GP to achieve the total of 12 metrics needed? [Note to agencies reviewing this document: FEMP, on behalf of OMB, is requesting your input on this question in particular. Please provide us with your feedback and whether you have experienced something similar with this or another GP by emailing Nic Baker using the email address at the top of this document.] | Draft FEMP Response: No.
Applicability |  | 11 | Do the Guiding Principles apply to all existing buildings? | No. The 2016 Guiding Principles do not apply to buildings, where: 1) The total gsf is 5000 or less; 2) A Report of Excess (ROE) has been submitted to GSA ; 2) A Determination of Disposal (DOD) has been made; 3) The building has been classified as Surplus; 4) The building is leased; and, 5) The building falls within Federal Real Property Profile (FRPP) de minimis thresholds.
Applicability |  | 12 | Can "Not Applicable" be applied to individual Guiding Principles? | Yes. Individual Guiding Principles may be innaplicable for reasons of building function, mission, or safety, however the use of "not applicable" should be minimized. If an "Additional" metric does not apply choose one of the other ten (10) "Additional" metrics. "Required" metrics may also be N/A. However, for existing buildings, metrics that an agency determines to be N/A do no count towards the total number of "Required" and "Additional" metrics needed to meet the Guiding Principles.
Applicability |  | 13 | Can "Not Applicable" be applied to individual Guiding Principles which are determined through analyses to not be cost effective? [Note to agencies reviewing this document: FEMP, on behalf of OMB, is requesting your input on this question in particular. Please provide us with your feedback and whether you have experienced something similar with this or another GP by emailing Nic Baker using the email address at the top of this document.] | Draft FEMP response: Yes. Individual Guiding Principles may be innaplicable for reasons of cost innefectiveness. However, the use of "not applicable" should be minimized. If a performance based metric such as the "Required" energy or water reduction metrics cannot be achieved, instead of using N/A, document the maximum reduction that can be achieved cost-effectively. For example, a 15% reduction from a 2015 baseline is documented for a building, but additional savings to achieve the stated 20% is not cost effective. In this case, provide justification that maximum cost effective savings have been achieved and take credit for the metric. If an "Additional" metric does not apply choose one of the other ten (10) "Additional" metrics. Agencies should document all determinations of non-applicability.
Documentation |  | 14 | Our building is on a campus. Can we use our campus purchasing policy to meet the Guiding Principles? | Individual buildings can be compliant with a Guiding Principle, element, or sub-element through “campus-wide” or “installation-wide” protocols, policies, and/or contracts to which the building is subject. Examples include: green cleaning programs; centralized or aggregated renewable energy projects; stormwater management plans and measures; occupant health and wellness plans; campus-wide waste diversion plans; climate resilience and adaption plans; Integrated Pest Management plans; and, purchasing/sustainable acquisition policies.
Guiding Principles |  | # | Question | Answer
I. Employ Integrated Assessment, Operation, and Management Principles
1. Integrated Assessment, Operation, and Management | Required | 15 | A building is small and/or has low occupancy and one or two people are responsible for building administration and management. Can these two individuals comprise an integrated team? | Yes. In smaller buildings, the team may consist of fewer people. The intent is to make decisions with knowledge of their impacts to staff, costs, programs, and environmental performance and to share knowledge across functions to implement sustainable building practices. According to the Whole Building Design Guide, "The best buildings result from continual, organized collaboration among all players through the building's life cycle."
|  | 16 | Is participation in the integrated team limited to only onsite staff? | No. The integrated team may include staff from different locations and levels of the organization. The team may also include utility representatives and outside contractors.
|  | 17 | Can Guiding Principles metrics be considered operational goals for environmental performance? | Yes, however, a building may have more detailed operational goals in place.
|  | 18 | A building is subject to agency goals for environmental performance; can agency goals be considered operational goals for environmental performance? | Yes. Goals may originate from any level of the organization, but it is important that they are acknowledged by building-level staff and inform building operations and management.
|  | 19 | Can an existing team suffice for the integrated team? | Yes. Existing "green teams" or other groups may constitute the integrated team, if their purpose is to implement sustainable building practices.
2. Commissioning | Required | 20 | My building is not a "covered facility". Is commissioning required to meet the Guiding Principles? | Yes. Commissioning is required for any building to meet the Guiding Principles.
|  | 21 | My building is less than 50,000 gsf. Is commissioning required to meet the Guiding Principles? | Yes. All buildings that meet the Guiding Principles are required to be commissioned.
|  | 22 | How long do I have after commissioning to meet the remaining Guiding Principles? | Commissioning must have occurred no longer than two years prior to a building's initital date of compliance.
|  | 23 | Must commissioning be performed by a third-party? | No, commissioning can be performed internally, however, commissioning agents must be independent of the building's design and construction or operating team. For example, personnel from a different site or program office may assist with commissioning and be considered independent of the team operating at the site to be commissioned.
|  | 24 | To maintain compliance with the Guiding Principles for EB, does the building need to be recommissioned? | Yes. Re-commissioning should occur every four years. .
|  | 25 | My building was previously commissioned or has ongoing commissioning? Do I need to recommission every 4 years? | Yes. At a minimum, an updated commissioning report should demonstrate: A. Building sensors, alarms and metering devices are functioning within acceptable parameters B. Set points for temperature, humidity and static pressure are verified against the previous commissioning report C. Indoor air ventilation rates are in accordance with ASHRAE 62.1 D. Overrides (e.g., for HVAC, lighting, security) that are implemented as a temporary solution are not impacting energy performance and/or a plan to remediate override issues.
|  | # | Question | Answer
II. Optimize Energy Performance
3. Energy Efficiency | Required | 26 | Can an agency or campus-level purchasing policy suffice for evidence of energy efficient products? | Yes, as long as the building is directly subject to the policy.
|  | 27 | For the energy reduction requirement, 2003 baseline data isn't available and/or reliable. Can I use later data? | Yes. Use the earliest post-2003 data that is available and reliable.
|  | 28 | For the energy reduction requirement, can computer software or engineering calculations be used to calculate savings? | Yes, however, metered data is preferable.
|  | 28 | We just installed a meter but have made significant energy improvements over the past 3 years, including equipment retrofits. Can we use the calculations from our ESPC to show 20% savings from the 2003 baseline? | Yes. Provide documentation showing how savings were determined.
4. Renewable and Clean Energy | Additional | 29 | Can RECs be used to meet the renewable energy metric? | Yes, however, RECs are the least preferential option. Executive order 13693 established a hierarchy of renewable practices for federal agencies which are listed at this link: https://energy.gov/eere/femp/achieving-30-renewable-electricity-use-2025 according to EO13693.
|  | 30 | Renewable energy was found to be cost effective and appropriate. Can RECs be used to meet the renewable energy metric? | Yes. This is acceptable for the GPs because RECs are allowed for the agency-wide renewable energy goal. However, preferably, cost-effective and appropriate renewable energy should be implemented to meet the GPs. RECs are considered the least preferable option. Executive order 13693 established a hierarchy of practices for federal agencies which are listed at this link: https://energy.gov/eere/femp/achieving-30-renewable-electricity-use-2025
|  | 30 | A building has onsite renewable energy but the associated RECs have been sold. Does this comply? | No. RECs should be retained.
|  | 31 | Renewable energy is purchased from a utility for the building. Does this comply? | Yes, explicit renewable energy purchases count when the RECs are also purchased and owned by the federal agency.
|  | 32 | There is a power purchase agreement to purchase renewable energy from a seller. Does this comply? | Yes, when the purchase of energy includes the installation of renewable energy on site at a federal facility or off site from a federal facility and the corresponding RECs have been retained or replacement RECs of equal value have been purchased.
|  | 33 | An onsite renewable energy system serves a campus of buildings, but does not supply any particular building. Does this comply? | Yes. Each building can be apportioned a percentage of the total demand from the system.
|  | 34 | In a campus setting, RECs are typically purchased for an entire campus, or sometimes at the agency-level. Does this comply? | Yes.
|  | 35 | Onsite renewable and alternative energy are found to be inappropriate or not life-cycle cost effective and offsite renewable energy and RECs have been considered but not purchased. Does this comply? | No. Renewable or clean energy must be produced on or offsite for the building's use and RECs must be purchased.
5. Metering | Additional | 36 | A building has standard meters for kWh, natural gas and steam. Does this comply? | Yes. If there is a meter for each fuel stated in the metric, the building meets this Guiding Principle. However, if there is no meter, or when replacing a meter, an advanced meter should be installed or building personnel should document when an advanced meter is inappropriate and why this determination was made.
6. Benchmarking | Additional | 37 | My building is a space type that isn't eligible for the ENERGY STAR Score. Do I still need to benchmark it in Portfolio Manager? | Yes. Energy performance can be compared using other energy metrics available in Portfolio Manager.
Guiding Principle |  | # | Question | Answer
III. Protect and Conserve Water
7. Indoor Water | Required | 38 | The 2008 Guiding Principles indicated "potable" water. The word "potable" is removed in 2016. Does this Guiding Principle pertain to potable and nonpotable water? | No. This Guiding Principle pertains only to potable water.
|  | 39 | What is a water efficient product? | A water efficient product is one with performance that exceeds code.
|  | 40 | A building has some Water Sense products and some fixtures that meet code, but no policy to purchase water efficient products. Does this comply? | No, a policy should also be in place to install WaterSense or equivalent water efficient products as replacements are needed.
|  | 41 | A majority of a building's fixtures and fittings are WaterSense, and there is a policy to install WaterSense or equivalent water efficient products (exceed code) as replacements are needed. Does this comply? | Yes.
|  | 42 | A building has a policy to use WaterSense products or products that exceed (are better than) code, but the majority of current fixtures are not WaterSense nor exceed code. Does this comply? | No. WaterSense or fixtures that exceed code should be present in the building.
|  | 43 | For the water reduction requirement, 2007 baseline data isn't available and/or reliable. Can I use later data? | Yes. Use the earliest post-2007 data that is available and reliable.
|  | 44 | The option to measure water use reduction via performance of fixtures was removed from the 2016 Guiding Principles; can fixture performance be used to measure the 20% reduction? | Yes. Though it is ideal to measure with actual consumption, the option to measure using fixture performance is an accepted practice that is necessary in situations where there is insufficient metered data, and where mission related water use is not being considered.
|  | 45 | Under option B, what suffices for "an analyses of water use"? | A water analyses determines how water is used in the building and identifies ways to improve operations and reduce water usage. An analysis or water audit will depend on the size and complexity of the building.
8. Outdoor Water | Additional | 46 | Does non-potable fresh water used for irrigation need to be metered? | Yes. Non-potable and potable water used for irrigation need to be metered for irrigation systems serving more than 25,000 square feet of landscape.
|  | 47 | Do sources of water considered to be "alternative water" (e.g. rain water and condensate collection, etc.) need to be metered? | According to the “Implementing Instructions: Federal Agency Implementation of Water Efficiency and Management Provisions of EO 13514, “at a minimum, meters should be installed on all supply water sources including non-potable and alternative on-site water sources.” Alternative water used for irrigation only needs to be metered when the irrigation system serves more than 25,000 square feet of landscape.
|  | 48 | Can the use of alternative water that replaces the use of potable water count towards the requirement to reduce potable indoor water use by 20% and limit potable water use for irrigation to 50% or more below conventional practices. | Yes, according to the “Implementing Instructions: Federal Agency Implementation of Water Efficiency and Management Provisions of EO 13514,” water reuse is available as strategy for reducing potable water use.
9. Alternative Water | Additional | 49 | Alternative water was considered and found not to be cost effective. Does this comply? | No. Choose a different "additional" Guiding Principle.
|  | 50 | Alternative water is considered for a building but is not implemented. Does this comply? | No. Alternative sources of water must be present to comply. Choose a different "additional" Guiding Principle.
10. Stormwater Management | Additional
Guiding Principle |  | # | Question | Answer
IV. Enhance Indoor Environmental Quality
11. Ventilation and Thermal Comfort | Required | 52 | Is a licensed professional, either a P. E. or Registered Architect, required to perform ASHRAE 55 and 62.1 testing? | No. While it is preferable for a licensed professional to verify adherence to ASHRAE standards, CEMs and facility managers and other technicians with appropriate skills and an understanding of building occupant comfort systems, can verify as well.
12. Daylighting and Lighting Controls | Additional | 53 | Can a building take credit for this Guiding Principle if the building has structural, functional or mission-related constraints which prevent opportunities from being maximized? | A building cannot get credit when claiming an exemption based on function, mission or structural constraints.
13. Indoor Air Quality (2016) | Additional | 54 | This Guiding Principle includes many sub-elements. Is it necessary to have one policy for all sub-elements? | No. Evidence of compliance could be one comprehensive policy that covers each sub-element, or a compilation of separate existing or new policies and/or documented procedures.
|  | 55 | What is evidence of compliance for "low emitting materials and products with low pollutant emissions…"? | Evidence of compliance is a purchasing policy to which the building is subject that specifies low emitting materials and building specifications or environmental product declarations or data sheets demonstrating low emitting products. Other evidence might include photos, receipts, and purchase orders along with specification sheets.
|  | 56 | Are no-smoking signs placed near entrances a requirement? | No. However, signs are ideal because they send a clear message to building occupants and visitors. They are also an effective way to demonstrate compliance since a building occupants or visitors may not know about an existing policy. Evidence of compliance can also include a policy or documented statement that smoking is prohibited.
|  | 57 | To get credit for the GP, must a protocol to protect indoor air quality be in place if there is no construction taking place in the building? | Yes.
14. Occupant Health and Wellness (2016) | Additional | 58 | If opportunities aren't feasible in a building, does the building get credit? | No. Choose a different "additional" Guiding Principle if opportunities aren't feasible. Generally, however, there are many opportunities to promote occupant health and wellness.
|  | 59 | How many health and wellness opportunities are required? | The recommendation is to have at least two opportunities. It is up to the site to make an honest assessment of available opportunities. Generally there are many opportunities to promote occupant health and wellness.
Guiding Principle |  | # | Question | Answer
V. Reduce Environmental Impact of Materials
15. Material Content and Performance | Required | 60 | ODC and GWP are present in a facility, and there is a documented plan in place to ensure that acceptable substitute chemicals are purchased in the future. Does the building get credit? | Yes. The building gets credit as long as a there is a plan in place to phase out ODC and GWP where possible.
|  | 61 | What ecolabels are required? | Use ecolabels which are required by statute like ENERGY STAR , WaterSense, Biobased/BioPreferred, etc. For products where a mandated label is unavailable, use products with non-federal eco-labels.
16. Waste Diversion | Required | 62 | If no market exists, or if there is only market enough to divert 25%, for example, does a building get credit? | Yes. Try to achieve a 50% diversion rate for waste for which there is a market.
|  | 63 | Does building waste have to be measured by weight or volume? | No. However, measuring by weight or volume is more accurate than visual inspection or other estimation. Waste hauling companies may provide weight and volume measurements, or building personnel may measure using a scale or by visual inspection. If measurement by weight or volume isn't possible, estimates suffice.
17. Materials Management | Additional
Guiding Principle |  | # | Question | Answer
VI. Assess and Consider Climate Change Risks
18. Climate Resilience and Adaptation | Required | 64 | Our agency conducted a study that considers our entire building portfolio for climate risks and impacts and identifies actions to increase climate resilience where appropriate. Does this meet the requirement if the building is identified in the study? | Yes.