## Plot_data (hidden)
Chart plot data
Chart 1 | L100AC | L110AC | L120AC | L130AC | L140AC | L150AC | L155AC | L160AC
max | 79.48 | 103.99 | 64.3 | 53.98 | 56.48 | 71.33 | 74.18 | 81
min | 48.35 | 71.88 | 35.98 | 39.75 | 43.24 | 39.76 | 42.66 | 48.78
avg | 63.915 | 87.935 | 50.14 | 46.865 | 49.86 | 55.545 | 58.42 | 64.89
result | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Chart 2 | L170AC | L200AC | L202AC | L302XC | L304XC | L322XC | L324XC
max | 92.4 | 185.87 | 190.05 | 90.52 | 75.32 | 118.2 | 80.04
min | 58.11 | 106.41 | 111.32 | 19.2 | 23.51 | 18.71 | 32.71
avg | 75.255 | 146.14 | 150.685 | 54.86 | 49.415 | 68.455 | 56.375
result | 0 | 0 | 0 | 0 | 0 | 0 | 0
Chart 3 | L110AC-L100AC | L120AC-L100AC | L130AC-L100AC | L140AC-L100AC | L150AC-L100AC | L155AC-L150AC | L160AC-L100AC
max | 29.68 | -7.67 | -5.88 | 0.37 | -3.02 | 6.88 | 5.1
min | 17.43 | -18.57 | -27.5 | -24.42 | -12.53 | -1.54 | -3.72
avg | 23.555 | -13.12 | -16.69 | -12.025 | -7.775 | 2.67 | 0.69
result | 0 | 0 | 0 | 0 | 0 | 0 | 0
Chart 4 | L170AC-L100AC | L200AC-L100AC | L202AC-L200AC | L302XC-L100AC | L302XC-L304XC | L322XC-L100AC | L322XC-L324XC
max | 17.64 | 107.66 | 11.25 | 14.5 | 17.75 | 39.29 | 38.27
min | 7.12 | 56.39 | -0.51 | -31.43 | -4.46 | -33.54 | -14.17
avg | 12.38 | 82.025 | 5.37 | -8.465 | 6.645 | 2.875 | 12.05
result | 0 | 0 | 0 | 0 | 0 | 0 | 0
Chart 5 | L100AL | L110AL | L120AL | L130AL | L140AL | L150AL
max | 64.88 | 68.5 | 60.14 | 45.26 | 30.54 | 82.33
min | 41.47 | 46.8 | 40.08 | 30.98 | 19.52 | 49.46
avg | 53.175 | 57.65 | 50.11 | 38.12 | 25.03 | 65.895
result | 0 | 0 | 0 | 0 | 0 | 0
Chart 6 | L155AL | L160AL | L170AL | L200AL | L202AL
max | 63.06 | 72.99 | 53.31 | 83.43 | 75.96
min | 35.58 | 51.26 | 34.05 | 56.18 | 49.5
avg | 49.32 | 62.125 | 43.68 | 69.805 | 62.73
result | 0 | 0 | 0 | 0 | 0
Chart 7 | L110AL-L100AL | L120AL-L100AL | L130AL-L100AL | L140AL-L100AL | L150AL-L100AL
max | 7.84 | 0.68 | -9.69 | -20.29 | 20.55
min | -0.98 | -8.67 | -24.4 | -38.68 | 7.5
avg | 3.43 | -3.995 | -17.045 | -29.485 | 14.025
result | 0 | 0 | 0 | 0 | 0
Chart 8 | L155AL-L150AL | L160AL-L100AL | L170AL-L100AL | L200AL-L100AL | L200AL-L202AL
max | -9.64 | 12.78 | -4.83 | 21.39 | 14.86
min | -22.29 | 3.88 | -15.74 | 6.63 | 2.03
avg | -15.965 | 8.33 | -10.285 | 14.01 | 8.445
result | 0 | 0 | 0 | 0 | 0

## Results
Pub 001-20 Std. 140 Results: | [5 empty] | Software Name:
(last updated: 07/20/20)
User input data fields indicated by pale yellow
Test result fields indicated by pale green
Annual Heating Loads: Colorado Springs, CO | [6 empty] | Annual Heating Load deltas: Colorado Springs, CO
| Heating | range max | range min | Result | pass/fail |  |  | Heating | range max | range min | Result | pass/fail
| L100AC | 79.48 | 48.35 |  | fail |  |  | L110AC-L100AC | 29.68 | 17.43 | 0 | fail
| L110AC | 103.99 | 71.88 |  | fail |  |  | L120AC-L100AC | -7.67 | -18.57 | 0 | fail
| L120AC | 64.3 | 35.98 |  | fail |  |  | L130AC-L100AC | -5.88 | -27.5 | 0 | fail
| L130AC | 53.98 | 39.75 |  | fail |  |  | L140AC-L100AC | 0.37 | -24.42 | 0 | pass
| L140AC | 56.48 | 43.24 |  | fail |  |  | L150AC-L100AC | -3.02 | -12.53 | 0 | fail
| L150AC | 71.33 | 39.76 |  | fail |  |  | L155AC-L150AC | 6.88 | -1.54 | 0 | pass
| L155AC | 74.18 | 42.66 |  | fail |  |  | L160AC-L100AC | 5.1 | -3.72 | 0 | pass
| L160AC | 81 | 48.78 |  | fail |  |  | L170AC-L100AC | 17.64 | 7.12 | 0 | fail
| L170AC | 92.4 | 58.11 |  | fail |  |  | L200AC-L100AC | 107.66 | 56.39 | 0 | fail
| L200AC | 185.87 | 106.41 |  | fail |  |  | L202AC-L200AC | 11.25 | -0.51 | 0 | pass
| L202AC | 190.05 | 111.32 |  | fail |  |  | L302XC-L100AC | 14.5 | -31.43 | 0 | pass
| L302XC | 90.52 | 19.2 |  | fail |  |  | L302XC-L304XC | 17.75 | -4.46 | 0 | pass
| L304XC | 75.32 | 23.51 |  | fail |  |  | L322XC-L100AC | 39.29 | -33.54 | 0 | pass
| L322XC | 118.2 | 18.71 |  | fail |  |  | L322XC-L324XC | 38.27 | -14.17 | 0 | pass
| L324XC | 80.04 | 32.71 |  | fail
Annual Cooling Loads: Las Vegas, NV | [6 empty] | Annual Cooling Load deltas: Las Vegas, NV
| Cooling | range max | range min | Result | pass/fail |  |  | Cooling | range max | range min | Result | pass/fail
| L100AL | 64.88 | 41.47 |  | fail |  |  | L110AL-L100AL | 7.84 | -0.98 | 0 | pass
| L110AL | 68.5 | 46.8 |  | fail |  |  | L120AL-L100AL | 0.68 | -8.67 | 0 | pass
| L120AL | 60.14 | 40.08 |  | fail |  |  | L130AL-L100AL | -9.69 | -24.4 | 0 | fail
| L130AL | 45.26 | 30.98 |  | fail |  |  | L140AL-L100AL | -20.29 | -38.68 | 0 | fail
| L140AL | 30.54 | 19.52 |  | fail |  |  | L150AL-L100AL | 20.55 | 7.5 | 0 | fail
| L150AL | 82.33 | 49.46 |  | fail |  |  | L155AL-L150AL | -9.64 | -22.29 | 0 | fail
| L155AL | 63.06 | 35.58 |  | fail |  |  | L160AL-L100AL | 12.78 | 3.88 | 0 | fail
| L160AL | 72.99 | 51.26 |  | fail |  |  | L170AL-L100AL | -4.83 | -15.74 | 0 | fail
| L170AL | 53.31 | 34.05 |  | fail |  |  | L200AL-L100AL | 21.39 | 6.63 | 0 | fail
| L200AL | 83.43 | 56.18 |  | fail |  |  | L200AL-L202AL | 14.86 | 2.03 | 0 | fail
| L202AL | 75.96 | 49.5 |  | fail